Page 1 of 5
5/31/2019
Swimming Pool
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
WITH COMMENTS
Total Mods for this report:  17
Approved as Submitted
TAC Recommendation
Total Mods for  Swimming Pool in  Approved as Submitted
TAC: 
Swimming Pool
 10
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Section
454.1.9.2.1
Michael Weinbaum
 7175 
Chapter
Mod #
Comment
Plunge pool dimensional standards are deferred to the design engineer
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2 + original (staff remove date)
3. No comment is needed.
4. Straw Poll.
Commission Action

6 Yes – 2 No

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
454.1.6.1
Mo Madani
 7798 
Chapter
Mod #
Comment
Incorporating Commission’s declaratory statements as required by 553.73(7)(d), Florida Statutes. 

DS2018‑040
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A5
3. No comment is needed.
4. Straw Poll.
Commission Action

6 Yes – 0 No

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
454.1.1
James LePetrie
 7851 
Chapter
Mod #
Comment
Clarifies the definition of a collector tank for a commercial pool.
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2
3. No comment is needed.
4. Straw Poll.
Commission Action

8 Yes – 0 No

Summary

AS
AM

NAR

I
Approved as Submitted

W

Page 2 of 5
5/31/2019
Swimming Pool
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
WITH COMMENTS
Total Mods for this report:  17
Total Mods for  Swimming Pool in  Approved as Submitted
TAC: 
Swimming Pool
 10
Section
454.1.2.1
James LePetrie
 7900 
Chapter
Mod #
Comment
Requires the design of swimming pools to meet currently accepted standards for concrete construction.
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
G4 
3. No comment is needed.
4. Straw Poll.
Commission Action

A1 – 0 Yes – 8 No
G4 – 6 Yes – 2 No

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
454.1.3.1.2
James LePetrie
 7906 
Chapter
Mod #
Comment
Clarifies the how much of a pool deck can slope towards a deck‑level perimeter overflow gutter or slot, and at what slope.
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

8 Yes – 0 N0

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
454.1.9.6.1
James LePetrie
 7923 
Chapter
Mod #
Comment
Allows for a slope transition where zero entry pools achieve 3’0” of water depth.
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

8 Yes – 0 N0

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
454.1.9.8.6.9
James LePetrie
 7931 
Chapter
Mod #
Comment
Exempts the fencing requirement for IWFs that are located within 50 feet of other pools if the walking distance is 50 feet or more.
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1 + G2 
3. No comment is needed.
4. Straw Poll.
Commission Action

8 Yes – 0 No

Summary

AS
AM

NAR

I
Approved as Submitted

W

Page 3 of 5
5/31/2019
Swimming Pool
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
WITH COMMENTS
Total Mods for this report:  17
Total Mods for  Swimming Pool in  Approved as Submitted
TAC: 
Swimming Pool
 10
Section
454.1.9.8.7.3
James LePetrie
 7933 
Chapter
Mod #
Comment
Exempts the fencing requirement for pools designed for small children at water theme parks that are located within 50 feet of other pools if the walking distance is 50 feet or more.
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

7 Yes – 1 No

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
454
robert vincent
 8327 
Chapter
Mod #
Comment
Adds code language for permitting constructed impounded public bathing places, so that when public swimming pool‑like structures are constructed, the referenced public swimming pool code section may be applied.
4
Proponent

XX
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

A2 2 Yes – 6 No

A2
Summary

AS
AM
Threshold – 2 Yes – 6 No not to review today

NAR

I
Approved as Submitted

W
Section
454.1
robert vincent
 8341 
Chapter
Mod #
Comment
Several improvements and clarifications to public swimming pool code with one added definition for clarification.
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

8 Yes – 0 No

Summary

AS
AM

NAR

I
Approved as Submitted

W
No Affirmative Recommendation
TAC Recommendation
Total Mods for  Swimming Pool in  No Affirmative Recommendation
TAC: 
Swimming Pool
 7
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy

Page 4 of 5
5/31/2019
Swimming Pool
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
WITH COMMENTS
Total Mods for this report:  17
Total Mods for  Swimming Pool in  No Affirmative Recommendation
TAC: 
Swimming Pool
 7
Section
454.1.3.1.2
Michael Weinbaum
 7177 
Chapter
Mod #
Comment
Allowing longer infinity edges
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

6 Yes – 2 No

Summary

AS
AM

NAR

I
No Affirmative Recommendation

W
Section
454.1.9.2.6
Michael Weinbaum
 7178 
Chapter
Mod #
Comment
No special requirements added for filters on waterslides
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1 + Original 
3. No comment is needed.
4. Straw Poll.
Commission Action

7 Yes – 1 No

Summary

AS
AM

NAR

I
No Affirmative Recommendation

W
Section
454
Robert Cohen
 7222 
Chapter
Mod #
Comment
Change section 454.1.4.2.3 from that in the 2017 FBC back to that in the 2014 FBC
4
Proponent

XX
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

0 Yes – 8 No

A4
Summary

AS
AM

NAR

I
No Affirmative Recommendation

W
Section
454.1.1.1
Michael Weinbaum
 7259 
Chapter
Mod #
Comment
Sizing code revised
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

6 Yes – 2 No

Summary

AS
AM

NAR

I
No Affirmative Recommendation

W

Page 5 of 5
5/31/2019
Swimming Pool
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
WITH COMMENTS
Total Mods for this report:  17
Total Mods for  Swimming Pool in  No Affirmative Recommendation
TAC: 
Swimming Pool
 7
Section
454.1.1
James LePetrie
 7894 
Chapter
Mod #
Comment
Clarifies the definition of a plunge pool.
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

8 Yes – 0 No

Summary

AS
AM

NAR

I
No Affirmative Recommendation

W
Section
454.1.7.7
James LePetrie
 7914 
Chapter
Mod #
Comment
Exempts the fencing requirement for wading pools that are located within 50 feet of other pools if the walking distance is 50 feet or more.
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1 +G4
3. No comment is needed.
4. Straw Poll.
Commission Action

A1 - 4 Yes – 4 No
A1 + G4 8 Yes – 0 No

Summary

AS
AM

NAR

I
No Affirmative Recommendation

W
Section
454.1
robert vincent
 8365 
Chapter
Mod #
Comment
Glitches to correct.  No change to the existing code language that is left off here.
4
Proponent
XX

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2
3. No comment is needed.
4. Straw Poll.
Commission Action

8 Yes – 0 No

Summary

AS
AM

NAR

I
No Affirmative Recommendation

W
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
SW
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria