Page 1 of 2
2/28/2019
Accessibility
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  5
Pending Review
TAC Recommendation
Total Mods for  Accessibility in  Pending Review
TAC: 
Accessibility
 5
SubCode:
Building
Ü
Mod #
 7637 
Proponent
464
Section
4
Chapter
Pending Review
Revises the section reference to coordinate with the 2018 edition of the Guidelines. Specifies which section of the Florida Accessibility Code will be applied to an ALF.
Summary

AS
AM

X
NAR

I

W
TAC Action
No second – motion dies.

Schneider – Sec 233 FBC Accessibility does not pertain to ‘Residential Buildings’ and should not be included in this section.  If that reference is deleted it could be supported.
James gregory
30‑Elevators and Conveying Systems
Section
3001.2
 7363 
Chapter
Mod #
This proposed modification adds &quot;emergency elevator communication systems for the deaf, hard of hearing and speech impaired&quot; to the code.
30
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
NAR – no 2nd – motion dies.
Belcher – Study indicated it would cost between $2500-$5000 to modify existing elevators.  No standard reference for 9.  This language applies to all elevators,(freight, residential, existing/new). Alters FS 301 and creates conflict with FS399.035 and this TAC does not have authority to change statute.
 
Bryan Holland
SubCode:
Existing Building
Ü
14‑Performance Compliance Methods

Page 2 of 2
2/28/2019
Accessibility
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  6
Total Mods for  Accessibility in  Pending Review
TAC: 
Accessibility
 6
Mod #
 7447 
Proponent
1401.2.5
Section
14
Chapter
Pending Review
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd – Schneider
Schneider comments – note recording – should not refer to other sections.  
Mignardi – should not point to prescriptive code sections.  Should only point to sec 410 of FBC Accessibility code. Would approve if altered.
0 Yes – 9 No
Richard Schauland
Section
1401.2.5
 7451 
Chapter
Mod #
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
14
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
NAR – no 2nd – motion dies.

O Yes – 9 No
Richard Schauland
Mod #
 8375 
Proponent
1401.2.5
Section
14
Chapter
Pending Review
The proposed modification more comprehensively references all of the relevant accessibility requirements found in the FBC, Existing Building.
Summary

AS
AM

X
NAR

I

W
TAC Action
NAR – no 2nd – motion dies.

0 yes – 9 no
Kimberly Gilliam
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
TAC Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
ALL
ALL
ALL
A
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria