Page 1 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Pending Review
TAC Recommendation
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
SubCode:
Energy Conservation
Ü
7‑Forms
Section
CB
 7332 
Chapter
Mod #
This proposed modification adds Appendix CB for &quot;Solar‑Ready Zone ‑ Commercial&quot; provisions.
Appendix 
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd Sanders
9 Yes – 0 No
Bryan Holland
Mod #
 8366 
Proponent
CA
Section
Appendix 
Chapter
Pending Review
Provide a Commercial Energy Conservation Code Documentation Checklist in Appendix CA.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Ranck
9 Yes – 0 No
Jeff Sonne for FSEC
10‑Appendix RD
Section
RB
 7652 
Chapter
Mod #
Replace existing Form R402 (prescriptive R‑value computation compliance report) with new Form R402.
Appendix
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
Proponent requests using A1 instead of original.
2nd Sanders
9 Yes – 0 No AM
Jeff Sonne for FSEC
Mod #
 7675 
Proponent
RD
Section
Appendix
Chapter
Pending Review
Add Envelope Leakage Test Report to Appendix RD.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Cochelle
9 Yes – 0 No
Jeff Sonne for FSEC

Page 2 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7677 
Proponent
RD
Section
Appendix
Chapter
Pending Review
Add Duct Leakage Test Report to Appendix RD.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselers
9 yes – 0 No
Jeff Sonne for FSEC
Mod #
 7678 
Proponent
RD
Section
Appendix	
Chapter
Pending Review
Modify Energy Performance Level (EPL) Display Card.
Summary
X
AS
AM

NAR

I

W
TAC Action
Belcher - Should it say AA rating?  Sonne to review and make comment.
2nd Ranck
9 Yes – 0 No
Jeff Sonne for FSEC
Mod #
 8074 
Proponent
RD
Section
Appendix
Chapter
Pending Review
Provide a Residential Energy Conservation Code Documentation Checklist in Appendix RD.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselers
9 Yes – 0 No
Jeff Sonne for FSEC
2‑[CE] ‑ Definitions
Mod #
 7236 
Proponent
202
Section
2
Chapter
Pending Review
This proposed modification revises the definition of &quot;nameplate horsepower&quot; to correlate with the 2018 IECC and related industry standards.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes – 0 No
Bryan Holland

Page 3 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7237 
Proponent
202
Section
2
Chapter
Pending Review
This proposed modification deletes the term &quot;screw lamp holders&quot; as it is not used in the FBC‑Energy nor the IECC or ASHRAE Standard 90.1.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselers
9 Yes – 0 No
Bryan Holland
Mod #
 7240 
Proponent
202
Section
2
Chapter
Pending Review
This proposed modification adds, revises, and deletes several electrically‑related definitions from the FBC‑Energy to harmonize the code the 2018 IECC and other industry standards.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Cochelle
9 Yes – 0 No
Bryan Holland
Mod #
 7884 
Proponent
1
Section
2
Chapter
Pending Review
This modification deletes the definition of fan efficiency grade.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Cochelle
9 yes – 0 No
Amanda Hickman
Section
1
 7892 
Chapter
Mod #
Adds definitions related to fan energy index to CE Chapter 2.
2
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
Proponent requests Original with A1
2nd Cochelle original with A1
9 Yes – 0 No
Amanda Hickman

Page 4 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Section
202
 7915 
Chapter
Mod #
Clarification to the definitions of Entrance Door and Fenestration.
2
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Proponent requesting an NAR to work with AAMA regarding terminology.
Dies for lack of 2nd NAR 
Joseph Hetzel
Mod #
 8175 
Proponent
202
Section
2
Chapter
Pending Review
added definition
Summary

AS
AM

X
NAR

I

W
TAC Action
Dies for lack of 2nd  NAR 
Armin Hauer
Mod #
 8256 
Proponent
202
Section
2
Chapter
Pending Review
Propose definition of cavity insulation.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Cochelle
9 Yes – 0 No

John Woestman
2‑[RE] ‑ Definitions
Mod #
 7203 
Proponent
202
Section
2
Chapter
Pending Review
This proposed modification deletes the definition of &quot;high‑efficacy lamps&quot; from the code in coordination with a proposed modification to R404.1
Summary
X
AS
AM

NAR

I

W
TAC Action
Relates to 7204
2nd Geyselers
9 Yes – 0 No
Bryan Holland

Page 5 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7241 
Proponent
202
Section
2
Chapter
Pending Review
This proposed modification revises the terms &quot;approved agency&quot; and &quot;labeled&quot; to reflect industry practices and proper use in the code.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselers
9 yes – 0 No
Bryan Holland
Mod #
 7796 
Proponent
202
Section
2
Chapter
Pending Review
The change clarifies the definition of Building Thermal Envelope
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Sanders
9 Yes -0 No
Joseph Belcher for FHBA
Mod #
 7823 
Proponent
202
Section
2
Chapter
Pending Review
Update definition of Skylight for consistency with other codes that were modified in the 2018 IECC.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Grabowski
9 Yes – 0 No
Roger LeBrun
Mod #
 8257 
Proponent
202
Section
2
Chapter
Pending Review
Propose definition of cavity insulation.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Cochelle
9 yes – 0 No
John Woestman
3‑[CE] ‑ General Requirements

Page 6 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7924 
Proponent
303.1.3
Section
3
Chapter
Pending Review
Inclusion of rolling doors in U‑factor ratings determination language, and reformatting the fenestration product rating language.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes – 0 No
Joseph Hetzel
Mod #
 7930 
Proponent
303.1.3
Section
3
Chapter
Pending Review
Clarifying the Default Door U‑factor table as applying to opaque doors, and including a value for insulated rolling doors.
Summary
X
AS
AM

NAR

I

W
TAC Action
Coordinates with 7940
2nd Geyselers
9 Yes – 0 No
Joseph Hetzel
3‑[RE] ‑ General Requirements
Mod #
 7939 
Proponent
303.1.3
Section
3
Chapter
Pending Review
Reformat the fenestration product rating language.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Cochelle
9 Yes – 0 No
Joseph Hetzel
Section
303.1.3
 7940 
Chapter
Mod #
Title the default door U‑factor table as applying to opaque doors, and distinguish that table from the &quot;glazed fenestration&quot; table retitled to apply to windows, glass doors and skylights.
3
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
Coordinates with 7930 should delete the word ‘opaque’ on column label.
2nd  Smtih-Burke
9 Yes – 0 No
Joseph Hetzel
4‑[CE] ‑ Commercial Energy Efficiency

Page 7 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Section
404.4
 7195 
Chapter
Mod #
Revises service water heating piping insulation to conform to the requirements of ASHRAE 90.1‑2016.
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd Sanders
9 Yes – 0 No
Gary Kozan
Section
405.6.3
 7205 
Chapter
Mod #
This proposed modification revises the voltage drop requirement to include &quot;customer‑owned service conductors&quot; in addition to feeder conductors and branch circuit conductors.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
2nd Sanders
Calleja – cost implications?  Holland – None, can change the design and shorten the run or decrease/diversify the load,  Wojciezak- Need to study voltage drop issue.
2 yes – 7 No  NAR 
Bryan Holland
Section
405.6.1
 7206 
Chapter
Mod #
This proposed modification revises the section to clarify that compliance with Section 8 Power of the ASHRAE Standard 90.1 is required by Section 405.6.1
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Dies for lack of 2nd NAR  
Bryan Holland
Mod #
 7238 
Proponent
403.4.2.4
Section
4
Chapter
Pending Review
This proposed modification harmonizes requirements for part‑load controls for hydronic system of the FBC‑Energy with the 2018 IECC.
Summary

AS
AM

X
NAR

I

W
TAC Action
Dies for lack of 2nd  NAR  
Bryan Holland

Page 8 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7239 
Proponent
405.1
Section
4
Chapter
Pending Review
This proposed modification is mostly editorial to add clarity to the rules for lighting in dwelling units and coolers/freezers.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselers
9 yes – 0 No
Bryan Holland
Mod #
 7244 
Proponent
402.4
Section
4
Chapter
Pending Review
This proposed modification makes minor editorial revision to the terms used for daylight zones, provides a pointer to requirements for daylight responsive controls, and increases the skylight area an additional 1% where DRC is provided.
Summary
X
AS
AM

NAR

I

W
TAC Action
Related 7762 but does not touch 6% issue.
2nd Geyselers
9 Yes – 0 No
Bryan Holland
Mod #
 7245 
Proponent
405.2
Section
4
Chapter
Pending Review
This proposed modification brings in rules for &quot;luminaire level lighting controls&quot; as an option for meeting the requirements of the code.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselers
9 Yes – 0 No
Bryan Holland
Mod #
 7246 
Proponent
405.2.1
Section
4
Chapter
Pending Review
This proposed modification updates all the requirements related to occupant sensor controls to harmonize the FBC‑Energy with the 2018 IECC and ASHRAE Standard 90.1.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselaers
9 yes – 0 No
Bryan Holland

Page 9 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7313 
Proponent
405.2.2
Section
4
Chapter
Pending Review
This proposed modification makes minor editorial revisions to the rules related to time‑switch controls.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Smith-Burke
9 Yes – 0 No
Bryan Holland
Mod #
 7315 
Proponent
405.2.2.3
Section
4
Chapter
Pending Review
This proposed modification moves the rules for manual controls to C405.2.5 and makes other minor editorial revisions.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Ranck
8 Yes – 1 No

Bryan Holland
Mod #
 7317 
Proponent
405.2.3
Section
4
Chapter
Pending Review
This proposed modification is mostly an editorial update to match the FBC‑Energy to the 2018 IECC for the rules related to daylight‑responsive controls.
Summary
X
AS
AM

NAR

I

W
TAC Action
Works in concert with 8274, per proponent.
2nd Smith
9 Yes – 0 No
Bryan Holland
Mod #
 7318 
Proponent
405.2.4
Section
4
Chapter
Pending Review
This proposed modification is an editorial revision to the rules related to specific application controls.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselaers
Wojciezak – those that stay on continuously have many extension cords.  Madani – code change needed to certify to DOE that Fl Energy Code meets or exceeds 90.1.
9 Yes – 0 No
Bryan Holland

Page 10 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7325 
Proponent
405.4
Section
4
Chapter
Pending Review
This proposed modification revises the several of the rules and tables for interior lighting power requirements.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselaers
9 Yes – 0 No
Bryan Holland
Mod #
 7326 
Proponent
405.5
Section
4
Chapter
Pending Review
This proposed modification revises the rules and tables for exterior lighting power requirements.
Summary
X
AS
AM

NAR

I

W
TAC Action
Madani – needed for DOE certification.
2nd Geyselaers
9 Yes – 0 N0
Bryan Holland
Mod #
 7327 
Proponent
405.5.2
Section
4
Chapter
Pending Review
This proposed modification adds mandatory requirements for gas‑fired lighting appliances.
Summary

AS
AM

X
NAR

I

W
TAC Action
Dies for lack of 2nd  NAR 
Bryan Holland
Mod #
 7328 
Proponent
405.7
Section
4
Chapter
Pending Review
This proposed modification is an editorial revision to the Section on transformers to match the terms used in the associated Table.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Smith-Burke
9 Yes – 0 No
Bryan Holland

Page 11 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7329 
Proponent
405.9.2
Section
4
Chapter
Pending Review
This proposed modification adds an exception to the speed control rules for escalators and moving walks.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes – 0 No
Bryan Holland
Mod #
 7499 
Proponent
402.4.1.2
Section
4
Chapter
Pending Review
Increases the Skylights area percentage allowed with daylight response control from 5% to 6%.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Sanders
9 Yes – 0 No
Bereket Nigusse
Section
405.2.5.3
 7503 
Chapter
Mod #
Exterior lighting control device shall automatically reduce the connected lighting power by at least 50% when there is no activity. While this proposal is a new code section already approved by the the Energy TAC, this modification is required to make it equivalent to ASHRAE 90.1‑2016.
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
Required for DOE certification. References storage type buildings.
2nd Geyselaers   Wojciezak – is there a definition of ‘no activity’.
9 Yes – 0 N0
Bereket Nigusse
Mod #
 7515 
Proponent
402.5.6
Section
4
Chapter
Pending Review
Clarifies cargo doors and loading dock doors infiltration restriction requirement
Summary

AS
AM

X
NAR

I

W
TAC Action
Proponent requesting NAR.  DASMA has similar proposal 7898 and feels it is a critical and needed language change. Necessary from prescriptive standpoint.  
Dies for lack of 2nd, NAR 
Bereket Nigusse

Page 12 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7523 
Proponent
403.2.4.1.4
Section
4
Chapter
Pending Review
Heated or cooled vestibules require controls based on a thermostat located in the vestibule
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Calleja for discussion.  Limiting cooling in lobbies/vestibules to 85 degrees. Bereket – this is a limited space but no humidity control was considered in this test.  Wojciezak – for such a small space how do you design for this without imputing it’s own unit?  Seems costly.
1 Yes – 8 No  NAR 

Bereket Nigusse
Mod #
 7533 
Proponent
403.2.4.2.3
Section
4
Chapter
Pending Review
Add optimum start capability to individual HVAC off‑hours control
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd – Calleja
7 Yes – 2 No
Bereket Nigusse
Mod #
 7536 
Proponent
403.2.4.2.5
Section
4
Chapter
Pending Review
Automatic control of HVAC systems serving guest rooms
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Geyselaers for discsussion.  Geyselaers--Based on cost estimate does this meet the requirements of statute?  Vogler-no requirement in Section 9 to require.  Madani – analysis was done.  8 Yes – 1 No  AS 
Smith-Motion to reconsider-  2nd Cajella   9 Yes – 0 No
Upon reconsideration -dies for lack of 2nd  NAR 
Bereket Nigusse
Mod #
 7558 
Proponent
403.2.4.3
Section
4
Chapter
Pending Review
Updated exception that restricts gravity dampers use for exhaust and relief system only
Summary

AS
AM

X
NAR

I

W
TAC Action
Dies for lack of 2nd  NAR  
Bereket Nigusse

Page 13 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7608 
Proponent
405.4.1
Section
4
Chapter
Pending Review
Total connected interior lighting power calculation
Summary

AS
AM

X
NAR

I

W
TAC Action
Dies for lack of 2nd  NAR 
Bereket Nigusse
Section
402.4
 7752 
Chapter
Mod #
Clarification of allowable skylight area when daylight responsive controls and minimum skylight area provisions simultaneously apply.
4
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
Proponent requests A1 with original
2nd Geyselaers
7 Yes – 2 No AM original with A1
Roger LeBrun
Mod #
 7882 
Proponent
407.5.1
Section
4
Chapter
Pending Review
This modification adds an exception to Table C407.5.1(1)
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes – 0 No  
Amanda Hickman
Mod #
 7886 
Proponent
403.2.12.3
Section
4
Chapter
Pending Review
This modification deletes section C403.2.12.3 Fan Efficiency.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Ranck
9 Yes – 0 N0
Amanda Hickman

Page 14 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7898 
Proponent
402.5.6
Section
4
Chapter
Pending Review
Clarifies loading dock weatherseal provisions.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselaers
9 Yes – 0 No
Joseph Hetzel
Mod #
 7904 
Proponent
402.1.4
Section
4
Chapter
Pending Review
Include garage door maximum U‑factors.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Sanders
9 Yes – 0 N0
Joseph Hetzel
Mod #
 7934 
Proponent
402.5.2
Section
4
Chapter
Pending Review
Adds an air leakage requirement for power‑operated sliding doors and power‑operated folding doors.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Sanders
9 Yes – 0 No
Joseph Hetzel
Section
404.2
 7984 
Chapter
Mod #
Updates Table C404.2 Minimum Performance of Water Heating Equipment to current federal standard.
4
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
Proponent requests A1
2nd Geyselaers as modified with A1 only
9 Yes – 0 No 
Jeff Sonne for FSEC

Page 15 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7990 
Proponent
403.2.3
Section
4
Chapter
Pending Review
Updated Table C403.2.3(3) ELECTRICALLY OPERATED PACKAGED TERMINAL AIR CONDITIONERS, PACKAGED TERMINAL HEAT PUMPS, SINGLE‑PACKAGE VERTICAL AIR CONDITIONERS, SINGLE VERTICAL HEAT PUMPS, ROOM AIR CONDITIONERS AND ROOM AIR‑CONDITIONER HEAT PUMPS to latest federal standards.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselaers   Cochelle – Just a note of warning, accepting this without the need to dehumidify is a step in the wrong direction.
9 Yes – 0 No 
Jeff Sonne for FSEC
Mod #
 7995 
Proponent
403.2.3
Section
4
Chapter
Pending Review
Update Table C403.2.3(5) Gas and Oil‑fired Boilers to latest federal standards.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Gabrowski
9 Yes – 0 No
Jeff Sonne for FSEC
Mod #
 8000 
Proponent
403.2.3
Section
4
Chapter
Pending Review
Update Table C403.2.3(1) Unitary Air Conditioners and Condensing Units to latest federal standards.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Ranck
9 Yes – 0 No
Jeff Sonne for FSEC
Section
403.2.3
 8025 
Chapter
Mod #
Updates Table C403.2.3(9) Air Conditioners and Condensing Units Serving Computer Rooms
4
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
Proponent requests A2
2nd Geyselaers for A2 only
9 Yes – 0 No
Bereket Nigusse

Page 16 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 8028 
Proponent
403.2.3
Section
4
Chapter
Pending Review
Update Table C403.2.3(2) ELECTRICALLY OPERATED UNITARY AND APPLIED HEAT PUMPS to latest federal standards.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Grabowski
9 Yes – 0 no
Jeff Sonne for FSEC
Mod #
 8031 
Proponent
403.2.3
Section
4
Chapter
Pending Review
Updates Table C403.2.3(11) VRF Multi‑Split Air Conditions and Heat Pumps
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes – 0 No
Bereket Nigusse
Mod #
 8040 
Proponent
408
Section
4
Chapter
Pending Review
Consolidates maintenance requirements with TACing provisions.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Smith-Burke
9 Yes – 0 No
Joseph Belcher for FHBA
Mod #
 8045 
Proponent
401.2
Section
4
Chapter
Pending Review
Eliminated mandatory automatic controlled receptacles.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Cochelle
4 Yes 5 No  Calleja -Motion to reconsider – 2nd Smith – 9 Yes – 0 No
2nd Cochelle
8 Yes – 1 No
Joseph Belcher for FHBA

Page 17 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 8066 
Proponent
408.1
Section
4
Chapter
Pending Review
The operations and documentation requirements in Section C303 were written prior to the IECC having section C408. Section C408 covers TACing requirements, &amp;  what type of operations and maintenance documents must be included in the information given to building owners and operators.
Summary

AS
AM

NAR

I
X
W
TAC Action
Duplicate of 8040
Withdrawn by proponent 
George Wiggins (BOAF)
Mod #
 8093 
Proponent
401
Section
4
Chapter
Pending Review
Mostly editorial to place the TACing requirements for mechanical &amp; service hot water heating and the functional testing requirements for lighting controls in one new Section 408
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselaers
9 yes – 0 no
George Wiggins (BOAF)
Mod #
 8095 
Proponent
403
Section
4
Chapter
Pending Review
Corrects a revision placed in the 2015 IECC &amp; moves fan requirements to C403.2.12 to be in one location for consistency with ASHRAE Std 90.1‑16
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselaers
9 yes – 0 No
George Wiggins (BOAF)
Section
403.2.12.3
 8122 
Chapter
Mod #
This modification revises the text in section C403.2.12.3.
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd  Smith-Burke
9 yes – 0 No
Amanda Hickman

Page 18 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Section
403.2.14
 8137 
Chapter
Mod #
This modification resolves conflict between Federal preemption rules and code requirements for walk‑in coolers and freezers
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd Sanders for the original only
9 Yes – 0 No
Amanda Hickman
Mod #
 8142 
Proponent
403
Section
4
Chapter
Pending Review
The proposed additional criteria to the FBC, Energy provides the ability to reduce building energy use through deeper thermostat setups and setbacks and ventilation control in unrented guestrooms without affecting occupant comfort or creating a conflict with the FBC, Mechanical Code
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselaers
Cochelle – does this mean turning them off or up, which effects dehumidification?  Crum – should be up to raise the cooling setpoint.
9 Yes – 0 No
George Wiggins (BOAF)
Mod #
 8148 
Proponent
406.1.1
Section
4
Chapter
Pending Review
This proposal clarifies that built‑out tenant spaces that are or were occupied, and undergoing an alteration using the existing building provisions, do not need to comply with one or more of the packages in Section C406.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselaers
9 Yes – 0 No
George Wiggins (BOAF)
Mod #
 8154 
Proponent
406.7.1
Section
4
Chapter
Pending Review
Clarifies that minimum percentage requirements are related to a building&#39;s annual hot water requirements &amp; not  first hour rating, &amp;
Removes combined heat and power system technologies  &amp;
Expands the qualifying renewable energy technology  to any on site renewable
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Dies for lack of 2nd  NAR 
George Wiggins (BOAF)

Page 19 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 8184 
Proponent
403.2.12.2
Section
4
Chapter
Pending Review
Correct conversion error related to shaft power.
Move the clause about fan system motor nameplate for better clarity.
Increase the design options for load‑matching variable‑speed fan motors, accommodates new motor and drive technologies, and it simplifies the motor selection criteria for fans.
Summary

AS
AM

X
NAR

I

W
TAC Action
Dies for lack of 2nd  NAR
Armin Hauer
Section
407.3
 8185 
Chapter
Mod #
Clarifies the treatment of on‑site renewable energy in the performance path and sets reasonable limitations on trade‑offs consistent with the 2018 IECC.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
2nd Smith-Burke
3 Yes – 6 No  NAR
Eric Lacey
Mod #
 8199 
Proponent
406
Section
4
Chapter
Pending Review
Adds two new options to Section C406, providing additional flexibility consistent with changes made in the 2018 IECC through proposal CE230.
Summary

AS
AM

X
NAR

I

W
TAC Action
Dies for lack of 2nd  NAR 
Eric Lacey
Mod #
 8228 
Proponent
402.5.4
Section
4
Chapter
Pending Review
Proposal FS101‑15 for the 2018 IBC completely reorganized IBC Section 716, the pointers need to be reviewed and several revised. This proposal complements FS74‑15 approved in 2015 for the 2018 IBC.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes – 0 no 
John Woestman

Page 20 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 8259 
Proponent
402.2.7
Section
4
Chapter
Pending Review
From an building thermal envelope perspective, air spaces are sometimes not being applied correctly and this proposal provides the necessary direction.
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Geyselaers
2nd withdrawn  
Dies for lack of 2nd  NAR 

John Woestman
Mod #
 8367 
Proponent
403.2.8
Section
4
Chapter
Pending Review
Eliminates Conflict between FECC‑C403.2.8 and the Mechanical Code Section 507.5.
Commercial Kitchen Hood Minimum Airflows in M507.5 are actually HIGHER than the Maximum shown in Energy Code Commercial 403.2.8. Proposed Mod eliminates the Maximum Airflows in C403.2.8.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Cochelle
9 Yes – 0 No
Oscar Calleja
Mod #
 8377 
Proponent
408.2
Section
4
Chapter
Pending Review
Adds clarification to the Commercial Building TACing requirement.This Mod adds language that prevents counting individual mechanical system capacities serving the building&#39;s dwelling/sleeping units in calculating the whole building capacity.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Smith
9 Yes – 0 No
Oscar Calleja
4‑[RE] ‑ Residential Energy Efficiency
Mod #
 7154 
Proponent
403.7.2
Section
4
Chapter
Pending Review
Disallow electric resistance from being primary space heating system type for prescriptive compliance in Climate Zone 2.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes – 0 No
Jeff Sonne for FSEC

Page 21 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Section
404.1
 7204 
Chapter
Mod #
This proposed modification revises the luminaire and lamp efficacy requirements under Section R404 to align the code with current lighting industry standards.
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd Ranck
9 Yes – 0 No
Bryan Holland
Section
405.5.2(1)
 7231 
Chapter
Mod #
The proposed modifications are editorial in nature and are being submitted to maintain consistency with the changes that are anticipated with IECC 2021 changes.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
LaBrun – footnote H was only partially brought back in and trying to fix an error. Change to table #R402.1.2 picked up in Ufactor table as R402.1.4.  this clarifies.
Dies for lack of 2nd NAR 
Kelli Fleming
Mod #
 7566 
Proponent
405.2.2
Section
4
Chapter
Pending Review
Clarifies that for simulated performance compliance, the tested building air leakage rate must not exceed the proposed design leakage rate.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Grabowski
9 Yes – 0 No
Jeff Sonne for FSEC
Mod #
 7570 
Proponent
403.3.3
Section
4
Chapter
Pending Review
Clarifies that duct testing is required for simulated performance compliance if credit is taken for duct sealing beyond default leakage.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja  Sonne working with FHB on this issue.
9 Yes – 0 No
Jeff Sonne for FSEC

Page 22 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7574 
Proponent
405.5.2
Section
4
Chapter
Pending Review
Reword first sentence of Table R405.5.2(1) footnote &quot;a&quot; regarding building air leakage testing to make consistent with current Florida Code.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes – 0 No
Jeff Sonne for FSEC
Mod #
 7575 
Proponent
405.2.3
Section
4
Chapter
Pending Review
Clarifies that for simulated performance compliance, the tested duct air leakage rate must not exceed the leakage rate of the proposed design.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Grabowski
9 Yes – 0 No
Jeff Sonne for FSEC
Mod #
 7576 
Proponent
403.6.1
Section
4
Chapter
Pending Review
Rewords section&#39;s electronically commutated motor requirement and adds minimum efficacy requirement for HRVs and ERVs.
Summary

AS
AM

NAR

I
X
W
TAC Action
Proponent would like to Withdraw as long as 8114 is considered.  Determined Withdrawn per previous email.
Jeff Sonne for FSEC
Mod #
 7577 
Proponent
405.5.2
Section
4
Chapter
Pending Review
Clarifies that for proposed designs with electric heating, the standard reference design heating system type is a heat pump.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Ranck
9 Yes – 0 No
Jeff Sonne for FSEC

Page 23 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7578 
Proponent
405.5.2
Section
4
Chapter
Pending Review
Clarifies that for proposed designs without a heating system, an electric heat pump is to be assumed for both the standard reference design and proposed design if the proposed design has an electric water heater.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Smith
9 Yes – 0 No
Jeff Sonne for FSEC
Mod #
 7579 
Proponent
405.5.2
Section
4
Chapter
Pending Review
Removes footnote &quot;e&quot; and &quot;f&quot; references from Service hot water section of table.
Summary

AS
AM

X
NAR

I

W
TAC Action
Dies for lack of 2nd NAR 
Jeff Sonne for FSEC
Section
405.5.2
 7597 
Chapter
Mod #
Increases reference water heater efficiency for proposed electric water heaters with ~= 55 gallon rated storage volume.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Proponent requests A1   Kozan indicated that A1 point to an appendix which would bring an appendix into the code.
Dies for lack of 2nd  NAR 

Jeff Sonne for FSEC
Mod #
 7649 
Proponent
403.13
Section
4
Chapter
Pending Review
Adds dehumidifier code sections.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes – 0 No
Jeff Sonne for FSEC

Page 24 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7651 
Proponent
405.5.2
Section
4
Chapter
Pending Review
Adds dehumidifier and dehumidistat sections to performance compliance Table R405.5.2(1).
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
8 Yes – 1 No
Jeff Sonne for FSEC
Section
403.5.1
 7783 
Chapter
Mod #
Plan reviewers &amp; inspectors have misinterpreted 403.5.1 to mean that HW recirc systems are mandatory for every 1 &amp; 2 family dwelling.  They are not.  It is the controls that are mandatory IF a HW recirc system is installed.
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd Calleja for original only   Madani-original correlates to declaratory statement.
9 Yes – 0 no
David Porter
Mod #
 7802 
Proponent
405.4.2.2
Section
4
Chapter
Pending Review
Incorporating TAC’s declaratory statements as required by 553.73(7)(d), Florida Statutes. 

DS2018‑034
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Geyselaers
9 Yes – 0 No
Mo Madani
Mod #
 7958 
Proponent
402.1
Section
4
Chapter
Pending Review
Adds Exception for log homes.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Grabowski
9 Yes – 0 No
Joseph Belcher for FHBA

Page 25 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Section
403.3
 7987 
Chapter
Mod #
Adds additional method for energy code compliance ‑ buried ducts.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Duplicate 8372
Dies for lack of 2nd  NAR 

Joseph Belcher for FHBA
Section
403.3
 7994 
Chapter
Mod #
Adds alternate methods for energy compliance.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Dies for lack of 2nd  NAR 
Joseph Belcher for FHBA
Section
403.3
 8002 
Chapter
Mod #
Additional method for energy code compliance.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
2nd Smith
1 Yes – 8 No
Joseph Belcher for FHBA
Mod #
 8014 
Proponent
403.6.1
Section
4
Chapter
Pending Review
Adds fan efficacy criteria for H/ERV fans.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Ranck   Cochelle – HRV’s have no place in Florida – ERV’s yes.  Calleja – this erases that problem.
9 Yes – 0 No
Joseph Belcher for FHBA

Page 26 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 8036 
Proponent
405.5.2
Section
4
Chapter
Pending Review
Changes equations to account for minimum fan efficacy for HRV and ERV
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes – 0 No
Joseph Belcher for FHBA
Section
405
 8127 
Chapter
Mod #
This proposal makes the 7th Edition Code consistent with the 2018 IECC and closes a significant performance path loophole by eliminating efficiency trade‑offs for heating, cooling, and water heating equipment for which the TAC is preempted from setting efficiency requirements.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
2nd Dies for lack of 2nd  NAR 
Eric Lacey
Section
405
 8129 
Chapter
Mod #
Provides a reasonable efficiency trade‑off backstop for the performance path.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
2nd Dies for lack of 2nd  NAR 
Eric Lacey
Section
403
 8172 
Chapter
Mod #
Incorporates 2018 IECC provisions for buried ducts in attics, including proposals RE99, RE100, and RE110.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Proponent requests NAR due to action on three previous.
Eric Lacey

Page 27 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Section
406
 8181 
Chapter
Mod #
This proposal aligns the Energy Rating Index target in the Florida Building Code with the 2018 IECC.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Dies for lack of 2nd  NAR
Eric Lacey
Section
402.1.4
 8287 
Chapter
Mod #
Changes to U‑Factor for fenestration.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Proponent requests NAR 
Dies for lack of 2nd  
Joseph Belcher for FHBA
Section
402.1.4
 8289 
Chapter
Mod #
Changes to U‑Factor for fenestration.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review
X
W
Withdrawn by proponent.
Joseph Belcher for FHBA
Section
406.4
 8390 
Chapter
Mod #
Establishes ERI Reference Design ventilation rate.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Dies for lack of 2nd  NAR 
Joseph Belcher for FHBA

Page 28 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Section
403.7.1.4
 8392 
Chapter
Mod #
Makes provisions for heating and cooling equipment powered by generators during natural disasters and recovery
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Proponent requests to use A1 and comment for solar battery operations.
2nd – Smith for A1 with comment for solar battery operations.
0 Yes – 9 No NAR
Arlene Stewart
5‑[RE] ‑ Existing Building
Section
503.1.4
 7243 
Chapter
Mod #
This proposed modification
5
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
2nd Sanders
1 Yes – 8 No
Bryan Holland
Section
503.1.1.1
 7254 
Chapter
Mod #
Provides additional flexibility for builders by allowing replacement fenestration U‑factors and SHGCs to be area‑weighted averaged, consistent with 2018 IECC.
5
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd Cochelle   Calleja – this only applies to fenestration that is over 30% value in the home.
8 Yes – 1 No

Eric Lacey
Mod #
 7598 
Proponent
503.2
Section
5
Chapter
Pending Review
To make exception consistent with Florida Code Section R405.3, replace &quot;energy cost&quot; language with &quot;loads&quot; language.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Ranck
9 Yes – 0 No
Jeff Sonne for FSEC

Page 29 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7599 
Proponent
505.2
Section
5
Chapter
Pending Review
To make exception consistent with Florida Code Section R405.3, replace &quot;energy cost&quot; language with &quot;loads&quot; language.
Summary
X
AS
AM

NAR

I

W
TAC Action
Arlene Stewart – provide definition of ‘Load’.
2nd Ranck
9 yes – 0 No
Jeff Sonne for FSEC
Section
501.7
 8371 
Chapter
Mod #
On existing Residential buildings, replacement of AC ductwork is required to comply with the Prescriptive requirements of the Energy Code. This means min R‑8 ductwork in attics.
This Mod removes that requirement allowing for R‑6 ductwork to be installed.
5
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd Cochelle original only
9 Yes – 0 No
Oscar Calleja
5‑[CE] ‑ Existing Building
Section
503.1
 7330 
Chapter
Mod #
This proposed modification deletes an unintended and unnecessary exception for alterations.
5
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
2nd Dies for lack of 2nd  NAR 
Bryan Holland
Section
503.2
 8190 
Chapter
Mod #
Adopts reasonable exceptions to code requirements for existing buildings.
5
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd  Calleja
9 Yes – 0 No
Eric Lacey
2717‑[CE] Reference Standards

Page 30 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Mod #
 7883 
Proponent
1
Section
2717
Chapter
Pending Review
Adds reference standard ASHRAE 55‑2013
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 Yes -0 No
Amanda Hickman
Mod #
 7885 
Proponent
1
Section
2717
Chapter
Pending Review
This modification removes reference standard AMCA 205‑12
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Calleja
9 yes – 0 No
Amanda Hickman
Mod #
 7913 
Proponent
1
Section
2717
Chapter
Pending Review
This modification adds the reference standard AMCA 208‑18: Calculation of the Fan Energy Index.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Cochelle
9 Yes – 0 No
Amanda Hickman
Section
1
 8139 
Chapter
Mod #
This modification adds two new references to Chapter 6.
2717
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
Proponent requests the original to be consistent with previous action.
2nd Calleja
9 yes – 0 No
Amanda Hickman

Page 31 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Total Mods for  Energy in  Pending Review
TAC: 
Energy
 124
Section
6
 8176 
Chapter
Mod #
The proposed code change update standard ASHRAE 90.1 to the 2016 edition.
2717
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd Calleja
9 Yes – 0 no
Mo Madani
SubCode:
Residential
Ü
2‑Definitions
Mod #
 7893 
Proponent
202
Section
2
Chapter
Pending Review
Adding a definition of &quot;opaque door&quot;.
Summary

AS
AM

X
NAR

I

W
TAC Action
Proponent request NAR to work with stakeholders. Sonne-this is not consistent when considering Energy Code regarding doors.  
Dies for lack of 2nd  NAR 
Joseph Hetzel
4‑Foundations
Mod #
 7655 
Proponent
408.3
Section
4
Chapter
Pending Review
This change adds an option for dehumidification for unvented crawl spaces.
Summary
X
AS
AM

NAR

I

W
TAC Action
Note: Mechanical and Structural TAC - AS
2nd Calleja
9 yes – 0 No
Ann Russo8
8‑Roof‑Ceiling Construction
Mod #
 7726 
Proponent
806.5
Section
8
Chapter
Pending Review
Editorial improvement.
Summary

AS
AM

X
NAR

I

W
TAC Action
Note:  Roofing TAC NAR and Structural TAC- AS
Dies for lack of 2nd  NAR 
Ann Russo1
Search Criteria

Page 32 of 32
2/26/2019
Energy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  124
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
TAC Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
EN
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived: