Page 1 of 4
2/26/2019
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  12
Pending Review
TAC Recommendation
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 12
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Section
454.1.6.1
 7798 
Chapter
Mod #
Incorporating TAC’s declaratory statements as required by 553.73(7)(d), Florida Statutes. 

DS2018‑040
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd – Vinas – 10 Yes – 0 No
Mo Madani
SubCode:
Fuel Gas
Ü
8‑Referenced Standards
Section
8
 7202 
Chapter
Mod #
Update LC 1/CSA 6.26 from 2013 to 2018. The 2018 standard contains language for arc‑resistant CSST not contained in the 2013 standard.
8
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
Original w/ A1 = 2nd Boyer  10 Yes 0 No
Jonathan Sargeant
SubCode:
Plumbing
Ü
4‑Fixtures, Faucets and Fixture Fittings
Section
419.5
 7194 
Chapter
Mod #
Restores the option of providing cold water to hand‑washing facilities
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
2nd Boyer – 10 Yes 0 No
Gary Kozan

Page 2 of 4
2/26/2019
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  12
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 12
Mod #
 8166 
Proponent
403.1.3
Section
4
Chapter
Pending Review
To clarify that the ratio established by potty parity is not required to be maintained for the additional fixtures provided in excess of the minimum required fixtures.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd – Vinas  10 Yes – 0 No
Mo Madani
6‑Water Supply and Distribution
Mod #
 7192 
Proponent
606.2
Section
6
Chapter
Pending Review
Clarifies that shutoff valves are not required for tub and showers when installed in residential occupancies.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Vinas -  10 Yes 0 No
Gary Kozan
10‑Traps, Interceptors and Separators
Mod #
 8165 
Proponent
1003.3
Section
10
Chapter
Pending Review
The modification keeps the distinction between grease interceptors as part of onsite sewage treatment and disposal systems vs. for central sewer systems (Florida Statutes 381.0065(2)(k)) and incorporates some changes of the 2018 IPC. The onsite sewage requirement moved to 1003.3.9 instead of 1003.5.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd – Kozan  - 10 Yes – 0 No
Eberhard Roeder
14‑Subsurface Landscape Irrigation Systems
Section
1401
 8091 
Chapter
Mod #
Modification adds Surface and Subsurface Landscape Irrigation Systems connected to either potable or nonpotable water supplies and modifies the current Chapter 14 numbering system to integrate into the new section.  Current code addresses subsurface irrigation connected to nonpotable water supply.
14
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Discussion regarding support of A2 – 2nd – Duren -  5 Yes – 5 No
Difficult to enforce especially in small jurisdictions.  Related to Green Code and water conservation.  Already have Appendix F which can be adopted by local jurisdictions and only 6 jurisdictions have adopted it statewide.  
Cheryl Harris

Page 3 of 4
2/26/2019
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  12
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 12
Section
1402
 8384 
Chapter
Mod #
The proposed modification deletes the content of this Chapter from the Florida Building Code‑Plumbing consistent with Florida Statutes, which require graywater disposal systems to follow onsite sewage treatment and disposal system standards of Chapter 64‑6, of the Florida Administrative Code.
14
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
Use original text.  This will remove gray water requirements in Ch14.  Another code mod proposes to rewrite the FBC Residential code – 30 to include it.  

2nd – Kozan – NAR – 10 Yes – 0 No
Eberhard Roeder
SubCode:
Residential
Ü
29‑Water Supply and Distribution
Mod #
 7193 
Proponent
2905.3
Section
29
Chapter
Pending Review
Adds a 100‑ft maximum distance from hot water source to fixtures in the Residential Code
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd – Boyer  -  10 Yes – 0 No
Gary Kozan
Mod #
 8159 
Proponent
2902.5.3
Section
29
Chapter
Pending Review
Change reference to &quot;lawn&quot; to &quot;landscape&quot; irrigation for consistency with other code sections.
Summary

AS
AM

X
NAR

I

W
TAC Action
Strikes language in 2 locations.  2nd – Duren  -  Vinas suggested to add “turf lawn and landscape irrigation’.  Kozan stated already covered in code. Duren - Suggested to state to potable water supply and remove all of this language.   NAR 0 Yes – 10 No
Cheryl Harris
Mod #
 8163 
Proponent
2914
Section
29
Chapter
Pending Review
Add Section for Irrigation Systems in Residential Code that references Chapter 14 in Plumbing Code.
Summary

AS
AM

X
NAR

I

W
TAC Action
No 2nd – motion dies.  NAR
Cheryl Harris
30‑Sanitary Drainage

Page 4 of 4
2/26/2019
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  12
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 12
Mod #
 7110 
Proponent
3009
Section
30
Chapter
Pending Review
Refer gray water landscape irrigation systems to regulation by Chapter 64E‑6, Florida Administrative Code. This precludes duplicative regulations and reflects Florida statutory requirements for onsite sewage treatment and disposal.
Summary

AS
AM

X
NAR

I

W
TAC Action
NAR motion dies for lack of 2nd.

Suggested to delete 3009 so there is no conflict with other sections of the code.
Eberhard Roeder
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
TAC Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
P
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria