Page 1 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  102
Pending Review
TAC Recommendation
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 102
SubCode:
Building
Ü
2‑Definitions
Mod #
 7603 
Proponent
202
Section
2
Chapter
Pending Review
This proposal clarifies and makes corrections to the definition. Specifically, in the definition in the Building and Residential Codes it
replaces one of the redundant &quot;vapor retarder&quot; listings with &quot;underlayment&quot;.
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Boyer
I code removes ‘under roof covering’.  Burning w/ ICC – redundant term.
Representative of proponent recommends NAR 
Dies for lack of 2nd  NAR 
Ann Russo5
Mod #
 8264 
Proponent
202
Section
2
Chapter
Pending Review
This change will make the FBCB definition consistent with the ICC Green Building Code and ASTM D1079.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Boyer
10 Yes 1 No
Joseph Crum
15‑Roof Assemblies and Rooftop Structures
Mod #
 7161 
Proponent
1501.1
Section
15
Chapter
Pending Review
The modification provides for inclusion of Florida Building Code, Building Section 1507.18.1 in the High Velocity Hurricane Zone.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
John Hall

Page 2 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7182 
Proponent
1514
Section
15
Chapter
Pending Review
Clarifying roof drainage requirements.
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Zehnal   7 Yes – 4 No NAR
Michael Goolsby
Mod #
 7185 
Proponent
1523.6.4
Section
15
Chapter
Pending Review
Clarify required uplift test procedure.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Warseck 
11 Yes – 0 no
Michael Goolsby
Mod #
 7186 
Proponent
1525
Section
15
Chapter
Pending Review
Establish consistency with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Michael Goolsby
Mod #
 7316 
Proponent
1511
Section
15
Chapter
Pending Review
This modification adds language to clarify that salvaged slate, clay and concrete roof tile of like kind can be used in certain applications
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Warseck     Zehnal - concerned with word ‘salvaged’ – 
10 Yes – 1 No 
Michael Silvers (FRSA)

Page 3 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7338 
Proponent
1521.13
Section
15
Chapter
Pending Review
Eliminate a reference in the code to a section that has been removed from the code.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal    10 Yes – 1 No
Gaspar Rodriguez
Mod #
 7342 
Proponent
1523.6.5.2.8
Section
15
Chapter
Pending Review
Correct a typo error.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd  Buckner
11 Yes – 0 No  
Gaspar Rodriguez
Mod #
 7356 
Proponent
1507.3
Section
15
Chapter
Pending Review
This modification updates Referenced Standard: FRSA/TRI High Wind Concrete and Clay Roof Tile Manual from the Fifth to the Sixth Edition
Summary
X
AS
AM

NAR

I

W
TAC Action
Zehnal – 1503.1.1 clarification needs to be corrected still says
2nd Zehnal
11 Yes – 0 No
Michael Silvers (FRSA)
Mod #
 7380 
Proponent
1507.9.6
Section
15
Chapter
Pending Review
Revise out dated code language
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Joseph Crum

Page 4 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7427 
Proponent
1510.7.1
Section
15
Chapter
Pending Review
Correlates the wind loading requirements in the code for rooftop PV with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 yes – 0 No
T Stafford
Mod #
 7437 
Proponent
1515.2
Section
15
Chapter
Pending Review
Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Buckner
Zehnal – a new test standard E20-40-S01 what is this test?
11 yes – 0 No
Gaspar Rodriguez
Mod #
 7438 
Proponent
1523.6.5.2.4.1
Section
15
Chapter
Pending Review
Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd  Goff
11 Yes – 0 No
Gaspar Rodriguez
Mod #
 7580 
Proponent
1507.1.1
Section
15
Chapter
Pending Review
This modification adds an exception to underlayment attachment that provides for an existing self‑adhering membrane to act as a secondary water barrier similar to the 4&quot; wide strip in the current exception.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Kennedy  9 Yes – 2 No  AS 
Michael Silvers (FRSA)

Page 5 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7600 
Proponent
1510.11
Section
15
Chapter
Pending Review
Creates new code section to provide minimum standards for positioning and securing metal conduit and electrical wiring near a roof assembly.
Summary

AS
AM

X
NAR

I

W
TAC Action
Holland-opposition to verbiage not concept.  Conduit – is only one kind of raceway mentioned – need to address all.  i.e.: pvc, metal, etc.
Proponent willing to work with Holland (NEMA) to work on verbiage.  Gaspar – location of code mod should be addressed. Perhaps should also be in Chapter 23.
Dies for lack of 2nd  NAR 
Deborah Lawson
Mod #
 7696 
Proponent
1507.1.1
Section
15
Chapter
Pending Review
This proposal will require a sealed roof deck consistent with the IBHS Fortified Bronze designation.
Summary

AS
AM

X
NAR

I

W
TAC Action
Motion to table Warseck/2nd Boyer   11 Yes – 0 No  Motion to remove Zehnal/2nd Warseck
2nd Kennedy  3 Yes – 8 No NAR 
T Stafford
Mod #
 7703 
Proponent
1505
Section
15
Chapter
Pending Review
The testing for photovoltaic panel systems are covered in both UL 1703 and UL 2703.  This proposal adds two new UL standards to this section, UL 1703 and 2703, which are ANSI consensus standards.  These standard provide the test method for testing panels and mounting systems.
Summary
X
AS
AM

NAR

I

W
TAC Action
UL typo should be 2703 not 2073.
2nd Ross
10 Yes – 1 No 
Jon Roberts
Mod #
 7830 
Proponent
1504
Section
15
Chapter
Pending Review
This modification moves ASCE 7 as it applies to roof coverings from Chapter 16 to Chapter 15
Summary

AS
AM

X
NAR

I

W
TAC Action
Note: Structural TAC voted NAR   Silvers-No new testing for new standard - based on existing data.
2nd Kennedy
6 Yes – 5 No

Michael Silvers (FRSA)

Page 6 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7872 
Proponent
1505
Section
15
Chapter
Pending Review
Adds guidance by referencing table 501 for building integrated photovoltaic products to ensure that they have the proper fire classification.
Summary
X
AS
AM

NAR

I

W
TAC Action
Note: Fire TAC AS
2nd Waraseck
9 Yes – 2 No
Jon Roberts
Mod #
 7878 
Proponent
1504
Section
15
Chapter
Pending Review
New Section for Metal roof shingles that recognizes ASTM D3161 classification based on wind resistance code requirements.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Ross
10 Yes – 1 No 
Zehnal – needs a correction on table reference to A,B,C.  Ross to address this in comment period.
Andy Williams
Mod #
 8061 
Proponent
1507.1.1
Section
15
Chapter
Pending Review
Revision of requirements related to synthetic underlayment.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Greg Keeler
Mod #
 8063 
Proponent
1507.1.1
Section
15
Chapter
Pending Review
Modifies table to include placeholder for proposed ASTM Polymeeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.
Summary

AS
AM

X
NAR

I

W
TAC Action
Madani – this standard is not final and unadoptable.
Ross drop dead date is?  Madani – 45 days from April 12th, 2019
Dies for lack of 2nd – NAR  
Greg Keeler

Page 7 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 8080 
Proponent
1507.3
Section
15
Chapter
Pending Review
Revises the roof tile section to clarify that wind loads on tile have to comply with ASCE 7‑16.
Summary

AS
AM

X
NAR

I

W
TAC Action
Note: Structural TAC AS
Silvers/Stafford agreed they will work together to update the charts.
2nd  Charles
2 Yes – 9 No  NAR 
T Stafford
Mod #
 8158 
Proponent
1504.3.3
Section
15
Chapter
Pending Review
The proposal expands the definition of roofing beyond recognizing metal roof singles
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Charlie  
Zehnal suggested to be withdrawn because TAC already accepted 7878.
0 Yes – 11 No  NAR 
Ann Russo5
Mod #
 8161 
Proponent
1507.2.7.1
Section
15
Chapter
Pending Review
The proposal expands the definition of roofing beyond recognizing metal roof singles
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Charlie
0 Yes – 11 No  NAR 
Ann Russo5
Mod #
 8164 
Proponent
1507.2.7.1
Section
15
Chapter
Pending Review
The proposal expands the definition of roofing beyond recognizing metal roof singles
Summary

AS
AM

NAR

I
X
W
TAC Action
Withdrawn by proponent.
Ann Russo5

Page 8 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 8273 
Proponent
1510.2.5
Section
15
Chapter
Pending Review
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal   11 yes – 0 No
Paul Coats
Mod #
 8291 
Proponent
1504
Section
15
Chapter
Pending Review
Updating to match currently applicable standards and references
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal   11 Yes – 0 No
Chadwick Collins
Mod #
 8292 
Proponent
1505
Section
15
Chapter
Pending Review
Address inconsistency between FBC and FBC‑R fire requirements.
Summary
X
AS
AM

NAR

I

W
TAC Action
Note:  Fire TAC NAR.  11 Yes -0.No  
Chadwick Collins
Mod #
 8293 
Proponent
1507
Section
15
Chapter
Pending Review
Updating language of section to reflect Chapter 2 definition
Summary
x
AS
AM

NAR

I

W
TAC Action
2nd Zehnal  11 Yes – 0 No  
Chadwick Collins

Page 9 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 8294 
Proponent
1507
Section
15
Chapter
Pending Review
Clarifies practice and prescriptive requirements
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal  11 Yes – 0 No
Chadwick Collins
Mod #
 8295 
Proponent
1516
Section
15
Chapter
Pending Review
Alignment of fire classification between HVHZ and non‑HVHZ (Section 1505)
Summary

AS
AM

X
NAR

I

W
TAC Action
Note:  Fire TAC NAR   
2nd  Kennedy   1 Yes – 10 No  NAR
Chadwick Collins
Mod #
 8397 
Proponent
1503.1
Section
15
Chapter
Pending Review
Editorial Change to general requirements
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd – Swope
11 Yes – 0 No
Michael Fischer
Mod #
 8399 
Proponent
1504.7
Section
15
Chapter
Pending Review
Removes withdrawn referenced standards.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Michael Fischer
31‑Special Construction

Page 10 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7365 
Proponent
3111
Section
31
Chapter
Pending Review
This proposed modification updates requirement for solar energy systems in the FBC‑B.
Summary
X
AS
AM

NAR

I

W
TAC Action
Note: Fire TAC AS and Structural TAC AS  Holland – Error in 3111.4 to be corrected.
2nd  Zehnal
11 Yes – 0 No

Bryan Holland
35‑Referenced Standards
Mod #
 7366 
Proponent
35
Section
35
Chapter
Pending Review
This modification updates Referenced Standards: FRSA/TRI Florida High Wind Concrete and Clay Roof Tile Installation Manual from the Fifth to the Sixth Edition.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd – Kennedy
Zehnal – suggests remove the word ‘Revised’.
11 Yes – 0 No
Michael Silvers (FRSA)
Mod #
 7843 
Proponent
35
Section
35
Chapter
Pending Review
Add ASTM E2140‑01, Standard Test Method for Water Penetration  of Metal Roof Panel Systems by Static Water Pressure Head.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Kennedy
11 Yes – 0 No
Gaspar Rodriguez
Mod #
 8301 
Proponent
1
Section
35
Chapter
Pending Review
Update referenced standard
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Chadwick Collins

Page 11 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 8303 
Proponent
1
Section
35
Chapter
Pending Review
Update referenced standard
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Chadwick Collins
SubCode:
Existing Building
Ü
2‑Definitions
Mod #
 7312 
Proponent
202
Section
2
Chapter
Pending Review
The modification adds the definition of &quot;Positive Roof Drainage&quot; to the Existing Sub Code Chapter 2 which is currently only in the Building Code Chapter 2. The term only applies to existing buildings.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes –0 No
Michael Silvers (FRSA)
7‑Alterations ‑ Level 1
Mod #
 7219 
Proponent
706.7.2.1
Section
7
Chapter
Pending Review
The current language does not correctly describe the limitation on the width of the modified bitumen tape that can be used as a secondary water barrier.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
Zehnal - Adjusting from 3 1/2 to 6 inches would address concerns.
11 Yes – 0 No
Gaspar Rodriguez
Mod #
 7314 
Proponent
706
Section
7
Chapter
Pending Review
This modification adds language to clarify that salvaged slate, clay and concrete roof tile of a like kind can be used in certain applications.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Allwood
10 Yes – 1 No
Michael Silvers (FRSA)

Page 12 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Section
706
 7525 
Chapter
Mod #
Expands 706.7 Mitigation by eliminating &quot;single family residential&quot; thereby covering all applicable site built structures. It removes the &quot;roofing materials are removed&quot; trigger and replaces it with prescriptive methods already in code.
7
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Note: Structural TAC NAR     Stafford - Changing the trigger would diminish the wind requirements.  Silvers – adopted as part of new ICC Existing Volume but was not reviewed by the FBCommission.  Belcher-workgroup reviewed and made some changes to the Existing Bldg Code and this has evolved with other changes through the years.  
2nd Swope for discussion.  Rodriguez – Legislature was specific as to site-built single family residence.
3 Yes – 8 No  NAR 

Michael Silvers (FRSA)
Mod #
 7581 
Proponent
707
Section
7
Chapter
Pending Review
This modification changes the trigger from &quot;where roofing materials are removed from more than 50% of the roof diaphragm&quot; to a recognized trigger using a specific accumulated value of proposed work as a ratio of the value of the structure.
Summary

AS
AM

X
NAR

I

W
TAC Action
Note: Structural TAC NAR
2nd Rodriguez for discussion  from a Code Admin view – do not want to bring in renovated buildings.
2nd withdrawn
Dies for lack of 2nd.  NAR 
Michael Silvers (FRSA)
Mod #
 7960 
Proponent
707.3.2
Section
7
Chapter
Pending Review
Resolves the issue of a routine maintenance activity (i.e. reroofing) establishing a burdensome requirement that is contemplated in Chapter 9 of the Florida Building Code Existing Building, when an Alteration Level Three is reached.
Summary
X
AS
AM

NAR

I

W
TAC Action
Note: Structural TAC NAR 
2nd Swope  
9 Yes – 2 No  AS 
Gaspar Rodriguez
Section
706.1
 8083 
Chapter
Mod #
[BS] 706.1 General.
[BS] 706.2 Structural and construction loads.
706.3 Roof replacement. 
706.3.1 Roof recover. 
706.3.1.1 Exceptions
7
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
2nd Dies for lack of 2nd  NAR 
Harold Barrineau
SubCode:
Residential
Ü
2‑Definitions

Page 13 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 8177 
Proponent
202
Section
2
Chapter
Pending Review
Add definition to the building‑integrated photovoltaic roof panel
Summary
X
AS
AM

NAR

I

W
TAC Action
Note: Structural TAC AS
2nd Ross 
11 Yes – 0 No
Ann Russo1
3‑Building Planning
Section
324
 7645 
Chapter
Mod #
The modification provides for solar ready features to facilitate the instalation of solar PV and solar thermal systems without resort to destructive methods.
3
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Note: Structural and Fire voted NAR
Belcher-Cost – to prepare a roof for future owner who may want to add PV panels.  If a particular community wishes to do this, they can adopt to do so.  Silvers – every time reroofed, this will have to be dealt with. Hall-no more difficult than a plumbing stack and adding after the fact adds damage and leaking issues to existing roof.  2nd Rodriguez – Buckner –while a good idea, this goes beyond legislative mandate to create a ‘minimal’ building code.   1 Yes – 10 No NAR 
John Hall
8‑Roof‑Ceiling Construction
Mod #
 7726 
Proponent
806.5
Section
8
Chapter
Pending Review
Editorial improvement.
Summary

AS
AM

X
NAR

I

W
TAC Action
Note: Structural TAC AS
Belcher –not only editorial.  removes ‘air permeable only’ as an option.  Silvers – another mod will add this back in.
Dies for lack of 2nd  NAR 
Ann Russo1
9‑Roof Assemblies
Mod #
 7347 
Proponent
907
Section
9
Chapter
Pending Review
This proposed modification deletes unneeded &quot;reserved&quot; sections and adds pointers to other applicable rules or standards related to solar energy systems.
Summary
X
AS
AM

NAR

I

W
TAC Action
Relates to 7345   Grabowski – installation of panels is key to the code.
2nd Ross – need everything contained in one place.
8 Yes – 3 No  AS
Bryan Holland

Page 14 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7348 
Proponent
909
Section
9
Chapter
Pending Review
This proposed modification deletes R909 as it is no longer needed with the updated information in R324 (Mod 7345) and R907 (Mod 7347).
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Ross – same comments as previous.
9 Yes – 2 No  AS 
Bryan Holland
Mod #
 7353 
Proponent
905.3
Section
9
Chapter
Pending Review
This modification updates Referenced Standard: FRSA/TRI High Wind Concrete and Clay Roof Tile Manual from the Fifth to the Sixth Edition
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Allwood
11 Yes – 0 No  
Michael Silvers (FRSA)
Mod #
 7426 
Proponent
905.17.1
Section
9
Chapter
Pending Review
Correlates the wind loading requirements in the code for rooftop PV with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
TAC Action
Note: Structural TAC AS
7427 is the companion to this in Building Code.  This mod is for Res code.
2nd Boyer
11 Yes – 0 No
T Stafford
Mod #
 7571 
Proponent
905
Section
9
Chapter
Pending Review
This modification adds an exception to underlayment attachment that provides for an existing self‑adhering membrane to act as a secondary water barrier similar to the 4&quot; wide strip in the current exception.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Kennedy
10 Yes – 1 No AS
Michael Silvers (FRSA)

Page 15 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7665 
Proponent
905.1.1
Section
9
Chapter
Pending Review
This proposal clarifies requirements related to use of synthetic underlayment.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 yes – 0 No
Greg Keeler
Mod #
 7694 
Proponent
905.1.1
Section
9
Chapter
Pending Review
This proposal will require a sealed roof deck consistent with the IBHS Fortified Bronze designation.
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Allwood
7 Yes – 4 No  NAR 
T Stafford
Mod #
 7730 
Proponent
905.15.3
Section
9
Chapter
Pending Review
Add necessary language for the application of roof coatings.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 yes - 0 No
Ann Russo1
Mod #
 7782 
Proponent
905.8.5
Section
9
Chapter
Pending Review
The existing text was outdated, requiring clarification and updates to current AWPA section numbering.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Scott McAdam

Page 16 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7806 
Proponent
906.2
Section
9
Chapter
Pending Review
This proposal will add reference to the appropriate ASTM Standard specification for mineral wool roof insulation and make Table R906.2 consistent with IBC Table 1508.2.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 yes – 0 no 
Scott McAdam
Mod #
 7865 
Proponent
902
Section
9
Chapter
Pending Review
This proposal adds a section to the code related to rooftop mounted photovoltaic panel systems.  It requires rooftop mounted panel systems to be listed and identified with a fire classification in accordance with UL 1703 and UL 2703.
Summary
X
AS
AM

NAR

I

W
TAC Action
Note: Fire TAC NAR 
2nd Ross
10 Yes – 1 No AS
Jon Roberts
Mod #
 7967 
Proponent
905
Section
9
Chapter
Pending Review
Addition of Wind Resistance testing ASTM D3161 to measure metal roof shingle wind resistance performance
Summary
X
AS
AM

NAR

I

W
TAC Action
Note:  Structural TAC NAR
2nd Ross
11 yes – 0 No
Andy Williams
Mod #
 8060 
Proponent
905.1.1
Section
9
Chapter
Pending Review
Placeholder for proposed ASTM Polymeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.
Summary

AS
AM

X
NAR

I

W
TAC Action
Corresponds to 8062  Standard is not yet final.
Dies for lack of 2nd  NAR 
Greg Keeler

Page 17 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 8062 
Proponent
905.1.1
Section
9
Chapter
Pending Review
Modifies table to include placeholder for proposed ASTM Polymeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.
Summary

AS
AM

X
NAR

I

W
TAC Action
 Same issue as previous action.
Dies for lack of 2nd  NAR  
Greg Keeler
Mod #
 8077 
Proponent
905.3
Section
9
Chapter
Pending Review
Revises the roof tile section to clarify that wind loads on tile have to comply with ASCE 7‑16.
Summary

AS
AM

X
NAR

I

W
TAC Action
Note: Structural TAC AS
FRSA will update manual to be equivalent to ASCE 7-16 if directed by the TAC’s.
Dies for lack of 2nd  NAR 

T Stafford
Mod #
 8170 
Proponent
905.16
Section
9
Chapter
Pending Review
Expanding the requirements for Building‑integrated Photovoltaic roof panels.
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Ross for discussion
0 Yes – 11 No  NAR  
Ann Russo1
Mod #
 8288 
Proponent
905
Section
9
Chapter
Pending Review
Update to meet intent of code definition
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 yes – 0 No
Chadwick Collins

Page 18 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 8290 
Proponent
905
Section
9
Chapter
Pending Review
Clarifies practice and prescriptive requirements
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 yes – 0 No
Chadwick Collins
Mod #
 8400 
Proponent
905.11.2
Section
9
Chapter
Pending Review
Removes withdrawn standards
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Michael Fischer
Appendix U ‑Solar‑Ready Provisions‑Detached‑One and Two‑family Dwellings(Townhouses)
Section
103
 7463 
Chapter
Mod #
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Appendix U
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Dies for lack of 2nd  NAR 
Richard Schauland
Chapter 46‑Reference Standards
Mod #
 7367 
Proponent
46
Section
46
Chapter
Pending Review
This modification updates Referenced Standards: FRSA/TRI Florida High Wind Concrete and Clay Roof Tile Installation Manual from the Fifth to the Sixth Edition.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal 
Zehnal – suggested to remove ‘Revised’
11 Yes – 0 No
Michael Silvers (FRSA)

Page 19 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7808 
Proponent
906.2
Section
46
Chapter
Pending Review
This proposal will add reference to the appropriate ASTM C726 Standard specification for mineral wool roof insulation and make Table R906.2 consistent with IBC Table 1508.2.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 yes – 0 No
Scott McAdam
Mod #
 8302 
Proponent
1
Section
46
Chapter
Pending Review
Update referenced standard
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No  
Chadwick Collins
Mod #
 8305 
Proponent
1
Section
46
Chapter
Pending Review
Update referenced standard
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Chadwick Collins
SubCode:
Test Protocols
Ü
RAS 111
Mod #
 7191 
Proponent
3.3
Section
RAS 111
Chapter
Pending Review
Establish consistency with ASCE 7‑16, update preservative standard and clarify Table 2 requirements.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Michael Goolsby
RAS 115

Page 20 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7221 
Proponent
5.3
Section
RAS 115
Chapter
Pending Review
Clearly indicate that drip edge metal shall be installed over anchor/base sheet.  This is a current code requirement and needs to be precisely specified.  Eliminate unnecessary requirement to coat joints of metals.
Summary

AS
AM

X
NAR

I

W
TAC Action
2nd Zehnal
Zehnal change second sentence clarity to be installed over underlayment.
2nd withdrawn
Dies for lack of 2nd  NAR 
Gaspar Rodriguez
Mod #
 7349 
Proponent
4.2
Section
RAS 115
Chapter
Pending Review
Add language to more correctly reflect code requirements for recently approved products.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 yes – 0 No
Gaspar Rodriguez
RAS 117
Mod #
 7297 
Proponent
3.10
Section
RAS 117
Chapter
Pending Review
Clarifies how tapered insulation should be used when substituting standard insulation.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd  Zehnal
11 Yes – 0 no  
Jorge Acebo
RAS 118
Mod #
 7198 
Proponent
2
Section
RAS 118
Chapter
Pending Review
Update standard for treated wood and clarify coastal building zone.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd  Zehnal
11 Yes – 0 No
Michael Goolsby

Page 21 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7351 
Proponent
3.06
Section
RAS 118
Chapter
Pending Review
Indicate the minimum requirements for height vent pipes, need to extend above roof.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Gaspar Rodriguez
RAS 119
Mod #
 7200 
Proponent
2
Section
RAS 119
Chapter
Pending Review
Update standard for treated wood and clarify coastal building zone.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 yes – 0 No
Michael Goolsby
RAS 120
Mod #
 7201 
Proponent
2
Section
RAS 120
Chapter
Pending Review
Update standard for treated wood and clarify coastal building zone.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Michael Goolsby
Mod #
 7592 
Proponent
3
Section
RAS 120
Chapter
Pending Review
Clearly indicate current code requirements, specifically back‑nailing of underlayment and minimum height of vent pipes.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Allwood
11 Yes – 0 No
Gaspar Rodriguez
RAS 130

Page 22 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7384 
Proponent
4
Section
RAS 130
Chapter
Pending Review
Establish consistency with industry standard for installation of wood shingles and wood shakes.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Michael Goolsby
TAS 103
Mod #
 8282 
Proponent
1
Section
TAS 103
Chapter
Pending Review
HVHZ Roofing Updates
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Chadwick Collins
TAS 104
Mod #
 8283 
Proponent
1
Section
TAS 104
Chapter
Pending Review
HVHZ roofing updates
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Chadwick Collins
TAS 105
Mod #
 7184 
Proponent
8
Section
TAS 105
Chapter
Pending Review
Establish consistency with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Buckner
11 Yes – 0 No
Michael Goolsby
TAS 107

Page 23 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 8284 
Proponent
1
Section
TAS 107
Chapter
Pending Review
HVHZ roofing updates
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes - No
Chadwick Collins
TAS 110
Mod #
 7299 
Proponent
1
Section
TAS 110
Chapter
Pending Review
Specifies Testing Labs must verify manufacturing location of tested products.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
10 Yes – 1 No
Jorge Acebo
Mod #
 7300 
Proponent
4
Section
TAS 110
Chapter
Pending Review
Modifies Table 4 in Section 4 to include updated requirement for TPO membranes.
Summary
X
AS
AM

NAR

I

W
TAC Action
Note:  Structural TAC AS
2nd  Zehnal
11 Yes – 0 No
Jorge Acebo
Mod #
 7301 
Proponent
8
Section
TAS 110
Chapter
Pending Review
Modifies Table 8 in Section 8 to include requirements for Gypsum and Cementitious insulation boards and Lightweight Insulating Concrete.
Summary
X
AS
AM

NAR

I

W
TAC Action
Note: Structural TAC AS 
2nd  Zehnal
11 Yes – 0 No
Jorge Acebo

Page 24 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7303 
Proponent
9
Section
TAS 110
Chapter
Pending Review
Modifies Table 9 footnote in Section 9 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Jorge Acebo
Mod #
 7304 
Proponent
10
Section
TAS 110
Chapter
Pending Review
Modifies Table 10 footnote in Section 10 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Jorge Acebo
Mod #
 7305 
Proponent
11
Section
TAS 110
Chapter
Pending Review
Modifies Table 11(A) and 11(B) footnote 3 in Section 11 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Jorge Acebo
Mod #
 7306 
Proponent
17
Section
TAS 110
Chapter
Pending Review
Modifies Table 17 footnote in Section 17 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Jorge Acebo

Page 25 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7439 
Proponent
15
Section
TAS 110
Chapter
Pending Review
Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd – Zehnal
11 Yes – 0 No
Gaspar Rodriguez
Mod #
 8299 
Proponent
1
Section
TAS 110
Chapter
Pending Review
HVHZ roofing updates
Summary
X
AS
AM

NAR

I

W
TAC Action
Note: Structural TAC AS
2nd Zehnal
11 Yes – 0 No
Chadwick Collins
TAS 114
Mod #
 7308 
Proponent
1
Section
TAS 114
Chapter
Pending Review
Modifies TAS 114 Appendix D uplift test over steel substrates.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
11 Yes – 0 No
Jorge Acebo
Mod #
 8300 
Proponent
1
Section
TAS 114
Chapter
Pending Review
HVHZ roofing updates
Summary

AS
AM

NAR

I
X
W
TAC Action
Duplicate to 7308  Proponent withdrawn
Chadwick Collins
TAS 124

Page 26 of 26
2/27/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  103
Total Mods for  Roofing in  Pending Review
TAC: 
Roofing
 103
Mod #
 7183 
Proponent
1
Section
TAS 124
Chapter
Pending Review
Clarification of uplift testing requirements and reporting.
Summary
X
AS
AM

NAR

I

W
TAC Action
2nd Zehnal
8 Yes – 3 No 
Michael Goolsby
TAS 131
Mod #
 7307 
Proponent
1
Section
TAS 131
Chapter
Pending Review
Modifies the standard because the TPO TAS 131 testing requirements are being incorporated into TAS 110 as a submitted code mod.
Summary
X
AS
AM

NAR

I

W
TAC Action
Note: Structural TAC AS
2nd Goff
11 Yes – 0 No
Jorge Acebo
Mod #
 8286 
Proponent
1
Section
TAS 131
Chapter
Pending Review
HVHZ roofing updates
Summary

AS
AM

NAR

I
X
W
TAC Action
Withdrawn by proponent.
Chadwick Collins
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
TAC Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
R
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria