2017 National Electrical Code – Residential

Electrical TAC

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *#* | Change No. | Section | Change Summary b/t 2014 NEC and 2017 NEC | Change Summary b/t 2014 NEC- and 2017 NEC | Staff Comments |
| *1* | FR1236 | 250.122(B)  *[E3908.12]* | Revision to provide additional clarity to increased proportional size | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *2* | FR15 | 110.26(A)  *[E3405.2]* | Adds an informational note to reference NFPA 70E, Adds a third exception to 110.26(A)(3) to correlate with battery systems in 480.9(D), and adds a new less than 1000-watt requirement for “Separation of High-Voltage Equipment” to correlate with similar provisions | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x  x    x  Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *3* | FR1501 | 310.10(H)(5)  *[E3406.6]* | Provides clarity and changes “bonding” to “grounding” from inadvertent change in 2014 NEC | Same as change between 2014 NEC and 2017 NEC tween 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *4* | FR1502 | 310.15(A)(2)  *[E3701.3]* | Editorial change to add clarity to the section | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  X  YES (Select Criteria) NO:  a.b.c. d.e. f.  X    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| *5* | FR1820 | 330.15  *[E3802.3]* | |  | | --- | | The text provides exposed installation of Type MC consistent with other wiring methods | | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *6* | FR1828 | 338.10(B)(4)  *[E3705.4.5]* | Revision to add language for Type SE cable with ungrounded conductor sizes 10 AWG and smaller | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *7* | FR2405 | 314.15  *[E3905.11]* | Revision for clarifying the size of drainage openings in damp or wet locations | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *8* | FR2406 | 314.16(A) and (B)  *[E3905.12.1]* | Revision for wiring enclosure boxes where barriers are provided and spaces are resultant | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *9* | FR2407 | 314.17(B)  *[E3905.3.1]* | Revision to add language for non-metallic-sheathed cable or multiconductor Type UF cable and installation properties | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *10* | FR2408 | 314.19  *[E3905.5]* | Editorial change to provide clarity for boxes and flush devices | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *11* | FR2417 | 404.9(B)  *[E4001.11.1]* | Revision to provide for grounding of metal faceplates to prevent energizing | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *12* | FR2418 | 404.14(F)  *[E4001.14]* | Revision to add provision for control devices | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *13* | FR330 | 210.11(C)(3)  *[E3703.4],[E3703.5]* | Revision to add 20-ampere branch circuit to garage outlet | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    x  Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *14* | FR337 | 215.2(A)(1) Exception No.2  *[E30701.2 ]* | Editorial change to relocate the exception 1 and 2 to be located more effectively | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *15* | FR3371 | 625.40  *[E3702.13]* | Revision relocating an existing requirement from 210.17 | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *16* | FR35 | *110.11 Informational Note*  *[E3404.5]* | Adds Informational Note 4 which refers readers to other codes related to flood provisions | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x  x  x  x  Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *17* | FR357 | 210.17 (Formerly 210.18)  *[E3702.2]* | Relocation of 210.18 | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *18* | FR357 | 210.18 (Formerly 210.3)  *[E3702.2]* | Relocation of 210.3 to 210.18 | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *19* | FR37 | 110.9  *[E3404.2]* | Editorial to remove “sufficient” | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x  x    x  Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *20* | FR39 | 110.5  *E3406.2* | Change to add “aluminum” | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  X  YES (Select Criteria) NO:  a.b.c. d.e. f.  X    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *21* | FR40 | 110.14(D)  *[E3705.4.2]* | Adds (D) for requirements of using a calibrated torque tool to ensure required toque values | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x  x    x  Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *22* | FR41 | 110.14  *[E3406.8]* | Editorial: Removes informational Note for this section due to language added in 110.14(D) | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x  x    x  Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *23* | FR4811 | 422.30  *[E4101.5]* | Revision to add language for simultaneous disconnect | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Floridax Specific Need:  X  YES (Select Criteria) NO:  a.b.c. d.e. f.  x  x    x  Others (Explain):  Vote 10 y- 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *24* | FR4812 | 422.31(A)  *[Table E4101.5]* | Revision to add language where circuit breaker is within sight from appliance or lockable | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  X  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *25* | FR4822 | 424.19  *[E4101.5]* | Revision to disconnecting means with multiple disconnecting requirements | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *26* | FR4833 | 424.44(E )  *[E3902.13]* | Editorial to delete heating cables language for watts per linear foot | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *27* | FR4872 | 424.3(A)  *[E3702.10]* | The revision enables future branch circuit sizes up to 30 amps that may be permitted in 210.3. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *28* | FR4876 | 422.16(B)(1)  *[E4101.3]* | Revises to clarify definition by adding “on or above the ground” | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  xx    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *29* | FR601 | 300.3(B)(1)  *[E3406.7], [E3803.8]* | Revises to add clarity on “neutral and ungrounded conductors” within the exception | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  xx  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *30* | FR602 | 300.3(B)(4) Exception  [E3801] | Revises addition of Panelboard to the title of the subsubsection | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *31* | FR607 | 300.5(F)  *[E3803.5 ]* | Revised to provide protection for raceway, cable and conductor directly buried installations. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *32* | FR608 | 300.5(G)  *[E3803.6]* | Revised to provide needed consistency and correlation with other requirements in the code. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *33* | FR609 | 300.5(J)  *[E3803.9]* | Revised to insert “Cables and conductors” to clarify that the directly buried cables and conductors may be formed into “S” loops. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  X  YES (Select Criteria) NO:  a.b.c. d.e. f.  X    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *34* | FR611 | 300.12  *[E3904.2]* | Revised to remove “Metal or nonmetallic” since the use of the terms, “metal” and “nonmetallic” cover all raceways anyway. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *35* | FR619 | 725.1  *[E4301.1]* | Revised to change “appliance” to “utilization equipment” to more closely match the definitions in Article 100. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *36* | FR628 | Table 725.154(A)  *[E4303.2]* | Revises the title to Table 725.154 to include CMUC that is covered in the table and revises the table to include the permitted use of cable routing assemblies as Permitted by 90A. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *37* | FR630 | 725.179(A)  *[E4303.2]* | Revised to remove “being,” “also,” and changes the NFPA 262 standard year to 2015. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *38* | FR630 | 725.179(B)-(F) and (H)  *[E4303.2]* | (B) Revised to remove “being” for clarification purposes.  (F) Includes (C) and (E) in specifications of Circuit Integrity Cables and Includes (C), (E), and (F) (1) in specifications of Electrical Circuit Protective System.  (H) Revised to make Editorial Changes. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *39* | Global SR916 | 225.61 (B) | Revised to update references to current editions in several places. | Same as change between 2014 NEC and 2017 NEC | Standard Update |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  VVote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *40* | SCR22 | 110.21(A)  *[E3404.11]* | Adds reconditioned equipment exception language for industrial occupancies and labeled “Reconditioned” | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *41* | FR43 | 110.21(B)  *[E3404.12]* | Removes the ambiguous language “and/or” to natural code language | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *42* | SCR54 | 404.2(C )  *[E4001.15]* | Revises switching requirements on where the grounded circuit conductors can be installed, adds an exception to address limitations on neutral currents, adds new requirement for switching devices to meet 404.22 and gives the new effective date for these new requirements. | Same as change between 2014 NEC and 2017 NEC |  |
| *43* | SR1217 | 250.86  *[E3908.1]* | Revises the section to add the phrase “metal components” to each subdivision to correct a transcription error and isolated sections of metal conduit that meet the requirements of this section are considered to be metal components. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *44* | SR14 | 110.26(E)(2)Exception  *[E3405.5]* | Adds Exception to (b): Structural overhangs or roof extensions shall be permitted in this zone. Removed vague language “suitable” | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *45* | SR16 | 110.27(A)  *[E3404.9]* | Removes Item (3) | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *46* | SR17 | 110.28  *[E3404.4]* | Reference current SDO in Informational Note 2 | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *47* | SR1802 | 320.30(A)  *[E3803.11]* | Revises this section to remove Type 2S and Types 21S and chooses to add “labeled” to the cable ties segment for clarity and usability. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *48* | SR1807 | 330.30(A)  *[E3802.6]* | Revises this section to remove Type 2S and Types 21S and adds "listed, labeled and identified for securement and support" to provide information to the AHJ regarding the suitability of equipment they encounter. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *49* | SR2401 | 312.8  *[E3907.1]* | Revised to allow the wiring space within enclosures and overcurrent devices to be permitted for other wiring and equipment subject to the limitations for specific equipment as provided in (A) or (B). | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *50* | SR2402 | 312.5(C )  *[E3907.8]* | Revised to make an editorial changes. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *51* | SR2404 | 314.20  *[E3906.5]* | Revised to make an editorial changes. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  X  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *52* | SR2405 | 314.23(B)(1)  *[E3906.8.2.1 ]* | Revised to make an editorial changes. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *53* | SR2701 | 240.24(A)  *[E3705.7]* | Revised to make an editorial changes. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *54* | SR306 | 210.7 | Revised to make an editorial changes. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *55* | SR307 | 210.52(A)(2)  *[E3901.2]* | Revised to include similar work surfaces as a part of a wall space | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  VOTE 10 Y – 0 N | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *56* | SR307 | 210.52(A)(4)  *[E3901.2]* | Revised to include similar work surfaces | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  X  YES (Select Criteria) NO:  a.b.c. d.e. f.  X    Others (Explain):  VOTE 10 Y – 0 N | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *57* | SR308 | 219.52(B)(1) Exception No.2  *[E3901.3]* | Revised to allow the exception to be applied to any specific appliance. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  X  YES (Select Criteria) NO:  a.b.c. d.e. f.  X    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *58* | SR309 | 210.52(C )  *[E3901.4]* | Revised in include work surfaces. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *59* | SR309 | 210.52(C )(1)  *[E3901.4.1]* | Revised to include work surfaces. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *60* | SR309 | 210.52(C )(3)  *[E3901.4.3]* | Revised to disallow a receptacle in a wall countertop from being permitted to serve as the receptacle for a peninsular countertop space where the spaces are contiguous and the receptacle being located within 6 ft. of the outside edge. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *61* | SR309 | 210.52(C )(5)  *[E3901.4.5]* | Revised to include work surfaces. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *62* | SR310 | 210.52(D)  *[E3901.6]* | Revised to allow for receptacle outlet assemblies listed for use in countertops to be allowed to be installed in the countertop. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *63* | SR316 | 210.8(A)(7)  *[E3902.7], [E3902.5]* | Revised to require sinks where receptacles are installed within 6ft from the top inside edge of the bowl of the sink to have a ground fault circuit interrupter. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *64* | SR317 | 210.8(E)  *[E3902.4]* | GFCI protection for crawl space lighting outlets has been relocated from 210.70(C) | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *65* | SR320 | 210.12(B) | Revised to require outlets installed in dorms to be protected by any of the means described in 210.12(A)(1) through (6) | Same as change between 2014 NEC and 2017 NEC | Does not apply to the IRC |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *66* | SR325 | 210.70(A)(2)  *[E3903.3]* | Revised to allow lighting outlets to be controlled by dimmer switches if they provided the full range of dimming control at each location. | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| *67* | SR326 | 210.52(G)(1)  *[ E3901.9]* | |  | | --- | | The language related to outlets outside of the garage has been deleted from this section to correlate with changes made to 210.11(C)(4). | | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *68* | SR4804 | 422.16(B)(2)  *[E4101.3]* | Revision to delete “or its equivalent” to avoid confusion | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10y – 0 n  Based on 28 and 68 | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *69* | SR4805 | 422.16(B)(4)  *[E4101.3]* | Revision to delete “or its equivalent” to avoid confusion | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote – 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *70* | SR4806 | 422.18  *[E4101.6]* | Editorial revisions for clarity | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *71* | SR5101 | 406.9(A)  *[E4002.8]* | Revision to make change to standard reference in Informational note | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *72* | SR5102 | 406.9(B)(1)  *[E4002.9]* | Revision for box hoods in wet locations of 15 and 20 amperes to be labeled extra duty. Editorial revisions also included in SR | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y - 0 | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *73* | SR5106 | 406.5(E )  *[E4002.7], [E4002.6], [E4002.15], [E4002.16]* | Revision to reword to clarify to only apply to horizontally mounted receptacle assemblies | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *74* | SR5106 | 406.5(F)  *[E4002.7]* | Revision to reword to clarify to only apply to horizontally mounted receptacle assemblies | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n  based on action in 73 | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *75* | SR5106 | 406.5(G)  *[E4002.7]* | Revision to reword to clarify to only apply to horizontally mounted receptacle assemblies | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n  Based on action in 73 and 74 | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| *76* | SR5110 | 410.136(B) Informational Note  *[E4004.7]* | |  | | --- | | Updated ASTM standard to most recent edition. | | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| *77* | SR603 | 300.11 | |  | | --- | | ANSI/ASTM E119 has been changed from 2014 to 2015 | | Same as change between 2014 NEC and 2017 NEC | Standard Update |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| *78* | SR612 | 725.133  *[E4303.2]* | |  | | --- | | Revises due to “ addition of 725.144 requires modification of 725.133” | | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *79* | SR615 | 725.179  *[E4303.2]* | Revises to add information of limited power cables to the code | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *80* | SR905 | 230.7  *[E3601.4]* | Editorial | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| *81* | SR910 | 230.42(A)  *[E3602.2.1]* | Editorial | Same as change between 2014 NEC and 2017 NEC |  |

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| RCCIWG – Comment  Impactful (Explain) | TAC Action  Accommodate Florida Specific Need:  x  YES (Select Criteria) NO:  a.b.c. d.e. f.  x    Others (Explain):  Vote 10 y – 0 n | Commission Action  Accommodate Florida Specific Need:  YES (Select Criteria) NO:  a.b.c. d.e. f.    Others (Explain): | |  |  |  | | --- | --- | --- | |  | TAC | Commission | | No Action Needed |  |  | | Overlapping provisions |  |  | |  |  |  | |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |