Page 1 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Approved as Modified
TAC Recommendation
Special Occupancy
TAC:
 13
Total Mods for  
Special Occupancy
in
Approved as Modified
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
James gregory
Comment
Summary
Proponent
449
Clarifies the intent and application of the disaster preparedness construction standards for hospitals.
Mod #
 10335
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 4
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
James gregory
Comment
Summary
Proponent
449
Revises the hurricane surge requirements for the location of a new hospital.
Mod #
 10338
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 4
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
James gregory
Comment
Summary
Proponent
450
Revises the surge zone criteria for nursing homes.
Mod #
 10362
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 4
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

X
451
Revises the PACU requirements in outpatient surgical centers.
Commission Action
 10367
AM
AM/IC
D/IC
D
Approved as Modified
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Page 2 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 13
Total Mods for  
Special Occupancy
in
Approved as Modified
James gregory
Comment
Summary
Proponent
451
Adds section as an alternative method of compliance
Mod #
 10369
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 4
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
James gregory
Comment
Summary
Proponent
451
Creates a new section for WAGD networks.
Mod #
 10396
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 4
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
scott waltz
Comment
Summary
Proponent
449.4.2.2
The modification clarifies existing requirements and updates the flood resistance requirements for new hospital facilities and modifications to existing facilities. It also provides new exceptions for non‑patient related spaces.
Mod #
 10478
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 4
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
scott waltz
Comment
Summary
Proponent
450.2.2
Updates and clarifies flood resistance requirements for nursing homes.
Mod #
 10498
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 4
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section

Page 3 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 13
Total Mods for  
Special Occupancy
in
Approved as Modified
scott waltz
Comment
Summary
Proponent
449.4.2.6.1
Requires replace of existing mechanical equipment to meet the same debris impact requirements as new construction.
Mod #
 10505
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 4
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
SubCode:
Ü
SubCode:
Existing Building
5‑Prescriptive Compliance Method
Conn Cole FDEM SFMO
Comment
Summary
Proponent
502.3
Provide that non‑substantial additions in flood hazard areas do increase the nonconformity of buildings that do not conform to current flood requirements.
Mod #
 10266
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 5
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
502.3
New, raised, and extended foundations in flood hazard areas should comply with requirements for type and height required for new construction.
Mod #
 10267
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 5
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
SubCode:
Ü
SubCode:
Residential
3‑Building Planning

Page 4 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 13
Total Mods for  
Special Occupancy
in
Approved as Modified
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.1.6
Exterior equipment in flood hazard areas that is flood damaged and replaced must be elevated.
Mod #
 10257
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 3
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.1.10
Clarify that licensed professional surveyors and mappers survey and seal elevation data and add a definition for Professional Surveyor and Mapper.
Mod #
 10351
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 3
Chapter

X
Commission Action consistent with TAC Action to Approve as Modified   Vote: 12Yes – 0 No

Section
Approved as Submitted
TAC Recommendation
Special Occupancy
TAC:
 36
Total Mods for  
Special Occupancy
in
Approved as Submitted
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

469
Clarifies the application code references for surgery suites.
Commission Action
 9928
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Page 5 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 36
Total Mods for  
Special Occupancy
in
Approved as Submitted
Mod #
Proponent
Doug Bell
Section
Chapter
Summary
Comment
X
AS
AS/IC

458.3.1
To allow virtual inspections within DBPR's manufactured buildings program.
Commission Action
 10177
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment
X
AS
AS/IC

453
This modification will clarify the exterior envelope requirements.
Commission Action
 10197
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
Don Whitehead
Section
Chapter
Summary
Comment
X
AS
AS/IC

468
This modification adds an alternative to the hose bibb requirement.
Commission Action
 10207
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Clarifies where sliding doors may be used in a hospital.
Commission Action
 10332
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Page 6 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 36
Total Mods for  
Special Occupancy
in
Approved as Submitted
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Clarifies where the private operating mode is required in hospitals.
Commission Action
 10333
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Revises language for clarification on consistency.
Commission Action
 10342
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Corrects chapter reference.
Commission Action
 10343
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Clarifies how to separate resident sleeping areas.
Commission Action
 10344
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Page 7 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 36
Total Mods for  
Special Occupancy
in
Approved as Submitted
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Revises section to coordinate with the FGI interim amendment.
Commission Action
 10345
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Deletes unnecessary and redundant language.
Commission Action
 10346
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Revises the use of sliding doors in a nursing home.
Commission Action
 10347
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Modifies how other references are applied to nurse call requirements.
Commission Action
 10354
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Page 8 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 36
Total Mods for  
Special Occupancy
in
Approved as Submitted
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Revises the emergency call system requirements.
Commission Action
 10355
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Corrects the word hospital to nursing home.
Commission Action
 10356
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Revised to accurately designate the areas for testing of grounding systems.
Commission Action
 10359
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Corrects the reference to RP‑28 lighting for Older Adults.
Commission Action
 10360
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Page 9 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 36
Total Mods for  
Special Occupancy
in
Approved as Submitted
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

450
Points to the correct section in the code for the installation of CO detectors.
Commission Action
 10361
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

451
Revises the size requirements for operating rooms in an ASC.
Commission Action
 10365
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

451
Revises the use of audible alarms in the OR.
Commission Action
 10366
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

451
Revises the use of sliding pocket doors and an ASC.
Commission Action
 10368
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Page 10 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 36
Total Mods for  
Special Occupancy
in
Approved as Submitted
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

451
Revises the requirement for a piped gas system
Commission Action
 10395
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

469
Revises the sizes and design of operating rooms.
Commission Action
 10411
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

464
Revises the section on generator uses and connections in new ALFs.
Commission Action
 10413
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Modifies Mobile/Transportable section in relation to the Guidelines.
Commission Action
 10491
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Page 11 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 36
Total Mods for  
Special Occupancy
in
Approved as Submitted
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Clarifies if there is a conflict with the Guidelines which code takes precedence.
Commission Action
 10494
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

449
Clarifies the use of the description.
Commission Action
 10497
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
scott waltz
Section
Chapter
Summary
Comment
X
AS
AS/IC

449.3.6.5
Strikes language preventing the use of VAV systems for certain areas in a hospital.
Commission Action
 10501
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Mod #
Proponent
scott waltz
Section
Chapter
Summary
Comment
X
AS
AS/IC

449.4.2.10
Deletes reference to a rule which no longer exists.
Commission Action
 10507
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 4

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

16‑Structural Design

Page 12 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 36
Total Mods for  
Special Occupancy
in
Approved as Submitted
Mod #
Proponent
Conn Cole FDEM SFMO
Section
Chapter
Summary
Comment
X
AS
AS/IC

1612.5
Clarify that licensed professional surveyors and mappers survey and seal elevation data and add a definition for Professional Surveyor and Mapper.
Commission Action
 10349
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 16

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

30‑Elevators and Conveying Systems
Mod #
Proponent
Amanda Hickman
Section
Chapter
Summary
Comment
X
AS
AS/IC

3006.3
hoistways
Commission Action
 10152
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 30

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

35‑Referenced Standards
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment
X
AS
AS/IC

35
Updates the code references.
Commission Action
 10484
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 35

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

SubCode:
Ü
SubCode:
Residential
3‑Building Planning

Page 13 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 36
Total Mods for  
Special Occupancy
in
Approved as Submitted
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.2.1
Specifics for accessory structures in flood hazard areas in accordance with FEMA policy issued 2020.
Mod #
 10256
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Submitted
W
Chapter 3
Chapter

X

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.2.2
Clarify requirements that don’t apply to elevator shafts and utility chases in flood hazard areas.
Mod #
 10258
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Submitted
W
Chapter 3
Chapter

X

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.3.2
Specify where the bottom of the lowest horizontal structural member is when stem wall foundations are permitted in Coastal A Zones (seaward of LiMWA when delineated on FIRM).
Mod #
 10259
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Submitted
W
Chapter 3
Chapter

X

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.3.3
Refer to ASCE 24, the standard of practice, for the design of pilings and columns.
Mod #
 10262
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Submitted
W
Chapter 3
Chapter

X

Commission Action consistent with TAC Action to Approve as Submitted.  Vote: 12Yes – 0 No

Section

Page 14 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Denied
TAC Recommendation
Special Occupancy
TAC:
 13
Total Mods for  
Special Occupancy
in
Denied
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Greg Johnson
Comment
Summary
Proponent
453.8.3.3
Type IV heavy timber, which is not permitted concealed spaces, is differentiated from Type IV‑A, Type IV‑B, and Type IV‑C which are permitted concealed (but protected) spaces.
Mod #
 10339
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 4
Chapter

X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Section
Greg Johnson
Comment
Summary
Proponent
453.8.3.4
Fully sprinklered educational facility buildings are permitted to be of Type V‑A construction
Mod #
 10340
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 4
Chapter

X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Section
Greg Johnson
Comment
Summary
Proponent
453.8.3.2
Changes the trigger for Type I construction to 5 stories rather than 3.
Mod #
 10418
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 4
Chapter

X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Section
Greg Johnson
Comment
Summary
Proponent
453.8.3.1
This adds Type III‑A to permitted construction types for educational facilities. See uploaded rationale.
Mod #
 10462
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 4
Chapter

X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Section

Page 15 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 13
Total Mods for  
Special Occupancy
in
Denied
Greg Johnson
Comment
Summary
Proponent
453.8.3
FL public colleges permitted same type of construction rules as private colleges.
Mod #
 10481
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 4
Chapter

X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Section
Greg Johnson
Comment
Summary
Proponent
453.8.3
Provides regulation of publicly owned ancillary buildings consistent with privately owned buildings.
Mod #
 10485
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 4
Chapter

X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Section
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Defines how the code references are to be applied.
Commission Action
 10488
AM
AM/IC
D/IC
D
Denied
W
Chapter 4
X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Details how the references will be applied.
Commission Action
 10489
AM
AM/IC
D/IC
D
Denied
W
Chapter 4
X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Page 16 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 13
Total Mods for  
Special Occupancy
in
Denied
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

451
Updates and clarifies how the code will be applied.
Commission Action
 10490
AM
AM/IC
D/IC
D
Denied
W
Chapter 4
X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

30‑Elevators and Conveying Systems
Mod #
Proponent
Gary Hutto
Section
Chapter
Summary
Comment

AS
AS/IC

3012
Replace the word "other" with "any" for clarification that all work requiring testing and witnessing requires a construction permit.
Commission Action
 9839
AM
AM/IC
D/IC
D
Denied
W
Chapter 30
X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Mod #
Proponent
Priscilla Magee
Section
Chapter
Summary
Comment

AS
AS/IC

3001.2
Elevator emergency communication systems
Commission Action
 10154
AM
AM/IC
D/IC
D
Denied
W
Chapter 30
X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Tommy Demopoulos
Comment
Summary
Proponent
3002.4
Modify section to accommodate an ambulance stretcher 24 inches by 84 inches instead of 24 inches by 76 inches.
Mod #
 10383
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 30
Chapter

X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Section

Page 17 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 13
Total Mods for  
Special Occupancy
in
Denied
Darrel Donatto
Comment
Summary
Proponent
3002.4
Proposed change to the minimum dimensions of “elevator cars designed to accommodate an ambulance stretcher” from 24 inch x 76 inch to the current national standards and the actual needed size of 24 inch x 84 inch.
Mod #
 10405
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 30
Chapter

X

Commission Action consistent with TAC Action to Deny..  Vote: 12Yes – 0 No

Section
Withdrawn
TAC Recommendation
Special Occupancy
TAC:
 8
Total Mods for  
Special Occupancy
in
Withdrawn
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

450
Updates a code reference.
Commission Action
 10102
AM
AM/IC
D/IC
D
Withdrawn
W
Chapter 4

X
WITHDRAWN
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Revises requirements for Class 1 mobile/transportable medical units.
Commission Action
 10329
AM
AM/IC
D/IC
D
Withdrawn
W
Chapter 4

X
WITHDRAWN

Page 18 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 8
Total Mods for  
Special Occupancy
in
Withdrawn
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Provides alternative method for hand washing for a Class 1 mobile/transportable unit.
Commission Action
 10330
AM
AM/IC
D/IC
D
Withdrawn
W
Chapter 4

X
WITHDRAWN
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

449
Deletes unnecessary and misunderstood requirement.
Commission Action
 10336
AM
AM/IC
D/IC
D
Withdrawn
W
Chapter 4

X
WITHDRAWN
18‑Soils and Foundations
Conn Cole FDEM SFMO
Comment
Summary
Proponent
1805.1.2.1
Replace reference to NFIP Technical Bulletin 11 with enforceable requirements.
Mod #
 10264
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 18
Chapter
X

WITHDRAWN
Section
35‑Referenced Standards
James gregory
Comment
Summary
Proponent
35
Updates ASHARE 170 edition
Mod #
 9957
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 35
Chapter
X

WITHDRAWN
Section

Page 19 of 19
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  70
Special Occupancy
Special Occupancy
TAC:
 8
Total Mods for  
Special Occupancy
in
Withdrawn
Mod #
Proponent
James gregory
Section
Chapter
Summary
Comment

AS
AS/IC

35
Amends existing code reference
Commission Action
 10341
AM
AM/IC
D/IC
D
Withdrawn
W
Chapter 35

X
WITHDRAWN
SubCode:
Ü
SubCode:
Residential
4‑Foundations
Conn Cole FDEM SFMO
Comment
Summary
Proponent
408.7
Replace reference to NFIP Technical Bulletin 11 with enforceable requirements.
Mod #
 10263
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 4
Chapter
x

WITHDRAWN
Section
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
SP
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria