TAC
Page 1 of 4
5/7/2013
Total Mods for reports:  8
Swimming Pool
TAC:
 8 
Swimming Pool
Total Mods for this TAC:
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
454.1.3.1.9
 6272 
Adds (s) to door, correcting the sentence.  No substantive change.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Pending Review
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X

NAR
I
TAC Action

AM

AS

W

Glitch Criteria:
4
Chapter

454.2.6.1
 6266 
Corrects standard references to match the appropriate name, as standards have been updated NSPI has been replaced with APSP.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Pending Review
(d.) Equivalency of standards;
X

NAR
I
TAC Action

AM

AS

W

Glitch Criteria:
4
Chapter

35‑Referenced Standards
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 2 of 4
5/7/2013
Total Mods for reports:  8
Swimming Pool
TAC:
 8 
Swimming Pool
Total Mods for this TAC:
35
 6265 
Corrects standard references to match date/edition/name information as published.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Pending Review
(d.) Equivalency of standards;
X

NAR
I
TAC Action

AM

AS

W

Glitch Criteria:
35
Chapter

SubCode:
Energy Conservation
4‑[CE] ‑ Commercial Energy Efficiency
404.2
 6261 
Provides clarity that geothermal pool heat pumps are not required to meet AHRI 1160. The performance of these units has no relationship to air temperature and currently there is no AHRI standard that applies to geothermal swimming pool heat pumps.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS

W

Glitch Criteria:
4
Chapter

4‑[RE] ‑ Residential Energy Efficiency
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 3 of 4
5/7/2013
Total Mods for reports:  8
Swimming Pool
TAC:
 8 
Swimming Pool
Total Mods for this TAC:
403.9.1.2
 6262 
Provides clarity that geothermal pool heat pumps are not required to meet AHRI 1160. The performance of these units has no relationship to air temperature and currently there is no AHRI standard that applies to geothermal swimming pool heat pumps.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS

W

Glitch Criteria:
4
Chapter

5‑[RE] ‑ Referenced Standards
5
 6263 
Corrects standard reference to match date/edition/name information as published.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Pending Review
(d.) Equivalency of standards;
X

NAR
I
TAC Action

AM

AS

W

Glitch Criteria:
5
Chapter

SubCode:
Residential
42‑Swimming Pools
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 4 of 4
5/7/2013
Total Mods for reports:  8
Swimming Pool
TAC:
 8 
Swimming Pool
Total Mods for this TAC:
4201.6.1
 6267 
Corrects standard references to match the appropriate name, as standards have been updated the NSPI has been replaced with APSP/ICC.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Pending Review
(d.) Equivalency of standards;
X

NAR
I
TAC Action

AM

AS

W

Glitch Criteria:
42
Chapter

45‑Referenced Standards
45
 6264 
Corrects standard references to match date/edition/name information as published.
Jennifer Hatfield
Proponent
Summary
Mod #
Section
Pending Review
(d.) Equivalency of standards;
X

NAR
I
TAC Action

AM

AS

W

Glitch Criteria:
45
Chapter

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
SW
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend: