TAC
Page 1 of 9
5/7/2013
Total Mods for reports:  25
Energy
TAC:
 25 
 Energy
Total Mods for this TAC:
SubCode:
Energy Conservation
Appendix C [RE]
R401.3
 6107 
Add the EPL Display Caed to the FBC‑Energy Conservation as referenced from Section R401.3.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
Appendix C
Chapter
Glitch: Cochelle, Fairey 9-0
Fix: Cochelle, Geyslaers 9-0 AS

C402
 6104 [CE]
Revise Form C402 for use with alterations, renovations and building systems.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
Appendix C
Chapter
Glitch: Cochelle, Wojeiczak 9-0
Fix: Cochelle, Fairey 9-0

R402
 6108 [RE]
Add Form R402 to Appendix C as a code compliance tool for Section R402.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
Appendix C
Chapter
Glitch: Cochell, Wojiezcak 9-0
Fix: Cochelle,Fairey 9-0 AS

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 2 of 9
5/7/2013
Total Mods for reports:  25
Energy
TAC:
 25 
Energy
Total Mods for this TAC:
1‑[CE] ‑ Scope and Administration
C101.1
 6088 [CE] 
Reference Florida code, not IECC.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
1
Chapter
Glitch: Cochelle, Geyslaers 2nd 9-0
Fix: Cochelle, Fairey 2nd 9-0 AS

C101.4.10
 6091[CE] 
Delete reference to commercial code compliance form.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
1
Chapter
Glitch: Cochelle, Fairey 2nd 9-0
Fix: Fairey, Cochelle 2nd 9-0 AS

C101.4.9
 6090 [CE] 
Delete Florida‑specific requirements for shell buildings.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
1
Chapter
Glitch: Fairey, Cochelle 9-0
Fix: Cochelle, Fairey 9-0 AS

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 3 of 9
5/7/2013
Total Mods for reports:  25
Energy
TAC:
 25 
Energy
Total Mods for this TAC:
101.5.1
 6092 [CE] 
Delete Florida‑specific references to Form C402 except for alterations, renovations and building systems.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
1
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Fairey 2nd 9-0 AS

110
 6111 [CE] 
Delete reporting requirement for commercial buildings.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
1
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix:Cochelle, Geyslaers 9-0 AS

1‑[RE] ‑ Scope and Administration
R101.1
 6089 [RE] 
Reference Florida code, not IECC.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
1
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Geyslaers 9-0 AS

2‑[CE] ‑ Definitions
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 4 of 9
5/7/2013
Total Mods for reports:  25
Energy
TAC:
 25 
Energy
Total Mods for this TAC:
C202
 6093 [CE]  
Make definition of Visible transmittance consistent with IECC and the Residential provisions of the FBC‑Energy Conservation.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
2
Chapter
Glitch: Cochelle, Gaeslaers 9-0
Fix: Cochelle, Gaeslaers 9-0 AS

C2
 6247 [CE]   
Revise definition of BTU to avoid a conflict with and for consistency with the definition contained in the Florida Building Code, Mechanical Volume.
John Farinelli
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
2
Chapter
Glitch: Fairey, Geyslaers 9-0
Fix: Cochelle, Fairey 9-0 AS

C2
 6248 [CE]   
Revise the definition as shown for consistency within the code and with other Florida Building Code Volumes.
John Farinelli
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM
X
AS

W

Glitch Criteria:
2
Chapter
Glitch: Fairey, Cochelle 9-0
Fix: Cochelle, Fairey 9-0 AM use “purpose”

2‑[RE] ‑ Definitions
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 5 of 9
5/7/2013
Total Mods for reports:  25
Energy
TAC:
 25 
Energy
Total Mods for this TAC:
R202
 6105 [RE] 
Replace the definition of Renovation with the definition of Renovated Building as per Florida law and previous Commission action for commercial buildings.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
2
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Fairey AS 9-0

4‑[CE] ‑ Commercial Energy Efficiency
C403.2.3
 6094 [CE] 
Correct Table C403.2.3(1) to agree with federal standards.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(e.) Changes to or inconsistencies with federal or state law;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Wojieszak 9-0
Fix: Cochelle, Fairey 9-0 AS

C403.2.3
 6096 [CE] 
Correct Table C403.2.3(2) to agree with federal standards.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(e.) Changes to or inconsistencies with federal or state law;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Fairey AS 9-0

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 6 of 9
5/7/2013
Total Mods for reports:  25
Energy
TAC:
 25 
Energy
Total Mods for this TAC:
C403.2.3
 6097 [CE]  
Update and correct errors on Table C403.2.3(3)
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(e.) Changes to or inconsistencies with federal or state law;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, 9-0
Fix: Cochelle,  Geyslaers 2nd  9-0 AS

C403.2.3
 6098 [CE]  
Add a new table to put federal standards for a/c and condensing units serving computer rooms in the code.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(e.) Changes to or inconsistencies with federal or state law;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Geyslaers 9-0 
Fix: Cochelle, Geyslaers AS 9-0

C403.2.3
 6099 [CE]  
Uupdate Table C403.2.3(7) to delete outdated standards.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(e.) Changes to or inconsistencies with federal or state law;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Geysalers 9-0
Fix: Cochelle, Geyslaers AS 9-0 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 7 of 9
5/7/2013
Total Mods for reports:  25
Energy
TAC:
 25 
Energy
Total Mods for this TAC:
C403.2.3
 6100 [CE]  
Add Table to include federal standards for viariable refrigerant flow multi‑split air conditioners and heat pumps.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(e.) Changes to or inconsistencies with federal or state law;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Geyslaers 9-0

C405.7.5
 6101 [CE]  
Remove criteria for motors.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(e.) Changes to or inconsistencies with federal or state law;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Fairey 9-0 AS

C407.3
 6163 [CE]  
Clarify that energy prices used in the performance calculation shall be those contained in the computer program approved by the Florida Building Commission.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Geyslaers 9-0 AS

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 8 of 9
5/7/2013
Total Mods for reports:  25
Energy
TAC:
 25 
Energy
Total Mods for this TAC:
C407.4
 6102 [CE]  
Remove reference to Section C101.5.1.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Geyslaers 9-0 AS

4‑[RE] ‑ Residential Energy Efficiency
R405.4
 6106 [RE]  
Change Section 405.4 to be Florida‑specific, require Commission approval of code compliance software, and add the requirement for the EPL Display Car consistent with Section 401.3.
Ann Stanton
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Geyslaers 9-0 AS

R405.5.2
 6173 [RE]  
Modify Table R405.5.2(1) to provide Standard Reference and Proposed Design specifications for thermal distribution systems.
Jeff Sonne / FSEC
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Geyslaers 9-0 AS

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Page 9 of 9
5/7/2013
Total Mods for reports:  25
Energy
TAC:
 25 
Energy
Total Mods for this TAC:
R405.5.2
 6179 [RE]  
Modify Table R405.5.2(1) to provide a thermal distribution system testing reference for Proposed Designs.
Jeff Sonne / FSEC
Proponent
Summary
Mod #
Section
Pending Review
(a.) Conflicts within the updated code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
Glitch: Cochelle, Geyslaers 9-0
Fix: Cochelle, Geyslaers 9-0 AS 

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
EN
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend: