TAC
Page 1 of 1
5/7/2013
Total Mods for reports:  2
Fire
TAC:
 2 
Fire
Total Mods for this TAC:
SubCode:
Building
3‑Use and Occupancy Classification
312.1
 6258 
Small unmanned utility telecommunications structures do not require portable fire extinguishers under the Florida Building Code.  The 2010 Florida Fire Prevention Code does not have this Use and Occupancy Classification by default and would require portable fire extinguishers.
Howard Foreman
Proponent
Summary
Mod #
Section
Pending Review
(b.) Conflicts between the updated code and the Florida Fire Prevention Code adopted pursuant to chapter 633;
X
X
NAR
I
TAC Action

AM

AS

W

Glitch Criteria:
3
Chapter
Glitch: Motion for negative roll call Belcher, Schock 2nd 
Kevin – N, Belcher-N, Frank- N, Greiner- N,  Gross-,  Hamrick-N, Holland-, Schciffer-N, Schock – N, Peterson, Bahadori- N  
8-n – 0y
NAR
7‑Fire and Smoke Protection Features
708.3
 6196 
Corrects a conflict within the updated code.  Clarifies fire partition requirements for mini‑warehouses.
T Stafford
Proponent
Summary
Mod #
Section
Pending Review
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X

NAR
I
TAC Action

AM

AS
X

W

Glitch Criteria:
7
Chapter
Glitch: Belcher, Schiffer 2nd 8-0
Fix: Belcher, Schiffer 2nd 8-0 AS
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
F
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend: