Florida Department of Community Affairs
Building Codes and Standards 
Date Printed  4/18/2011
GLITCH Tracking Chart
TAC & Commission Tracking Chart
Page 1 of 8
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Energy
 39 
TAC:
Total Mods for this TAC:
PENDING
101.4.7 , 403.6.2.2

 4798 
Summary of proposed mod:  
Move the exception for existing mechanical systems to Section 101.4.7.1, Replacement HVAC equipment, and eliminate the language describing the change as an “alteration”.  Delete the exception from Section 403.6.2.2.
donny pittman
1
Comment
Proponent
Summary
Mod #
Section
Chapter
101.5

 4645 
Change will make Florida Building Code, Energy Conservation consistent with the scoping provisions of the Florida Building Code, Residential.
T Stafford
1
Comment
Proponent
Summary
Mod #
Section
Chapter
103.2.1

 4646 
Remove reference to “EnergyGaugeUSA” and “EnergyGauge Summit” software in favor to reference to commission approved software
T Stafford
1
Comment
Proponent
Summary
Mod #
Section
Chapter
Table 103.2.1

 4766 
Revise Table 103.2.1 to remove reference to specific computer programs.
Ann Stanton
1
Comment
Proponent
Summary
Mod #
Section
Chapter
202

 4647 
Add definition back to the code using the definition from the Florida Building Code
T Stafford
2
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 2 of 8
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Energy
 39 
TAC:
Total Mods for this TAC:
202

 4648 
Add definition back to the code using the definition from the Florida Building Code, Mechanical
T Stafford
2
Comment
Proponent
Summary
Mod #
Section
Chapter
202

 4649 
Add definition back to the code using the definition from the Florida Building Code, Mechanical
T Stafford
2
Comment
Proponent
Summary
Mod #
Section
Chapter
304.1

 4651 
Remove reference to EnergyGauge Summit Fla/Com computer program.
T Stafford
3
Comment
Proponent
Summary
Mod #
Section
Chapter
304.3.1.4

Recommend disapproving mod 4652 in favor of action on mod 4767.  Mod 4767 reinstate needed text that is proposed for deletion by Mod 4652.

 4652 
Remove reference to EnergyGauge Summit Fla/Com computer program.
T Stafford
3
Comment
Proponent
Summary
Mod #
Section
Chapter
Table 301.1

 4650 
Table is from IECC change cleans up table to show only Florida Information.
T Stafford
3
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 3 of 8
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Energy
 39 
TAC:
Total Mods for this TAC:
304.3.1.4

 4767 
Remove reference to EnergyGauge Summit computer program and fix text to directly require that information be taken from Normative Appendix A of ASHRAE 90.1.
Ann Stanton
4
Comment
Proponent
Summary
Mod #
Section
Chapter
304.3.2.1

 4768 
Remove reference EnergyGauge Summit computer program and directly reference ASHRAE 90.1 Normative KAppendix A.
Ann Stanton
4
Comment
Proponent
Summary
Mod #
Section
Chapter
402.1.1

 4844 
Remove language refering to climate zones in Chapter 3.
Ann Stanton
4
Comment
Proponent
Summary
Mod #
Section
Chapter
402.1.1.3

 4847 
Reference correct sections of code. Remove reference to Sec. 405.
Ann Stanton
4
Comment
Proponent
Summary
Mod #
Section
Chapter
402.5

 4653 
Section 402.5 was eliminated so the exception is not needed.
T Stafford
4
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 4 of 8
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Energy
 39 
TAC:
Total Mods for this TAC:
403.9

 4869 
Replaces a reference to FL Standards with national consensus standards needed to follow state law that requires energy efficiencies for pools and spas.
Jennifer Hatfield
4
Comment
Proponent
Summary
Mod #
Section
Chapter
403.9.1.1, Table 504.2

 4790 
Include new gas pool heater efficiency requirements effective 4/16/13.
Ann Stanton
4
Comment
Proponent
Summary
Mod #
Section
Chapter
405.4.3

 4654 
Renumber subparagraph 2 and 3 to 1 and 2 due to the elimination od subparagraph 1
T Stafford
4
Comment
Proponent
Summary
Mod #
Section
Chapter
502.1

 4745 
Change reference to 2 tables added to the code. If EN4744 is approved the change is not needed.
T Stafford
5
Comment
Proponent
Summary
Mod #
Section
Chapter
502.2.1.1

 4746 
There is no Table 502.1.1.1, reference should be to the 2 new tables 502.1.1.1 (1) and 502.1.1.1(2).
T Stafford
5
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 5 of 8
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Energy
 39 
TAC:
Total Mods for this TAC:
502.2.2

 4747 
There is no Table 502.1.1.1, reference should be to the 2 new tables 502.1.1.1 (1) and 502.1.1.1(2).
T Stafford
5
Comment
Proponent
Summary
Mod #
Section
Chapter
502.2.3

 4748 
There is no Table 502.1.1.1, reference should be to the 2 new tables 502.1.1.1 (1) and 502.1.1.1(2).
T Stafford
5
Comment
Proponent
Summary
Mod #
Section
Chapter
502.2.4

 4749 
There is no Table 502.1.1.1, reference should be to the 2 new tables 502.1.1.1 (1) and 502.1.1.1(2).
T Stafford
5
Comment
Proponent
Summary
Mod #
Section
Chapter
502.2.5

 4750 
There is no Table 502.1.1.1, reference should be to the 2 new tables 502.1.1.1 (1) and 502.1.1.1(2).
T Stafford
5
Comment
Proponent
Summary
Mod #
Section
Chapter
503.2.3

 4825 
Update Tables 503.2.3(1) and (2) to change IPLV requirements to IEER resquirement contained in addenda s to ASHRAE 90.1‑2007.
Ann Stanton
5
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 6 of 8
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Energy
 39 
TAC:
Total Mods for this TAC:
503.2.3

 4826 
Delete Florida‑specific Tables 503.2.3(7), 503.2.3(8) and 503.2.3(9) and replace with new Table 503.2.3(7).  Fix Table 503.2.3(10) to be consistent with addenda l of ASHRAE 90.1‑2007. Add a referenced CTI standard to Chapter 6.
Ann Stanton
5
Comment
Proponent
Summary
Mod #
Section
Chapter
503.2.3

 4840 
Update Table 503.2.3(3) to ASHRAE 90.1‑07 addenda t to specify that the term &quot;Replacements&quot; means &quot;Nonstandard size&quot; equipment to be installed in an existing opening of less than 16&quot; high and 42&quot; wide.
Ann Stanton
5
Comment
Proponent
Summary
Mod #
Section
Chapter
503.2.3

 4843 
Modify Table 503.2.3(4), Warm Air Furnaces..., to specify the correct part of standards referenced.
Ann Stanton
5
Comment
Proponent
Summary
Mod #
Section
Chapter
503.4.3.3.2

 4769 
Section is amended to reference Table 503.2.3(8).  It should not have been reserved.
Ann Stanton
5
Comment
Proponent
Summary
Mod #
Section
Chapter
504.2

 4839 
Update Table 504.2 to national standards for water heating equipment in addenda k to ASHRAE 90.1‑07 and to the minimum efficiency of gas and oil‑fired pool heaters noticed by the US Dept of Energy in the Federal Register, Vol. 75, Friday, April 16, 2010.
Ann Stanton
5
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 7 of 8
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Energy
 39 
TAC:
Total Mods for this TAC:
506.4

 4751 
Remove reference to EnergyGauge Summit Fla/Com computer program.
T Stafford
5
Comment
Proponent
Summary
Mod #
Section
Chapter
Table 506.6.2

 4743 
Delete table as it is applicable to the prescriptive method which was deleted.
T Stafford
5
Comment
Proponent
Summary
Mod #
Section
Chapter
FSEC

 4770 
References to EnergyGauge USA and EnergyGauge Summit computer programs were removed from the code during the 2010 code development process.  This mod removes them from Chapter 6.
Ann Stanton
6
Comment
Proponent
Summary
Mod #
Section
Chapter
B‑1.1.3

 4752 
Remove reference to EnergyGaugeUSA Fla/Res computer program.
T Stafford
8
Comment
Proponent
Summary
Mod #
Section
Chapter
Table B‑2.2

 4753 
Remove reference to EnergyGauge Summit Fla/Com computer program in table and footnote.
T Stafford
8
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 8 of 8
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Energy
 39 
TAC:
Total Mods for this TAC:
EPL Display Card

 4865 
Remove reference to EnergyGauge USA FLA/RES computer program from the form.
Ann Stanton
9
Comment
Proponent
Summary
Mod #
Section
Chapter
Form 402

 4791 
Change scoping to delete site‑added components of manufactured homes and reference to FlaResCheck (does not exist at this point). Fix reference to table numbers. Add 2013 gas pool heater revised efficiency.
Ann Stanton
9
Comment
Proponent
Summary
Mod #
Section
Chapter
FL Standards 1 and 2

 4864 
Removes FL Standards and replaces with national consensus standards.  Provides reference to these standards in Chapter 6.
Jennifer Hatfield
10
Comment
Proponent
Summary
Mod #
Section
Chapter
ACCA

 4592 
Correct reference section numbers for ACCA Manual D.  ACCA Manual J is deleted since it is no longer referenced in the code.
T Stafford
43
Comment
Proponent
Summary
Mod #
Section
Chapter
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation