Florida Department of Community Affairs
Building Codes and Standards 
Date Printed  4/18/2011
Not a GLITCH Tracking Chart
TAC & Commission Tracking Chart
Page 1 of 2
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Energy
 9 
TAC:
Total Mods for this TAC:
PENDING
101.4.7.1.1
Code consistency and code clarification are not glitch parameters.  The mod adds specific criteria “new requirements” for testing an entire existing duct system to avoid sealing accessible duct joints and seams and provides for specific testing entity. 

 4874 
Mod adds criteria for who can test a duct system and the conditions of the test
Arlene Stewart
4
Comment
Proponent
Summary
Mod #
Section
Chapter
101.4.7.1.1
As a clarification to section 101.4.7.1.1, the proposed mod adds a new form “new requirement” to certify that accessible existing duct has been sealed.  Clarification of a code provision is outside the scope of the glitch criteria.
 4875 
Mod provides a solution for unintended inspection difficulties that will arise from requiring certification for only one compliance provision for new FS 553.912.
Arlene Stewart
4
Comment
Proponent
Summary
Mod #
Section
Chapter
402.1.1
Conflict with a national code that is not yet in effect is not a glitch.  In addition, there is a FL-specific table in Sec. 303.2.1 that deals with this issue.

 4509 
To correct language in Table 402.1.1 footnote &quot;a&quot; to match that approved at the ICC Final Action Hearing in Charlotte, NC.
Darrell Winters
4
Comment
Proponent
Summary
Mod #
Section
Chapter
402.5
There is no inconsistency with federal law as stated because Florida determines equivalency with the national standard by potential whole building energy consumption.

 4873 
This proposal restores a mandatory section of the IECC that is necessary to maintain equivalency between the Florida Building Code and state and federal law.
Eric Lacey
4
Comment
Proponent
Summary
Mod #
Section
Chapter
403.9
Deleting code requirements because they are contained in an industry standard does not fall under the glitch criteria. 

 4863 
Replaces a reference to FL Standards with national consensus standards needed to follow state law that requires energy efficiencies for pools and spas.
Jennifer Hatfield
4
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 2 of 2
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Energy
 9 
TAC:
Total Mods for this TAC:
Table 502.1.1.1
Code consistency is not a glitch parameter. Proposed reflectance levels are different from that required by Table 502.1.1.1. In addition, several tests are available to determine reflectance.

 4511 
Change cool roof requirements in Table 502.1.1.1 from absorptance to reflectance to resolve a conflict that currently exists between the Commercial and Residential requirements that are in Table 402.1.1.
Mike Ennis
5
Comment
Proponent
Summary
Mod #
Section
Chapter
Table 502.1.1.1
Ease of use is not a glitch parameter.

 4744 
Combine Tables 502.1.1.1(1) and 502.2.1.1(2) into a single table.
T Stafford
5
Comment
Proponent
Summary
Mod #
Section
Chapter
Form 410
Code clarification is not a glitch parameter.  As a clarification, the proposed mod adds a new form for demonstrating test results, which is already required through the BERS certification program.  Another form is not needed.

 4877 
Modification closes gaps by adding a mandatory compliance form for executing the new provision in 403.2.2.1
Arlene Stewart
9
Comment
Proponent
Summary
Mod #
Section
Chapter
Form 420
Code clarification is not a glitch parameter.  As a clarification, the proposed mod adds a new form. 

 4870 
Mod provides for uniform signed certification for the contractor to add to the air handler unit as indicated by section 101.4.7.1.
Arlene Stewart
9
Comment
Proponent
Summary
Mod #
Section
Chapter
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation