2010 Test Protocols for High-Velocity Hurricane Zones

Glitch Supplement

RAS  127  PROCEDURE FOR DETERMINING THE MOMENT OF RESISTANCE AND MINIMUM CHARACTERISTIC RESISTANCE LOAD TO INSTALL A TILE SYSTEM ON A BUILDING OF A SPECIFIED ROOF SLOPE AND HEIGHT

Revise to read as follows:

1.            Scope

This standard covers the procedure for determining the Moment of Resistance (Mr) and Minimum Characteristic Resistance Load (F') to install a tile system on buildings of a specified roof slope and height. Compliance with the requirements and procedures herein specified, where the pressures (P asd) have been determined based on Table 1 or Table 2 of this standard,  as applicable, do not require additional signed and sealed engineering design calculation. All other calculations must be prepared, signed and sealed by a professional engineer or registered architect. Table 1 is applicable to a wind speed of 175 mph, risk category II buildings, and exposure category C. Table 2 is applicable to a wind speed of 175 mph, risk category II buildings, and exposure category D.

2.            How to determine the Moment Resistance (Mr) (Moment Based Systems)

2.1          Determine the minimum design wind pressures for the field, perimeter and corner areas (P asd 1, P asd 2 and P asd 3, respectively) using the values given in Table 1 or Table 2, as applicable,   or those obtained by engineering analysis prepared, signed and sealed by a professional engineer or registered architect based on ASCE 7.

2.2          Locate the aerodynamic multiplier (?) in tile Product Approval.

2.3          Determine the restoring moment due to gravity (Mg) per Product Approval.

2.4          Determine the attachment resistance (Mf) per Product Approval.

2.5          Determine the Moment of Resistance (Mr) per following formula:

Mr = (P asd x ?) - Mg

2.6          Compare the values for Mr, with the values for Mf, noted in the Product Approval. If the Mf values are greater than or equal to the Mr values, for each area of the roof [i.e., field P asd (1), perimeter P asd (2) and corner P asd (3) areas], then the tile attachment method is acceptable.

3.            How to determine the Minimum Characteristic Resistance Load (F') (Uplift Based System)

3.1          Determine the minimum design pressures for the field, perimeter and corner areas [P asd (1), Pasd (2) and P asd (3), respectively] using the values given in Table 1 or Table 2, as applicable,  or those obtained by engineering analysis prepared, signed and sealed by a professional engineer or registered architect based on the criteria set forth in ASCE 7.

3.2          Determine the angle (?) of roof slope, from Table 1 or Table 2, as applicable,.

3.3          Determine the length (l), width (w) and average tile weight (W) of tile, per Product Approval.

3.4          Determine the required uplift resistance (Fr) per following formula:

Fr = [(P asd x l x w) - W] x cos ?

3.5          Compare the values for Fr with the values for F' noted in the Product Approval. If the F' values are greater than or equal to the Fr values, for each area of roof [i.e., field P asd (1) perimeter (P asd (2) and corner P asd (3) areas], then the tile attachment method is acceptable.

| TABLE 1– Risk Category II Exposure Category 'C'1 MINIMUM DESIGN WIND UPLIFT PRESSURES IN PSF FOR FIELD (P asd (1), PERIMETER (P asd (2) AND CORNER (P asd (3) AREAS OF ROOFS FOR EXPOSURE C BUILDINGS WITH A ROOF MEAN HEIGHT AS SPECIFIED13 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ROOF SLOPE | > 2:12 to < 6:12 |  |  | > 6:12 to < 12:12 |  |
| Roof mean height | P asd (1) | P asd (2) | P asd (3)2 | P asd (1) | P asd (2) & P asd (3) |
| <=20' | -45.1 -39.1 | -78.6 -68.1 | -116.2 -100.7 | -49.1 -42.8 | -57.5 -50.0 |
| >20' to <=25' | -47.3 -40.9 | -82.3 -71.3 | -121.8 -105.4 | -51.2 -44.8 | -60.4 -52.3 |
| >25' to <=30' | -49.2 -42.4 | -85.7 -73.9 | -126.8 -109.3 | -53.6 -46.4 | -62.9 -54.3 |
| >30' to <=35' | -50.9 -43.9 | -88.5-76.6 | -130.9 -113.2 | -55.3 -48.1 | -65.0 -56.2 |
| >35 to <=40' | -52.3 -45.1 | -91.0 -78.7 | -134.6 -116.3 | -56.9 -49.4 | -66.8 -57.8 |

1 Calculated in accordance with ASCE 7.05 (Wind Speed: 146 mph).

2 For Hip Roofs with slope <=5.5: 12, P asd (3) shall be treated as P asd (2). [Mod 2014r/2104r]

3 Pasd = 0.6Pult

| TABLE 2– Risk Category II Exposure Category 'D'1 MINIMUM DESIGN WIND UPLIFT PRESSURES IN PSF FOR FIELD (P asd (1), PERIMETER (P asd (2) AND CORNER (P asd (3) AREAS OF ROOFS FOR EXPOSURE D BUILDINGS WITH A ROOF MEAN HEIGHT AS SPECIFIED3 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ROOF SLOPE | > 2:12 to < 6:12 |  |  | > 6:12 to < 12:12 |  |
| Roof mean height | P asd (1) | P asd (2) | P asd (3)2 | P asd (1) | P asd (2) & P asd (3) |
| <=20' | -47.0 | -81.9 | -121.0 | -51.4 | -60.1 |
| >20' to <=25' | -48.8 | -85.0 | -125.7 | -53.4 | -62.4 |
| >25' to <=30' | -50.3 | -87.7 | -129.6 | -55.0 | -64.4 |
| >30' to <=35' | -51.5 | -89.8 | -132.7 | -56.4 | -65.9 |
| >35 to <=40' | -52.7 | -91.9 | -135.8 | -57.7 | -67.9 |

1 Calculated in accordance with ASCE 7

2 For Hip Roofs with slope <=5.5: 12, P asd (3) shall be treated as P asd (2).

3 Pasd = 0.6Pult

| TABLE 23 WHERE TO OBTAIN INFORMATION |  |  |
| --- | --- | --- |
| Description | Symbol | Where to find |
| Design Pressure | Pasd (1) or Pasd (2) or Pasd (3) | Table 1 or Table 2, as applicable, or by an engineer analysis prepared, signed and sealed by a professional engineer based on ASCE 7 |
| Mean Roof Height | H | Job Site |
| Roof Slope | theta | Job Site |
| Aerodynamic Multiplier | lamda | Product Approval |
| Restoring Moment due to Gravity | Mg | Product Approval |
| Attachment Resistance | Mf | Product Approval |
| Required Moment Resistance | Mr | Calculated |
| Minimum Characteristic Resistance Load | F' | Product Approval |
| Required Uplift Resistance | Fr | Calculated |
| Average Tile Weight | W | Product Approval |
| Tile Dimensions | l=length w=width | Product Approval |

All calculations must be submitted to the building official at the time of permitting.

(R4800)

RAS 128  STANDARD PROCEDURE FOR DETERMINING APPLICABLE WIND DESIGN PRESSURES FOR LOW SLOPE ROOF

Revise to read as follows:

1.            Scope

1.1 This roofing application standard has been developed to provide a responsive method of complying with the requirements of Chapters 15 & 16 (High-Velocity Hurricane Zones) of the Florida Building Code, Building . Compliance with the requirements and procedures herein specified, where the pressures (P asd) have been determined based on Table R128-1 1 or Table 2, of this standard, as applicable, do not require additional signed and sealed engineering design calculations. All other calculations must be prepared, signed and sealed by a professional engineer or registered architect.

2.            Definitions

2.1 For definitions of terms used in this application standard, refer to ASTM D 1079 and the Florida Building Code, Building.

3.            Applicability

3.1          This application standard applies to:

a.            exposure C and D category buildings; and

b.            building heights of less than or equal to 40 feet; and

c.             roof incline (pitch) is not greater than 1/2 in.:12 in.

d.            risk category II buildings

3.2          Using Table 1 or Table 2 below, as applicable, determine the minimum design pressure for each respective roof area, which corresponds to the applicable roof height range.

| TABLE 1 – Risk Category II Exposure Category 'C'1 MINIMUM DESIGN WIND UPLIFT PRESSURES, IN PSF FOR FIELD (Pasd (1), PERIMETER (Pasd (2) AND CORNER (Pasd (3) AREAS OF ROOFS FOR EXPOSURE 'C' BUILDINGS2 |  |  |  |
| --- | --- | --- | --- |
| Roof mean height (below) | Pasd (1) Field | Pasd (2) (Perimeter) | Pasd (3) (Corners) |
| 20 | -49.2 -42.8 | -82.6-71.7 | -124.3-108.0 |
| 25 | -51.4-44.8 | -86.3-75.1 | -129.9-113.0 |
| 30 | -53.6-46.4 | -89.9-77.8 | -135.3-117.2 |
| 35 | -55.2-48.1 | -92.7-80.6 | -139.5-121.3 |
| 40 | -56.9-49.4 | -95.4-82.9 | -143.6-124.7 |

1 Calculated in accordance with ASCE 7.

2 Pasd = 0.6Pult

| TABLE 2– Risk Category II Exposure Category 'D' MINIMUM DESIGN WIND UPLIFT PRESSURES, IN PSF FOR FIELD (Pasd (1), PERIMETER (Pasd (2) AND CORNER (Pasd (3) AREAS OF ROOFS FOR EXPOSURE 'D' BUILDINGS |  |  |  |
| --- | --- | --- | --- |
| Roof mean height (below) | Pasd (1) Field | Pasd (2) (Perimeter) | Pasd (3) (Corners) |
| 20 | -51.4 | -86.2 | -129.7 |
| 25 | -53.4 | -89.5 | -134.7 |
| 30 | -55.0 | -92.3 | -138.9 |
| 35 | -56.4 | -94.5 | -142.3 |
| 40 | -57.7 | -96.8 | -145.6 |

1 Calculated in accordance with ASCE 7.

2 Pasd = 0.6Pult

3.3          Referencing the selected Roof Assembly Product Approval, check that the listed maximum allowable design pressure for the particular approved system meets or exceeds those listed in Table 1 or Table 2 above, as applicable.

(R4801)

TAS 101-95 TEST PROCEDURE FOR STATIC UPLIFT RESISTANCE OF MORTAR OR ADHESIVE SET TILE SYSTEMS

Revise Section 1.4 to read as follows:

1.4 All testing and calculations shall be conducted by an approved testing agency and all test reports, including calculations, shall be signed by a Registered Design Professional per F.S., Section 471 or 481Professional Engineer or Registered Roof Consultant.

Add 1.6 to read as follows:

1.6 For the purposes of the testing required in TAS 101-95, design pressures calculated in accordance with ASCE 7 are permitted to be multiplied by 0.6. (R4773)

Revise 4.4.2 to read as follows:

4.4.2 The Chief Code Compliance Officer Authority Having Jurisdiction  local building official shall determine the acceptability of system installation based on results from engineering design calculations in compliance with RAS 127. These calculations shall be: 1) performed for all buildings having a roof mean height greater than 40 feet; 2) performed, signed and sealed by a Registered Design Professional per F.S., Section 471 or 481 Professional Engineer or Registered Architect; and, 3) shall take precedence over the procedures outlined in Section 4.4.1.  {3538}

Revise Section 7.2 to read as follows:

7.2       Underlayment

7.2.1 Underlayment shall be a standard 30/90 system with a 30 lb. ASTM D 226, Type II anchor sheet and an ASTM D 249 ASTM D 6380 CLASS M mineral surface roll roofing as the top ply.

7.2.2 The anchor sheet shall be mechanically attached to the wood sheathing with 12 ga. roofing nails and 15/8 in. 15/8 in. tin caps, in a 12 in. grid pattern staggered in two rows in the field and 6 in. o.c. attachment at any laps. The mineral surface top ply shall be applied in a full mopping of ASTM D 312, Type IV asphalt. {3539}

Revise Section 7.6.4 to read as follows:

7.6.4 All tile shall be applied with a minimum 3 in. head lap unless restricted by product design. {3539}

Revise Section 7.6.5 to read as follows:

7.6.5 The first course shall consist of two tiles installed at the lower edge of the test deck. The second course shall consist of the ‘test tile' installed over the first course, insuring for a minimum 3 in. head lap, unless restricted by product design. Tile in the first course which are not tested shall be installed to insure the "test tile," in the second course, is at the correct angle relative to the sheathing. . {3539}

Revise Section 7.8 to read as follows:

7.8 The test specimen shall be inspected by a Registered Design Professional per F.S., Section 471 or 481 Professional Engineer or Registered Roof Consultant who shall certify, in the final test report, that it was constructed in compliance with the provisions of this Protocol. {3538}

Revise Section 10.3.3 to read as follows:

10.3.3 Determine the percent deviation from the mean (S'F) using the information from Section 10.3.2.1 10.3.2 and the following equation. {3539}

No change to the remaining text.

Revise Section 10.4 to read ad follows:

10.4 Minimum Characteristic Resistance load (F’)

10.4.1 The mean ultimate load, F, used to determine the minimum characteristic resistance load (F’) shall be adjusted when the attachment system is used to provide resistance to more than one (1) roof tile by dividing the mean ultimate load by a load factor. For systems where the attachment provides resistance to a single roof tile the load factor shall be 1. For systems where the attachment provides resistance for two (2) roof tiles the load factor shall be 2. For systems where the attachment provides resistance for more than two (2) roof tiles the load factor shall be calculated and applied.

__            __

F =  ___  _F

Load Factor

10.4.1   10.4.2 Determine the minimum characteristic resistance load (F') using the mean ultimate load () and the following equation. 

where, 

F' = minimum characteristic resistance load; 

F = mean ultimate load; 

MS = margin of safety = 2; and, 

W = average weight.

NOTE: The requirement noted in Section 10.3.3.1 shall be met prior to determining the minimum characteristic resistance load (F').{4343}

Revise Section 11.1.3 to read as follows:

11.1.3 A detailed report of the method of test specimen construction, including a photograph of the test specimen and certification by a Registered Design Professional per F.S., Section 471 or 481 Professional Engineer or Registered Roof Consultant that the test specimen was constructed in compliance with the specifications of this Protocol. {3538}

(R4534, R4529)

TAS 102-95 - Test Procedure for Static Uplift Resistance of Mechanically Attached‚ Rigid Roof Systems

Revise 1.4 to read as follows:

1.4 All testing and calculations shall be conducted by an approved testing agency and all test reports, including calculations, shall be signed by a Registered Design Professional per F.S., Section 471 or 481 Professional Engineer or Registered Roof Consultant.

Revise 4.4.2 to read as follows:

4.4.2 The Chief Code Compliance Officer  Authority Having Jurisdiction local building official shall determine the acceptability of system installation based on results from engineering design calculations in compliance with RAS 127. These calculations shall be: 1) performed for all buildings having a roof mean height greater than 40 feet; 2) performed, signed and sealed by a Registered Design Professional per F.S., Section 471 or 481 Professional Engineer or a Registered Architect; and, 3) shall take precedence over the procedures outlined in Section 4.4.1.

Revise 7.2.1 to read as follows:

7.2.1 Underlayment shall be a standard 30/90 system with a 30 lb ASTM D 226, type II anchor sheet and an ASTM D 249 ASTM D 6380 CLASS M mineral surface roll roofing as the top ply.

Revise 7.8 to read as follows:

7.8 The test specimen shall be inspected by a Registered Design Professional per F.S., Section 471 or 481 Professional Engineeror Registered Roof Consultant who shall certify, in the final test report, that it was constructed in compliance with the provisions of this Protocol.

Revise 10.1.3 to read as follows:

10.1.3 A detailed report of the method of test specimen construction, including a photograph of the test specimen and certification by a Registered Design Professional per F.S., Section 471 or 481 Professional Engineer or Registered Roof Consultant that the test specimen was constructed in compliance with the specifications of the Protocol.

(R4535)

TAS 102(A) TEST PROCEDURE FOR STATIC UPLIFT RESISTANCE OF MECHANICALLY ATTACHED, CLIPPED, RIGID, ROOF SYSTEMS Revise 4.4.2 to read as follows: 4.4.2 The Chief Code Compliance Officer Authority Having Jurisdiction shall determine the acceptability of system installation based on results from engineering design calculations in compliance with RAS 127. These calculations shall be: 1) performed for all buildings having a roof mean height greater than 40 feet; 2) performed, signed and sealed by a Professional Engineer or Registered Architect; and, 3) shall take precedence over the procedures outlined in Section 4.4.1.

(R4536)

TAS 103 TEST PROCEDURE FOR SELF-ADHERED UNDERLAYMENTS FOR USE IN DISCONTINUOUS ROOF SYSTEMS

Revise 7.1.1.2 to read as follows:

7.1.1.2 Four (4) 8 in.' x 8' test decks shall be constructed of 40/20 19/32 in. APA Rated Sheathing attached to wood joists spaced 24 o.c. Each test deck shall consist of four (4) panels of said sheathing, the corners of which shall meet at the center of each test deck, leaving a 1/8 in. gap between panels.

(R4788)

TAS 105 TEST PROCEDURE FOR FIELD WITHDRAWAL RESISTANCE TESTING

TAS 105-98 11

Revise 1.3 to read as follows:

1.3 For the purposes of the testing required in TAS 105-11, design pressures calculated in accordance with ASCE 7 are permitted to be multiplied by 0.6.

(R4775)

TAS 107 TEST PROCEDURE FOR WIND RESISTANCE TESTING OF NON-RIGID, DISCONTINUOUS ROOF SYSTEM ASSEMBLIES

Revise 11.1 to read as follows:

11.1 A test report will be provided to the Chief Code Compliance Officer Authority Having Jurisdiction confirming successful compliance with the test provisions of this Protocol. Completion of this test Protocol is one in a series of Testing Application Standards required by the Florida Building Code, Building for Product Approval of non-rigid, discontinuous Roof System Assemblies.

(R4537)

TAS 108 TEST PROCEDURE FOR WIND TUNNEL TESTING OF AIR PERMEABLE, RIGID, DISCONTINUOUS ROOF SYSTEMS

Revise 4.1 to read as follows:

4.1          Use of this protocol is limited to systems which are air permeable, as determined in compliance with TAS 116 or deemed air permeable by the chief code compliance officer Authority Having Jurisdiction, in which the unsealed, overlapping, rigid components have a length between 1.0 and 1.75 feet; an exposed width between 0.73 and 1.25 feet; and a thickness not greater than 1.3 in.

Note: The Chief Code Compliance Officer Authority Having Jurisdiction may waive the requirement for air permeability testing in compliance with TAS 116.

(R4538)

TAS 112 STANDARD REQUIREMENTS FOR CONCRETE ROOF TILES

Revise 11.1 to read as follows:

11.1 The chief code compliance officer Authority Having Jurisdiction shall certify that the tile is in compliance with this protocol by the issuance of a Product Approval to the applicant. Tile forms part of a system that requires testing under additional protocols for usage in the high- velocity hurricane zone jurisdiction.

(R4539)

TAS 114 TEST PROCEDURES FOR ROOF SYSTEM ASSEMBLIES IN THE HIGH-VELOCITY HURRICANE ZONE JURISDICTION

TAS 114-95 11

Add 1.9 to read as follows:

1.9 Design pressures calculated in accordance with ASCE 7 are permitted to be multiplied by 0.6 for the purposes of comparing to tested pressures in TAS 114-11.

(R4776)

Revise 4.4.1 to read as follows:

4.4.1      The effective date of a protocol mandates that all products tested for Approval after the effective date must satisfy the requirements of that protocol. Products Approved under a previous Protocol must comply with the new version by the effective date or such date established by the chief code compliance officer Authority Having Jurisdiction or else forfeit Product Approval. The effective date may apply to the entire protocol, or, where so indicated, only to specific paragraphs of the protocol.

Revise to add 7.6 as new section:

7.6 Design pressures calculated in accordance with ASCE 7 are permitted to be multiplied by 0.6 for the purposes of comparing to tested pressures in TAS 114-11.

Revise 8.1.1 to read as follows:

8.1.1      This protocol is intended to evaluate a roof system assembly for its performance as it relates to accelerated weathering, corrosion of metal parts, F.I.T. performance (Fatigue, Indentation and Temperature), fire, foot traffic, hail, leakage, and wind. The applicant may submit up to five roof system assemblies in its Application for Product Approval. The chief code compliance officer Authority Having Jurisdiction shall respond, in writing, stating which tests shall be required for sufficient evidence of compliance.

Revise 8.2.3 to read as follows:

8.2.3      Tests of alternate constructions may be waived by the chief code compliance officer Authority Having Jurisdiction if considered less hazardous than those previously tested.

8.3.2.3   Simulated uplift testing:

*                                                             *                                                             *

·         The chief code compliance officer Authority Having Jurisdiction may, at his/her option, accept and publish in Product Approvals roof system assemblies that do not meet the minimum 90 psf (4.2 kPa) uplift criteria providing the manufacturer has one or more assemblies that meet the minimum uplift criteria.

Revise 9.2.1.3 to read as follows:

9.2.1.3   The chief code compliance officer Authority Having Jurisdiction may rely on continued listing of approved systems in the annual Factory Mutual Approval Guide and quarterly supplements as confirmation of requirements under this section.

Revise 9.2.2.2 to read as follows:

9.2.2.2   The chief code compliance officer Authority Having Jurisdiction shall review established procedures from recognized testing and listing agencies to confirm compliance with the requests set forth herein.

(R4540, R4777)

TAS 116  TEST PROCEDURE FOR AIR PERMEABILITY TESTING OF RIGID, DISCONTINUOUS ROOF SYSTEMS

Revise 4.2 to read as follows:

4.2          The procedures and calculations outlined herein provide a means of determining the air permeability (Cd) for a rigid, discontinuous roof system. This value shall be listed in the system manufacturer's roof system assembly Product Approval for reference by the chief code compliance officer to determine whether the system is air permeable or air impermeable. The Chief Code Compliance Officer Authority Having Jurisdiction may nullify this testing requirement for systems which are generally considered air permeable.

Revise 4.3 to read as follows:

4.3          The test criteria will be based on testing, under the provisions of this Protocol, of rigid, prepared roof coverings which are generally considered air impermeable (i.e. metal roof systems, and lap sealed, rigid prepared roof coverings). This criteria shall be determined by September 1, 1994. Until that date, the Chief Code Compliance Officer Authority Having Jurisdiction shall judge as to whether a prepared roof covering is air permeable or air impermeable.

(R4542)

TAS 114 PPENDIX A  TEST PROCEDURE FOR ABOVE DECK COMBUSTIBILITY

ASTM E 108

1.2  - revise to read as follows:

1.2          The applicant shall submit in the initial application all roof system assemblies requested over combustible and noncombustible decks. From this submission, the chief code compliance officer Authority Having Jurisdiction may list a limited number of roof system assemblies which will require external fire testing to represent all proposed assemblies.

(F4541)

TAS 121 STANDARD REQUIREMENTS FOR TESTING AND APPROVAL OF ROOFING ADHESIVES, MASTICS AND COATINGS

Revise 8.1 to read as follows:

8.1 The authority having jurisdiction may periodically purchase commercial quantities of the approved product for testing at approved Testing Agencies to confirm compliance with the provisions of the ASTM Standard or Testing Application Standards. Failure to meet the minimum physical property and performance properties of the test standard shall constitute grounds for rejection of the lots and suspension of the Product Approval. In cases of rejection the chief code compliance officer Authority Having Jurisdiction shall request removal of the rejected lot number(s) from commercial sale.

Revise 8.2 to read as follows:

8.2 The chief code compliance officer Authority Having Jurisdiction may, after rejection of one or more lots, require third party quality control inspection as a provision to lifting of approval suspension.

(R4543)

TAS 123 STANDARD REQUIREMENTS FOR MORTAR USED IN MORTAR SET TILE SYSTEMS

Revise 10.1 to read as follows:

10.1 The chief code compliance officer Authority Having Jurisdiction may periodically purchase commercial quantities of the Approved product for testing to confirm compliance with the provisions of this protocol. Failure to meet the minimum requirements set forth in this protocol shall constitute grounds for rejection of the lots and suspension of the Product Approval. In cases of rejection the chief code compliance officer Authority Having Jurisdiction shall request removal of the rejected lot number(s) from commercial sale.

(R4544)

TAS 124 TEST PROCEDURE FOR FIELD UPLIFT RESISTANCE OF EXISTING MEMBRANE ROOF SYSTEMS AND IN SITU TESTING FOR REROOF AND NEW CONSTRUCTION APPLICATIONS

TAS 124-95 11

Revise 1.7 to read as follows:

1.7 Design pressures calculated in accordance with ASCE 7 are permitted to be multiplied by 0.6 for the purposes of comparing to tested pressures in TAS 124-11.

(R4778)

TAS 131 STANDARD REQUIREMENTS FOR THERMOPLASTIC OLEFIN ELASTOMER BASED SHEET USED IN SINGLE-PLY ROOF MEMBRANE

Revise 11.2 to read as follows:

11.2 If the results of any tests do not conform to the requirements of this specification, retesting to determine conformity shall be performed as required by the Chief Code Compliance Officer Authority Having Jurisdiction.

Revise 14.1 to read as follows:

14.1 Upon request of the Chief Code Compliance Officer Authority Having Jurisdiction, a manufacturer may be required to certify that the material was manufactured and tested in accordance with this Protocol. Additional testing for confirmation may be required by an approved testing agency.

(R4545)

TAS 132 STANDARD REQUIREMENTS FOR TESTING AND APPROVAL OF SEALANTS USED IN ROOFING

Revise 10 to read as follows:

10.          Rejection and Reinspection

10.1 The Building Code Compliance Office Authority Having Jurisdiction may periodically purchase commercial quantities of the approved product for testing at Approved Testing Agencies to confirm compliance with the provisions of this Protocol. Failure to meet the minimum requirements set forth in Section 5 shall constitute grounds for rejection of the lots and suspension of the Product Approval. In cases of rejection the Authority Having Jurisdiction shall request removal of the rejected lot number(s) from commercial sale.

10.2 The Chief Code Compliance Officer Authority Having Jurisdiction may, after rejection of one or more lots, require third party quality control inspection as a provision to lifting of Approval suspension.

(R4546)

TAS 135 STANDARD REQUIREMENTS FOR FIBERGLASS REINFORCED TILE, SHINGLES OR PANELS AND FIBER CEMENT SHINGLES, SHAKES OR PANELS

Revise 1.2 to read as follows:

1.2 The designation of fiberglass reinforced composite products between tile, shingles or panels, and the corresponding test requirements thereof, shall be made by the Chief Code Compliance Officer Authority Having Jurisdiction.

Revise 1.3 to read as follows:

1.3 The designation of non-asbestos, fiber cement products between shingles, shakes or panels, and the corresponding test requirements thereof, shall be made by the Chief Code Compliance Officer Authority Having Jurisdiction.

(R4548)

TAS 138 STANDARD REQUIREMENTS FOR ALUMINUM PIGMENTED EMULSIFIED ASPHALT USED AS A PROTECTIVE COATING FOR ROOFING

Revise 11.1 and 11.2 to read as follows:

11.1 The Authority Having Jurisdiction may periodically purchase commercial quantities of the approved product for testing at Approved Testing Agencies to confirm compliance with the provisions of this Protocol. Failure to meet the minimum requirements set forth in Sections 6 and 7 shall constitute grounds for rejection of the lots and suspension of the Product Approval. In cases of rejection the Chief Code Compliance Officer Authority Having Jurisdiction shall request removal of the rejected lot number(s) from commercial sale.

11.2 The Chief Code Compliance Officer Authority Having Jurisdiction may, after rejection of one or more lots, require third party quality control inspection as a provision to lifting of Approval suspension.

(R4549)

TAS 139 STANDARD REQUIREMENTS FOR WHITE ROOF PATCH SPECIFICATION

Revise 9.1 and 9.2 to read as follows:

9.1 The Authority Having Jurisdiction may periodically purchase commercial quantities of the approved product for testing at Approved Testing Agencies to confirm compliance with the provisions of this Protocol. Failure to meet the minimum requirements set forth in Sections 5 and 6 shall constitute grounds for rejection of the lots and suspension of the Product Approval. In cases of rejection the Chief Code Compliance Officer Authority Having Jurisdiction shall request removal of the rejected lot number(s) from commercial sale.

9.2 The Chief Code Compliance Officer Authority Having Jurisdiction may, after rejection of one or more lots, require third party quality control inspection as a provision to lifting of Approval suspension.

(R4566)

TAS 140 STANDARD REQUIREMENTS FOR NONFIBERED ROOF AND FOUNDATION COATINGS Revise 8.1 and 8.2 to read as follows: 8.1 The Authority Having Jurisdiction may periodically purchase commercial quantities of the approved product for testing at Approved Testing Agencies to confirm compliance with the provisions of this Protocol. Failure to meet the minimum requirements set forth in Sections 5 and 6 shall constitute grounds for rejection of the lots and suspension of the Product Approval. In cases of rejection the Chief Code Compliance Officer Authority Having Jurisdictionshall request removal of the rejected lot number(s) from commercial sale. 8.2 The Chief Code Compliance Officer Authority Having Jurisdiction may, after rejection of one or more lots, require third party quality control inspection as a provision to lifting of Approval suspension.

(R4567)

TAS 141 STANDARD REQUIREMENTS FOR COAL TAR (CUTBACK) ROOF COATING, BRUSHING CONSISTENCY

Revise 10.1 and 10.2 to read as follows:

10.1 The Authority Having Jurisdiction may periodically purchase commercial quantities of the approved product for testing at Approved Testing Agencies to confirm compliance with the provisions of this Protocol. Failure to meet the minimum requirements set forth in Sections 5 and 6 shall constitute grounds for rejection of the lots and suspension of the Product Approval. In cases of rejection the Chief Code Compliance Officer Authority Having Jurisdiction shall request removal of the rejected lot number(s) from commercial sale.

10.2 The Chief Code Compliance Officer Authority Having Jurisdiction may, after rejection of one or more lots, require third party quality control inspection as a provision to lifting of Approval suspension.

(R4568)

TAS 142 STANDARD REQUIREMENTS FOR COAL TAR ROOF CEMENT, ASBESTOS FREE

Revise 9.1 and 9.2 to read as follows:

9.1 The Authority Having Jurisdiction may periodically purchase commercial quantities of the approved product for testing at Approved Testing Agencies to confirm compliance with the provisions of this Protocol. Failure to meet the minimum requirements set forth  in Sections 5 and 6 shall constitute grounds for rejection of the lots and suspension of the Product Approval. In cases of rejection the Chief Code Compliance Officer Authority Having Jurisdiction shall request removal of the rejected lot number(s) from commercial sale.

9.2 The Chief Code Compliance Officer Authority Having Jurisdiction may, after rejection of one or more lots, require third party quality control inspection as a provision to lifting of Approval suspension.

(R4569)

TAS 143 STANDARD REQUIREMENTS FOR WHITE ELASTOMERIC ROOF COATINGS USED FOR COATING BUILT UP ROOFS AND METAL ROOFING SYSTEMS

Revise 9.1 and 9.2 to read as follows:

9.1 The Authority Having Jurisdiction may periodically purchase commercial quantities of the approved product for testing at Approved Testing Agencies to confirm compliance with the provisions of this Protocol. Failure to meet the minimum requirements set forth in Sections 5 and 6 shall constitute grounds for rejection of the lots and suspension of the Product Approval. In cases of rejection the Chief Code Compliance Officer Authority Having Jurisdictionshall request removal of the rejected lot number(s) from commercial sale.

9.2 The Chief Code Compliance Officer Authority Having Jurisdiction may, after rejection of one or more lots, require third party quality control inspection as a provision to lifting of Approval suspension.

(R4571)

TAS 201 IMPACT TEST PROCEDURES

Revise 13.2.1 to read as follows: 13.2.1 Permanent label on storm panels could be printed directly on each panel at intervals not to exceed 36 24 inches with non removable paint or ink.

(S4505)

TAS 202 CRITERIA FOR TESTING IMPACT & NONIMPACT RESISTANT BUILDING ENVELOPE COMPONENTS USING UNIFORM STATIC AIR PRESSURE

Revise 1.1 to read as follows:

1.1 This protocol covers procedures for conducting a uniform static air pressure test

for materials and products such as wall cladding, glass block, exterior doors, garage doors, skylights, exterior windows, storm shutters, and any other external component which help maintain the integrity of the building envelope.

For the purposes of the testing required in TAS 202 Section 5.2, design pressures calculated in accordance with ASCE 7 are permitted to be multiplied by 0.6.

(S4779)

Revise 5.2.2.2 to read as follows: 5.2.2.2 In the case of doors and windows that are not required to comply with the means of egress/escape requirements which are provided with more than one single action hardware and comply with the test described in this protocol, shall also be successfully tested with a test load equal to a static air pressure based on wind velocity of 97 75 mph using only one single action locking mechanism. Test pressures are permitted to multiplied by 0.6 as specified in Section 1.1. (remainder of text unchanged).

(S4780)

Revise 13.2.1 to read as follows:

13.2.1 Permanent label on storm panels could be printed directly on each panel at intervals not to exceed 36 24 inches with non removable paint or ink.

(4784)

TAS – 203 CRITERIA FOR TESTING PRODUCTS SUBJECT TO

CYCLIC WIND PRESSURE LOADING

Revise 14.2.1 to read as follows:

14.2.1 Permanent label on storm panels could be printed directly on each panel at intervals not to exceed 36 24 inches with non removable paint or ink.

(S4785)

TAS 301  TESTING LABORATORY

Revise 8.1 to read as follows:

8.            Termination of Certification and Registration of Testing Facility:

8.1 At any time the facility may voluntarily terminate its certification and registration with the Authority Having Jurisdiction, either in its entirety or with respect to any particular test, simply by giving written notification to the Building Code Compliance Office Authority Having Jurisdiction. Such written notification shall state the date as of which the termination is to take place. The Building Code Compliance Office Authority Having Jurisdiction shall remove the name of the facility from the approved list.

(S4572)