Total Mods for this TAC:

Florida Department of Community Affairs
Building Codes and Standards 
Date Printed  4/18/2011
Not a GLITCH Tracking Chart
TAC & Commission Tracking Chart
Page 1 of 1
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Plumbing/SwimmingPool
 3 
TAC:
PENDING
202
The proposed code change adds a new provision to Section 1002.4 to address “trap seal protection devices”.  Adding a new provision falls outside the scope of the glitch criteria.

 4834 
The definition of Riser, Gas was left out of the BOAF supplement, because there is no Florida Specific reason for it to differ from the IFGC. This item represents unintended consequences from the integration and should be removed
Thomas Allen
2
Comment
Proponent
Summary
Mod #
Section
Chapter
202
The proposed code change removes Florida specific requirement for consistency with the IFGC.  Consistency with the foundation code falls outside the scope of the glitch criteria.

 4835 
To correct wording and correlate the section with the International Fuel Gas Code, the base code, based on the original intent of the the initial code changes that was proposed. This item represents unintended consequences from the integration and should be removed.
Thomas Allen
2
Comment
Proponent
Summary
Mod #
Section
Chapter
1002.4
The proposed code change adds a new provision to Section 1002.4 to address “trap seal protection devices”.  Adding a new provision falls outside the scope of the glitch criteria.

 4862 
Please change 1002.4 Trap seals include the ASSE 1072.  Please remove that water required for trap seals or add a subsection stating that Trap Seals may also be used and eliminate the need for water.
Amber Haines
10
Comment
Proponent
Summary
Mod #
Section
Chapter
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation