Florida Department of Community Affairs
Building Codes and Standards 
Date Printed  4/15/2011
GLITCH Tracking Chart
TAC & Commission Tracking Chart
Page 1 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
PENDING
202

AS Consent - Unanimous

 4658 
Deletes seismic provisions and references to seismic provisions that do not exist.
T Stafford
2
Comment
Proponent
Summary
Mod #
Section
Chapter
202

AS Consent - Unanimous

 4660 
Clarifies the applicability of the test standards.
T Stafford
2
Comment
Proponent
Summary
Mod #
Section
Chapter
1403.7

AS Consent - Unanimous

 4656 
Corrects a conflict with Section 2114.2.  New language makes the appropriate reference for when the 6 inch clearance can be ommitted for masonry veneer.
T Stafford
14
Comment
Proponent
Summary
Mod #
Section
Chapter
1602

AS Consent - Unanimous

 4524 
Correlation with ASCE 7‑10.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1602

AS Consent - Unanimous

 4668 
Correlation with ASCE 7‑10.  ASCE 7‑10 no longer uses the term occupancy category.  It has been replaced by the term Risk Category.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 2 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
1604.5

AS Consent - Unanimous

 4669 
Correlation with ASCE 7‑10.  ASCE 7‑10 no longer uses the term occupancy category.  It has been replaced by the term Risk Category.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1604.9

AS Consent - Unanimous

 4670 
Deletes a non‑applicable seismic reference.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1605.3.1
AS Consent - Unanimous

 4671 
Corrects the supplement to be consistent with the original code change.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1605.3.1.1

AS Consent - Unanimous

 4672 
Corrects the applicability of the allowable stress increase for masonry it pertains to the load combinations.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1609

AS Consent - Unanimous

 4741 
Editiorial ‑ To magnify the wind maps to provide greater clarity and resolution
Joe Bigelow
16
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 3 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
1609.1.1

AS Consent - Unanimous

 4673 
Scoping language for the alternate all‑heights method in Section 1609.6 wa inadvertently deleted.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1609.1.1.1

Handout on correction. AM Unanimous.

 4674 
Deletes standards no longer referenced in Section 1609.1.1.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1609.1.2

AS Consent - Unanimous

 4675 
Correlation with ASCE 7‑10.  The term &quot;Risk Category&quot; replaces the term &quot;Occupancy Category&quot; in ASCE 7‑10.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1609.1.2.3.1

AS Consent - Unanimous

 4677 
Correlation with ASCE 7‑10 and clarification of the appropriate design pressures to use when testing to ASCE 7‑10 design wind loads.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1609.1.2.4.1

Proposal to keep cyclic coefficients. Similar to Mod 4803, 4805. Move approve as amended, second.  See handout.
AM Unanimous

 4679 
Correlation with ASCE 7‑10.  The pressures specified for the cyclic pressure loading test in ASTM E 1996 have to be modified to be consistent with the appropriate design pressures for testing to ASCE 7‑10 design wind loads.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 4 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
1609.2

AS Consent - Unanimous

 4680 
Correlation with ASCE 7‑10.  The term &quot;Risk Category&quot; replaces the term &quot;Occupancy Category&quot; in ASCE 7‑10.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1609.3.1

AS Consent - Unanimous

 4681 
Clarification of the applicability of the Vasd term used to convert wind speeds within the code.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1609.6

AS Consent - Unanimous

 4682 
Correlation of the provisions of the alternate all‑heights method with reorganized section and chapter number of ASCE 7‑10.  Corrections are limited to chapter and section numbering.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1609.8

AS Consent - Unanimous

 4685 
Corrects the applicable section references in ASCE 7‑10.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1612 Flood Loads

AS Consent - Unanimous

 4506 
S3891 added this table to summarize sections with flood provisions. Proposals corrects some errors and omissions.
Rebecca Quinn
16
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 5 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
1612.5

AS Consent - Unanimous

 4512 
This editorial proposal corrects the reference so that the code points to Sec. 110.3, which is where the inspections are described.
Rebecca Quinn
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1615.2.1
AS Consent - Unanimous

 4686 
Correlation with ASCE 7‑10 wind speeds.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1620.6
AS Consent - Unanimous

 4689 
Correlation with ASCE 7‑10.  Section and equation numbers are revised to be consistent with the reorganization of the wind provisions in ASCE 7‑10.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
Table 1609.1.2

AS Consent - Unanimous

 4676 
Correlation with ASCE 7‑10 and new wind speed maps in the code.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
Table 1625.4
NAR Unanimous.  In favor of mod 4802.

 4691 
Correlation with ASCE 7‑10.  Table 1625.4 is revised to apply the appropriated design pressures for testing to the the design wind loads of ASCE 7‑10.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 6 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
Table 1625.4

AS Unanimous

 4802 
Correlation of Fatigue Loading Sequence Table with ASCE 7‑10.
Michael Goolsby
16
Comment
Proponent
Summary
Mod #
Section
Chapter
Table 1626

NAR Unanimous
Disapprove this mod in favor of mod 4803.  Both mods cover the same subject.

 4692 
Correlation with ASCE 7‑10.  Table 1626 is revised to apply the appropriated design pressures for testing to the the design wind loads of ASCE 7‑10.
T Stafford
16
Comment
Proponent
Summary
Mod #
Section
Chapter
Table 1626

AS Unanimous

 4803 
Correlation of Cyclic Wind Pressure Loading Table with ASCE 7‑10.
Michael Goolsby
16
Comment
Proponent
Summary
Mod #
Section
Chapter
1702

AS Consent - Unanimous

 4693 
Correction to the supplement to maintain existing Florida‑specific amendments.
T Stafford
17
Comment
Proponent
Summary
Mod #
Section
Chapter
1715

AS Consent - Unanimous

 4694 
Correlation with ASCE 7‑10.  Proposed changes clarify the appropriate design pressure to use when testing to ASCE 7‑10 design wind loads.
T Stafford
17
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 7 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
1715.5.2.1

AS Consent - Unanimous

 4575 
Correct Section number and add reference to prior section, to address a numbering issue with the base code.
Roger LeBrun
17
Comment
Proponent
Summary
Mod #
Section
Chapter
1715.8.2
AS Consent - Unanimous

 4530 
Replace title Miami‑Dade Building Code Compliance Office with Miami‑Dade County Building and Neighborhood Compliance Department
Oriol Haage
17
Comment
Proponent
Summary
Mod #
Section
Chapter
1807.1

AS Consent - Unanimous

 4696 
Correct section numbering for retaining walls by relocating to Section 1807.2.
T Stafford
18
Comment
Proponent
Summary
Mod #
Section
Chapter
1809.10

AS Consent - Unanimous

 4702 
Deletion of prescriptive requirements not applicable to high wind areas.
T Stafford
18
Comment
Proponent
Summary
Mod #
Section
Chapter
1809.5

AS Consent - Unanimous

 4700 
Correlation with ASCE 7‑10.  The term &quot;Risk Category&quot; replaces &quot;Occupancy Category&quot; in ASCE 7‑10.
T Stafford
18
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 8 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
Table 1808.8.1

AS Consent - Unanimous

 4698 
Revise Table 1808.8.1 to delete non‑applicable seismic provisions.
T Stafford
18
Comment
Proponent
Summary
Mod #
Section
Chapter
2003.9.2

AS Consent - Unanimous

 4629 
Removes language made inapplicable by TAC change to original mod.
T Stafford
20
Comment
Proponent
Summary
Mod #
Section
Chapter
Table 2002.4

AS Consent - Unanimous

 4628 
Provides correct version of table.
T Stafford
20
Comment
Proponent
Summary
Mod #
Section
Chapter
2107.5

AS Consent - Unanimous

 4630 
Correct scrivner error.
T Stafford
21
Comment
Proponent
Summary
Mod #
Section
Chapter
2122.8

AS Consent - Unanimous

 4631 
Grammatical correction.
T Stafford
21
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 9 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
2205.3.1

AS Consent - Unanimous

 4703 
Deletion of seismic provisions not applicable to Florida.
T Stafford
22
Comment
Proponent
Summary
Mod #
Section
Chapter
2206.5

AS Consent - Unanimous

 4704 
Deletion of reference to Chapter 17 provisions that are not applicable in the Florida Building Code, Building.  Section 1704 is &quot;Reserved&quot; in the Florida Building Code, Building.
T Stafford
22
Comment
Proponent
Summary
Mod #
Section
Chapter
2318.1.3.3
AS Consent - Unanimous

 4705 
Correlation with ASCE 7‑10.  Section is revised to specify the appropriate design loads when using ASCE 7‑10 design wind loads.
T Stafford
23
Comment
Proponent
Summary
Mod #
Section
Chapter
2404

AS Consent - Unanimous

 4706 
Correlation with ASCE 7‑10.  Section is revised to specify the appropriate design pressures for testing to ASCE 7‑10 design wind loads.
T Stafford
24
Comment
Proponent
Summary
Mod #
Section
Chapter
2405.5.2
AS Consent - Unanimous

 4707 
Correlation with ASCE 7‑10.  Section is revised to specify the appropriate design pressures for testing to ASCE 7‑10 design wind loads.
T Stafford
24
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 10 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
2411.3.3.7

AS Consent - Unanimous

 4818 
Typo; corrects the word &quot;safety&quot;.
Jaime Gascon
24
Comment
Proponent
Summary
Mod #
Section
Chapter
2508.5

AS Consent - Unanimous

 4708 
Correlation with ASCE 7‑10.  Clarifies that the shear capacities listed are for allowable stress design.  This is an important distinction since the new wind provisions in ASCE 7‑10 are based on strength design level wind speeds.
T Stafford
25
Comment
Proponent
Summary
Mod #
Section
Chapter
2516.2.4.1

AS Consent - Unanimous

 4709 
Corrects and error in the specified stucco thickness.
T Stafford
25
Comment
Proponent
Summary
Mod #
Section
Chapter
2517.2

AS Consent - Unanimous

 4757 
Replacing an outdated standard with two current standards. Replacing ANSI A97.1 with GA‑216‑07 and GA‑600‑06.
William Dumbaugh
25
Comment
Proponent
Summary
Mod #
Section
Chapter
3102.7

AS Consent - Unanimous

 4513 
Retains flood loads from the base code language.
Rebecca Quinn
31
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 11 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
3105
AS Consent - Unanimous

 4710 
Correlation with Chapter 16 and ASCE 7‑10.
T Stafford
31
Comment
Proponent
Summary
Mod #
Section
Chapter
AAF

AS Consent - Unanimous

 4632 
Eliminates inappropriate sections showing changes to AAF Guide.
T Stafford
35
Comment
Proponent
Summary
Mod #
Section
Chapter
ASCE

AS Consent - Unanimous

 4711 
Editorial proposal to include the published errata to ASCE 7‑10 as part of the update to ASCE 7‑10.
T Stafford
35
Comment
Proponent
Summary
Mod #
Section
Chapter
ASTM

AS Consent - Unanimous

 4806 
Reference and edition of the ASTMs used for glazing gaskets were not correlated into Chapter 35.  Ref. MOD S2128.
Michael Goolsby
35
Comment
Proponent
Summary
Mod #
Section
Chapter
Chapter 35

AS Consent - Unanimous

 4759 
Delete reference to ANSI A97.1 because it is no longer published.
William Dumbaugh
35
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 12 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
202

AS Consent - Unanimous

 4609 
Correct definition of sunroom in FCBEB to agree with definition in FBCB and FBCR as modified. Correct spelling.
T Stafford
2
Comment
Proponent
Summary
Mod #
Section
Chapter
Table 611.7.1.2

AS Consent - Unanimous

 4610 
Correlation with ASCE 7‑10.
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
301.1

AS Consent - Unanimous

 4514 
Code change proposal S3896, which was Approved as Modified, deleted the word “only” in the exception.  The draft supplement inadvertently retained the word.  This proposal is to correct the supplement to match the approved code change.
Rebecca Quinn
3
Comment
Proponent
Summary
Mod #
Section
Chapter
301.2(4)
AS Consent - Unanimous

 4742 
Editorial change to provide better clarity to the wind maps and provide higher resolution
Joe Bigelow
3
Comment
Proponent
Summary
Mod #
Section
Chapter
R301.2.1.1

AS Consent - Unanimous

 4551 
Correlation with ASCE 7‑10 and new wind speed maps in the code.
T Stafford
3
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 13 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
R301.2.1.1
Move approval as amended consistent with 4679. AM Unanimous. See handout.

 4552 
Correlation with ASCE 7‑10.  Cyclic loading test in ASTM E 1996 is revised for consistency with ASCE 7‑10
T Stafford
3
Comment
Proponent
Summary
Mod #
Section
Chapter
Table R301.2(2)

AS Consent - Unanimous

 4533 
Correlation with ASCE 7‑10.  The existing table is replaced by a new table with design pressures consistent with ASCE 7‑10
T Stafford
3
Comment
Proponent
Summary
Mod #
Section
Chapter
Table R301.2(2)

AS Consent - Unanimous

 4607 
Correlation of minimum design wind pressures with ASCE 7‑10.  This modification was intended to be part of Modification #4533 but was inadvertently omitted.
T Stafford
3
Comment
Proponent
Summary
Mod #
Section
Chapter
R402.1.1.1

AS Consent - Unanimous

 4554 
Correlation with ASCE 7‑10 and new wind speed map in the code.  Grammatical error is corrected.
T Stafford
4
Comment
Proponent
Summary
Mod #
Section
Chapter
R403.4.1

AS Consent - Unanimous

 4553 
The modification deletes a seismic reference.
T Stafford
4
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 14 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
R404.1.2.3.1
AS Consent - Unanimous

 4555 
Reinstates and appropriate requirement inadvertently deleted and clarifies the applicability to seismic provisions.
T Stafford
4
Comment
Proponent
Summary
Mod #
Section
Chapter
R404.1.4
AS Consent - Unanimous

 4556 
Deletes a seismic provision not applicable to Florida
T Stafford
4
Comment
Proponent
Summary
Mod #
Section
Chapter
R404.5.2

AS Consent - Unanimous

 4557 
Correlation with ASCE 7‑10 and new wind speed map in the code.
T Stafford
4
Comment
Proponent
Summary
Mod #
Section
Chapter
Table R403.1.2

AS Consent - Unanimous

 4794 
corrects an apparent typo in one table value for uplift resistance
Paul Coats
4
Comment
Proponent
Summary
Mod #
Section
Chapter
Table R404.1(1)
AS Consent - Unanimous

 4588 
This table is proposed to be deleted because it no longer exists in the base code.
T Stafford
4
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 15 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
Tables R502.2.3(1) and R502.2.3(2)

AS Consent - Unanimous

 4795 
editorial
Paul Coats
5
Comment
Proponent
Summary
Mod #
Section
Chapter
R602.2

AS Consent - Unanimous

 4558 
In the supplement, the text of R602.2 is shown in location and &quot;reserved&quot; in another.  A previously approved modification deleted all of Section R602.2 as the provisions are not applicable to Florida.  All of Section R602.2 is &quot;Reserved.&quot;
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
R610.4.1

AS Consent - Unanimous

 4559 
Correlation with ASCE 7‑10.
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
R610.4.2

AS Consent - Unanimous

 4560 
Correlation with ASCE 7‑10.
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
R611.2
AS Consent - Unanimous

 4563 
Correlation of wind speeds in the code with new wind speed maps and ASCE 7‑10.
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 16 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
R611.8.3
AS Consent - Unanimous

 4587 
This section is proposed to be deleted because it no longer exists in the base code.
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
R611.9

AS Consent - Unanimous

 4564 
Correction in the supplement that limits specific requirements for ICF construction to wind speeds less than 100 mph.  The wind speed thresholds for ICF construction are established in Section R611.2 and there is no basis for these limitations.
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
R612.5

AS Consent - Unanimous

 4565 
Clarification of the appropriate design pressures for testing windows and doors to the wind loading requirements in ASCE 7‑10.
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
R613
AS Consent - Unanimous

 4570 
Correlation of code wind speeds with new wind speed maps and ASCE 7‑10.  Non‑applicable snow loading requirements are deleted from the text and tables.  Non‑applicable seismic loading requirements are deleted from the text.  Section references are corrected.
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
R615.1

AS Consent - Unanimous

 4574 
Clarification of appropriate design pressures for use with testing impact resistant coverings to the wind loading requirements of ASCE 7‑10.
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 17 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
R615.2.1

AS Consent - Unanimous

 4573 
Replace Miami‑Dade Building Code Compliance Office with Miami‑Dade County Building and Neighborhood Compliance Department
Oriol Haage
6
Comment
Proponent
Summary
Mod #
Section
Chapter
R617.4

AS Consent - Unanimous

 4576 
Clarification of appropriate design pressures for use with testing soffits to the wind loading requirements of ASCE 7‑10.
T Stafford
6
Comment
Proponent
Summary
Mod #
Section
Chapter
R703.8

AS Consent - Unanimous

 4579 
Modification number 3584 changed the term “registered” to “licensed” design professional. However, the term “licensed design professional” is not defined. The term “registered design professional” is a defined term and should be restored in this section.
T Stafford
7
Comment
Proponent
Summary
Mod #
Section
Chapter
R704

AS Consent - Unanimous

 4580 
Corrects a conflict with Section R318.4.  New language makes the appropriate reference for when the 6 inch clearance can be omitted.
T Stafford
7
Comment
Proponent
Summary
Mod #
Section
Chapter
Table R703.4

AS Consent - Unanimous

 4797 
editorial to correct an apparent incorrect reference in table
Paul Coats
7
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 18 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
Tables R703.3.3(1) and R703.3.3(2)

AS Consent - Unanimous

 4577 
Correlation of code wind speeds with new wind speed map and ASCE 7‑10.
T Stafford
7
Comment
Proponent
Summary
Mod #
Section
Chapter
Tables R703.3.4(1) and R703.3.4(2)

AS Consent - Unanimous

 4578 
Correlation of code wind speeds with new wind speed map and ASCE 7‑10.
T Stafford
7
Comment
Proponent
Summary
Mod #
Section
Chapter
R802.1.6.1

AS Consent - Unanimous

 4581 
Correlation with new wind speed map in the code and ASCE 7‑10.
T Stafford
8
Comment
Proponent
Summary
Mod #
Section
Chapter
R802.1.8.2

AS Consent - Unanimous

 4582 
The term “registered” design professional was changed to “licensed” design professional. The term “licensed design professional” is not defined. The term “registered design professional” is a defined term and should be restored in this section.
T Stafford
8
Comment
Proponent
Summary
Mod #
Section
Chapter
R802.2.2

AS Consent - Unanimous

 4583 
This section was deleted by Modification #4209 and is incorrectly shown in the supplement.  This proposal deletes (reserves) all of the text and tables of this section.
T Stafford
8
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 19 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
R802.2.9.1

AS Consent - Unanimous

 4584 
All of Section R802.2 has been deleted with the exception of Section R802.2.9.1.  This proposal relocates these provisions to Section R802.1.9 for clarity and consistency with the provisions of Section R802.1.
T Stafford
8
Comment
Proponent
Summary
Mod #
Section
Chapter
Table R802.2.9.1

AS Consent - Unanimous

 4585 
This proposal relocates these provisions to Section R802.1.9 for clarity and consistency with the provisions of Section R802.1.  The uplift loads table is revised for correlation and consistency with the new wind speed map in the code and ASCE 7‑10.
T Stafford
8
Comment
Proponent
Summary
Mod #
Section
Chapter
AAF

AS Consent - Unanimous

 4591 
Correct the year of the AAF Guide.
T Stafford
43
Comment
Proponent
Summary
Mod #
Section
Chapter
ASCE
AS Consent - Unanimous

 4593 
Editorial proposal to include the errata to ASCE 7‑10 with the update.
T Stafford
43
Comment
Proponent
Summary
Mod #
Section
Chapter
ASTM
AS Consent - Unanimous

 4807 
Reference and edition of the ASTMs used for glazing gaskets were not correlated into Chapter 43.  Ref. MOD S2131.
Michael Goolsby
43
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 20 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
Chapter 43

AS Consent - Unanimous

 4760 
Delete an outdated standard and add two current standards listed in Chapter 35 Florida Building Code, Building
William Dumbaugh
43
Comment
Proponent
Summary
Mod #
Section
Chapter
DHS/FEMA
AS Consent - Unanimous

 4515 
Code change proposal S3900 deleted reference to Federal regulations (no longer referenced) and updated two Technical Bulletins (TB 2 and TB 11).  The supplement inadvertently retained some text for DHS/FEMA references.  This proposal simply deletes the unnecessary reference.
Rebecca Quinn
43
Comment
Proponent
Summary
Mod #
Section
Chapter
4403.13

AS Consent - Unanimous

 4516 
This proposal is to correct a misspelling in code change proposal 3903, in which “flood hazard areas” should not have been plural.
Rebecca Quinn
44
Comment
Proponent
Summary
Mod #
Section
Chapter
4411.4.2
AS Consent - Unanimous

 4758 
Replaces an outdated standard with two current standards that are already referenced in Chapter 35 Florida Building Code, Building.
William Dumbaugh
44
Comment
Proponent
Summary
Mod #
Section
Chapter
R4403.12.1.1

AS Consent - Unanimous

 4596 
Grammatical corrections.
T Stafford
44
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 21 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
R4403.12.2.2
AS Consent - Unanimous

 4595 
Correct section numbers to Section R4403.12.2.2.
T Stafford
44
Comment
Proponent
Summary
Mod #
Section
Chapter
R4403.13.1.2.2

AS Consent - Unanimous

 4601 
The language regarding the method categorizing sunrooms is clarified to reduce the potential for confusion.
T Stafford
44
Comment
Proponent
Summary
Mod #
Section
Chapter
R4407.5.1
AS Consent - Unanimous

 4604 
Spelling correction.
T Stafford
44
Comment
Proponent
Summary
Mod #
Section
Chapter
R4407.5.2
AS Consent - Unanimous

 4605 
Editorially adding the word &quot;Reserved&quot;.
T Stafford
44
Comment
Proponent
Summary
Mod #
Section
Chapter
R4409.5.1.3.3

AS Consent - Unanimous

 4606 
Correlation of the appropriate design loads to use ASCE 7‑10.
T Stafford
44
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 22 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
Table R4403.15.4

NAR Unanimous. In favor of mod 4804.

 4602 
Correlation with the appropriate design pressures to use when testing to ASCE 7‑10 design wind loads.
T Stafford
44
Comment
Proponent
Summary
Mod #
Section
Chapter
Table R4403.15.4

AS Unanimous

 4804 
Correlation of Fatigue Loading Sequence Table with ASCE 7‑10.
Michael Goolsby
44
Comment
Proponent
Summary
Mod #
Section
Chapter
Table R4403.16

Disapprove this mod in favor of mod 4805.  Both mods cover the same subject.
NAR Unanimous

 4603 
Correlation with the appropriate design pressures to use when testing to ASCE 7‑10 design wind loads.
T Stafford
44
Comment
Proponent
Summary
Mod #
Section
Chapter
Table R4403.16

AS Unanimous

 4805 
Correlation of Cyclic Wind Pressure Loading Table with ASCE 7‑10.
Michael Goolsby
44
Comment
Proponent
Summary
Mod #
Section
Chapter
13.2.1

AS Consent - Unanimous

 4505 
Correlates the requirement in FBC 1715.8.3 for storm panels to be labeled at 36&quot; intervals.
Jaime Gascon
1
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 23 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Structural
 115 
TAC:
Total Mods for this TAC:
1.1

Move approve 4779 as amended.  AM Unanimous.  Retain TAS 202 -94.

 4779 
Correlation with ASCE 7‑10
T Stafford
1
Comment
Proponent
Summary
Mod #
Section
Chapter
13.2.1

AS Consent - Unanimous

 4784 
Correlates the requirement in FBC 1714.8.3 for storm panels to be labeled at 36&quot; intervals.
Jaime Gascon
1
Comment
Proponent
Summary
Mod #
Section
Chapter
5.2.2.2

AS Consent - Unanimous

 4780 
Correlation with ASCE 7‑10
T Stafford
1
Comment
Proponent
Summary
Mod #
Section
Chapter
14.2.1

AS Consent - Unanimous

 4785 
Correlates the requirement in FBC 1715.8.3 for storm panels to be labeled at 36&quot; intervals.
Jaime Gascon
1
Comment
Proponent
Summary
Mod #
Section
Chapter
8. 8.1

AS Consent - Unanimous

 4572 
Replace Chief Code Compliance Officer terminology with Authority Having Jurisdiction
Oriol Haage
1
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 24 of 24
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation