Florida Building Code, Existing Building

611.3, Exception 5 1507.15.3 Roof Coating.  Add to read as follows (Non – HVHZ) :

5. 1507.15.3 Roof Coating.  Application of elastomeric and or maintenance coating systems over existing asphalt shingles shall be in accordance with the shingle manufacturer’s approved installation instructions. {3814}