Florida Department of Community Affairs
Building Codes and Standards 
Date Printed  4/18/2011
NOT A GLITCH Tracking Chart
TAC & Commission Tracking Chart
Page 1 of 1
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Fire
 3 
TAC:
Total Mods for this TAC:
PENDING
504.2
The proposed code change deletes a footnote, which allows for reduction of fire-resistance ratings where building is sprinklerd.  This proposed code change establishes new provision that falls outside the glitch criteria.  
NAR Consent - Unanimous

 4618 
Deletes note which creates conflict with base code.
T Stafford
5
Comment
Proponent
Summary
Mod #
Section
Chapter
909.3
The proposed code change adds a new requirement to clarify the testing requirements for smoke control systems and the qualifications of the special inspection.  Clarification of code provision does not fall within the scope of the glitch criteria.
NAR Consent - Unanimous

 4625 
Relocates special inspection requirements for smoke control systems from section of base code reserved to Chapter 9.
T Stafford
9
Comment
Proponent
Summary
Mod #
Section
Chapter
1003.3.3.1
The proposed code change adds a new provision to Section 1003.3.1.  Adding a new provision falls outside the scope of the glitch criteria. 
NAR Consent - Unanimous

 4521 
To limit protruding object/soffits to a maximum two feet wide in the direction of exit travel preventing the total allowed aggregate of 50%   ceiling drops should not be continue creating a 6’‑8” ceiling headroom on half of the room or hall.
Miguel Lemus
10
Comment
Proponent
Summary
Mod #
Section
Chapter
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation