Florida Department of Community Affairs
Building Codes and Standards 
Date Printed  4/18/2011
Not a GLITCH Tracking Chart
TAC & Commission Tracking Chart
Page 1 of 2
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Special Occupancy
 4 
TAC:
Total Mods for this TAC:
PENDING
420.3.2
The code change was proposed for clarity.  Clarification of code provision does not fall within the scope of the glitch criteria.
NAR Consent - Unanimous

 4823 
Adds a sentence to clarify the requirements of this section.
skip gregory
4
Comment
Proponent
Summary
Mod #
Section
Chapter
423.25.4
Consistency of the Code with reference standards or consistency between reference standards is not within the scope of the glitch criteria.   
NAR Consent - Unanimous

 4810 
Removes SBC/SSTD 12 as a recognized equivalent standard to ASTM E1996 for wind borne debris impacting EHPAs. SBC/SSTD requires missile speeds of 50 fps vs. 80 fps required by ASTM E 1996 for enhanced protection.
Shawn Collins
4
Comment
Proponent
Summary
Mod #
Section
Chapter
423.25.4.1
Consistency of the Code with reference standards or consistency between reference standards is not within the scope of the glitch criteria.   
NAR Consent - Unanimous

 4812 
Removes SBC/SSTD 12 as a recognized equivalent standard to ASTM E1996 for wind borne debris impacting EHPAs. SBC/SSTD requires missile speeds of 50 fps vs. 80 fps required by ASTM E 1996 for enhanced protection.
Shawn Collins
4
Comment
Proponent
Summary
Mod #
Section
Chapter
1003.5
SP 4820:  The proposed code change deletes Florida specific requirements for grease interceptors and defers such requirements to Chapter 64E-6 “DOH Rule”.  This proposal is contrary to the Florida Statutes that mandate the inclusion of such requirements “DOH’s construction related requirements” in the Florida Building Code.  Therefore, the proposed code change does not fall within the glitch criteria.  NAR Consent - Unanimous

NAR Consent - Unanimous

 4820 
The proposal, by simply referring to the Florida onsite sewage treatment and disposal systems standards, which are the statutory standards for grease interceptors, remedies duplications and inconsistencies between the base text and the existing Florida regulations.
Eberhard Roeder
10
Comment
Proponent
Summary
Mod #
Section
Chapter
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation

TAC & Commission Tracking Chart
Page 2 of 2
2010 Glitch Original Modification 2/18/2011 ‑ 3/18/2011
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations
NAR ‑ No Affirmative Recommendation