| Mod | Proponent | Section | Summary | Comment |
| --- | --- | --- | --- | --- |
|  | Glitch |  |  |  |
|  |  | Building |  |  |
| 2862 | Mo Madani | Preface | Adds letter designation language from the 2006 I Codes. | Approved by Code Admin. |
| 3067 | Mo Madani | 202 | Reserves agricultural building. |  |
| 3307 | T Stafford | 202 | Reserves several definitions. |  |
| 2851 | Mo Madani | 202 | Sunroom. Replaces the text with a reference to section 1202.1 |  |
| 3229 | Joe Belcher | 202 | Sunroom. Replaces the text with a reference to section 1202.1, see above. |  |
| 2883 | Mo Madani | 801.1.3 | Revises flood language to refer to section 3110. |  |
| 3230 | Joe Belcher | 1202 | Revises to remove sunroom addition. |  |
| 2850 | Mo Madani | 1401.1 | This is an ICC amendment. The comment adds a semicolon. |  |
| 2857 | Mo Madani | 1605.3.1.1 | Removes item 1 which is already accounted for (see Equation 16-13). |  |
| 3322 3323 | Medard Kopczynski | 1609, 2308, R310 | Replaces IBHS with ICC 600. |  |
| 2853 | Mo Madani | 1609.1.1 | Removes language that conflicts with Florida specific requirements. |  |
| 3028 | Mo Madani | 1609.1.1 | Removes language that conflicts with HB0697 (towers). |  |
| 3316 | Mo Madani | 1609.1.1.1 | Adds missing concrete masonry manual. |  |
| 3308 | T Stafford | 1609.4.2 | Adds surface roughness C language. |  |
| 3202 | Dick Wilhelm | 1714.5.2.1 | Revises to remove labeled and adds temporary. |  |
| 3040 | Mo Madani | 1714.5.2.1 | Revises the year edition of the reference standard. |  |
| 3199 | Dick Wilhelm | 1714.5.2.2 | Revises supplemental label as comparative analysis label. |  |
| 2839 | Gary Kozan | 1816.2 | Reduces maximum sleeve wall thickness | Approved by the Plumbing TAC. |
|  |  | Existing Building |  |  |
| 2892 | Mo Madani | 202 | Revised to use 2006 IBC language. |  |
| 2999 | Bradley Weatherholz | 606.2.1 | Replaces “dead load” with “stress” in exception 1. |  |
| 2890 | Mo Madani | 606.2.2 | Deletes the section removing seismic language from the code. |  |
| 2891 | Mo Madani | 807.7 | Deletes seismic language. |  |
|  |  | Plumbing |  |  |
| 2842 | Gary Kozan | 305.1 | Increased thickness of sleeve wall. | Approved by the Plumbing TAC. |
|  |  | Residential |  |  |
| 2858 | Mo Madani | Figure R301.2(4) | Adds title to the figure. |  |
| 3284 | Chuck Anderson | R301.2.1.1 | Replaces item 5 with ICC600. |  |
| 3241 | Mo Madani | R301.2.1.1.2 | Replaces “defines” with “defined” |  |
| 3164 | Mo Madani | R301.2.1.4 | Revises to make consistent with the Building Volume and adds missing text. |  |
| 3282 | Jeff Gerling | R317.1 | Corrects referenced section number in exception 2. |  |
| 2840 | Gary Kozan | R320.2 | Reduces maximum sleeve wall thickness | Approved by the Plumbing TAC. |
| 2880 | Mo Madani | R320.2 | Removes ICC flood language. |  |
| 3255 | Jeff Gerling | Table R402 | Revises note b referenced section |  |
| 3355 | Joseph Belcher | Table R609 | Corrects grade 40 steel tables A-F |  |
| 3319 | Joseph Belcher | Table R609 | Corrects grade 40 steel tables G-R |  |
| 3041 | Mo Madani | R613.3.1 | Revises the year edition of the reference standard. |  |
| 3201 | Dick Wilhelm | R613.3.1 | Removes the word, labeled and adds, temporary |  |
| 3200 | Dick Wilhelm | R613.3.1.1 | Changes the section number to R308.6.9 |  |
| 3198 | Dick Wilhelm | R613.3.2 | Changes supplemental label to comparative analysis label. |  |
| 2876 | Mo Madani | R613.8.2 | Revises the referenced section. |  |
| 3354 | Joseph Belcher | Table R802.2.9.1 B | Brings the table into agreement with ASCE 7-05. |  |
| 3356 | T Stafford | Table R802.2.9.1 B and C | Corrects errors |  |
| 2841 | Gary Kozan | P2603.3 | Increases sleeve wall thickness and adds an exception. | Approved by the Plumbing TAC |
| 2893 | Mo Madani | Ch 43 | Adds a referenced section to ACI 318-05 and removes a duplicate ANSI Z21.10.3 standard. |  |
| 3068 | Mo Madani | Ch 43 | Revises the year edition of ASTM E 1300 |  |
| 3242 | Iqbal Shaikh | R4403.2.1 | Replaces “inches” with “feet” |  |
| 2859 | Iqbal Shaikh | R4403.14.2 | Removes sections R4403.14.2 and R4403.14.2.1 to remove duplication and confusion. |  |
| 2860 | Iqbal Shaikh | R4407.4.1.6 | Adds alternate course language as in the Building volume. |  |
| 2861 | Iqbal Shaikh | R4407.4.2.3.2 | Replaces “top” with “bottom” as in the Building Volume. |  |
|  |  | Test Protocols |  |  |
| 2902 | Iqbal Shaikh | TAS 201: 3 and 6 | Revises referenced section numbers. |  |
| 2990 | Jaime Gascon | TAS 202, 12.1 | Revises the reference standard. |  |
| 2989 | Jaime Gascon | TAS 203, 5.1.1 | Revises the referenced section number. |  |
| 2904 | Iqbal Shaikh | TAS 203, 5.1.1 | Revises the referenced section number. |  |
|  | Not a glitch |  |  |  |
|  |  | Building |  |  |
| 3215 | Joe Belcher | 1609.1.2 | Revised language |  |
| 3250 | Dan Arlington | 1609.4.3 | Replaced “uplift” with “connection” |  |
| 3190 | Lorraine Ross | 1609.5.2 | Revises to comply with referenced section. |  |
| 3169 | Anthony Scala | 1622.1 | Revised to add design dimensions. |  |
| 2981 | Tarry Baker | 1622.2 | Adds windbreaker language. |  |
| 3232 | Joseph Belcher | 1626.1 | Removes the word solarium. |  |
| 3197 | Dick Wilhelm | 1714.5.2 | Adds the word, sliding. |  |
| 3193 | Dick Wilhelm | 1714.5.2 | Revises permanent label language. |  |
| 3195 | Dick Wilhelm | 1714.5.2.1.1 | Revises permanent label language. |  |
| 2856 | Roger LeBrun | 1714.5.2.1.1 | Removes “permanent” and revises reference standard language to conform to other sections in the code. |  |
| 3219 | Joe Belcher | 1714.8.5 | Adds a new section supplemental label. |  |
| 3166 | Anthony Scala | 1819.2.2 | Specifies design per AS |  |
| 2905 | Kenneth Everett | 1823.1.3 | Revises the referenced standard. |  |
| 2907 | Kenneth Everett | 1823.4 | Revises the referenced standard. |  |
| 2973 | Iqbal Shaikh | 1826.1.5.3 Ch 35 | Revises the referenced standard. |  |
| 2971 | Iqbal Shaikh | 1827.1 Ch 35 | Revises the referenced standard. |  |
| 3343 | Joseph Belcher | 1910.2 | Adds AC 217 standard. |  |
| 2972 | Iqbal Shaikh | 1917.4.4 Ch 35 | Revises the referenced standard. |  |
| 2975 | Iqbal Shaikh | 1922.4.6 Ch 35 | Revises the referenced standard. |  |
| 3220 | Joe Belcher | 2002.4 | Revises to replace “either” with “both.” |  |
| 3234 | Joseph Belcher | Table 2002.4 | Revises note 7 to create 3 mesh densities. |  |
| 2909 | Kenneth Everett | 2314.4.5 | Revises the reference standard. |  |
| 2912 | Kenneth Everett | 2315.1.9 | Revises the reference standard. |  |
| 2979 | Iqbal Shaikh | 2319.17.1, ch 35 | Revises the reference standard. |  |
| 2913 | Kenneth Everett | 2325.3 | Revises the reference standard. |  |
| 3301 | Kari Hebrank | 2403.1 | Revises laminated glass language. |  |
| 3236 | Joseph Hetzel | Ch 35 | Revises ANSI/DASMA |  |
| 3237 | Joseph Hetzel | Ch 35 | Revises ANSI/DASMA 108. |  |
| 2987 | David Miller | Ch 35 | Revises the reference standard AAF. |  |
|  |  | Existing Building |  |  |
| 2999 | Bradley Weatherholz | 606.2.1 | Revises exception 1 replacing dead load with stress. |  |
|  |  | Residential |  |  |
| 3305 | Chuck Anderson | R301.1 | Revises the exception. |  |
| 3285 | Chuck Anderson | R301.2.1.2 | Adds definition for impact resistant coverings. |  |
| 3251 | Dan Arlington | R301.2.1.4 | Replaces “uplift” with “connection” |  |
| 3303 | Kari Hebrank | R308.1 | Revises laminated glass language. |  |
| 3283 | Chuck Anderson | R308.1 | Replaces “pane” with “window” |  |
| 2942 | Michael Schultz | R506.2.5 | Adds new language for cellulose fiber reinforcement. |  |
| 3192 | Dick Wilhelm | R613.3.1 | Revises permanent label language. |  |
| 3196 | Dick Wilhelm | R613.3.1 | Revises to add the word, sliding. |  |
| 3194 | Dick Wilhelm | R613.3.1.1 | Revises permanent label language. |  |
| 2854 | Roger LeBrun | R613.3.1.1 | Removes “permanent” and revises reference standard language to conform with other sections in the code. |  |
| 3306 | Chuck Anderson | R613.3.2 | Deletes items from the exceptions |  |
| 3345 | Chuck Anderson | R615.1 | Adds impact resistant covering definition. |  |
| 3218 | Joe Belcher | R615.4 | Adds a new section for supplemental label. |  |
| 3311 3315 | Chuck Anderson | R616.3.3 | Replaces “semi rigid” with “flexible” |  |
| 2917 | Bradley Weatherholz | M2301.2.2 | Removes fire retardant treated wood. |  |
| 2988 | David Miller | Ch 43 | Revises the reference standard AAF |  |
| 3344 | Chuck Anderson | Ch 43 | Revises AAMA reference standards |  |
| 3239 | Joseph Hetzel | Ch 43 | Revises ANSI/DASMA 108 |  |
| 3170 | Anthony Scala | R4403.12 | Revises wind load on screen surfaces |  |
| 3233 | Joe Belcher | R4403.16.1 | Removes “solarium” |  |
| 3167 | Anthony Scala | R4404.3.2.2 | Replaces foundation design table with ASCE 7 |  |
| 2941 | Kenneth Everett | R4404.7.1.3 | Replaces the referenced standard. |  |
| 2866 | Kenneth Everett | R4407.1.4 | Replaces the referenced standard. |  |
| 2868 | Kenneth Everett | R4409.1.4.5 | Revises the referenced standard. |  |
| 2869 | Kenneth Everett | R4409.2.1.9 | Revised pressure treated pole language. |  |
| 2870 | Kenneth Everett | R4409.12.3 | Revises the referenced standard. |  |
|  |  | Test Protocols |  |  |
| 2919 | Kenneth Everett | RAS 111, 3.4.5 | Revises the reference standard. |  |
| 2915 | Kenneth Everett | RAS 118, 2.07 | Revises the reference standard. |  |
| 2916 | Kenneth Everett | RAS 119, 2.07 | Revises the reference standard. |  |
| 2918 | Kenneth Everett | RAS 120, 2.07 | Revises the reference standard. |  |
| 2920 | Kenneth Everett | RAS 133, 5.5, 5.5.1 | Adds battens and revises the reference standard. |  |
|  | Withdrawn |  |  |  |
|  |  | Residential |  |  |
| 3270 | Chuck Anderson | R301.1 | Revises the exception. |  |
| 3213 | Joseph Belcher | Table R609 | Corrects grade 40 steel reinforcement tables |  |
| 3286 | Chuck Anderson | R613.3.2 | Deletes items from the exceptions. |  |
| 3214 | Joseph Belcher | Table R802.2.9.1 B and C | Brings table into agreement with ASCE 7-05. |  |
| 3353 | T Stafford | Table R802.2.9.1 B and C | Corrects errors. |  |