Cost Effectiveness Test for Amendments to the Florida Energy Efficiency Code for Building Construction (the Code)

The following are the criteria for the cost-effective test which shall be used to determine whether proposed increases in energy efficiency to residential and commercial buildings as defined in Section 13-101 of the Code results in a positive net financial impact:

(I)  	Energy Analysis Methodology:

The energy analysis necessary to determine energy savings for Energy Conservation Measures (ECMs) for residential and commercial buildings shall be conducted using the Energy Gauge USA published by the Florida Solar Energy Center.  The analysis shall be conducted for both single EMC and groups of ECMs.  Each ECM shall be evaluated for cost effectiveness based on calculation of energy savings it provides when modeled with a package of ECMs that all together achieve the target percent efficiency improvement as established by law for the given Code edition.

(II) 	Economic Analysis Assumptions:

The following economic assumptions shall be used in conducting the cost-effective test for residential and commercial buildings:

(1)  	The cost of an ECM shall be the full, installed incremental cost of improvements.   The incremental cost shall be equal to the difference between the baseline measure cost and the improved measure cost unencumbered by any federal tax credits, utility incentives or state rebates, with an option to consider encumbering utility incentives.

(2) 	Study life period.  The economic analysis shall be conducted over a 30-year study period.

(3) 	ECM service life.  The economic evaluation shall be conducted using the appropriate service lives of the measures.

(4) 	Mortgage Parameter values:

(a)	Mortgage interest rate for homes shall be the greater of the most recent 5-year average and 10-year average simple interest rate for fixed rate, 30-year mortgages computed from the Primary Mortgage Market Survey (PMMS) as reported by Freddie Mac.   The residential mortgage down payment shall be 10%.

(b)	Mortgage interest rate for commercial buildings shall be the greater of the most recent 5-year average and 10-year average simple interest rate for fixed rate, 30-year mortgages computed from the Primary Mortgage Market Survey (PMMS) as reported by Freddie Mac; plus 2%.  The commercial buildings mortgage down payment shall be 20%.

(5) 	Annual rate parameter values.

(a)	The General inflation rate shall be the greater of the most recent 5-year and 10-year Annual Compound Interest Rate (ACIR) computed from the annual average Consumer Price Index (CPI) as reported by the U.S. Bureau of Labor Statistics.

(b)	The Discount rate shall be general inflation rate plus 2%.

(c)	The Fuel escalation rate shall be the greater of 5-year and 10-year

ACIR computed from revenue-based prices as reported by

Florida Public Service Commission minus the general inflation

rate.

(d)	The baseline electricity and natural gas prices used in the analysis shall be as follows:

(1) 	For residential applications, the statewide, revenue-based average residential price for the most recent available 12 months as provided by the Florida Public Service Commission shall be used; and

(2) 	For commercial applications, the statewide, revenue-based average commercial price for the most recent available 12 months as provided by the Florida Public Service Commission shall be used

(III)	Economic Indicators of Cost Effectiveness:

The following economic indicators shall be used to determine whether the cost-effective test results in a “positive net financial impact”:

(1)  	Present Value Benefit-to-Cost Ratio (PVBC).  A value of 1.0 or greater shall

be used for present value cost-to-benefit ratio (PVCB);

(2)	Internal Rate of Return (IRR).

A value equal to 8% shall be used for IRR on investments.

(3)	Levelized Cost of Conserved Energy (LCCE).

(a)	For residential applications, a value equal to the statewide

residential revenue-based retail cost of electricity adjusted at the fuel

escalation rate over one-half of the life of the measure (yields average over the measure life) shall be used for LCCE.

(b)	For commercial applications, a value equal to the statewide

commercial revenue-based retail cost of electricity adjusted at the fuel

escalation rate over one-half of the life of the measure (yields average over the measure life) shall be used for LCCE

(IV)		Evaluation Methodology for Measures and Packages of

Measures:

The ECM and packages of ECMs shall be evaluated as follows:

(1)	Multiple packages of ECMs shall be created that result in the target percentage efficiency increase for each Code cycle update (20, 30, 40 and 50%) based on comparison to the 2007 Code (without the 2009 supplement).

(2)	Each ECM shall be evaluated using cost effectiveness indicators (PVBC, IRR, LCCE), within their specific package of ECMs.  PVBC shall be considered the primary measure with IRR and LCEE used as measures for illustration and communication of individual ECMs and packages of ECMs comparative economic viability.

(3)	Validation of the cost effectiveness of the Code changes shall mean that a number of ECM packages evaluated to comply with the statutory percent energy efficiency increase requirements have a greater benefit than cost as measured in present value dollars.

(V)	Definitions:

Benefit-to-Cost Ratio: The sum of the present value of the benefits from an investment divided by the sum of the present value of the costs of the investment.

Consumer:  A class of economic system participant that makes no distinction between the owner of the building and the utility rate payer.

Discount rate: The periodic compound interest rate at which future cash flow streams are discounted back to their present value (PV). This value is normally 1.5% - 2% greater than the General Inflation Rate.

Energy Conservation Measure (ECM): An improvement to a building, a building system or a building component that is intended to reduce building energy consumption.

Fuel Escalation Rate: The periodic rate at which the price of fuel increases minus the General Inflation Rate.

General Inflation Rate: The periodic rate at which general consumer prices increase. The General Inflation Rate is normally determined as an historical trend, using the Consumer Price Index (CPI) as published by the U.S. Bureau of Labor Statistics. This value is normally 1.5% - 2% less than the Discount Rate.

Internal Rate of Return (IRR): The discount rate at which the Net Present Value of an investment exactly equals zero. IRR is also sometimes referred to as return on investment or ROI.

Levelized Cost of Conserved Energy (LCCE): The Levelized Cost of an energy conservation investment divided by the annual energy savings produced by the investment.

Present Value (PV): The worth of a future cash flow in today’s dollars as calculated using the Discount Rate.