TAC

Total Mods for reports:  2

Fire

TAC:

1

Fire

Total Mods for Approved as Submitted:

SubCode:

Building

7-Fire and Smoke Protection Features

708.3

6196

Corrects a conflict within the updated code.  Clarifies fire partition requirements for mini-warehouses.

T Stafford

Proponent

Summary

Mod #

Section

Approved as Submitted

NAR

I

Commission Action

AM

AS

X

W

Glitch Criteria:

7

Chapter

(c.) Unintended results from the integration of previously adopted Florida-specific amendments with the model code;

X

TAC:

TAC:

1

Fire

Total Mods for No Affirmative Recommendation with a Second:

SubCode:

Building

3-Use and Occupancy Classification

312.1

6258

Small unmanned utility telecommunications structures do not require portable fire extinguishers under the Florida Building Code.  The 2010 Florida Fire Prevention Code does not have this Use and Occupancy Classification by default and would require portable fire extinguishers.

Howard Foreman

Proponent

Summary

Mod #

Section

No Affirmative Recommendation with a Second

X

NAR

I

Commission Action

AM

AS

W

Glitch Criteria:

3

Chapter

(b.) Conflicts between the updated code and the Florida Fire Prevention Code adopted pursuant to chapter 633;

X

TAC:

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation

W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)

Legend:

TAC

Total Mods for reports:  2

Fire

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Date Submitted To:

Proponent First Name:

2013

ALL

ALL

ALL

ALL

F

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Search Criteria

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation

W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)

Legend: