Comments on the 2013 Update to the Florida Building Code to be considered by the Commission

Mechanical TAC

Meeting Date: August 22, 2013

| Tracking ID | Florida Building Code, Mechanical Proposed Changes | Comments | TAC Action August 2, 2013 | Commission Action |
| --- | --- | --- | --- | --- |
| MC1 | Proponent: Staff Add Section 1004.2.1 to read as follows: 1004.2.1 Carbon monoxide testing. Boilers shall be tested to a maximum level of 50 PPM of carbon monoxide as per OSHA guidelines. | Glitch – (e) Changes to or inconsistencies with federal or state law. | Glitch – Yes (Unanimous) Technical correction – As Submitted (Unanimous) | Approved as recommended by TAC |