TAC
Total Mods for reports:  10
Roofing
TAC:
 7 
Roofing
Total Mods for Approved as Submitted:
SubCode:
Building
2‑Definitions
202
 6192 
Corrects a conflict within the updated code.  Revises definitions for consistency with changes approved to Chapter 15.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
2
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

35‑Referenced Standards
35
 6064 
Formatting and grammatical corrections to approved reference standard
Mark Zehnal
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
35
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

SubCode:
Existing Building
7‑Alterations ‑ Level 1
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  10
Roofing
TAC:
 7 
Roofing
Total Mods for Approved as Submitted:
708.1
 6060 
Replace deleted building volume reference with applicable relocated building volume reference.
Michael Goolsby
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
7
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

SubCode:
Residential
9‑Roof Assemblies
905.7.3.3
 6168 
Adds underlayment requirements for Wood Shingles to be consistent with other roof coverings in the FBCR and for consistency with FBCB.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
9
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  10
Roofing
TAC:
 7 
Roofing
Total Mods for Approved as Submitted:
907.7.1.2
 6169 
Revises the dimensional requirements of the supplemental fastener to be consistent with the FBCR.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
9
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

907.8.1
 6170 
Replace the table for required uplift capacities of roof‑to‑wall connections with the proper format.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
9
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

45‑Referenced Standards
45
 6065 
Formatting and grammatical corrections to approved reference standard
Mark Zehnal
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
45
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  10
Roofing
TAC:
 2 
Roofing
Total Mods for No Affirmative Recommendation with a Second:
SubCode:
Building
15‑Roof Assemblies and Rooftop Structures
1502
 6207 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
No Affirmative Recommendation with a Second
X
NAR
I
Commission Action

AM

AS

W

Glitch Criteria:
15
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

1522.3.5
 6114 
Include solar thermal lines with condensate drain lines,eg.
CONDENSATE DRAIN LINES AND SOLAR THERMAL LINES NEED NOT COMPLY WITH MINIMUM CLEARANCE REQUIREMENTS.
Allen Gezelman
Proponent
Summary
Mod #
Section
No Affirmative Recommendation with a Second
X
NAR
I
Commission Action

AM

AS

W

Glitch Criteria:
15
Chapter
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  10
Roofing
TAC:
 1 
Roofing
Total Mods for Withdrawn:
SubCode:
Test Protocols
1‑124
11.2.5
 6146 
Correlate conflict between requirements in section 11.2.5 and the two report templates in the protocol.
Jaime Gascon
Proponent
Summary
Mod #
Section
Withdrawn

NAR
I
Commission Action

AM

AS

X
W

Glitch Criteria:
1
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
R
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend: