TAC
Total Mods for reports:  104
Structural
TAC:
 12 
Structural
Total Mods for Approved as Modified:
SubCode:
Building
16‑Structural Design
1609.1.2.2.1
 6209 
Corrects a conflict within the updated code.  Reinstates the provisions for correlating ASTM E 1996 with the wind provisions of ASCE 7‑10.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
XZ
AS

W

Glitch Criteria:
16
Chapter
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

17‑Structural Tests and Special Inspections
1710.5.3
 6131 
Adding a sentence, for consistency with similar Residential volume content.
Joseph Hetzel
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
17
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 12 
Structural
Total Mods for Approved as Modified:
1710.5
 6211 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
17
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

1710
 6259 
This is an effort to correlate several of the approved modifications, duplicate information. The Florida Supplement having strike through that did not carry over or additional underlined text that was not merged between approved modifications.
Dwight Wilkes
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
17
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

20‑Aluminum
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 12 
Structural
Total Mods for Approved as Modified:
2002
 6078 
Add new section 2002.7 to incorporate Rule 61G20‑1.002 into the FBC for consistency with Rule 61G20‑1.002 and Section 553.73(17), Florida Statutes .
Ken Cureton
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
20
Chapter
(e.) Changes to or inconsistencies with federal or state law;
X
TAC: 

35‑Referenced Standards
3501
 6086 
Change Waldon to Walden. Change 101/I.S.2/NAFS‑02 to: Voluntary Performance Specifications for  Windows, Skylights, and Glass Doors. Change AAMA 506‑06 or 08 or 11Voluntary Specifications for Impact and Cycle Testing of Fenestration Products. Strike through the Second reference to AAMA/NPEA/NSF 2100
Dwight Wilkes
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
35
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

SubCode:
Residential
2‑Definitions
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 12 
Structural
Total Mods for Approved as Modified:
202
 6243 
Modify Glitch Mod #6230 to underline text.
Joseph Belcher
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
2
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

3‑Building Planning
301.2.1.1.1
 6234 
Add provision allowing screen enclosure to be designed as Risk Category 1.
Joseph Belcher
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
3
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 12 
Structural
Total Mods for Approved as Modified:
301.2.1.6
 6180 
Adds language from Florida Statutes regarding the establishment of wind speed and wind‑borne debris region contours locally.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
3
Chapter
(e.) Changes to or inconsistencies with federal or state law;
X
TAC: 

6‑Wall Construction
606.11
 6130 
Corrects section numbering.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 12 
Structural
Total Mods for Approved as Modified:
609.5.1
 6183 
Correct values and notes tio Tables R609.5.1A‑F.
Joseph Belcher
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

612.2
 6182 
This corrects an unintended conflict based on previous actions taken to amend the Code, bring to the Residential code the same requirements as in the Building Code concerning OH Ratio, Labeling and Glass Strength as in the Building Code.
Dwight Wilkes
Proponent
Summary
Mod #
Section
Approved as Modified

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
SubCode:
Building
2‑Definitions
202
 6189 
Correct grammar in definition
Joseph Belcher
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
2
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

9‑Fire Protection Systems
909.3
 6199 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
9
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

14‑Exterior Walls
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
1408.6
 6206 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
14
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

16‑Structural Design
1603.1.9
 6208 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
16
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

1609.3
 6210 
Corrects a conflict within the updated code.  Language is added for consistency with Florida Statutes.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
16
Chapter
(e.) Changes to or inconsistencies with federal or state law;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
1625.2
 6149 
Corrects referenced section for HVHZ deflection limits to 1616.3 due to chapter 16 section renumbering.
Jaime Gascon
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
16
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

17‑Structural Tests and Special Inspections
1710.5.5.3
 6213 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
17
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
1710.9.4
 6214 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
17
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

18‑Soils and Foundations
1801.1
 6215 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
18
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

1804.5
 6216 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
18
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
1810.4.12
 6217 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
18
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

19‑Concrete
1901.4
 6218 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
19
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

1908.5
 6219 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
19
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
1917.4.10
 6068 
Remove guidance to an HVHZ section which has been deleted and to provide guidance to an applicable HVHZ section for wind design.
Michael Goolsby
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
19
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

1917.4.8
 6067 
Provide guidance to applicable HVHZ section.
Michael Goolsby
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
19
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

21‑Masonry
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
2101.2.3
 6220 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
21
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

2204
 6221 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
21
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

22‑Steel
2211.3
 6222 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
22
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
23‑Wood
2306.2
 6224 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
23
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

24‑Glass and Glazing
2404.3.3
 6226 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
24
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
2405
 6085 
Correction is at 2405.5.2 equations 24‑14 &amp; 24‑15.
Need to correct Po to Pos and Ne to Neg
Dwight Wilkes
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
24
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

2411.3.2
 6062 
Correlation with comparative analysis approved in CH 17.
Jaime Gascon
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
24
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

41‑Safeguards During Construction
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
3304.1.4
 6225 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
41
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

SubCode:
Existing Building
7‑Alterations ‑ Level 1
706.3.2
 6227 
Corrects a conflict within the updated code.  Correlation with ASCE 7‑10
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
7
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
708.7.1.2
 6268 
Corrects a conflict within the updated code.  Revision to make ring shank nail dimensions consistent throughout the Florida Building Codes.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
7
Chapter
(a.) Conflicts within the updated code;
X
TAC: 
Add inches after .010 to item(2)
10‑Change of Occupancy
1007.1
 6061 
Remove reference to deleted table.
Michael Goolsby
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
10
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

16‑Referenced Standards
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
1701
 6273 
Corrects conflicts within the existing code.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
16
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

SubCode:
Residential
2‑Definitions
202
 6233 
Modifies habitable spece definition to add screen enclosure as non‑habitable.
Joseph Belcher
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
2
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

3‑Building Planning
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
301.2.1.1.2.1
 6117 
Clarifies that wind speeds have to be converted when using AAMA 2100.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
3
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

301.2.1.1
 6115 
Clarifies which standards require wind speeds to be converted.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
3
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

301.2.2.3.1
 6119 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
3
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
301.2
 6116 
Corrects note numbering to Figure R301.2(4)A.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
3
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

301.2
 6274 
Corrects a conflict with the updated code.  Correlation with ASCE 7‑10.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
3
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

301.3
 6120 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM
X
AS

W

Glitch Criteria:
3
Chapter
(a.) Conflicts within the updated code;
X
TAC: 
See attached comment from past
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
301
 6081 
Change Table R301.2(1) to provide for statewide design criteria that are consistent with the updated code.
Ken Cureton
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
3
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

301
 6082 
Add Section R301.2.1.1.3 to incorporate Rule 61G20‑1.002 into the FBC for consistency with Rule 61G20‑1.002 and Section 553.73(17), Florida Statutes.
Ken Cureton
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
3
Chapter
(e.) Changes to or inconsistencies with federal or state law;
X
TAC: 

318.8
 6181 
Adds requirements for foam plastic installed below or near grade.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
3
Chapter
(e.) Changes to or inconsistencies with federal or state law;
X
TAC: 

4‑Foundations
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
403.1.6
 6122 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

404.2.6
 6123 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

404.3
 6124 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
404.5.1
 6125 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

404.5.2
 6126 
Clarifies the applicable wind speeds and wind speed map.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
4
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

5‑Floors
502.2
 6127 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
5
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
6‑Wall Construction
606.12.1.1
 6128 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

606.9.9.1
 6129 
Corrects references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
606.9
 6188 
Corrects error in submission
Joseph Belcher
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

607.1
 6186 
Corrects error
Joseph Belcher
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

609.2.2
 6133 
Corrects reference to appropriate wind speed in masonry tables.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
609.3.2
 6132 
Corrects section numbering.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

609.3.3
 6134 
Corrects reference to appropriate wind speed in masonry tables.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

609.3.3
 6135 
Corrects reference to appropriate wind speed in masonry tables.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
609.4
 6136 
Corrects reference to appropriate wind speed in masonry tables.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

609.4
 6137 
Corrects reference to appropriate wind speed in masonry tables.  Adds a missing figure.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

609.4
 6138 
Corrects reference to appropriate location for uplift connector loads.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
609.4
 6139 
Corrects reference to appropriate location for anchor bolt spacing.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

609.5.1
 6140 
Corrects shearwall table references for prescriptive masonry design.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

609.5.1
 6141 
Corrects reference to appropriate wind speeds.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
609.5.3
 6142 
Corrects reference to appropriate wind speeds.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

609.5.3
 6143 
Corrects reference to appropriate wind speeds.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

609.5.4
 6144 
Corrects reference to appropriate wind speeds.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
609.5
 6229 
Add table for shear wall segment length modifiers inadvertently left out.
Joseph Belcher
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

609.6.3
 6153 
Corrects note references within the prescriptive masonry design tables.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

609.6
 6152 
Corrects reference to appropriate wind speeds.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
611.2
 6155 
Corrects the wind limitations for exterior concrete wall construction.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

611.6
 6156 
Corrects the wind speed limits in the prescriptive tables for exterior concrete wall construction.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

611.7
 6157 
Corrects the wind speed limits in the prescriptive tables for exterior concrete wall construction.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
612.2
 6045 
Submitted to eliminate conflict with FBC‑Building Section 1710.5
Jack Glenn
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

612.3
 6046 
Eliminates a conflict between Building volume and the Residential volume
Jack Glenn
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

613.10
 6161 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
613.5.3
 6160 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

613.5
 6159 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

613.5
 6162 
Corrects wind speed limitations.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
613.5
 6164 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

613
 6158 
Corrects the wind speed limits for exterior SIP wall construction.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

614.3
 6165 
Add missing figures for attachment of wood framed gable endwalls to masonry walls.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
6
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

7‑Wall Covering
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
702.3.5
 6166 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
7
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

703.11.2
 6269 
Corrects a conflict within the updated code.  Clarifies the vinyl siding attachment requirements over foam sheathing.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
7
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

703.7
 6167 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
7
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

10‑Chimneys and Fireplaces
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
1001.12
 6171 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
10
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

13‑General Mechanical System Requirements
1308.1
 6172 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
13
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

16‑Duct Systems
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
1601
 6174 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
16
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

18‑Chimneys and Vents
1801.9
 6175 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
18
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

21‑Hydronic Piping
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
2101.6
 6176 
Corrects section references.
T Stafford
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
21
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

SubCode:
Test Protocols
1‑105
6
 6145 
Correlates language in section 6.1.2 to that in 6.1.1, and clarifies that equipment calibration is needed for both mecanical and hydraulic pull testers.
Jaime Gascon
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
1
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

1‑124
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 86 
Structural
Total Mods for Approved as Submitted:
11.2.5
 6147 
Correlate conflict between requirements in section 11.2.5 and the two report templates in the protocol.
Jaime Gascon
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
1
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

1‑203
6.5
 6148 
Separate the temperature requirement into its own section; 6.6.
Jaime Gascon
Proponent
Summary
Mod #
Section
Approved as Submitted

NAR
I
Commission Action

AM

AS
X

W

Glitch Criteria:
1
Chapter
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 6 
Structural
Total Mods for Withdrawn:
SubCode:
Building
17‑Structural Tests and Special Inspections
1710.5.1
 6069 
change on to “of” in second line and
Strikethrough 98 or ASTM1300‑04
as per original approved Modidification
Dwight Wilkes
Proponent
Summary
Mod #
Section
Withdrawn

NAR
I
Commission Action

AM

AS

X
W

Glitch Criteria:
17
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

1710.5.1
 6256 
The elimination of ANSI A250.13 from the Building code and it&#39;s acceptance to the Residential code creates confusion and alignment within the code.
James Bell
Proponent
Summary
Mod #
Section
Withdrawn

NAR
I
Commission Action

AM

AS

X
W

Glitch Criteria:
17
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 6 
Structural
Total Mods for Withdrawn:
1710.5.2
 6154 
Deletion of redundant garage door and rolling door criteria.
Joseph Hetzel
Proponent
Summary
Mod #
Section
Withdrawn

NAR
I
Commission Action

AM

AS

X
W

Glitch Criteria:
17
Chapter
(a.) Conflicts within the updated code;
X
TAC: 

1710.5.2
 6212 
Corrects a conflict within the updated code.
T Stafford
Proponent
Summary
Mod #
Section
Withdrawn

NAR
I
Commission Action

AM

AS

X
W

Glitch Criteria:
17
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

20‑Aluminum
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend:

TAC
Total Mods for reports:  104
Structural
TAC:
 6 
Structural
Total Mods for Withdrawn:
2002.2
 6232 
Correct Section number.
Joseph Belcher
Proponent
Summary
Mod #
Section
Withdrawn

NAR
I
Commission Action

AM

AS

X
W

Glitch Criteria:
20
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

SubCode:
Residential
2‑Definitions
202
 6230 
Adds screen enclosure definition to code.
Joseph Belcher
Proponent
Summary
Mod #
Section
Withdrawn

NAR
I
Commission Action

AM

AS

X
W

Glitch Criteria:
2
Chapter
(a.) Conflicts within the updated code;
X
(c.) Unintended results from the integration of previously adopted Florida‑specific amendments with the model code;
X
TAC: 

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
S
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted      AM = Approved as Modified      NAR = No Affirmative Recommendation
W = Withdrawn       I = Insufficient (incomplete or does not meet criteria)
Legend: