Section 2118-2122 High-Velocity Hurricane Zones—Design.  Florida specific, add from the 2007 Florida Building Code.

Section 2118-2122 High-Velocity Hurricane Zones—Design

SECTION 2118

HIGH-VELOCITY HURRICANE ZONES-DESIGN

2118.1 Masonry shall be designed by a method admitting of rational analysis based on established principles of mechanics.

SECTION 2119

HIGH-VELOCITY HURRICANE ZONES-QUALITY, TESTS, AND APPROVALS

2119.1 Quality. The quality of materials assembled into masonry and the method and manner of their assembly shall conform to the requirements of this chapter.

2119.1.1 Workmanship. Masonry construction shall be in conformance with the tolerances, quality and methods of construction as set forth in standards referenced in this chapter; the Portland Cement Association Concrete Masonry Handbook, ANSI A41.1, A41.2 and AWS Structural Welding Code: Reinforcing Steel (D1.4).

2119.1.2 Other materials. A material of masonry, other than set forth herein, which is incombustible and otherwise sufficiently embodies the characteristics and satisfies the requirements of one of the materials herein may be approved by the building official, subject to such tests as may be prescribed.

2119.2 Tests.

2119.2.1 The building official may require materials to be subjected to tests to determine their quality whenever there is reason to believe that a material is no longer up to the standards on which the approval was based. The cost of such tests shall be borne by the person or persons proposing to use or continue to use such material or product.

2119.2.2 Materials shall be tested in accordance with the standard specifications of the ASTM International as such standard specifications are noted in this chapter.

2119.3 Approvals.

2119.3.1 Only such masonry units as bear the approval of the building official and are manufactured or fabricated by plants having a certificate of competency issued by the authority having jurisdiction, shall be considered acceptable for the construction of buildings or other structures.

2119.3.2 Approval of masonry units and manufacturing or fabricating plants shall be for periods not to exceed one year and may be obtained upon application and the submission of certificates of tests in accordance with the provisions of this chapter.

2119.3.3 The provisions for tests for approval of masonry units shall not be construed as in lieu of any tests otherwise required under this chapter.

2119.3.4 Failure of a manufacturer of masonry units to obtain approval or to submit tests as required in this chapter, or such additional tests as the building official may require, shall be cause for rejection of such masonry units.

2119.4 Brick.

2119.4.1 General. Brick shall include masonry units usually 21/4 inches (57 mm) thick, 33/4 inches (95 mm) wide, and 8 inches (203 mm) long, and not less than 75 percent solid.

2119.4.2 Tests. Tests shall be conducted in accordance with Standard Methods of Testing Brick , ASTM C 67.

2119.4.3 Quality.

2119.4.3.1 Burned clay or shale brick shall conform to either the standard Specification for Building Brick (Solid Masonry Units made from Clay or Shale) , ASTM C 62, the standard Specification for Facing Brick (Solid Masonry Units made from Clay or Shale), ASTM C 216 or the standard Specification for Hollow Brick (Hollow Masonry Units made from Clay or Shale), ASTM C 652.

2119.4.3.2 Sand-lime brick shall conform to the Standard Specification for Concrete Building Brick, ASTM C 55.

2119.4.3.3 Concrete brick shall conform to the Standard Specification for Concrete Building Brick , ASTM C 55.

2119.5 Stone. Stone for masonry shall be hard and durable.

2119.6 Cast stone. Cast stone shall be made of portland cement, aggregates and water with or without admixtures. Cast stone for load-bearing masonry or where exposed to the weather shall have an average compressive strength, at 28 days, of at least 3,000 pounds psi (20.7 MPa) and shall have not more than 7 percent water absorption by weight.

2119.7 Concrete blocks.

2119.7.1 General.

2119.7.1.1 Concrete blocks shall be made of portland cement, water and approved aggregates. The materials shall conform to the requirements for the materials of concrete specified in Chapter 19 (High-Velocity Hurricane Zones), and the finished units shall meet the requirements of this section.

2119.7.1.2 Concrete blocks used for fire-resistive walls rated 2 hours or more, or used for load-bearing or exterior walls, shall have a minimum face shell thickness of 11/4 inches (32 mm), a minimum web thickness of 1 inch (25.4 mm), and shall have a net cross-sectional area not less than 50 percent of the gross section.

2119.7.1.3 Concrete blocks for other purposes shall have wall and web thickness of not less than 3/4 inch (19 mm).

2119.7.1.4 Where masonry walls are required by this code to be 8 inch (203 mm) thickness, hollow concrete blocks units may be 75/8 by 75/8 by 155/8 inches (195 by 195 by 398 mm) modular dimension with corresponding widths for tie columns and tie beams.

2119.7.2 Quality. Standard units of hollow concrete block shall conform to the Standard Specification for Hollow Load-Bearing Concrete Masonry Units, ASTM C 90, except that the maximum moisture content shall not exceed 50 percent of the total absorption.

2119.8 Structural clay tile.

2119.8.1 Limitations. All hollow burned clay wall tile used for fire-resistive walls rated 2 hours or more, load-bearing or exterior walls shall be load bearing tile.

2119.8.2 Tests. Tests shall be conducted in accordance with the Standard Methods of Sampling and Testing Structural Clay Tile, ASTM C 212.

2119.8.3 Quality.

2119.8.3.1 Structural clay load-bearing wall tile shall conform to the Standard Specification of Structural Clay Load-Bearing Wall Tile, ASTM C 34.

2119.8.3.2 Structural clay floor tile shall conform to the Standard Specification for Structural Clay Floor Tile, ASTM C 57.

2119.8.3.3 Structural clay nonload-bearing tile shall conform to the Standard Specification for Structural Clay NonLoad-Bearing Tile, ASTM C 56.

2119.9 Gypsum tile.

2119.9.1 Limitations. Precast gypsum shall not be used in load-bearing masonry or in any masonry that will be exposed to the weather.

2119.9.2 Tests. Tests shall be made in accordance with the Chemical Analysis of Testing Gypsum and Gypsum Products, ASTM C 471, Physical Testing of Gypsum Plasters and Gypsum Cement, ASTM C 472, and Physical Testing of Gypsum Board Products and Gypsum Partition Tile and Block, ASTM C 473.

2119.9.3 Quality. Gypsum partition tile or block shall conform to the Standard Specification for Gypsum Tile or Block, ASTM C 52, Chemical Analysis of Testing Gypsum and Gypsum Products, ASTM C 471, Physical Testing of Gypsum Plasters and Gypsum Cement, ASTM C 472, and Physical Testing of Gypsum Board Products and Partition Tile and Block, ASTM C 473.

2119.10 Plain concrete. Plain concrete is concrete cast in place and not reinforced, or reinforced only for shrinkage or change of temperature. Plain concrete shall be mixed, placed and cured as specified for concrete in Chapter 19 (High-Velocity Hurricane Zones). The minimum strength of regular concrete shall be not less than 2000 psi (13.8 MPa) in 28 days. The minimum strength of lightweight aggregate concrete shall be not less than 500 psi (3.5 MPa) in 28 days.

2119.11 Plain gypsum concrete. Plain gypsum concrete is gypsum concrete cast in place and either unreinforced or reinforced for shrinkage.

2119.12 Mortar.

2119.12.1 General. Except as otherwise set forth herein, all mortars and the materials therein shall conform to the Standard Specifications for Mortar of Masonry Units , ASTM C 270.

2119.12.1.1 The gradation of aggregates for masonry mortar shall be such that the fineness modulus is between 1.20 and 2.35 when determined in accordance with the Standard Specifications for Aggregate for Masonry Mortar, ASTM C 144.

2119.12.1.2 Aggregates shall be quarried or washed in fresh water and shall contain not more than 1/20 of 1 percent salt by weight.

MORTAR STRENGTH PROPERTY SPECIFICATIONS

| Type | Minimum Average Strength (psi) (MPa) |
| --- | --- |
| M S N O | 2500 (17.2) 1800 (12.4) 750 (5.2) 350 (2.4) |

2119.12.1.3 Mortar used to bond unit masonry shall be of Type M, S, N or O and shall comply with either the property specifications set forth hereinafter or the proportion specifications of the standard set forth in Section 2119.12.1.

2119.12.1.4 The type of mortar based on consideration of the location of the unit masonry shall be as follows:

| USE OF LOCATION | TYPE OF MORTAR |
| --- | --- |
| Below grade foundations and walls Swimming pool walls and retaining walls Fire resistive walls rated 2 hours or more Exterior walls and load bearing walls Piers less than 32 inches wide Partitions Solid masonry units Mortar or grout under concentrated loads Fences Gypsum | M M M or S M or S M or S M, S or N One classification less than that above M M, S, N or O Gypsum |

For SI: 1 inch = 25.4 mm.

2119.12.1.5 All solid unit masonry shall be laid in full beds with full end joints. All hollow unit masonry shall be laid with full mortar coverage of the face shells in both horizontal and vertical joints.

SECTION 2120

HIGH-VELOCITY HURRICANE ZONES-ALLOWABLE UNIT STRESSES IN UNIT MASONRY

2120.1 Compression.

2120.1.1 Allowable working compressive stresses in masonry walls shall not exceed the limits in pounds per square inch (MPa) of gross area in the following table:

| Unit | Type N or O Mortar | Type M or S Mortar |
| --- | --- | --- |
| Brick Stone Rubble Stone Concrete Blocks Clay Tile | 200 (1.4) 450 (3.1) 200 (1.4) 100 (0.7) 80 (0.55) | 300 (2.1) 600 (4.1) 300 (2.1) 150 (1.0) 100 (0.7) |

2120.1.2 The maximum allowable working stress in plain concrete shall be the following percentage of the ultimate strength of the concrete in compression:

Compression			0.20 f 'c

Shear and diagonal tension	   0.02 f 'c

Where f 'c represents the ultimate compressive strength.

2120.2 The shear in unit masonry shall not exceed 1/10 the allowable compressive stress.

2120.3 Unreinforced unit masonry shall be assumed to have no value in resisting axial tension. Flexural tension is allowed in unreinforced masonry per ACI 530.

2120.4 Concentrations. Walls of hollow masonry units shall not directly support concentrated loads.

SECTION 2121

HIGH-VELOCITY HURRICANE ZONES-CONSTRUCTION DETAILS

2121.1 General.

2121.1.1 Masonry walls of hollow or solid units or plain concrete shall be constructed as specified in this section.

2121.1.2 Designed reinforced concrete walls, columns and beams shall be as specified in Chapter 19 (High-Velocity Hurricane Zones), except that such designed columns and beams shall be not less than the equivalent of the minimums herein set forth.

2121.1.3 Reinforced concrete required in this section shall comply with Chapter 19 (High-Velocity Hurricane Zones), Reinforced Concrete.

2121.1.4 Second-hand masonry units shall not be used unless they conform to the requirements of this code, are sound and have been thoroughly cleaned and are approved for use by the building official.

2121.1.5 Bond shall be provided by lapping ends in successive vertical courses.

2121.1.6 Minimum No. 9 gauge truss type horizontal joint reinforcing at every alternate course (16-inch (406 mm) spacing), ladder type for reinforced masonry and truss type for all others shall be provided. This reinforcement shall extend 4 inches (102 mm) into tie columns or be tied to structural columns with approved methods where structural columns replace the

tie columns. In addition, horizontal joint reinforcement shall comply with TMS

602/ACI530.1/ASCE 6 Sections 2.4C thru 2.4F and Section 3.4B.7.  [4135]

2121.2 Exterior walls.

2121.2.1 General.

2121.2.1.1 Exterior walls of unit masonry shall have a minimum thickness of 8 inches (203 mm) except as otherwise set forth in Section 2121.2.11 and 2119.7.1.4.

2121.2.1.2 No roof or other members shall be placed to develop direct horizontal thrust on walls unless such walls are specifically designed.

2121.2.1.3 The maximum area of wall panels of 8 inch (203 mm) thick unit masonry, as measured between the concrete members which frame the panel such as the beams and tie columns, shall not exceed 240 square feet (22.3 m2), except as set forth in Section 2121.2.2.

2121.2.2 Tie columns.

2121.2.2.1 Concrete tie columns shall be required in exterior walls of unit masonry. Concrete tie columns shall be required at all corners, at intervals not to exceed 16 feet (4.9 m) center-to-center of columns, adjacent to any corner opening exceeding 4 feet (1219 mm) in width, and at the ends of free-standing walls exceeding 2 feet (610 mm) in length. When openings exceed 8 feet (2.4 m) in width, tie columns shall be provided on each side of all such openings. All gable and shed end corners shall have tie columns.

2121.2.2.2 When openings are between 3 and 8 feet (914 mm and 2.4 m) in width, such openings shall have one #5 vertical reinforcing bar at each side. The vertical bars shall be placed in concrete filled cells and shall extend into footings and into tie beams. All such bars shall be continuous from footing to tie beam. All splices, where needed, shall be 30 inches (762 mm) minimum.

2121.2.2.3 Tie columns shall be not less than 12 inches (305 mm) in width. Tie columns having an unbraced height not exceeding 15 feet (4.6 m) shall be not less in thickness than the wall or less than a nominal 8 inches (203 mm), and, where exceeding 15 feet (4.6 m) in unbraced height, shall be not less in thickness than 12 inches (305 mm). The unbraced height shall be taken at the point of positive lateral support in the direction of consideration or the column may be designed to resist applicable lateral loads based on rational analysis.

2121.2.2.4 Tie columns shall be reinforced with not less than four #5 vertical bars for 8 inch by 12 inch (203 mm by 305 mm) columns nor less than four #6 vertical bars for 12 inch by 12 inch (305 mm by 305 mm) columns nor less reinforcing steel than 0.01 of the cross-sectional area for columns of other dimension nor less than may be required to resist axial loads or bending forces. Vertical reinforcing shall be doweled to the footing and splices shall be lapped 30 bar diameters. Columns shall be tied with #2 hoops spaced not more than 12 inches (305 mm) apart.

2121.2.2.5 The concrete tie columns set forth herein are a minimum to limit masonry panel areas and provide an integrated framework for masonry. The spacing of concrete columns for skeleton frame construction, designed as specified in Chapter 19 (High-Velocity Hurricane Zones), may exceed the spacing herein set forth provided the masonry panels have an area less than 240 square feet (22.3 m2) and the structural system is designed to transmit horizontal wind loads to the columns.

2121.2.2.6 Concrete tie columns designed to limit masonry panel areas may be offset at tie beams or other horizontal members to avoid openings, but the maximum spacing shall not be exceeded.

2121.2.2.7 Concrete columns in load-bearing walls shall be poured only after masonry units are in place. Where masonry walls of skeleton frame construction are laid up after the frame has been erected, adequate anchorage designed by a professional engineer shall be provided. Where structural steel members are made fire-resistive with masonry units, the panel walls shall be bonded to the fire-resistive materials.

2121.2.2.8 Where the minimum spacing of tie columns, as set forth in Section 2121.2.2.1, has been satisfied and structural columns of skeleton frame construction are spaced as specified in Section 2121.2.2.5, provision for resisting the horizontal and vertical loads at the edges of masonry panels abutting door and window openings in masonry walls where openings are not bounded by such reinforced concrete columns shall be considered and, where necessary, transfer the forces through the materials of assembly to the ground.

2121.2.3 Tie beams.

2121.2.3.1 A tie beam of reinforced concrete shall be placed in all walls of unit masonry, at each floor or roof level, and at such intermediate levels as may be required to limit the vertical heights of the masonry units to 16 feet (4.9 m). Well-compacted and confined soil below grade may be considered lateral restraint but only above a point 1 foot (305 mm) below the grade where such restraint begins.

2121.2.3.2 Unless otherwise required by design, all tie beams shall have four #3 ties at 12 inches (305 mm) o.c. at corners and at each bend and at 48 inches (1219 mm) o.c. elsewhere. A tie beam shall be not less in dimension or reinforcing than required for the conditions of loading nor less than the following minimums: a tie beam shall have a width of not less than a nominal 8 inches (203 mm), shall have a height of not less than 12 inches (305 mm) and shall be reinforced with not less than four #5 reinforcing bars placed two at the top and two at the bottom of the beam except that a tie beam using "U" type beam block may be used with the following limitations:

1.	Limited to one-story Group R3 occupancy.

2.	Limited to unsupported spans of 7 feet (2.1 m).

3.	Beam block shall be reinforced with one #7 bar in the top and one #7 bar in the bottom of the pour.

4.	Beam block shall provide not less than 14 inches (356 mm) vertical dimension or less than 41/2 inches (114 mm) horizontal dimension of poured-in-place beam cross-section.

5.	Where beam blocks are used, consideration of resistance to uplift caused by wind forces shall be based on only that portion of the dead load above the topmost mortar joint in the wall.

2121.2.3.3 The tie beam shall be continuous. Continuity of the reinforcing in straight runs shall be provided by lapping splices not less than 30 inches (762 mm). Continuity shall be provided at corners by bending two bars from each direction around the corner 30 inches (762 mm) or by adding two #5 bent bars which extend 30 inches (762 mm) each way from the corner. Continuity at columns shall be provided by continuing horizontal reinforcing through columns or by bending horizontal reinforcing in the columns a distance of 18 inches (457 mm).

2121.2.3.4 A tie beam shall not be required where floor or roof systems provide a rigid diaphragm of reinforced concrete with a minimum thickness of 4 inches (102 mm) or where a floor or roof system has an equivalent stiffness factor of not less than 0.5 cubic inches, as determined by the moment of inertia divided by the length. (Per foot of width, measured normal to the plane of the diaphragm and adequately anchored).

2121.2.3.5 Changes in level of the beams or structural concrete beams (beam) shall be made at tie columns or structural concrete columns and said tie columns or structural concrete columns shall be continuous from beam to beam.

2121.2.3.6 A tie beam may follow the rake of a gable or shed end if the slope does not exceed 3:12 and the requirements of Sections 2121.2.1.2 and 2121.2.1.3 are met.

2121.2.3.7 The concrete in tie beams shall be placed to bond to the masonry units immediately below and shall not be separated therefrom by wood, felt or any other material which may prevent bond. Felt paper no wider than the width of the cells of the block may be used provided that it is depressed a minimum of 2 inches (51 mm) in one cell of each block.

2121.2.3.8 Tie beams subject to uplift and lateral wind forces shall be sized and designed to resist all such forces. Tie beams over openings shall be sized and designed to resist dead and live loads combined with wind loads, whichever governs.

2121.2.4 Gable end and shed end walls. All masonry structures with gable end and shed end (half gable) walls shall have such end walls constructed of masonry, only in accordance with this section. A horizontal tie beam shall be provided in line with the lower ends of the gables and sheds, except as permitted in Section 2121.2.3.6 above, and designed in accordance with Sections 2121.2.1.2 and 2121.2.1.3, and load requirements as set forth in Chapter 16 (High-Velocity Hurricane Zones). A concrete coping following the rake of the gable, not less than 64 square inches (.04 m2) in area reinforced with two #5 bars shall be provided. Tie columns at gable and shed ends shall be provided. Any intermediate tie columns required within the gable shall extend to the coping beam. Tie beams resting on masonry which are not subject to uplift and lateral wind forces shall be provided according to Section 2121.2.3.2.

2121.2.5 Parapet walls.

2121.2.5.1 Masonry parapet walls shall be not less than 8 inches (203 mm) thick, shall be reinforced with minimum tie columns and shall be coped with a concrete beam not less than 64 square inches (.04 m2) in cross-section, reinforced with two #4 reinforcing bars.

2121.2.5.2 A parapet wall exceeding 5 feet (1524 mm) in height above a tie beam or other point of lateral support shall be specifically designed to resist horizontal wind loads.

2121.2.6 Piers.

2121.2.6.1 In any section of a masonry wall of an enclosed structure where openings are arranged to leave sections of walls less than 16 inches (406 mm), such sections shall be steel or reinforced concrete.

2121.2.6.2 Isolated masonry piers of unenclosed structures shall be so constructed that the height of such piers shall not exceed 10 times the least dimension, that the cells are filled with cement grout and reinforced with not less than two #5 bars anchoring the beam to the foundation.

2121.2.7 Cavity walls.

2121.2.7.1 Cavity walls consisting of two separate walls with an air space of not less than 2 inches nor more than 6 inches (51 to 152 mm) may be constructed of solid or hollow-unit masonry provided such walls meet the specific requirements for tie columns and beams set forth in this section and are bonded together at intervals not more than 24 inches (610 mm) apart, vertically and horizontally, by masonry ties or by durable, rigid metal ties 0.10 square inch (64.5 mm2) in the cross section.

2121.2.7.2 The minimum thickness of the separate walls of cavity wall construction shall be 4 inches (102 mm), and units shall be laid in full beds of portland cement mortar with full-end joints.

2121.2.8 Brick and stone walls. Walls of brick and stone shall be laterally supported by tie columns and beams, or the equivalent thereof, as provided in this section and shall meet these additional requirements:

1.	In all brick walls at least every sixth course on both sides of the wall shall be a header course or there shall be at least one full header in every 72 square inches (.05 m2) of each wall surface.

2.	In walls more than 12 inches (305 mm) thick, the inner joints of header courses shall be covered with another header course that shall break joints with the course below.

3.	Solid-unit masonry shall comply with the standard Building Code Requirements for Masonry, ANSI A41.1.

4.	Rubble stone walls shall be 4 inches (102 mm) thicker than is required for solid brick or concrete walls of the same respective heights, but in no part less than 16 inches (406 mm).

2121.2.9 Substitutions.

2121.2.9.1 Where, for architectural reasons or otherwise, it is desirable to reduce the area of any required tie column or tie beam below the specified requirements, the building official may grant such reduction, provided that the area of concrete omitted shall be replaced by reinforcing or structural steel in the ratio 1:(n-1) where "n" is defined as the modular ratio of elasticity (esteel/econcrete).

2121.2.9.2 Where it is desired to substitute for the #5 reinforcing as required by this section, three #4 bars may be substituted to replace two #5 bars.

2121.2.10 Wall additions. Where new walls are connected to existing walls, such connection shall be by means of a starter column of minimum 8 inches by 8 inches (203 mm by 203 mm) dimension reinforced with two #5 bars.

2121.2.11 Chases, recesses and openings.

2121.2.11.1 Unit masonry walls required to be a minimum of 8 inches (203 mm) thick, such as exterior walls, fire walls and bearing walls, may be chased or recessed not deeper than one-half the wall thickness for an area not exceeding 8 square feet (0.74 m2), provided the horizontal dimension of the chase or recess does not exceed 4 feet (1219 mm) and provided the chasing shall not reduce the dimension of tie beams and tie columns to less than herein required, except as follows:

Exception: Four-inch (102 mm) deep chases or recesses in 8 inch (703 mm) unit masonry walls may be constructed with 4 inch (102 mm) unit masonry panels provided such 4 inch (102 mm) unit masonry panel does not exceed 5 feet (1524 mm) in width, does not exceed 8 feet (2.4 m) in height, is bonded on one vertical side to 8 inch (203 mm) masonry or a tie column, and is not load bearing. Where such panel exceeds 2 feet (610 mm) in width at locations 20 feet (6.1 m) or more above grade in exterior walls, resistance to wind load shall be considered in the design, and a minimum of 4 inch by 8 inch (102 mm by 203 mm) tie column with two #5 vertical bars shall be provided in the free standing end of such 4 inch (102 mm) wall.

2121.2.11.2 Openings shall have lintels of reinforced concrete. Where such lintel is precast or formed separately from a tie beam, it shall bear not less than nominal 8 inches (203 mm) on the masonry, at each end except as may otherwise be approved for compliance with this code by product approval, or after rational analysis, but not less than 4 inches (102 mm). Where such lintel is formed integrally with the tie beam by deepening the tie beam above the opening, and the tie beam itself is capable of safely supporting all loads, the beam may span up to 6 feet (1.8 m) in length and may be deepened not to exceed 8 inches (203 mm) without additional reinforcing. Where the tie beam is deepened in excess of 8 inches (203 mm) with a span less than 6 feet (1.8 m) in length, and the tie beam itself is capable of supporting all loads, the dropped portion shall contain a #3 horizontal bar at the bottom, bent up at each end and fastened to the upper tie beam steel or two #4 horizontal bars. The dropped portion shall bear at least 4 inches (102 mm) on the masonry at each end. Where the span is in excess of 6 feet (1.8 m), the principal beam reinforcing shall be at the bottom of the beam.

2121.2.12 Glass unit masonry. Glass unit masonry shall comply with section 2121.1.12 or shall comply with ACI 530/ASCE 5/TMS 402 and section 2121.2.12.2.

2121.2.12.1 Masonry of glass unit masonry may be used in nonload-bearing exterior or interior walls and in openings which might otherwise be filled with windows, either isolated or in continuous bands, provided the glass unit masonry panels have a thickness of not less than 3½ inches (89 mm) at the mortar joint and the mortared surfaces of the units are satisfactorily treated for mortar bonding.

2121.2.12.2 Glass unit masonry panels for exterior walls shall have a Product Approval.

2121.2.12.3 Exterior unit masonry panels shall be set in recesses at the jambs and, for panels exceeding 10 feet (3 m) in horizontal dimension between supports, at the head as well, to provide a bearing surface at least 1 inch (25 mm) wide along the panel edges; except that when approved by the building official for panels exceeding neither 100 square feet (9.3.m2) in area nor 10 feet (3 m) in either horizontal or vertical dimension, and situated four stories or less, and less than 52 feet (15.8 m) above grade level, anchorage may be provided by means of non-corrodible perforated metal strips.

2121.2.12.4 Glass unit masonry panels shall have reinforcement in the mortar joints spaced not more than 2 feet (610 mm) apart vertically and below and above any openings within a pane. The reinforcement shall consist of two parallel longitudinal galvanized steel wires, No. 9 gauge or larger, spaced 2 inches (51 mm) apart, and welded to No. 14 or heavier cross wires at intervals not exceeding 8 inches (203 mm), or the equivalent approved by the building official.

2121.2.12.5 Glass unit masonry shall be laid in only Type M or S mortar or equivalent approved material. Both vertical and horizontal mortar joints shall be at least 1/4 inch (6 mm) and not more than 3/8 inch (9.5 mm) thick and shall be completely filled.

2121.2.12.6 Every exterior glass unit masonry panel shall be provided with expansion joints at the sides and top. Expansion joints shall be entirely free of mortar, and shall be filled with resilient material.

2121.2.12.7 Glass masonry units required to provide a fire resistance rating shall comply with Section 2121.1.12.8 or shall be fire tested and listed for their intended use.

2121.2.12.8 View panels in 1-hour fire-resistant walls shall be limited to glass unit masonry panels installed in steel channels, or panel anchor framing may be used where a 3/4-hour fire rating is required. Three-and-seven-eighths inch thick (98 mm) glass masonry unit shall be limited to 120 square feet (1.1 m2) with no dimension greater than 12 feet (3.7 m) for masonry wall construction or to 94 square feet (8.7 m2) with no dimension greater than 10.75 feet (3.3 m) for nonmasonry wall construction. Three and one-eighths inch (79 mm) thick glass masonry units shall be limited to 100 square feet (9.3 m2) with no dimension greater than 10 feet (3 m) for masonry wall construction or to 94 square feet (8.7 m2) with no dimension greater than 10.75 feet (3.3 m) for nonmasonry wall construction. Three inches (76 mm) thick glass masonry units shall be limited to 100 square feet (9.3 m2) with no dimension greater than 12 feet (3.7 m) for masonry wall construction or to 94 square feet (8.7 m2) with no dimension greater than 10 feet (3 m) for nonmasonry wall construction.

View panels in 2-hour fire-resistant walls shall be limited to glass masonry units installed in steel channels and with a water curtain in conformance with NFPA 13 on each side at interior walls or at the interior of exterior walls. Three and seven-eighths inch (98 mm) thick glass masonry units shall be limited to 100 square feet (9.3 m2) with no dimension greater than 10 feet (3 m).

The view panel assembly shall not exceed 25 percent of the wall separating a tenancy from a corridor or a corridor from an enclosed vertical opening or one fire-rated area from another fire-rated area.

Maximum 3/4 hour fire-rated glass masonry units construction shall be used at nonmasonry wall construction. Panel anchors shall be provided at sill and jambs in nonmasonry wall construction using panel anchor framing. A fire-retardant sealant shall be used at all channel and panel anchor framing. Expansion material at heads and jambs shall be either fibrous glass or mineral wool. All fire-rated glass masonry units and panels shall conform to UL No. 9 and ASTM E 163.

2121.2.12.9 Interior glass masonry unit panels having thickness of 37/8 inches (98 mm) shall not exceed 250 square feet (23.2 m2) of unsupported wall surface and interior glass masonry unit panels having thickness of 31/8 inches (79 mm) shall not exceed 150 square feet (13.9 m2) of unsupported wall surface nor more than 25 feet (7.6 m) in length nor more than 20 feet (6.1 m) in height between supports.

2121.2.13 Grill block.

2121.2.13.1 Decorative grills or screens constructed of unit masonry laid with cells open through the wall shall be as set forth herein or designs shall be based on rational analysis to resist applicable loads and computations shall be submitted to the building official for approval.

2121.2.13.2 Unit masonry grills or screens as described in this paragraph shall not be load bearing.

2121.2.13.3 Unit masonry in exterior wall shall be laid in Type M or S mortar.

2121.3 Interior bearing walls. Interior-bearing walls shall be constructed as specified in Section 2121.2 for exterior walls, except that interior bearing walls in one-story building of Group H or I occupancy, where not required to be more than 1-hour fire-resistive, may be constructed of 4 inch (162 mm) concrete block not exceeding 9 feet (2.7 m) in height, capped with a reinforced concrete beam not less than 4 inches (102 mm) in width nor less than 12 inches (305 mm) in height, reinforced with two 1/2-inch (12.7 mm) rods, and such walls shall support only a roof or ceiling not in excess of 700 pounds per lineal foot (10.2 kN/m) with no chases or recesses.

2121.4 Fire walls. Firewalls shall be constructed as set forth in Section 2121.2 for exterior walls.

2121.5 Panel walls.

2121.5.1 Panel walls of unit-masonry shall be not less than 8 inches (203 mm) thick and shall be limited in panel dimension as set forth in Section 2121.2.

2121.5.2 Panel walls of reinforced concrete shall be not less than 4 inches (102 mm) thick nor less than required by design as specified in Chapter 19 (High-Velocity Hurricane Zones).

2121.6 Veneered walls.

2121.6.1 Masonry backing.

2121.6.1.1 Veneering or facing on masonry backing shall not be considered as adding any strength to such walls and shall be limited in height above foundations or between proper and adequate supports to 30 feet (9.1 m). Veneering shall be securely anchored to masonry backing by means of substantial, noncorroding metal wall ties, spaced not farther apart than 16 inches (406 mm) vertically or 24 inches (610 mm) horizontally.

2121.6.1.2 Tile veneering, not more than 1 inch (25 mm) thick with individual units not exceeding 20 inches (508 mm) in any dimension and having not more than 200 square inches (.13 cm2) of surface area with corrugations or scoring on the back side thereof, need not be anchored in accordance with the above requirements but shall be cemented solid to the backing with portland cement mortar so as to provide a continuous integral support to the backing.

2121.6.2 Wood backing.

2121.6.2.1 In all cases, before applying masonry veneer, a substantial waterproofed paper or asphalt-saturated felt, weighing not less than 14 pounds per 100 square feet (0.68 kg/m2) shall be applied horizontally, shingle fashion, over diagonal sheathing. Horizontal joints in the paper or felt shall be lapped not less than 4 inches (102 mm) and vertical end joints not less than 6 inches (152 mm).

2121.6.2.2 Masonry veneer shall be not less than 33/4 inches (95 mm) thick and shall be bonded to the backing by means of substantial noncorroding metal wall ties spaced not farther apart than 16 inches (406 mm) vertically and 24 inches (610 mm) horizontally.

2121.7 Partitions.

2121.7.1 The requirements specified herein shall apply to nonbearing interior separations, other than firewalls, of unit masonry construction.

2121.7.2 The lateral distance between vertical supports of nonbearing interior partitions of unit masonry shall not exceed 72 times the actual thickness of the partition, including plaster.

2121.7.3 The height of unit masonry partitions shall not exceed 36 times the actual thickness, including plaster.

2121.7.4 All interior unit masonry partitions shall be designed to meet the lateral live load requirements with corresponding perimeter anchorage supports, in accordance with Section 1618.8.

2121.8 Fences.

2121.8.1 Masonry fences so located on a property that such fence, at the proposed height or by a future addition to height, could be used as a wall of a building shall be constructed with foundations and tie columns as provided for an exterior wall. Such fence shall be capped with a coping beam not less than 64 square inches (.4 m2) in cross-section reinforced with a minimum of two #4 rods, when not exceeding a height of 5 feet (1.5 m), or shall be capped by a tie beam as provided for exterior walls if exceeding a height of 5 feet (1.5 m).

2121.8.2 Masonry fences, so located on a property that by zoning regulation such fence could not be used as a wall of a building, shall be constructed as follows:

2121.8.2.1 Fences not exceeding 5 feet (1.5 m) in height shall be 8 inches (203 mm) thick and shall not be required to have tie columns, but shall be required to have a coping as provided herein; or such fences may be 4 inches (102 mm) thick with tie columns and coping not less than 8 inches (203 mm) thick.

2121.8.2.2 Fences exceeding 5 feet (1.5 m) in height shall be not less than 8 inches (203 mm) thick and shall have tie columns and tie beams as required for exterior walls.

2121.9 Other masonry walls. Walls of masonry materials or arrangements of masonry units other than those specifically set forth in this chapter shall be in conformance with the general provisions of this code, may be classified by the subject to all or any of the requirements therefor to and any such additional requirements as the building official may prescribe.

SECTION 2122

HIGH-VELOCITY HURRICANE ZONES-REINFORCED UNIT MASONRY

2122.1 Standards. The provisions of TMS 402/ACI 530/ASCE 5, Building Code Requirements F for Masonry Structures, and TMS 602/ACI 530.1/ASCE 6 and the commentary on Building Code Requirements for Masonry Structures, are hereby adopted as a minimum for the design and construction of reinforced unit masonry. ; however, the requirement of the standard shall not supersede the specific requirements of this chapter. In addition to TMS 402/ ACI 530/ ASCE 5 and TMS 602/ACI 530.1/ASCE 6, reinforced unit masonry structures shall comply with Sections 2122.2.

Exception: Unless otherwise specified by the designing architect or engineer, where plan review and inspections are performed by a local building department in accordance with Sections 107 and 110, the provisions of TMS 402/ ACI 530/ASCE 5/TMS 402, Chapter 1, Section 1.18 and TMS 602/ ACI 530.1/ASCE 6/ Sections 1.5 and 1.6 shall not apply.  [4135]

2122.2 General.

2122.2.1 Tie columns and tie beams as set forth in Section 2121.2 shall be not required where design and construction are in accordance with the provisions of this section.

2122.2.2 Reinforced unit masonry shall be steel reinforced solid-unit masonry or steel reinforced grouted hollow-unit masonry as set forth herein.

2122.2.2 3   The design of buildings and structures of reinforced unit masonry shall be by a professional engineer or registered architect.

2122.2.3 Minimum No. 9 gauge ladder type horizontal joint reinforcing at every alternate course (16-inch (406 mm) spacing), for reinforced masonry shall be provided. This reinforcement shall be tied to structural columns with approved methods. In addition, horizontal joint reinforcement shall comply with TMS 602/ACI530.1/ASCE 6 Sections 2.4C thru 2.4F and Section 3.4B.7.  [4135]

2122.2.4 4  Special inspector. A Florida-registered architect or professional engineer shall furnish inspection of all reinforced unit masonry structures.

2122.3 5   Concrete masonry strength. Concrete masonry strength shall be determined by unit strength method from TMS 602/ACI 530.1/ ASCE 6 Section 1.4 or in accordance with ASTM C 1314.

2122.5.1 In each test of three prisms, the average of the three may be used as the assumed value of f 'm .

2122.5.2 In no case shall the value of f 'm exceed the lowest break multiplied by 1.25 in any test.

2122.4 6 Reinforced masonry columns and walls. Reinforcement.  Reinforcement shall comply with TMS 402/ACI 530/ ASCE 5 and TMS 602/ ACI 530.1/ ASCE 6 except as modified herein.

2122.4.1 Development of bars in tension and compression shall be in accordance with TMS 402/ASCE 530/ ASCE5 Section 2.1.9.3 with the following changes to the factor y of Equation 2-12

γ = 1.0 for No. 3 (M#10) through No. 5 (M#16) bars;

γ = 1.04 for No. 6 (M#19) through No. 7 (M#22) bars; and

γ = 1.2 for No. 8 (M#25) through No. 11 (M#36) bars

Where epoxy coated bars are used, lap length shall be increased by 50 percent.

2122.4.2 Splices of reinforcement shall be in accordance with TMS 402/ ACI 530/ ASCE 5. Lap splices, welded splices, or mechanical splices are permitted in accordance with the provisions of TMS 402/ ACI 530/ ASCE 5 Section 2.1.9.7. Welding shall conform to AWS D1.4.

2122.4.3 Lap splices shall be in accordance with TMS 402/ ACI 530/ ASCE 5, Section 2.1.9.7.1.1 with the modifications of Section 2122.4.1 to the factor y of Equation 2-12. In no case shall the length of the lapped splice be less than 48 bar diameters, but not less than 12 inches.

2122.4.4 Joint reinforcement. Horizontal joint reinforcement shall be provided at every other course. Joint reinforcement shall be a minimum of No. 9 gauge and shall comply with TMS 602/ACI 530.1/ ASCE 6 Sections 2.4C through 2.4F. Joint reinforcement shall be placed in accordance with TMS 602/ACI 530.1/ ASCE 6 Section 3.4 B.7.

2122.6.1 The minimum length of lap for deformed bars in grout, in tension or compression, shall be 48 bar diameters, but not less than 12 inches (305 mm).

2122.5.6.2 Concentrated loads. Concentrated loads shall be in accordance with TMS 402/ ACI 530/ ASCE 5 Sections 1.9.7.2 and 2.1.8 and shall not be assumed distributed across continuous vertical joints, including stack bond joints, unless reinforcing elements are designed and provided to distribute such loads.

2122.6 .6.3 Reinforced masonry bearing walls.  Reinforced masonry bearing walls shall have a nominal thickness of at least 1/30 of the unsupported height or width, whichever is the shorter, but not less than 8 inches (203 mm).

2122.7 6.4 Anchorage requirements.  Anchorage shall be in accordance with TMS 402/ ACI 530/ ASCE 5. Loading shall comply with TMS 402/ ACI 530/ ASCE 5 Section 1.7 and the following.

2122.7.1 6.4.1 Reinforced masonry walls shall be securely anchored to adjacent structural members such as roofs, floors, columns, pilasters, buttresses and intersection walls.

2122.7.2 6.4.2 Masonry walls shall be anchored to all floors and roofs that provide lateral support to such walls.

2122.7.3  6.4.3 Such anchorage shall provide a positive direct connection capable of resisting the horizontal forces as required in Chapter 16 (High-Velocity Hurricane Zones), or a minimum force of 200 pounds per lineal foot (2919 N/m) of wall, whichever is greater.

2122.7.4  .6.4.4 Required anchors shall be embedded in reinforced grouted cells.  Anchor bolts shall be installed in accordance with TMS 602/ ACI 530.1/ ASCE 6 Section 3.4 D.

2122.7.5 6.4.5 Wood framing connected by nails shall not be considered as acceptable anchorage.

2122.8 6.5 Mortar and grout.

2122.8.1 Mortar materials shall comply with TMS 602/ ACI 530.1/ ASCE 6 Section 2.1. Grout materials shall comply with TMS 602/ ACI 530.1/ ASCE 6 Section 2.2.

2122.8.2 6.5.1 Vertical cells to be grouted shall provided vertical alignment sufficient to maintain clear, unobstructed, continuous, vertical cores measuring not less than 2 ½ inches by 3 inches (51 mm by 76 mm) for fine aggregate  grout and 3 inches by 3 inches for coarse aggregate grout as defined by ASTM C 476. The architect or engineer may specify other grout space sizes which shall be permitted provided they comply with TMS 402/ ACI 530/ ASCE 5 Section 1.19 and TMS 602/ ACI 530.1/ ASCE 6 Section 3.5C.

[S4631]

2122.8.3 Placing of mortar and masonry units shall comply with TMS 602/ ACI 530.1/ ASCE 6 Section 3.3.

2122.8.4 Grout placement. Grout placement shall be in accordance with TMS 402/ ACI 530/ ASCE 5 and TMS 602/ ACI 530.1/ ASCE 6.

2122.8.5 6.5.2 Vertical grout barriers or dams of solid masonry spaced not more than 25 feet (7.6 mm) apart shall be provided across the grout space in the entire height of the wall to control the flow of grout horizontally. Confinement. Confine grout to the areas

indicated on the Project Drawings. Use material to confine

grout that permits bond between masonry units and mortar.

2122.8.6 6.5.3 Grout shall be a plastic mix having a maximum slump of 9 inches +/-1 inch (229 +/-25 mm) Unless otherwise required, mix grout other than self-consolidating grout to a consistency that has a slump between 8 and 11 in. (203 and 279 mm). Self-consolidating grout shall comply with TMS 602/ ACI 530.1/ ASCE 6.

2122.8.7 6.5.4 Grout shall be placed before any initial set has occurred, but in no case more than 1-1/2 hours after the mix-designed water has been added.

2122.8.8  6.5.5 Grouting shall be a continuous operation in lifts not exceeding  4  5 feet (1.5 m) and a maximum pour of 12 feet  8 inches (3.8 m). Grout placement shall comply with TMS 602/ ACI 530.1/ ASCE 6.

2122.8.9 6.5.6 Grouting shall be consolidated between lifts by puddling, rodding or mechanical vibration.

2122.8.10  6.5.7 The grouting of any section of wall between control barriers shall be completed in one operation with no interruptions exceeding 1 hour. Grout keys shall be formed between grout pours. Grout keys shall be formed between grout lifts when the first lift is permitted to set prior to placement of the subsequent lift.

1. Form a grout key by terminating the grout a minimum of 1½ in. (38.1 mm) below a mortar joint.

2. Do not form grout keys within beams.

3. At beams or lintels laid with closed bottom units, terminate the grout pour at the bottom of the beam or lintel without forming a grout key.

2122.9 6.6 Bearing. Precast floor and roof units supported on masonry walls shall provide minimum bearing of 3 inches (76 mm) and anchorage in accordance with Section 2122.7  6.4.

2122.10  6.7 Protection of masonry. Unfinished work shall be stopped back for joining with new work; toothing being permitted only with the approval of the special inspector. Intersecting walls. Intersecting walls shall comply with TMS 402/ ACI 530/ ASCE 5 Section 1.9.4.

[4135]