## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 1601 | 10 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:06 | a | a
2 | 1616 | 10 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-15 14:27 | a | a
3 | 1654 | 20 | Revision | POLYGLASS USA | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-16 15:13 | a | a
4 | 2533 | 17 | Revision | CertainTeed Corporation-Roofing | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-29 15:40 | a | a
5 | 3443 | 20 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:14 | a | a
6 | 3915 | 21 | Revision | Soprema, Inc. | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-16 17:26 | a | a
7 | 4599 | 4 | Revision | Garrison Design & Construction | Structural Components | Roof Deck | Recommend Approval | 2016-01-20 10:24 | a | a
8 | 5293 | 25 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 14:23 | a | a
9 | 5587 | 11 | Revision | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-01-20 10:43 | a | a
10 | 6267 | 12 | Revision | GAF | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-19 19:25 | a | a
11 | 9777 | 8 | Revision | Owens Corning | Roofing | Underlayments | Recommend Approval | 2016-02-17 15:15 | a | a
12 | 10182 | 5 | Revision | Kawneer Company, Inc. | Windows | Casement | Recommend Approval | 2016-02-18 23:00 | a | a
13 | 10845 | 4 | Revision | Kawneer Company, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-01-15 13:31 | a | a
14 | 11668 | 3 | Revision | Garrison Design & Construction | Roofing | Metal Roofing | Recommend Approval | 2016-02-14 14:39 | a | a
15 | 12155 | 2 | Revision | Four Seasons Solar Products LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-15 12:25 | a | a
16 | 12295 | 4 | Revision | Four Seasons Solar Products LLC | Windows | Horizontal Slider | Recommend Approval | 2016-02-19 15:03 | a | a
17 | 12299 | 2 | Revision | Four Seasons Solar Products LLC | Windows | Casement | Recommend Approval | 2016-02-09 14:43 | a | a
18 | 12991 | 1 | Revision | Worldwide Door Components, Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:09 | a | a
19 | 13433 | 7 | Revision | YKK AP America | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-19 14:01 | a | a
20 | 14083 | 14 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 15:11 | a | a
21 | 14165 | 7 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 21:28 | a | a
22 | 14207 | 14 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-18 09:58 | a | a
23 | 14217 | 5 | Revision | YKK AP America | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-16 17:24 | a | a
24 | 14318 | 7 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-14 10:45 | a | a
25 | 14428 | 3 | Revision | Derby Building Products Inc. | Panel Walls | Siding | Recommend Approval | 2016-02-03 10:07 | a | a
26 | 15033 | 1 | Revision | CertainTeed Insulation | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 19:48 | a | a
27 | 15076 | 4 | Revision | Global Protection Products, LLC. | Shutters | Storm Panels | Recommend Approval | 2016-01-24 15:19 | a | a
28 | 15514 | 3 | Revision | Majestic Entries, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-01-24 15:32 | a | a
29 | 15892 | 10 | Revision | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-02-08 21:31 | a | a
30 | 15894 | 12 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 09:53 | a | a
31 | 16438 | 4 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 19:04 | a | a
32 | 16440 | 10 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-05 16:13 | a | a
33 | 16441 | 2 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-05 16:22 | a | a
34 | 16442 | 4 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-05 16:46 | a | a
35 | 16443 | 10 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-02 21:36 | a | a
36 | 16548 | 2 | Revision | Kawneer Company, Inc. | Panel Walls | Curtain Walls | Recommend Approval | 1899-12-31 | a | a
37 | 16730 | 12 | Revision | GAF | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-15 21:11 | a | a
38 | 16851 | 4 | Revision | NewSouth Window Solutions | Windows | Single Hung | Recommend Approval | 2016-02-01 10:12 | a | a
39 | 16854 | 5 | Revision | Doers Window Manufacturing, LLC | Windows | Single Hung | Recommend Approval | 2016-02-16 13:11 | a | a
40 | 16880 | 2 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 11:58 | a | a
41 | 16972 | 4 | Revision | Atrium Companies Inc. | Windows | Mullions | Recommend Approval | 2016-02-16 12:56 | a | a
42 | 17682 | 1 | Revision | Aldora Aluminum and Glass Products inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-18 18:47 | a | a
43 | 17872 | 0 | New | Lott's Concrete Products | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval | 2016-02-19 13:03 | a | a
44 | 18474 | 1 | Editorial Change | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-08 21:22 | a | a
45 | 18504 | 1 | Revision | MI Windows and Doors | Windows | Mullions | Recommend Approval | 2016-02-19 21:29 | a | a
46 | 18650 | 0 | New | Vertech Fenexpert Corp. USA | Panel Walls | Storefronts | Recommend Approval | 2016-02-19 21:30 | a | a
47 | 18652 | 1 | Revision | Solaro Energy, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-18 15:42 | a | a
48 | 19130 | 2 | Revision | Royal Building Products | Panel Walls | Siding | Recommend Approval | 2016-02-19 14:05 | a | a
49 | 19626 | 1 | Revision | Physical Security, LLC | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-16 15:10 | a | a
50 | 19679 | 0 | New | Eye Protect 2, LLC | Shutters | Storm Panels | Recommend Approval | 2016-02-16 15:12 | a | a
51 | 19715 | 2 | Revision | Silverline Building Products Corp. | Windows | Single Hung | Recommend Approval | 2016-01-05 11:27 | a | a
52 | 19947 | 4 | Revision | Soprema, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-15 14:30 | a | a
53 | 19978 | 1 | Revision | Tecnoglass LLC. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:08 | a | a
54 | 20153 | 1 | Revision | Endura Products | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-01-14 22:00 | a | a
55 | 20393 | 1 | Revision | Tubelite Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-01-19 19:18 | a | a
56 | 20700 | 1 | Revision | Fenex Corp M.D., Inc. | Windows | Fixed | Recommend Approval | 2016-01-14 22:23 | a | a
57 | 20742 | 1 | Revision | Plycem USA LLC | Panel Walls | Siding | Recommend Approval | 2016-01-19 18:59 | a | a
58 | 21036 | 0 | New | Atrium Companies Inc. | Windows | Single Hung | Recommend Approval | 2016-02-16 11:48 | a | a
59 | 21059 | 0 | New | Atrium Companies Inc. | Windows | Fixed | Recommend Approval | 2016-02-15 14:25 | a | a
60 | 21067 | 2 | Revision | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-19 12:40 | a | a
61 | 21069 | 1 | Revision | Royal Building Products | Panel Walls | Siding | Recommend Approval | 2016-02-29 18:48 | a | a
62 | 21144 | 1 | Revision | Windoor Incorporated | Windows | Mullions | Recommend Approval | 2015-12-31 14:24 | a | a
63 | 21348 | 1 | Revision | SIW Impact Windows, LLC. | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-16 08:23 | a | a
64 | 21367 | 1 | Revision | Architectural Metal Flashings, LLC | Roofing | Metal Roofing | Recommend Approval | 2016-02-19 14:35 | a | a
65 | 21384 | 0 | New | Commercial Door Systems | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 08:37 | a | a
66 | 21444 | 0 | New | Elite Solar Systems, Inc. | Sky Lights | Skylight | Recommend Approval | 2016-02-12 15:47 | a | a
67 | 21463 | 0 | New | Sun Metals Systems, Inc. | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-13 15:47 | a | a
68 | 21464 | 0 | New | Miami Tech, Inc. | Structural Components | Pre-engineered AC Stands | Recommend Approval | 2016-02-14 15:47 | a | a
69 | 21471 | 1 | Revision | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-15 15:47 | a | a
70 | 21559 | 0 | New | PennBarry | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-17 15:47 | a | a
71 | 21583 | 0 | New | MQ Window and Door | Windows | Mullions | Recommend Approval | 2016-02-19 15:47 | a | a
72 | 21670 | 0 | New | Eco Window Systems | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-21 15:47 | a | a
73 | 21674 | 0 | New | KP Building Products Inc | Panel Walls | Siding | Recommend Approval | 2016-02-22 15:47 | a | a
74 | 21677 | 0 | New | UNION CORRUGATING COMPANY | Roofing | Metal Roofing | Recommend Approval | 2016-02-23 15:47 | a | a
75 | 21678 | 0 | New | Spirco Manufacturing | Structural Components | Roof Deck |  | 2016-02-24 15:47 | a | a
76 | 21684 | 0 | New | SIW Impact Windows, LLC. | Windows | Fixed | Recommend Approval | 2016-02-25 15:47 | a | a
77 | 21696 | 0 | New | Air Master Awning, LLC | Windows | Mullions | Recommend Approval | 2016-02-26 15:47 | a | a
78 | 21699 | 0 | New | Master Panel, S.L. | Roofing | Metal Roofing | Recommend Approval | 2016-02-27 15:47 | a | a
79 | 21703 | 0 | New | RESISTO, a division of Soprema, Inc. | Roofing | Underlayments | Recommend Approval | 2016-02-28 15:47 | a | a
80 | 21707 | 0 | New | The Muhler Company Inc | Windows | Products Introduced as a Result of New Technology | Recommend Approval | 2016-02-29 15:47 | a | a
81 | 21711 | 0 | New | Origin USA, Inc. | Windows | Mullions | Recommend Approval | 2016-03-01 15:47 | a | a
82 | 21832 | 0 | New | Reilly Windows & Doors | Windows | Awning | Recommend Approval | 2016-03-03 15:47 | a | a
83 | 21833 | 0 | New | Reilly Windows & Doors | Windows | Fixed | Recommend Approval | 2016-03-04 15:47 | a | a
84 | 21835 | 0 | New | E.S. Windows, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-05 15:47 | a | a
85 | 21840 | 0 | New | Andersen Corporation | Windows | Casement | Recommend Approval | 2016-03-06 15:47 | a | a
86 | 21841 | 0 | New | CertainTeed Corporation-Roofing | Roofing | Underlayments | Recommend Approval | 2016-03-07 15:47 | a | a
87 | 21842 | 0 | New | Rhino Linings Corp | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-03-08 15:47 | a | a
88 | 21843 | 0 | New | EDM USA, Inc. | Panel Walls | Siding | Recommend Approval | 2016-03-09 15:47 | a | a
89 | 21844 | 0 | New | Assura Windows & Doors | Windows | Mullions | Recommend Approval | 2016-03-10 15:47 | a | a
90 | 21845 | 0 | New | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-03-11 15:47 | a | a
91 | 21846 | 0 | New | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-03-12 15:47 | a | a
92 | 21847 | 0 | New | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-03-13 15:47 | a | a
93 | 21848 | 0 | New | Assura Windows & Doors | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-03-14 15:47 | a | a
94 | 21850 | 0 | New | Assura Windows & Doors | Windows | Horizontal Slider | Recommend Approval | 2016-03-16 15:47 | a | a
95 | 21852 | 0 | New | MasterGrain | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-18 15:47 | a | a
96 | 21854 | 0 | New | Ingersoll Rand | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval | 2016-03-20 15:47 | a | a
97 | 21855 | 0 | New | Assura Windows & Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-21 15:47 | a | a
98 | 21856 | 0 | New | Special-Lite, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-03-22 15:47 | a | a
99 | 21857 | 0 | New | Assura Windows & Doors | Windows | Single Hung | Recommend Approval | 2016-03-23 15:47 | a | a
100 | 21858 | 0 | New | CENTRIA | Structural Components | Roof Deck | Recommend Approval | 2016-03-24 15:47 | a | a
101 | 21859 | 0 | New | CENTRIA | Structural Components | Structural Wall | Recommend Approval | 2016-03-25 15:47 | a | a
102 | 21860 | 0 | New | Vertech Fenexpert Corp. USA | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-03-26 15:47 | a | a
103 | 21861 | 0 | New | CROCI NORTH AMERICA | Shutters | Colonial | Recommend Approval | 2016-03-27 15:47 | a | a
104 | 21863 | 0 | New | CROCI NORTH AMERICA | Shutters | Bahama | Recommend Approval | 2016-03-28 15:47 | a | a
105 | 21867 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-03-31 15:47 | a | a
106 | 21868 | 0 | New | Reilly Windows & Doors | Windows | Casement | Recommend Approval | 2016-04-01 15:47 | a | a
107 | 21871 | 0 | New | Wausau Window and Wall Systems | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-04-02 15:47 | a | a
108 | 21875 | 0 | New | E.S. Windows, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-04-03 15:47 | a | a
109 | 21878 | 0 | New | Assura Windows & Doors | Windows | Fixed | Recommend Approval | 2016-04-04 15:47 | a | a
110 | 21890 | 0 | New | E.S. Windows, Inc. | Panel Walls | Curtain Walls | Recommend Approval | 2016-04-05 15:47 | a | a
111 | 21891 | 0 | New | MILLWORK 360 | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-04-06 15:47 | a | a
112 | 21893 | 0 | New | Pan Urania SpA | Panel Walls | Products Introduced as a Result of New Technology | Recommend Approval | 2016-04-07 15:47 | a | a
113 | 21894 | 0 | New | Air Master Awning, LLC | Windows | Single Hung | Recommend Approval | 2016-04-08 15:47 | a | a
114 | 21895 | 0 | New | Sentry Building Innovations | Roofing | Underlayments | Recommend Approval | 2016-04-09 15:47 | a | a
115 | 21898 | 0 | New | Assura Windows & Doors | Windows | Casement | Recommend Approval | 2016-04-10 15:47 | a | a
116 | 21899 | 0 | New | EGS International, LLC | Panel Walls | Storefronts | Recommend Approval | 2016-04-11 15:47 | a | a
117 | 21903 | 0 | New | DAP Foam, Inc. (formerly Convenience Products) | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-04-11 15:47 | a | a
118 | 21905 | 0 | New | Windsor Windows and Doors | Windows | Mullions | Recommend Approval | 2016-04-12 15:47 | a | a
119 | 21907 | 0 | New | Sierra Pacific Windows | Windows | Double Hung | Recommend Approval | 2016-04-14 15:47 | a | a
120 | 21908 | 0 | New | Sierra Pacific Windows | Windows | Fixed | Recommend Approval | 2016-04-15 15:47 | a | a
Test Report
121 | 20446 | 1 | Revision | Kawneer Company, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-02-16 15:58 | a | a
122 | 21652 | 0 | New | Gardner Asphalt Corp. | Roofing | Underlayments | Recommend Approval | 2016-01-30 09:43 | a | a
123 | 21702 | 0 | New | Beach Metal Roofing Supply | Roofing | Metal Roofing | Recommend Approval |  | a | a
COMMENTS
Architect and Engineer Evaluation Method
124 | 2291 | 9 | Revision | Four Seasons Building Products | Roofing | Products Introduced as a Result of New Technology | Recommend Approval |  | a | a
|  |  | J.Palencia's Comment-Miami-Dade | MDC -TAS 202 testing not provided.
|  |  | R.Neet's Response | We have been able to get approval in HVHZ on this product by limiting to non-habitable areas only (see General Note #2 of drawing). This note also applies to FL21853 which you have the same comment
|  |  | POC recommendation | POC recommends approval based on the applicant's clarification.
125 | 5822 | 4 | Revision | Smart Vent Products, Inc. | Structural Components | Products Introduced as a Result of New Technology | Recommend Approval |  | a | a
|  |  | J.Palencia's Comment-Miami-Dade | For FL5822.1,.2,.3,.4,.5,.6,.7 and.8 MDC - Add note indicating vents are not impact resistant. Size and location to be reviewed by building official.
|  |  | S.Moore's response | Our response is as follows: Products under FL5822 are marked as “Impact Resistant: N/A”, neither “Yes” or “No” would be the appropriate selection, as the products are exempt from impact resistance requirements as detailed on the uploaded document. Additionally size and location to be reviewed by building official is an industry standard. Therefore no revisions to the application should be necessary
|  |  | POC recommendation | POC recommends approval based on the applicant's clarification.
126 | 9951 | 4 | Revision | Reilly Windows & Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
|  |  | J.Palencia's Comment-Miami-Dade | For FL9951.1 and .2; MDC- Please clarify minimum size of stiles, rails, and jambs.
|  |  | R.Lomas's response | For .1, in pages 4 and 6 there are details of the door components For .2 in pages 5 and 6 there are details of the door components as far as we can tell, the details in each drawing show the minimum size of stiles, rails and jambs.
|  |  | POC recommendation | POC recommends approval based on the applicant's clarification.
127 | 12109 | 2 | Revision | Four Seasons Solar Products LLC | Structural Components | Structural Wall | Recommend Approval |  | c | c
|  |  | J.Palencia's Comment-Miami-Dade | MDC- Design pressure on sheet 1 conflicts with sheet 5. Panel/extrusion dimension, material, and span not specified on drawings. Please identify fasteners at top and bottom (sheet 6 and 9).
|  |  | J. Cano's Response | We would like to request a conditional approval for product approval # FL12109-R2.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to correct the application to specify Panel/extrusion dimension, material, and span on drawings sheet 5 and identify fasteners at top and bottom (sheet 6 and 9).
128 | 14969 | 3 | Revision | Worldwide Door Components, Inc | Exterior Doors | Exterior Door Components | Recommend Approval |  | c | c
|  |  | J.Palencia's Comment-Miami-Dade | For FL14969.2; MDC - Please add note indicating "air and water infiltration qualifications to be reviewed by building official".
|  |  | R.Wright's Response | Note 7 under General Notes on sheet 1 of 7 addresses the MDC concern. It is my understanding that the local BO always compares the component that is being substituted to insure that the system approval submitted in conjunction with the component approval is compatible and any limitations from the system approval will carry over to the component approval. If the system approval does not meet water infiltration then the component approval cannot meet water infiltration. If required we will be glad to add the redundant note.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to indicate "air and water infiltration qualifications to be reviewed by building official".
129 | 15903 | 3 | Revision | Sun Metals Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | J.Palencia's Comment-Miami-Dade | For FL15903 .1 and .2; MDC -Please identify aluminum extrusion type and temper. Also, please clarify orientation of insulated glass.
|  |  | E.Vanhorn's response | Per our discussion, I am requesting conditional approval of the application as it is currently posted in the product approval system.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to identify aluminum extrusion type and temper and orientation of insulated glass.
130 | 16708 | 6 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
|  |  | J.Palencia's Comment-Miami-Dade | For FL16708.1,.2,.3,.4,.5,.6,.7 and .8; MDC - Please clarify minimum thickness of fiberglass and strength properties. Clarify minimum stile and rail size and clarify panel foam core.
|  |  | J.Kantola's response | The exact construction of our door slab is not something we feel should be shared for public consumption in the installation document. The Florida PE, evaluation entity, quality assurance entity and Florida state approval office have this information available to them for verification as to meeting the 5th Edition of the Florida Building Code.
|  |  | POC recommendation | POC recommends approval based on the applicant's clarification.
131 | 17152 | 2 | Revision | CERAMICA VEREA, S.A. | Roofing | Roofing Tiles | Recommend Approval |  | c | c
|  |  | J.Palencia's Comment-Miami-Dade | MDC - 3M Adhesive listed in the evaluation report no longer exists.
|  |  | M.Menendez's response | I wanted to help try to clarify this. The foam that is used is and and has always been used is the POLYSET AH 160. It was originally introduced by POLYFOAM PRODUCTS. 3M acquired POLYFOAM in 2008 and continued to market the foam under their name. Last year 3M sold its foam division to ICP. Please see http://news.3m.com/press-release/company/3m-sell-pressurized-polyurethane-foam-adhesives-business
|  |  | M.Blas's Response | In answer to your e-mail, I ask for conditional approval to make the correction on the installation instructions.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to indicate ICP on the installation instructions instead of 3M.
132 | 17322 | 2 | Revision | Atlas Roofing Corporation | Roofing | Underlayments | Recommend Approval |  | c | c
|  |  | J.Palencia's Comment-Miami-Dade | MDC - 3M Adhesive listed in the evaluation report no longer exists.
|  |  | Z.Priest's response | We would like tor equest conditional approval so the adhesive may be updated to reflect the correct name and manufacturer.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to reflect the correct name and manufacturer for adhesive.
133 | 19987 | 1 | Revision | American Metals, LLC | Roofing | Metal Roofing | Recommend Approval |  | c | c
|  |  | Johne Marie's comment | We would like to request conditional approval to upload the document with the typo corrected on the application.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to upload the document with the typo corrected on the application.
134 | 20814 | 1 | Editorial Change | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Curtain Walls | Recommend Approval |  | a | a
|  |  | J.Palencia's Comment-Miami-Dade | For FL20814.1 and .2; MDC - Please indicate compliance with AAMA 501.
|  |  | T.Groves Response | The compliance with AAMA 501 is already addressed in the Equivalency of Standards Evaluation in our application.
|  |  | POC recommendation | POC recommends approval based on the applicant's clarification.
135 | 20869 | 1 | Revision | Reilly Windows & Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | J.Palencia's Comment-Miami-Dade | For FL20869.1 through.4; MDC - Please clarify minimum size of stiles, rails, and jambs.
|  |  | R.Lomas's response | line items 3 and 4 have components details in the installation drawing. For line items 1 and 2, we would like to ask a conditional approval, so that components details may be added to show the size of stiles, rails and jambs.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to add the components details to show the size of stiles, rails and jambs for line items 1 and 2.
136 | 20890 | 0 | New | Coral Industries, Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a | a
|  |  | J.Palencia's Comment-Miami-Dade | MDC - Clarify door DLO height. On sheet 16, please clarify door opening vs. daylight opening (DLO). Please clarify exterior lite orientation for insulated glass.
|  |  | W.Smith's Response | Pursuant to the questions below on page 16 of our approval FL20890 we make the following comments 1. DLO is less the top and bottom rails to establish same as shown on page 8 of 16 2. Sacrificial lite is orientated to the exterior as shown on same page 16 of 18 for insulated
|  |  | POC recommendation | POC recommends approval based on the applicant's clarification.
137 | 21556 | 0 | New | MQ Window and Door | Windows | Dual Action | Recommend Approval |  | c | c
|  |  | J.Palencia's Comment-Miami-Dade | MDC -Per test report G118-1109-06, the 64"Wx84"H casement window with two operable panels was only tested to +60,-70 psf with water pressure at 9 psf. Glass change from annealed to heat strenghtened on laminated glass in Glazing Types 1, 1a, 2, 2a not permitted without testing of additional specimens.
|  |  | S.Wolter's response | We request a conditional approval for this submittal based on the following conditions: We will revise the drawings to limit the double casement to +60/-70 psf. We will delete glass type 2 and 2a, and add the correct tested glass type 3a (1" insulated laminated - 5/32" annealed / 3/8" air space / 5/32" annealed / 0.75" Saflex CP / 5/32" annealed).
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to limit the double casement to +60/-70 psf., delete glass type 2 and 2a, and add the correct tested glass type 3a (1" insulated laminated - 5/32" annealed / 3/8" air space / 5/32" annealed / 0.75" Saflex CP / 5/32" annealed).
138 | 21576 | 1 | Revision | La Finestra, LC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-18 15:47 | c | c
|  |  | J.Palencia's Comment-Miami-Dade | MDC - Sheets 3, 4, 5: Please remove ASTM E1300-12 as it is not adopted. Sheet 2: Please limit alternate frame size to the tested frame area per FBC 2411.3.2.4 (i)(1).
|  |  | J. Cano's Response | We would like to request a conditional approval for product approval # FL21576-R1.
|  |  | POC recommendation | POC recommends conditional approval to just allow the applicant to limit alternate frame size to the tested frame area per FBC 2411.3.2.4 (i)(1) since ASTM E 1300-12 was already adrressed in the Equivalency of Standards Evaluation on the application.
139 | 21662 | 0 | New | OMG - FastenMaster | Structural Components | Anchors | Recommend Approval |  | a | a
|  |  | J.Palencia's Comment-Miami-Dade | MDC - Not tested per TAS 114, Appendix E.
|  |  | L.Wainright's response | See below for clear text.
|  |  | POC recommendation | POC recommends approval based on the applicant's clarification.
140 | 21831 | 0 | New | Reilly Windows & Doors | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-18 15:47 | c | c
|  |  | J.Palencia's Comment-Miami-Dade | MDC - Please clarify stiles, rails, jamb size, and material.
|  |  | R.Lomas's response | We would like to request a conditional approval in order to add components information to the drawing.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to add components information to the drawing.
141 | 21849 | 0 | New | Assura Windows & Doors | Windows | Horizontal Slider | Recommend Approval | 2016-02-18 15:47 | c | c
|  |  | J.Palencia's Comment-Miami-Dade | MDC - Provide note indicating that type A1 glass is not permitted at elevations above 30'.
|  |  | Y.Poyato's response | FL 21849.1- If necessary, the note “Not permitted at elevations above 30 feet” will be added to the drawings next to glass type A1.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to indicate "type A1 glass is not permitted at elevations above 30' ".
142 | 21851 | 0 | New | Assura Windows & Doors | Windows | Single Hung | Recommend Approval | 2016-02-18 15:47 | c | c
|  |  | J.Palencia's Comment-Miami-Dade | For FL21851.1; MDC - Sheet 2: Provide note indicating that type A1 and B1 glass are not permitted at elevations abvoe 30'.
|  |  | Y.Poyato's response | FL 21851.1: If necessary, the note “Not permitted at elevations above 30 feet” will be added to the drawings next to glass types A1 and B1.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to indicate "A1 and B1 glass types are not permitted at elevations above 30' ".
143 | 21853 | 0 | New | L.K. Aluminum | Roofing | Products Introduced as a Result of New Technology | Recommend Approval |  | a | a
|  |  | J.Palencia's Comment-Miami-Dade | “MDC -TAS 202 testing not provided.”
|  |  | R.Neet's Response | We have been able to get approval in HVHZ on this product by limiting to non-habitable areas only (see General Note #2 of drawing).
|  |  | POC recommendation | POC recommends approval based on the applicant's clarification.
144 | 21864 | 0 | New | Assura Windows & Doors | Windows | Fixed | Recommend Approval |  | c | c
|  |  | J.Palencia's Comment-Miami-Dade | For FL21864.2; MDC - Sheet 2: Provide note indicating that type A1 and B1 glass are not permitted at elevations abvoe 30'.
|  |  | Y.Poyato's response | FL 21864.2: If necessary, the note “Not permitted at elevations above 30 feet” will be added to the drawings next to glass types A1 and B1.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to indicate "A1 and B1 glass types are not permitted at elevations above 30' ".
145 | 21866 | 0 | New | Dorma USA, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval |  | c | c
|  |  | J.Palencia's Comment-Miami-Dade | For FL21866 .2 and .4; MDC - Sheet 1, General Note 8: Please specify impact resistant system is required for installation in HVHZ areas.
|  |  | J. Cano's Response | We would like to request a conditional approval for product approval # FL21866.
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to specify impact resistant system is required for installation in HVHZ areas as Sheet 1, General Note 8.
146 | 21906 | 0 | New | Porcelanosa | Panel Walls | Siding | Recommend Approval |  | c | c
|  |  | J.Palencia's Comment-Miami-Dade | MDC - Provide water barrier on frame walls per FBC 1404.2.
|  |  | V.Bencid's response | As requested, please find below our response to public comments: This product approval is generic and does not provide information for site specific project engineering (i.e. life safety of this product, adequacy of structure receiving this product, and sealing around opening for water infiltration resistance, etc.) conditions not shown and are to be analyzed separately and to be reviewed by a Building official. For this type of product, in reference to the FBC 1404.2, we typically include a note on the drawings to this effect, which can be included in the final version uploaded to the FBC website. We hope that with the above response the application will meet your approval
|  |  | POC recommendation | POC recommends conditional approval to allow the applicant to add a note on the drawing to address compliance with FBC 1404.2.