## Sheet1
ID | Manufacturer | Category | Subcategory | TBA | POC | FBC | Comments
Evaluation by Engineer/ Architect Method - POC Recommends Approval
389-R5 | American Shutter Systems Association, Inc. | Shutters | Accordion | a | a |  | Recommend Approval | Revision
400-R4 | American Shutter Systems Association, Inc. | Shutters | Roll-up | a | a |  | Recommend Approval | Editorial Change
872-R4 | Southern Extrusion, Inc | Shutters | Bahama | a | a |  | Recommend Approval | Revision
1779-R3 | Metals USA Building Products | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
1800-R6 | ADCO Products, Inc. | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | Revision
1850-R7 | American Shutter Systems Association, Inc. | Shutters | Accordion | a | a |  | Recommend Approval | Editorial Change
1999-R4 | ITW Building Components Group Inc. | Structural Components | Truss Plates | a | a |  | Recommend Approval | Revision
2355-R4 | Simpson Strong-Tie Co. | Structural Components | Anchors | a | a |  | Recommend Approval | Revision
2533-R7 | CertainTeed Corporation-Roofing | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | Revision
2773-R3 | KD Manufacturing | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
3072-R3 | Morton Buildings, Inc | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
3670-R3 | Alutech United, Inc. | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
3722-R4 | Steel Built Corp. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
3985-R5 | Steel Built Corp. | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
4077-R3 | Edco Products, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
4103-R5 | TAMKO Building Products, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
4205-R5 | Johns Manville | Roofing | Roofing Insulation | a | a |  | Recommend Approval | Editorial Change
4236-R2 | Dimensional Metals Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
4272-R3 | Columbia Aluminum Products, LLC | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
4525-R2 | Metal Building Supplies, LLC | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
4595-R2 | Tri-County Metals | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
4599-R2 | Garrison Design & Construction | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
4611-R2 | Charlotte Sheet Metal | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
4718-R2 | Metals USA Building Products | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
4930-R3 | Seaman Corporation | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
4953-R2 | Spilker Roofing and Sheet Metal | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
5016-R2 | Trinity Glass International | Windows | Fixed | a | a |  | Recommend Approval | Revision
5102-R2 | Ready Access Inc. | Windows | Pass Through | a | a |  | Recommend Approval | Revision
5191-R2 | Wheeling Corrugating Company | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
5211-R3 | MILLENNIUM METALS INC. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
5215-R3 | BITEC, INC. | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
5218-R1 | Thompson Architectural Metals Company, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
5219-R1 | Thompson Architectural Metals Company, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
5293-R5 | GAF | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
5335-R2 | Vulcan Steel Structures, Inc. | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
5346-R2 | Vulcan Steel Structures, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
5365-R2 | Metal Building Supplies, LLC | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
5500-R3 | Elite Aluminum Corporation | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
5587-R6 | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
5790-R8 | American Shutter Systems Association, Inc. | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
5852-R2 | Eustis Roofing Company | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
5889-R2 | Shwinco of Alabama, LLC. | Windows | Mullions | a | a |  | Recommend Approval | Revision
6067-R4 | Silverline Building Products Corp. | Windows | Mullions | a | a |  | Recommend Approval | Revision
6250-R2 | Morton Buildings, Inc | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
6278-R2 | Corle Building Systems | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
6282-R2 | Corle Building Systems | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
6332-R3 | 3M Company | Roofing | Roof Tile Adhesives | a | a |  | Recommend Approval | Revision
6364-R2 | BMP Metal Products-Bessemer | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
6696-R2 | Connell Sheet Metal & Trim, Inc. | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
6700-R2 | Connell Sheet Metal & Trim, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
6952-R2 | B & T Metal Works | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
6964-R3 | DBCI | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
7116-R2 | Best Shutter Company | Shutters | Accordion | a | a |  | Recommend Approval | Revision
7207-R2 | Streamline Roofing And Construction, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
7511-R3 | THERMO-KOOL | Structural Components | Exterior Coolers-Freezers | a | a |  | Recommend Approval | Revision
7559-R3 | MILLENNIUM METALS INC. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
7561-R2 | Elite Aluminum Corporation | Roofing | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
7621-R2 | Elite Aluminum Corporation | Roofing | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
7769-R2 | Coastal Shutter Systems International, Inc. | Shutters | Bahama | a | a |  | Recommend Approval | Revision
7770-R1 | Coastal Shutter Systems International, Inc. | Shutters | Colonial | a | a |  | Recommend Approval | Revision
8057-R2 | doorLink Manufacturing, Inc. | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
8071-R2 | doorLink Manufacturing, Inc. | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
8086-R2 | PERMATHERM, INC. | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
8248-R9 | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
8384-R2 | MarlynMetals, Incorporated | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
8393-R2 | MarlynMetals, Incorporated | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
8551-R2 | Eagle Window and Door, Inc | Windows | Casement | a | a |  | Recommend Approval | Revision
8554-R2 | Eagle Window and Door, Inc | Windows | Awning | a | a |  | Recommend Approval | Revision
8560-R2 | Eagle Window and Door, Inc | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
8637-R4 | StormWatch | Shutters | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
8646-R2 | Sunlast Metal | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
8763-R2 | Rollsecure | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
8845-R3 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
8872-R3 | Roller Star USA | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
8888-R3 | ASTA DOOR CORPORATION | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
8892-R2 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
8871-R4 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
8947-R2 | Palram Americas, Inc. | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
8954-R2 | Metal Building Supplies, LLC | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
9000-R2 | Berridge Manufacturing Co. | Panel Walls | Soffits | a | a |  | Recommend Approval | Revision
9102-R2 | Southern Extrusion, Inc | Shutters | Colonial | a | a |  | Recommend Approval | Revision
9104-R3 | Roller Star USA | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
9166-R6 | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
9284-R2 | BAKER METAL WORKS & SUPPLY, INC. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
9288-R2 | BAKER METAL WORKS & SUPPLY, INC. | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
9352-R2 | Roof Hugger | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
9356-R3 | CAT-5 Protection, Inc. | Shutters | Fabric Storm Panel | a | a |  | Recommend Approval | Revision
9390-R2 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
9443-R2 | Union Corrugating | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
9542-R2 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
9604-R6 | MGM Industries | Windows | Double Hung | a | a |  | Recommend Approval | Revision
9612-R3 | Morin - a Kingspan Company | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
9792-R4 | Atlas Roofing Corporation | Roofing | Asphalt Shingles | a | a |  | Recommend Approval | Revision
9860-R2 | Sentrigard Metal Roofing Systems-NBHandy COMP | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
9864-R2 | Sentrigard Metal Roofing Systems-NBHandy COMP | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
9942-R2 | Nucor - Vulcraft SC | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
9953-R2 | VEKA Inc. | Windows | Mullions | a | a |  | Recommend Approval | Revision
10006-R2 | Hope's Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10013-R2 | Metals USA Building Products | Roofing | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
10094-R3 | BAKER METAL WORKS & SUPPLY, INC. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
10098-R2 | Wincore Window Company, LLC | Windows | Mullions | a | a |  | Recommend Approval | Revision
10124-R6 | GAF | Roofing | Asphalt Shingles | a | a |  | Recommend Approval | Revision
10239-R2 | Eagle Window and Door, Inc | Windows | Double Hung | a | a |  | Recommend Approval | Revision
10319-R2 | Coastal Metal Roofing, Inc | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
10490-R2 | Sunlast Metal | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
10525-R1 | Clear Strength USA LLC | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
10537-R1 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10545-R2 | Alutech United, Inc. | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10550-R2 | Alutech United, Inc. | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10587-R1 | Shoreline Shutters, LC | Shutters | Colonial | a | a |  | Recommend Approval | Revision
10599-R2 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10674-R6 | Owens Corning | Roofing | Asphalt Shingles | a | a |  | Recommend Approval | Revision
10690-R1 | United Structures of America, Inc. | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
10736-R1 | Bobby James, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
10737-R5 | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10742-R2 | ASTA DOOR CORPORATION | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10764-R3 | Bigbee Steel Buildings | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
10792-R1 | JRFour Ltd. DBA Technical Glass Products | Panel Walls | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
10819-R5 | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10876-R1 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10884-R3 | Solatube International, Inc | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
10888-R1 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10930-R2 | Secure-Lite Window Company, Inc. | Shutters | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
10958-R5 | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10975-R4 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
11088-R1 | Shwinco of Alabama, LLC. | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
11130-R1 | Lifestyle Exterior Products, Inc | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
11233-R6 | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
11243-R3 | Bemo USA | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
11268-R1 | doorLink Manufacturing, Inc. | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
11288-R7 | CertainTeed Corporation-Roofing | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
11291-R3 | Storm Smart Industries | Shutters | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
11321-R1 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
11353-R1 | Elite Aluminum Corporation | Panel Walls | Storefronts | a | a |  | Recommend Approval | Revision
11356-R1 | Metals USA Building Products | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
11379-R1 | CAT5 Hurricane Screens, LLC. | Shutters | Fabric Storm Panel | a | a |  | Recommend Approval | Revision
11462-R1 | Berridge Manufacturing Co. | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
11480-R1 | Solatube International, Inc | Sky Lights | Skylight | a | a |  | Recommend Approval | Revision
11500-R1 | Best Shutter Company | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
11514-R1 | Taylor Building Products | Exterior Doors | Exterior Door Components | a | a |  | Recommend Approval | Revision
11526-R3 | Roller Star USA | Shutters | Accordion | a | a |  | Recommend Approval | Revision
11627-R1 | Elite Aluminum Corporation | Panel Walls | Storefronts | a | a |  | Recommend Approval | Revision
11650-R1 | Gulf Coast Supply & Manufacturing, LLC. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
11651-R1 | Gulf Coast Supply & Manufacturing, LLC. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
11668-R1 | Garrison Design & Construction | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
11753-R2 | Mid-America Door | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
11805-R1 | Wheeling Corrugating Company | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
11807-R1 | Wheeling Corrugating Company | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
11817-R1 | MILLENNIUM METALS INC. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
11819-R1 | MBCI, L.P. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
11903-R1 | MBCI, L.P. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
11919-R1 | MBCI, L.P. | Panel Walls | Soffits | a | a |  | Recommend Approval | Revision
12019-R4 | American Construction Metals | Panel Walls | Soffits | a | a |  | Recommend Approval | Editorial Change
12045-R2 | Lott's Concrete Products | Structural Components | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
12067-R1 | Atlantic Metal Extrusions, LLC | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
12099-R4 | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12114-R1 | Drexel Metals, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
12117-R2 | Simonton Windows | Windows | Mullions | a | a |  | Recommend Approval | Revision
12152-R1 | DBCI | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12167-R1 | DBCI | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12172-R1 | D7 Building Products, Inc. | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | Revision
12193-R2 | Marion Masonry Materials, Inc. | Structural Components | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
12231-R1 | Style Crest Inc. | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
12225-R1 | Elite Aluminum Corporation | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
12228-R1 | Morin - a Kingspan Company | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
12230-R1 | USDoor And Building Components | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12256-R1 | Metallic Products | Panel Walls | Wall Louver | a | a |  | Recommend Approval | Revision
12320-R3 | Alside Window Company | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12321-R3 | Gentek Building Products | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12322-R3 | Revere Building Products | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12323-R2 | Associated Materials Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12366-R2 | GAF | Roofing | Roofing Slate | a | a |  | Recommend Approval | Revision
12377-R1 | The Garland Company, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
12389-R1 | Guernsey Architectural Solutions | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
12510-R2 | PrimeSource Building Products, Inc. | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
12528-R1 | Rollac Shutter of Texas, Inc. | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
12549-R4 | Impact Technology, Inc. | Shutters | Accordion | a | a |  | Recommend Approval | Revision
12550-R2 | Advance Hurricane Technology Inc. | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
12590-R1 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12605-R1 | Atlantic Metal Extrusions, LLC | Shutters | Accordion | a | a |  | Recommend Approval | Revision
12647-R1 | Surewood Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12660-R1 | Windoor Incorporated | Exterior Doors | Exterior Door Components | a | a |  | Recommend Approval | Revision
12679-R1 | Leader Industries | Roofing | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
12730-R1 | Surewood Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12761-R2 | Florida Pre-Fab, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
12762-R1 | Varco Pruden Buildings, Div of BlueScope Buildings North America, Inc. | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
12763-R1 | Varco Pruden Buildings, Div of BlueScope Buildings North America, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
12764-R2 | Florida Pre-Fab, Inc. | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
12765-R1 | Janus International Corporation | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12793-R1 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12805-R1 | Metallic Products | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
12809-R4 | West Tampa Glass Company | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | Revision
12907-R1 | EFCO Corporation | Windows | Double Hung | a | a |  | Recommend Approval | Revision
12908-R1 | EFCO Corporation | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
12912-R2 | EFCO Corporation | Windows | Projected | a | a |  | Recommend Approval | Revision
12966-R2 | JM Metals (Innovative Distribution LLC) | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
13036-R1 | Aztec Steel Buildings Corp. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
13068-R1 | American Shutter Systems Association, Inc. | Windows | Mullions | a | a |  | Recommend Approval | Revision
13158-R1 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13168-R1 | TRU TECH DOORS USA | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13188-R1 | VEKA Inc. | Windows | Mullions | a | a |  | Recommend Approval | Revision
13271-R2 | Eastern Metal Supply | Shutters | Fabric Storm Panel | a | a |  | Recommend Approval | Revision
13275-R1 | Mitten Inc. | Panel Walls | Soffits | a | a |  | Recommend Approval | Revision
13364-R1 | USA Steel Buildings Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
13375-R1 | Hormann LLC | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13379-R1 | Precision Foam Fabricators | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
13381-R1 | Precision Foam Fabricators | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
13387-R1 | Buffelen Woodworking Co. | Windows | Fixed | a | a |  | Recommend Approval | Revision
13400-R1 | Dow Chemical | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
13402-R1 | MI Windows and Doors | Windows | Mullions | a | a |  | Recommend Approval | Revision
13442-R1 | Morin - a Kingspan Company | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
13448-R1 | Style Crest Inc. | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
13506-R1 | Roller Star USA | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13507-R1 | Atlantic Metal Extrusions, LLC | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13511-R1 | CROCI NORTH AMERICA | Shutters | Bahama | a | a |  | Recommend Approval | Revision
13574-R1 | Windoor Incorporated | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13576-R1 | Windoor Incorporated | Windows | Mullions | a | a |  | Recommend Approval | Revision
13578-R1 | All American Shutters and Glass | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
13579-R1 | All American Shutters and Glass | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
13580-R1 | All American Shutters and Glass | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
13624-R3 | CAL-ROYAL PRODUCTS INC. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13665-R1 | Morton Buildings, Inc | Panel Walls | Soffits | a | a |  | Recommend Approval | Revision
13672-R1 | MBCI, L.P. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
13691-R1 | Mai Doors by Distinctive Doors | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13701-R1 | Pella Entry Systems- Wylie Operations | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13706-R1 | BITEC, INC. | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | Revision
13715-R2 | Windoor Incorporated | Windows | Double Hung | a | a |  | Recommend Approval | Revision
13750-R1 | Chicago Clamp Company | Structural Components | Pre-engineered AC Stands | a | a |  | Recommend Approval | Revision
13754-R1 | East Coast Metal systems | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
13757-R2 | Town and Country Industries, | Shutters | Accordion | a | a |  | Recommend Approval | Revision
13758-R2 | Windoor Incorporated | Windows | Fixed | a | a |  | Recommend Approval | Revision
13783 | Four Seasons Solar Products LLC | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
13840-R1 | Hormann LLC | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13856-R1 | Windoor Incorporated | Windows | Dual Action | a | a |  | Recommend Approval | Revision
13882-R1 | Rolsafe | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13911-R1 | Ultratek Worldwide | Shutters | Fabric Storm Panel | a | a |  | Recommend Approval | Revision
13922-R3 | CAL-ROYAL PRODUCTS INC. | Exterior Doors | Exterior Door Components | a | a |  | Recommend Approval | Revision
13958-R2 | Complex Industries | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13961-R1 | Mai Doors by Distinctive Doors | Windows | Fixed | a | a |  | Recommend Approval | Revision
13963-R1 | Pella Entry Systems- Wylie Operations | Windows | Fixed | a | a |  | Recommend Approval | Revision
13987-R2 | CROCI NORTH AMERICA | Shutters | Accordion | a | a |  | Recommend Approval | Revision
13992-R1 | Mitten Inc. | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
14002-R1 | Liberty Building Systems | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
14003-R1 | Butler Manufacturing Company | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
14004-R1 | Varco Pruden Buildings, Div of BlueScope Buildings North America, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
14026-R1 | Central States Manufacturing, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
14037-R2 | MI Windows and Doors | Windows | Mullions | a | a |  | Recommend Approval | Revision
14078-R1 | Ultratek Worldwide | Shutters | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
14079-R1 | ITW Building Components Group Inc. | Structural Components | Wood Connectors | a | a |  | Recommend Approval | Revision
14235-R2 | Town and Country Industries, | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
14247-R1 | FRP Lite - Simon Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14299-R2 | Owens Corning | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
14317-R2 | Boral Roofing / MonierLifetile | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
14321-R1 | Broan-NuTone, LLC. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
14322-R2 | TAMKO Building Products, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
14380-R1 | MGM Industries | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
14418-R1 | Hormann LLC | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14425-R1 | Janus International Corporation | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14432-R1 | ASTA DOOR CORPORATION | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14490-R1 | EFCO Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14511-R1 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14513-R1 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14551-R2 | Fib-R-Dor, A Division of Chase Industries, inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14562-R2 | Sentinel Storm Protection | Shutters | Fabric Storm Panel | a | a |  | Recommend Approval | Revision
14620-R1 | MBCI, L.P. | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
14622-R1 | MBCI, L.P. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
14627-R1 | EFCO Corporation | Windows | Single Hung | a | a |  | Recommend Approval | Revision
14628-R1 | EFCO Corporation | Windows | Casement | a | a |  | Recommend Approval | Revision
14632-R1 | Eastern Architectural Systems | Windows | Mullions | a | a |  | Recommend Approval | Revision
14661-R2 | Pella Corporation | Windows | Mullions | a | a |  | Recommend Approval | Revision
14669-R1 | Berridge Manufacturing Co. | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
14670-R1 | Windoor Incorporated | Windows | Mullions | a | a |  | Recommend Approval | Revision
14680-R1 | E. F. San Juan | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14758-R1 | Roller Star USA | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
14789-R1 | Underlayment Specialties Plus | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
14807-R1 | Malarkey Roofing Products | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
14809-R1 | Malarkey Roofing Products | Roofing | Asphalt Shingles | a | a |  | Recommend Approval | Revision
14811-R1 | Norwood Windows | Windows | Casement | a | a |  | Recommend Approval | Revision
14815-R1 | Norwood Windows | Windows | Awning | a | a |  | Recommend Approval | Revision
14817-R1 | Norwood Windows | Windows | Single Hung | a | a |  | Recommend Approval | Revision
14826-R2 | Solatube International, Inc | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
14831-R1 | EFCO Corporation | Windows | Fixed | a | a |  | Recommend Approval | Revision
14834-R1 | Kingspan Insulated Panels | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
14872-R1 | sterling design and construction inc | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
14938 | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
14947 | TRULITE GLASS & ALUMINUM SOLUTIONS | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
14964 | Silverline Building Products Corp. | Windows | Awning | a | a |  | Recommend Approval | New
14982 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
14985 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
14998 | Silverline Building Products Corp. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
14999 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15003 | VEKA Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
15004 | VEKA Inc. | Windows | Casement | a | a |  | Recommend Approval | New
15005 | VEKA Inc. | Windows | Double Hung | a | a |  | Recommend Approval | New
15036 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15040 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15043-R1 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
15054 | NewSouth Window Solutions | Windows | Fixed | a | a |  | Recommend Approval | New
15058-R1 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
15060 | All Weather Insulated Panels | Panel Walls | Siding | a | a |  | Recommend Approval | New
15061 | Impact Secure Shutters, Inc. | Shutters | Bahama | a | a |  | Recommend Approval | New
15067 | Mid-States Asphalt & Cant Strip, Inc. | Roofing | Underlayments | a | a |  | Recommend Approval | New
15074-R1 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
15076 | Global Protection Products, LLC. | Shutters | Storm Panels | a | a |  | Recommend Approval | New
15080 | WINDSOR DOOR MFG. LLC / DBA WINDSOR DOOR | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | New
15088 | Global Protection Products, LLC. | Shutters | Fabric Storm Panel | a | a |  | Recommend Approval | New
15099 | Doers Window Manufacturing, LLC | Windows | Fixed | a | a |  | Recommend Approval | New
15121 | Kawneer Company, Inc. | Windows | Single Hung | a | a |  | Recommend Approval | New
15122 | Kawneer Company, Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
15126 | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | New
15127 | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
15129 | Trinity Glass International | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15135 | Taylor Building Products | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15144 | PrimeSource Building Products, Inc. | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
15145 | MarlynMetals, Incorporated | Structural Components | Structural Wall | a | a |  | Recommend Approval | New
15146 | Gammans Skylight Systems, Inc. | Sky Lights | Skylight | a | a |  | Recommend Approval | New
15148 | Concrete Precast Products, Inc (formerly known as Cement Precast Products, Inc) | Structural Components | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | New
15159 | MBCI, L.P. | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
15164 | Kistler McDougall Corporation | Panel Walls | Siding | a | a |  | Recommend Approval | New
15165 | SYNTHEON Inc. | Panel Walls | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | New
15180 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15183 | UNION CORRUGATING COMPANY | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
15184 | Alumiglass, LLC | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
15185 | Alumiglass, LLC | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | New
15186 | Hurricane Fabric, LLC | Shutters | Fabric Storm Panel | a | a |  | Recommend Approval | New
15187 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15188 | Kolbe Windows and Doors - Wausau | Windows | Awning | a | a |  | Recommend Approval | New
15189 | Kolbe Windows and Doors - Wausau | Windows | Fixed | a | a |  | Recommend Approval | New
15190 | Kolbe Windows and Doors - Wausau | Windows | Casement | a | a |  | Recommend Approval | New
15194 | Kawneer Company, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15195 | IMETCO | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
15208 | Hurricane Fabric, LLC | Shutters | Fabric Storm Panel | a | a |  | Recommend Approval | New
15209 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15210 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15211 | Raynor Garage Doors | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | New
15212 | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | New
15213 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15215 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15217 | General Aluminum Company | Windows | Single Hung | a | a |  | Recommend Approval | New
15219 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15221 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15223 | Atrium Companies Inc. | Windows | Mullions | a | a |  | Recommend Approval | New
15224 | Ply Gem Windows | Windows | Mullions | a | a |  | Recommend Approval | New
15230 | Ultratek Worldwide | Shutters | Storm Panels | a | a |  | Recommend Approval | New
15233 | Shwinco of Alabama, LLC. | Windows | Mullions | a | a |  | Recommend Approval | New
15234 | Korus USA Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
15236 | Dow Chemical | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | New
15237 | Thompson Architectural Metals Company, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | New
15247 | Zeluck Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
15249 | Zeluck Inc. | Windows | Casement | a | a |  | Recommend Approval | New
15252 | Bobby James, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
15253 | Streamline Roofing And Construction, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
15258 | Wausau Window and Wall Systems | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | New
15259 | Elite Aluminum Corporation | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
15260 | ODL/Western Reflections | Exterior Doors | Exterior Door Components | a | a |  | Recommend Approval | New
15261 | Ply Gem Windows | Windows | Mullions | a | a |  | Recommend Approval | New
15263 | Ply Gem Windows | Windows | Mullions | a | a |  | Recommend Approval | New
15264 | Ply Gem Windows | Windows | Mullions | a | a |  | Recommend Approval | New
15266 | Ply Gem Windows | Windows | Single Hung | a | a |  | Recommend Approval | New
15267 | Eagle Window and Door, Inc | Windows | Mullions | a | a |  | Recommend Approval | New
15273 | Crawford Tracey Corporation | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
15274 | Crawford Tracey Corporation | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
Evaluation by Test Report - POC Recommends Approval | [7 empty] | New
5485-R2 | YKK AP America | Panel Walls | Curtain Walls | a | a |  | Recommend Approval
Evaluation by Evaluation Entity - POC Recommends Approval | [7 empty] | Revision
1392-R3 | Boise Engineered Wood Products | Structural Components | Engineered Lumber | a | a |  | Recommend Approval
1644-R3 | Boise Engineered Wood Products | Structural Components | Engineered Lumber | a | a |  | Recommend Approval | Revision
1645-R3 | Boise Engineered Wood Products | Structural Components | Engineered Lumber | a | a |  | Recommend Approval | Revision
2075-R5 | Florida Metal Products Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
4856-R1 | KC Metal Products, Inc. | Structural Components | Wood Connectors | a | a |  | Recommend Approval | Revision
7849-R3 | Boral Roofing / MonierLifetile | Roofing | Roofing Tiles | a | a |  | Recommend Approval | Revision
13029-R1 | Owens Corning | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
15228 | LP EWP | Structural Components | Engineered Lumber | a | a |  | Recommend Approval | Revision
Entities - POC Recommends Approval | [7 empty] | New
CER 1508 | Window and Door Manufacturers Association | Product Certification Agency |  | a | a |  | Recommend Approval
CER 1592 | Miami-Dade BCCO | Product Certification Agency |  | a | a |  | Recommend Approval | Revision
CER 6750 | Architectural Testing, Inc. | Product Certification Agency |  | a | a |  | Recommend Approval | Revision
CER 8526 | CPA-Composite Panel Assoc | Product Certification Agency |  | a | a |  | Recommend Approval | Revision
CER 9626 | UL LLC | Product Certification Agency |  | a | a |  | Recommend Approval | Revision
QUA 1591 | Miami-Dade BCCO | Product Quality Assurance |  | a | a |  | Recommend Approval | New
QUA 1844 | Architectural Testing, Inc. | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
QUA 2563 | Southwest Research Institute-Department of Fire Technology | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
QUA 6252 | Progressive Engineering Inc. | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
QUA 8223 | CertiWood Technical Centre | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
QUA 8970 | Applied Testing and Geosciences | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
QUA 9625 | UL LLC | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
TST 1558 | Architectural Testing, Inc | Product Testing Laboratory |  | a | a |  | Recommend Approval | New
TST 1589 | National Certified Testing Laboratories, Inc. | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 1691 | Hurricane Engineering and Testing, Inc. | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 1795 | Architectural Testing, Inc.-Minnesota | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 2561 | Southwest Research Institute-Fire Technology Department | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 4120 | Architectural Testing Inc. - Wisconsin | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 4311 | Architectural Testing, Inc. - Florida | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 4744 | National Certified Testing Laboratories-York | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 6127 | Ramtech laboratories, Inc | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 6679 | Air-Ins Inc.. | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 7110 | Architectural Testing, Inc - Springdale, PA | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 8139 | Structural Building Components Research Institute | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 8697 | Architectural Testing, Inc. - Massachusetts | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 9610 | Element Des Moines | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST 9628 | UL LLC | Product Testing Laboratory |  | a | a |  | Recommend Approval | New
VAL 1501 | Miami-Dade BCCO | Product Validation Entity |  | a | a |  | Recommend Approval | New
VAL 1616 | Intertek - ETL/Warnock Hersey | Product Validation Entity |  | a | a |  | Recommend Approval | Revision
VAL 1620 | Window and Door Manufacturers Association | Product Validation Entity |  | a | a |  | Recommend Approval | Revision
VAL 1623 | Keystone Certifications, Inc. | Product Validation Entity |  | a | a |  | Recommend Approval | Revision
VAL 4121 | PFS Corporation | Product Validation Entity |  | a | a |  | Recommend Approval | Revision
VAL 7331 | American Architectural Manufacturers Association | Product Validation Entity |  | a | a |  | Recommend Approval | Revision
VAL 9627 | UL LLC | Product Validation Entity |  | a | a |  | Recommend Approval | Revision
New
Discussion Items
15069 | Norse Inc. | Shutters | Products Introduced as a Result of New Technology | y | c |  | Deferred with condition of reapply using Category Shutters. Applicant did reapply using Category Shutter. Recommend Conditional Approval with conditions of: 1. Change subcategory to Storm Panels. 2. Indicate the material of the panels as tested. 3. The panels shall have quality assurance audits by the QA Agency and labeled in accordance with labeling requirements for shutters. 4. The limits of use shall indicate not for use within HVHZ, Wind Zone 4 and essential facilities. | Deferred
15257 | International Buildings, LLC | Panel Walls | Siding | c | d |  | Application consists of steel arche panels that constitute the walls and roof of a building. The POC shall consider if this application constitutes the evaluation of a building, outside the Rule 9N-3 FAC, or a panel subject to product approval. The evaluation was performed using computerized rational analysis. No testing was performed. Recommend Deferral with condition of: Applicant to address the issue of the product constitutes a building and therefore outside the scope of the Product Approval Rule. | New
Public Comments | [7 empty] | New
2291-R6 | Metals USA Building Products | Roofing | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval
2291-R6 | Public Comment by Jaime Gascon, P.E. | [5 empty] | Panels require compliance with FBC 2612 for use in the HVHZ. | Revision
2291-R6 | Commentary and Recommendation by Administrator |  |  | c | c |  | The applicant did not respond to public comment. This product is limited in use to uninhabited patio areas. The product consists of metal skins filled with a foam. No evidence of testing for the plastic material properties has been provided. The evaluation refers to the structural properties only. This type of product with the same limit use has been proviously approved without requirements of testing of the insulated material. Recommend Conditional Approval with condition of: Provide testing of plastic material in accordnce with Sect. 2612.
6336-R2 | Cline Aluminum Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
6336-R2 | Public Comment by Jaime Gascon, P.E. | [5 empty] | 6336.4: specified fasteners on sections 1/3 and 1/4 of drawings do not meet capacity per NDS with open back jambs placing a 1-3/4” canti-lever at head & jamb anchors. | Revision
6336-R2 | Response by Rick Wright | [5 empty] | We would like a conditional to allow for insertion of the back plate that should have been shown on the drawings for use in the HVHZ areas due to cantilever load conditions on the anchor.
6336-R2 | Commentary and Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with condition of: Provide the insertion of a back plate that will remove the cantilever load conditions on the anchor.
10630-R1 | Shoreline Shutters, LC | Shutters | Bahama | a |  |  | Recommend Approval | Revision
10630-R1 | Public Comment by Jaime Gascon, P.E. | [5 empty] | Needs to indicate compliance with FBC 3105.5 or indicate that the product is only to be used as a shutter and not as an awning. | Revision
10630-R1 | Response by Rick Wright | [5 empty] | We would like a conditional for the Shoreline application 10630 to allow for comment stipulating for shutter use only.
10630-R1 | Commentary and Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with condition of: On limits of use indicate "For shutter use only".
10980-R1 | La Cantina Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
10980-R1 | Public Comment by Jaime Gascon, P.E. | [5 empty] | For products .1, .2 and .3, use of the "Zero Sill" must be limited per FBC section 1715.2, especially if not showing the finished floor and per note at bottom of sheet 10 of 12 leaving it to others. No gaskets are called out in the details when using the "zero Sill". | Revision
10980-R1 | Commentary and Recommendation by Administrator |  |  | c | c |  | There was no response from applicant. Recommend Conditional Approval with conditions of: Provide testing or limits of use for water and air infiltration for "Zero Sill" or eliminate the details for "Zero Sill" from application.
11217-R1 | CAOBA Doors | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
11217-R1 | Public Comment by Jaime Gascon, P.E. | [5 empty] | Product .1 glazing details 1 and 2 on drawing sheet 14 of 18 do not conform with FBC 2411.3.3.1, and adhesive sealant for laminated glass must be detailed as tested for use in the HVHZ. | Revision
11217-R1 | Response by Building Drops | [5 empty] | In response to the public comment regarding FL11217-R1 for Caoba Doors we want to note that Section 2411.3.3.1 states that fixed lites larger than 3 ft. (36 in.) in width must use two approved setting blocks or suspension clamps which would apply to the arch-top transom over double doors configuration shown on sheet 6 of 18 on drawing CAB013. Glazing sealant is noted as Dow 995 Silicone, as tested, in the Bill of Materials on sheet 18 of 18 as Item #24. Item #24 is shown in details G, H, & I on sheet 11 of 18 but is not specifically detailed on the noted glazing details on sheet 14 of 18. We request conditional approval to add a note that fixed lites that exceed 36 in. in width shall use approved setting blocks per Section 2411.3.3.1 of the 2010 FBC and point out Item #24 (Dow 995 Silicone, as tested) on the glazing details on sheet 14 of 18.
11217-R1 | Commentary and Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with conditions of: Provide note indicating to that fixed lites that exceed 36" in width shall use approved setting blocks per Sect 2411.3.3.1 and point out Item #24 (Dow 995 Silicone, as tested) on the glazing details on sheet 14 of 18.
11602-R2 | InterWrap, Inc. | Roofing | Underlayments | a |  |  | Recommend Approval | Revision
11602-R2 | Public Comment by Brendan Smith, RRO | [5 empty] | InterWrap would like to request a conditional approval to revise the Technical Representative for FL11602-R2 and FL15216.
11602-R2 | Commentary and Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with condition of: Revise Technical Representative name.
15216 | InterWrap, Inc. | Roofing | Underlayments | a |  |  | Recommend Approval | New
15216 | Public Comment by Brendan Smith, RRO | [5 empty] | InterWrap would like to request a conditional approval to revise the Technical Representative for FL11602-R2 and FL15216.
15216 | Commentary and Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with condition of: Revise Technical Representative name.
11915-R2 | Atlas Roofing Corporation | Roofing | Underlayments | a |  |  | Recommend Approval | Revision
11915-R2 | Public Comment by Robert Nieminen, PE. | [5 empty] | Ed Todd at Atlas has noted a typographical error in Section 5.5.1 of our Evaluation Report. The section fails to specifically call out existing decks, which based on the testing submitted are permissible. This is important to the applicant because building officials are often specific in this regard.
11915-R2 | Commentary and Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with condition of: Revise Section 5.5 of Evaluation Report to indicate use on existing decks.
12239-R1 | Elite Aluminum Corporation | Panel Walls | Storefronts | a |  |  | Recommend Approval
12239-R1 | Public Comment by Jaime Gascon, P.E. | [5 empty] | Evaluation states use of DuPont SentryGlas interlayer in limits of use #9, and drawing states "100 Saflex HP" on 2nd page note. Coordinate to match with that tested in TAS201 and TAS203. | Revision
12239-R1 | Response by Do Kim, P.E. | [5 empty] | Comment by Mr. Gascon is correct to point out an editorial error. As stated in Evaluation Report, interlayer is by DuPont. The installation drawing General Note #8 states DuPont Sentry Glass interlayer, consistent with Evaluation Report. Note on 2nd page of installation drawing identifying “100 Saflex HP" shall be removed.
12239-R1 | Commentary and Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with condition of: Remove on 2nd page of installation drawings the note indicating "100 Safflex HP".
13599-R1 | EFCO Corporation | Panel Walls | Storefronts | a |  |  | Recommend Approval
13599-R1 | Public Comment by Jaime Gascon, P.E. | [5 empty] | For products .7, .8 and .9 the thermal break materials at debridging frame members and struts need to be specified to match that used in the testing of TAS201, TAS202 and TAS203 for use in the HVHZ; ref. FBC 2612.1. Product .9 must be tested with tempered lites in order to be used next to doors per FBC 2406.4. | Revision
13599-R1 | Response by Steven DeSutter | [5 empty] | The thermal break material was tested in accordance with ASTM D2843, ASTM D635 and ASTM D1929 and passed all testing. Product .9 must be retested. We would request that the application be given a conditional approval under the condition that we add the testing information for the thermal break material to the submitted technical documentation section of the evaluation report and we remove the .9 product from the application.
13599-R1 | Commentary and Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with condition of: Add to evaluation report the testing of the break material and remove product .9.
14904-R1 | Fleetwood Windows and Doors | Windows | Casement | a | c |  | Recommend Conditional Approval with condition of specify the break material as tested.
14904-R1 | Public Comment by Jaime Gascon, P.E. | [5 empty] | For products .1, .2, .3 and .4 the thermal break material at debridged frame members needs to be specified to match that used in TAS201, TAS202 and TAS203 testing for use in the HVHZ; ref. FBC 2612.1 | Revision
14904-R1 | Response by Rick Wright | [5 empty] | See attached document with response. The responder indicates that products with similar break material have been approved and gave examples of Miami-Dade NOAs signed by commentator: FL11120-R5 and FL10182-R5 did not specify the material testing.
14904-R1 | Commentary and Recommendation by Administrator | [5 empty] | The basis of the commentary are materials inserted within the frame members for insulation purposes. They are not on the load path of the assembly and they are not exposed to weather. The examples noted by responder indicate on FL11120-R5 the break material does not have a mark shown on the bill of materials or description. On FL10182-R5 (an affirmation, FL10182-R4 was the 2007 FBC approval) shows a material with a name on the B of M but no testing is idicated. We recommend that the application be approved as is because the items requested on the public comment are beyond the usual practice.
14907-R1 | Fleetwood Windows and Doors | Windows | Awning | a | c |  | Recommend Conditional Approval with condition of specify the break material as tested.
14907-R1 | Public Comment by Jaime Gascon, P.E. | [5 empty] | For products .1, .2, and .3 the thermal break material at debridged frame members needs to be specified to match that used in TAS201, TAS202 and TAS203 testing for use in the HVHZ; ref. FBC 2612.1 | Revision
14907-R1 | Response by Rick Wright | [5 empty] | See attached document with response. The responder indicates that products with similar break material have been approved and gave examples of Miami-Dade NOAs signed by commentator: FL11120-R5 and FL10182-R5 did not specify the material testing.
14907-R1 | Commentary and Recommendation by Administrator | [5 empty] | The basis of the commentary are materials inserted within the frame members for insulation purposes. They are not on the load path of the assembly and they are not exposed to weather. The examples noted by responder indicate on FL11120-R5 the break material does not have a mark shown on the bill of materials or description. On FL10182-R5 (an affirmation, FL10182-R4 was the 2007 FBC approval) shows a material with a name on the B of M but no testing is idicated. We recommend that the application be approved, as is, because the items requested on the public comment are beyond the usual practice.
15000 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval
15000 | Public Comment by Jaime Gascon, P.E. | [5 empty] | No evidence of testing door skins to requirements of FBC 2612.2 "Approved Plastic' (2)( c) required for all HVHZ products listed in the application. | New
15000 | Response by Rick Wright | [5 empty] | In the referenced standards are listed the various standards applicable to the testing the product as represented in this application have undergone. The fiberglass skins were approved under Dade NOA no. 06-0406.11 (expired January 18, 2012). Therma-Tru elected not to renew the Dade approval. We noted in the Referenced Standard Section of the application the pertinent standards to support the application.
15000 | Commentary and Recommendation by Administrator | [5 empty] | The testing indicated by the commentator have been evidenced on the evaluation report and have been shown on the face of the application. We recommend the application to be approved.
15125 | ETO Doors | Exterior Doors | Swinging Exterior Door Assemblies | a | c |  | Recommend Conditiona; Approval with condition of: Provide note indicating to that fixed lites that exceed 36" in width shall use approved setting blocks per Sect 2411.3.3.1
15125 | Public Comment by Jaime Gascon, P.E. | [5 empty] | For products .1 and .3 the dry glazed detail #2 on drawings are to detail the spacer as tested for dry glazed application, or detail glazing sealant as tested. | New
15125 | Response by Building Drops | [5 empty] | In response to the public comment regarding FL15125 for ETO Doors we want to note that Glazing Details 1 & 2 on sheet 3 of 7 for both drawings ETO002 & ETO004 (sections 1 & 3, respectively) are wet glazed with a silicone sealant. Each detail is noted as being glazed with Tremco Tremsill 600 Silicone as tested with leaders noting its use (see bottom, left-hand side of each detail).
15149 | Sika Sarnafil, Inc. | Roofing | Waterproofing | a |  |  | Recommend Approval
15149 | Public Comment by Jaime Gascon, P.E. | [5 empty] | insulation components listed, requiring physical properties testing per FBC 1523.6.5.2.8 and adhesive components listed requiring physical properties testing per FBC 1523.6.5.2.12, do not show to have said testing in evidence. Confirm Sarnafil G476 and PVC Protection Layer are listed in ERD report S39440.01.12 and in full compliance with ASTM D4434. Confirm both uplift results are listed in report ACRC 11-032. | New
15149 | Response by Robert Nieminen, PE | [5 empty] | While the applicant has located the necessary insulation information, I have not received physical properties information on the adhesive. Therefore, we request conditional approval under the pretext of removing the hvhz report from the filing.
15149 | Commentary and Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with condition of: Remove the HVHZ report.
15214 | Malarkey Roofing Products | Roofing | Underlayments | a | a |  | Recommend Approval
15214 | Public Comment by Jaime Gascon, P.E. | [5 empty] | membrane is described as fiberglass reinforced SBS modified bitumen roof underlayment. FBC TAS 110 section 2.2 specifies physical properties shall be in compliance with ASTM D 5147/D6163. | New
15214 | Response by Robert Nieminen, PE | [5 empty] | ASTM D6163 pertains to low-slope modified bitumen roof membranes. This is an Underlayment and was tested in an identical manner to how Miami-Dade would require for its intended use.
15214 | Commentary and Recommendation by Administrator | [5 empty] | For use as an underlayment there is no specific test in the building code for a fiberglass reinforced SBS modified material. The evaluator used Method 2, Option B that allows the evaluator to design the testing requirements in accordance with the applicable sections of the building code when specific tests do not cover the product for its intended use. The recommendation for approval is maintained.
15218 | Tag & Stick, LLC. | Roofing | Underlayments | a | a |  | Recommend Approval | New
15218 | Public Comment by Jaime Gascon, P.E. | [5 empty] | per FBC 1523.6.5.2.1. and RAS standards 118, 119 & 120; mechanically attached membranes used as tile underlayment shall demonstrate compliance with TAS 104 and self-adhered membranes must comply with TAS 103. Product must demonstrate compliance to an applicable standard specified in TAS 110 for a mechanically attached fiberglass reinforced SBS anchor sheet.
15218 | Resonse by Robert Nieminen, PE. | [5 empty] | The minimum codified tile Underlayment system in HVHZ consists of the '30/90' system; an ASTM D226, type II felt mechanically attached with nails and tin-caps followed by an ASTM D6380, Class M cap sheet. Alternatively, the cap sheet may be a self-adhering membrane meeting TAS 103. The base layer of Tag&Stick MTP exceeds performance of the D226 felt, and the top layer is a TAS 103 membrane. Moreover, comparative uplift testing of the Tag&Stick MTP vs the '30/90' system shows performance of the former exceeds that of the later.
15218 | Response by Gary W. Walker, P.E. | [5 empty] | I have been working with Mr. Johnson on developing documentation to demonstrate Tag & Stick underlayment complies with the Florida Building Code 2010 edition. The issue raised in this public comment is the performance of Tag & Stick underlayment as a mechanically attached anchor sheet. The Trinity Laboratory Report E40480.03.12 dated March 1, 2012 states the Tag & Stick underlayment “when installed in accordance with Tag & Stick, LLC published installation instructions, exceeds the wind uplift performance of the FBC HVHZ codified 30/90 system.” I considered this test report as evidence that Tag & Stick underlayment complies with the intent of the Florida Building Code for developing at least the minimum required uplift resistance using mechanical fasteners in an anchor sheet.
15218 | Commentary and Recommendation by Administrator | [5 empty] | The evaluation report provides evidence of testing as per the applicable sections of TAS 103 and TAS 110 cited on the commentary. Recommend that the application be approved.
15255 | Trinity Glass International | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
15255 | Public Comment by Jaime Gascon, P.E. | [5 empty] | No evidence of testing to requirements of FBC 2612.2 "Approved Plastic' (2)( c) required for all HVHZ product listed in the application.
15255 | Response by Rick Wright | [5 empty] | In the referenced standards are listed the various standards applicable to the testing the product as represented in this application have undergone. The fiberglass skins were approved under Dade NOA no. 05-1206.01 (expired March 2, 2011). Trinity elected not to renew the Dade approval. We noted in the Referenced Standard Section of the application the pertinent standards to support the application.
15255 | Commentary and Recommendation by Administrator |  |  | c | c |  | Although the face of the application and the evaluation report for products .2 thru .24 shows the "Approved Plastic" testing, product .1 does not show the evidence of the testing for the plastic. Recommend Conditional Approval with condition of: Provide on evaluation report evidence of the required testing for plastics for product .1.
12477-R1 | United Roofing | Roofing | Underlayments | a |  |  | Recommend Approval | Revision
12477-R1 | Public Comment by Jaime Gascon, P.E. | [5 empty] | products 12477.2 and 12477.4 should not be listed as HVHZ products as they do not meet the FBC TAS 110 section 2.2 specifications of ASTM D226 Type I and ASTM D226 Type II.
12477-R1 | Response by Verda LaRue | [5 empty] | We respectfully request a Conditional Approval on United Roofing's application, as we can easily correct products .2 and .4 to coincide with the uploaded test reports for non-HVHZ.
12477-R1 | Commentary and Recommendation by Administrator |  |  | c | c |  | Recommend Conditional Approval with condition of: For products .2 and .4 indicate "No" for use within HVHZ.
2197-R4 | MiTek Industries, Inc. | Structural Components | Truss Plates | a | a |  | Recommend Approval | Revision
2197-R4 | Public Comment by Stuart Lewis | [5 empty] | The 2010 Florida Building Code requires this product to comply with the TPI 1-2007 standard (National Design Standard for Metal-plate-connected Wood Truss Construction), as stated in FBC section 2303.4.2 and also, with respect to the HVHZ, section 2319.17.2.1.1.
2197-R4 | Public Comment by Stuart Lewis (Cont.) | [5 empty] | The evaluation report gives design values for steel tests per TPI 1-2007 with the minimum cross-section located on the joint, as well as values that are not in compliance due to the maximum steel cross-section being located on the joint. This data is not compliant with the FBC and should be excluded from use.
2197-R4 | Public Comment by Stuart Lewis (Cont.) | [5 empty] | In addition to the values cited above not complying with the code, there are no adequate installation instructions to prevent the mis-application of these high design values from plates without slots on the joint to plates which have slots over the joint. The installation instructions now only reference the TPI 1 standard, which permit tolerances that would result in placing slots over the joint. This is not suitable for the design values that do not comply with the TPI 1 standard. This is specifically noted in the commentary regarding plate position tolerance within TPI 1 (see commentary to section 3.7.2.2, appended below from TPI 1-2007). Section 3.7.2.2 from TPI 1-2007 was added to the commentary.
2197-R4 | Response by David Wert | [5 empty] | TPI requires the plate tension test to be performed with the minimum net section to be located over the splice, which we have done. But we have gone beyond what is required and also performed tests to determine the value with the maximum net section over the splice. This is beyond what the standard requires, that does not make it non-compliant. As the commenter points out in the commentary (3.7.2.2), the last line states the “Truss Designer should specify that Section 3.7.2.2 not be applied…”. When we use this value in our software, our design specifically states that the solid bar of steel must be placed over the splice. And continuing “… and plate placement polygons on Joint QC Details should be limited to avoid permitting plate slots over a joint line.” Our QC Details limits the placement over the joint line. It does not provide for the ½” misplacement tolerance for these cases.
2197-R4 | Commentary by Administrator. | [5 empty] | The testing and details have been reviewed by ICC-ES and a Florida Supplement was incuded with the report. The response addresses the concerns. The application should be approved.