## WeeklyCommisionReport (6)
| FL# | Revision # | Category | Subcategory | Manufacturer | Application Type | DBPR | POC | FBC | Comments
Certification Mark or Listing
1 | 107 | 26 | WINDOWS | Casement | Simonton/Ply Gem | REV | a
2 | 224 | 20 | WINDOWS | Casement | Simonton/Ply Gem | REV | a
3 | 242 | 30 | WINDOWS | Horizontal Slider | PGT Industries | REV | a
4 | 330 | 21 | WINDOWS | Casement | PGT Industries | REV | a
5 | 1824 | 11 | EXTDOORS | Sliding Exterior Door Assemblies | Pella Corporation | REV | a
6 | 3063 | 12 | EXTDOORS | Exterior Door Components | Yale Security Inc. | REV | a
7 | 4763 | 2 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Active Ventilation Products | AFFIRM | a
8 | 5167 | 39 | WINDOWS | Double Hung | Simonton/Ply Gem | REV | a
9 | 5414 | 32 | WINDOWS | Single Hung | Simonton/Ply Gem | REV | a
10 | 5419 | 22 | WINDOWS | Double Hung | Simonton/Ply Gem | REV | a
11 | 6683 | 23 | EXTDOORS | Swinging Exterior Door Assemblies | Lincoln Wood Products, Inc. | REV | a
12 | 7612 | 24 | EXTDOORS | Sliding Exterior Door Assemblies | Simonton/Ply Gem | EDIT_CHG | a
13 | 9187 | 8 | WINDOWS | Mullions | CGI Windows and Doors | REV | a
14 | 10160 | 23 | WINDOWS | Horizontal Slider | Simonton/Ply Gem | REV | a
15 | 10338 | 24 | WINDOWS | Fixed | Jeld-Wen | REV | a
16 | 12198 | 6 | PANEL | Soffits | KAYCAN LTD | REV | a
17 | 12264 | 10 | WINDOWS | Awning | Jeld-Wen | EDIT_CHG | a
18 | 12313 | 18 | EXTDOORS | Sliding Exterior Door Assemblies | Jeld-Wen | REV | a
19 | 12398 | 9 | WINDOWS | Single Hung | Krestmark Industries | EDIT_CHG | a
20 | 12536 | 5 | ROOFING | Underlayments | Owens Corning | REV | a
21 | 12599 | 11 | WINDOWS | Fixed | Pella Corporation | REV | a
22 | 12602 | 12 | WINDOWS | Single Hung | Pella Corporation | REV | a
23 | 13418 | 6 | WINDOWS | Horizontal Slider | Krestmark Industries | EDIT_CHG | a
24 | 14039 | 7 | WINDOWS | Single Hung | Ply Gem Windows | REV | a
25 | 14569 | 12 | EXTDOORS | Swinging Exterior Door Assemblies | Jeld-Wen | REV | a
26 | 14576 | 3 | WINDOWS | Fixed | Stergis Windows and Doors Inc | REV | a
27 | 14577 | 2 | WINDOWS | Single Hung | Stergis Windows and Doors Inc | REV | a
28 | 14578 | 4 | WINDOWS | Double Hung | Stergis Windows and Doors Inc | REV | a
29 | 14579 | 2 | WINDOWS | Casement | Stergis Windows and Doors Inc | REV | a
30 | 15318 | 7 | WINDOWS | Fixed | Ply Gem Windows | REV | a
31 | 15327 | 7 | WINDOWS | Fixed | Ply Gem Windows | REV | a
32 | 15372 | 9 | WINDOWS | Casement | Simonton/Ply Gem | REV | a
33 | 15428 | 8 | WINDOWS | Horizontal Slider | Lawson Industries | REV | a
34 | 15537 | 5 | WINDOWS | Casement | Ply Gem Windows | REV | a
35 | 15538 | 7 | WINDOWS | Fixed | Ply Gem Windows | REV | a
36 | 15643 | 5 | WINDOWS | Double Hung | Ply Gem Windows | REV | a
37 | 15996 | 8 | WINDOWS | Horizontal Slider | Regency Plus Inc | EDIT_CHG | a
38 | 16100 | 11 | WINDOWS | Single Hung | Ply Gem Windows | REV | a
39 | 16102 | 9 | WINDOWS | Horizontal Slider | Ply Gem Windows | REV | a
40 | 16103 | 16 | WINDOWS | Single Hung | Ply Gem Windows | REV | a
41 | 16104 | 8 | WINDOWS | Fixed | Ply Gem Windows | REV | a
42 | 16379 | 7 | WINDOWS | Double Hung | Simonton/Ply Gem | REV | a
43 | 16812 | 6 | WINDOWS | Single Hung | Pella Corporation | REV | a
44 | 16966 | 5 | WINDOWS | Single Hung | Krestmark Industries | EDIT_CHG | a
45 | 17050 | 4 | ROOFING | Cements-Adhesives-Coatings | American Weatherstar, LLC | REV | a
46 | 17066 | 5 | WINDOWS | Single Hung | Krestmark Industries | EDIT_CHG | a
47 | 17148 | 4 | WINDOWS | Fixed | Krestmark Industries | EDIT_CHG | a
48 | 17350 | 16 | EXTDOORS | Swinging Exterior Door Assemblies | UNILUX GmbH | EDIT_CHG | a
49 | 17494 | 8 | WINDOWS | Awning | Jeld-Wen | EDIT_CHG | a
50 | 17496 | 7 | WINDOWS | Casement | Jeld-Wen | EDIT_CHG | a
51 | 17498 | 11 | WINDOWS | Fixed | Jeld-Wen | EDIT_CHG | a
52 | 17676 | 20 | WINDOWS | Single Hung | MI Windows and Doors | REV | a
53 | 17956 | 3 | WINDOWS | Awning | MI Windows and Doors | REV | a
54 | 20114 | 9 | WINDOWS | Casement | Jeld-Wen | EDIT_CHG | a
55 | 20117 | 9 | WINDOWS | Fixed | Jeld-Wen | EDIT_CHG | a
56 | 20129 | 7 | WINDOWS | Double Hung | Regency Plus Inc | EDIT_CHG | a
57 | 20130 | 6 | WINDOWS | Horizontal Slider | Regency Plus Inc | EDIT_CHG | a
58 | 20840 | 9 | WINDOWS | Double Hung | MI Windows and Doors | EDIT_CHG | a
59 | 20881 | 6 | SKY_LITE | Skylight | Sun-Tek Mfg | REV | a
60 | 21637 | 12 | WINDOWS | Single Hung | MI Windows and Doors | EDIT_CHG | a
61 | 21638 | 7 | WINDOWS | Horizontal Slider | MI Windows and Doors | REV | a
62 | 21639 | 6 | WINDOWS | Fixed | MI Windows and Doors | EDIT_CHG | a
63 | 23326 | 2 | WINDOWS | Pass Through | QuikServ Corp | REV | a
64 | 25907 | 2 | WINDOWS | Fixed | MI Windows and Doors | EDIT_CHG | a
65 | 26012 | 5 | EXTDOORS | Sliding Exterior Door Assemblies | MI Windows and Doors | EDIT_CHG | a
66 | 26934 | 2 | EXTDOORS | Sliding Exterior Door Assemblies | Kommerling USA Inc. | EDIT_CHG | a
67 | 26935 | 3 | WINDOWS | Casement | Kommerling USA Inc. | EDIT_CHG | a
68 | 26936 | 2 | WINDOWS | Fixed | Kommerling USA Inc. | EDIT_CHG | a
69 | 26937 | 2 | EXTDOORS | Swinging Exterior Door Assemblies | Kommerling USA Inc. | EDIT_CHG | a
70 | 28093 | 6 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | EDIT_CHG | a
71 | 28095 | 5 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | EDIT_CHG | a
72 | 28486 | 3 | WINDOWS | Double Hung | Regency Plus Inc | EDIT_CHG | a
73 | 29112 | 3 | WINDOWS | Awning | Regency Plus Inc | EDIT_CHG | a
74 | 29215 | 3 | PANEL | Storefronts | Continental Glass Systems, LLC | REV | a
75 | 29466 | 2 | EXTDOORS | Sliding Exterior Door Assemblies | Novatech Patio doors | REV | a
76 | 29714 | 6 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | EDIT_CHG | a
77 | 29969 | 0 | PANEL | Siding | Cosentino N.A. | NEW | a
78 | 33174 | 1 | STRUCT | Insulation Form Systems | Superform Products Ltd. | REV | a
79 | 35444 | 1 | WINDOWS | Mullions | WinDoor Inc. | REV | a
80 | 36903 | 2 | WINDOWS | Fixed | Quaker Window Products | REV | a
81 | 37138 | 1 | STRUCT | Roof Deck | Tremco CPG Inc. | REV | a
82 | 37147 | 1 | ROOFING | Metal Roofing | Tremco CPG Inc. | REV | a
83 | 37171 | 1 | PANEL | Curtain Walls | Sunset Windows and Doors, LLC | REV | a
84 | 37232 | 2 | WINDOWS | Single Hung | TAFCO Corporation | REV | a
85 | 39162 | 1 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Marco Industries | REV | a
86 | 39361 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | Continental Glass Systems, LLC | REV | a
87 | 39384 | 1 | WINDOWS | Single Hung | ProVia Door, Inc. | REV | a
88 | 40251 | 1 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Hickman Edge Systems, LLC. | REV | a
89 | 40712 | 0 | EXTDOORS | Pre-Engineered Roof Access Hatches | Babcock-Davis | NEW | a
90 | 40714 | 0 | EXTDOORS | Pre-Engineered Roof Access Hatches | Nystrom, Inc. | NEW | a
91 | 41062 | 0 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Greenheck Fan Corporation | NEW | a
92 | 41435 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Masonite International | NEW | a
93 | 41445 | 0 | WINDOWS | Fixed | Labrador & Fundora Corp D?B?A V & V Windows | NEW | a
94 | 41447 | 0 | WINDOWS | Casement | Labrador & Fundora Corp D?B?A V & V Windows | NEW | a
95 | 41457 | 0 | WINDOWS | Single Hung | Labrador & Fundora Corp D?B?A V & V Windows | NEW | a
96 | 41458 | 0 | WINDOWS | Horizontal Slider | Labrador & Fundora Corp D?B?A V & V Windows | NEW | a
Evaluation Report from a Product Evaluation Entity
97 | 17248 | 4 | STRUCT | Anchors | MiTek Inc. | REV | a
98 | 17588 | 3 | PANEL | Wall Louver | Flood Solutions, LLC | REV | a
99 | 17876 | 4 | PANEL | Wall Louver | Pottorff | REV | a
100 | 18355 | 8 | ROOFING | Asphalt Shingles | TAMKO Building Products LLC | REV | a
101 | 20447 | 4 | PANEL | Wall Louver | Construction Specialties, Inc. | REV | a
102 | 21968 | 3 | PANEL | Wall Louver | Construction Specialties, Inc. | REV | a
103 | 21968 | 4 | PANEL | Wall Louver | Construction Specialties, Inc. | REV | a
104 | 35321 | 1 | ROOFING | Asphalt Shingles | TAMKO Building Products LLC | REV | a
105 | 40274 | 0 | PANEL | Wall Louver | Industrial Louvers Inc | NEW | a
106 | 41078 | 0 | PANEL | Wall Louver | Pottorff | NEW | a
107 | 41124 | 0 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | FT Synthetics Inc. | NEW | a
Certification Mark or Listing
108 | 40296 | 0 | IMPPROSY | Operable | Ceco Door Products | NEW | a
Helmy Makar's Public Comment |  |  |  | Product was not tested per TAS 201, 202and 203. The DWG is not seled & signed by FBPE
Patrick Middleton's Response |  |  |  | This response is to address to the public comments put forth for FL40296. As stated in the limits of use, within the HVHZ this product would be intended to be used on a shelter where the shelter is constructed within a host building, where the host building would provide weather protection. Based upon this limitation the product would not include testing to TAS 201, 202, and 203 currently. Therefore, these assemblies are intended for use on a designated storm shelter, as defined in Section 423.2 of the FBC, where the shelter opening is into an interior hallway, or in an interior shutter application where the opening would already be covered by a FBC approved window assembly. (e.g. a school cafeteria within a school building that is designated as the storm shelter). To address the comments regarding the need for the drawings to be signed and sealed by a PE we would like to bring forth that the installation instructions were verified by the certification agency to match with the tested and listed product.
Staff Analysis |  |  |  | To Be Determined
109 | 40711 | 0 | STRUCT | Wood Connectors | Altenloh, Brinck and Co. U.S., Inc. | NEW | a
Helmy Makar's Public Comment |  |  |  | no specific test conducted per FBC referenced for connector capacities. Specific section of Standard applicable not specified.
Larry Wainright's Response |  |  |  | The fasteners were tested in accordance with the standards listed in the application. Specific detail regarding testing of various fastener properties is provided in the evaluation report attached to the application. Section 3 defines the scope of evaluation including the test standards used for each fastener property. We request approval as submitted.
Staff Analysis |  |  |  | Staff agrees with the applicant's response. No further action is needed.
110 | 40969 | 0 | STRUCT | Insulation Form Systems | Barricade Building Products | NEW | c
Helmy Makar's Public Comment |  |  |  | Specify as a component approval, not an assembly, not tested for structural adequacy per TAS 201, 202 and 203.
Larry Wainright's Response |  |  |  | To resolve this comment, DrJ will revise the application to re-categorize the product correctly to the sub-category, Structural Wall and remove the HVHZ designation.
Staff Analysis |  |  |  | As per the applicant's response the application is being revised to re-categorize the product to the subcategory of "Structural Wall" and remove the HVHZ designation. No further action is needed.
111 | 41094 | 0 | STRUCT | Anchors | Western Builders Supply Co dba Big Timber | NEW | a
Helmy Makar's Public Comment |  |  |  | document not signed & sealed by FBPE. The subtrate and the capacity of anchor has not been specified
Larry Wainright's Response |  |  |  | The commenter’s question is not clear. The evaluation report attached as part of this application is sealed by a Florida PE and specifies the capacity of the fasteners as well as the substrates. As an accredited 17065 agency, our certificate would not need to be sealed. We request approval as submitted.
Staff Analysis |  |  |  | Staff agrees with the applicant's response. No further action is needed.
Evaluation Report from a Product Evaluation Entity
112 | 41089 | 0 | PANEL | Siding | LUXYCLAD Ltd. | NEW | a
Helmy Makar's Public Comment |  |  |  | No approval DWG sealed & signed by FLPE, The Aluminum component dimension, materail type, max size are not specified
Brock Baldassi's Response |  |  |  | Specification as requested with regards to the aluminum dimensions are included in the ESR (which is referenced and linked on the DBPR website for Luxyclads NOA): • Product dimensions are included on pages 3 and 4 of ESR-4351 • Material type (6063-T5 aluminum) is stated in Section 3.0 (page 1) of ESR-4351 • Product lengths [24 feet for V-groove and Channel profiles and 12 feet for V-Groove soffit (perforated) profile] are stated in Section 3.0 (page 1) of ESR-4351 Sign and seal is not required as the profiles outlined in the installation manual are as tested and there's no engineering rationale involved outside the evaluation report.
Staff Analysis |  |  |  | Staff agrees with the applicant's response. No further action is needed.