2010 Florida Building Code, Plumbing
Glitch Supplement

Chapter 3 – GENERAL REGULATIONS

309.2 Flood hazard – Change to read as shown: 309.2 Flood hazard. For structures located in flood hazard areas, the following systems and equipment shall be located and installed as required by Section 1612.4 of the Florida Building Code, Building. Exception: The following systems are permitted to be located below the elevation required by Section 1612.4 of the Florida Building Code, Building for utilities and attendant equipment provided that the systems are designed and installed to prevent water from entering or accumulating within their components and the systems are constructed to resist hydrostatic and hydrodynamic loads and stresses, including the effects of buoyancy, during the occurrence of flooding up to the design flood elevation.

P4756

Chapter 4 – FIXTURES and FAUCETS

403.6.1 Required fixtures – change to read as shown.

403.6.1 Required fixtures. Fixtures shall be provided as indicated on Table 403.6 403.8. The fixture count of Table 403.6 403.8 is deemed to be adequate for the pool and pool deck area that is up to three times the area of the pool surface provided.   An additional set of fixtures shall be provided in the men's restroom for every 7,500 square feet or major fraction thereof for pools greater than 10,000 square feet. Women's restrooms shall have a ratio of three to two water closets provided for women as the combined total of water closets and urinals provided for men. Lavatory counts shall be equal.

P4633

Section 404

ACCESSIBLE PLUMBING FACILITIES

Section 404 -  Delete in its entirety. Change to read as shown.

404.1 Where required.  Accessible plumbing facilities and fixtures shall be provided in accordance with the International Florida Building Code, Accessibility.

404.1 General.

404.1.1 Accessibility. The sections contained herein are plumbing fixture accessibility requirements only. For complete accessibility requirements, and associated figures, refer to Florida Building Code, Building, Chapter 11.

404.2 (Florida Building Code, Building, 11-4.15) Drinking fountains and water coolers.

404.2.1 (Florida Building Code, Building, 11-4.15.1) Minimum number. Drinking fountains or water coolers required to be accessible by Florida Building Code, Building, Section 11-4.1 shall comply with Section 404.2.

404.2.2 (Florida Building Code, Building, 11-4.15.2) Spout height. Spouts shall be no higher than 36 inches (915 mm), measured from the floor or ground surfaces to the spout outlet [see Figure 404.2.2(a)].

404.2.3 (Florida Building Code, Building, 11-4.15.3) Spout location. The spouts of drinking fountains and water coolers shall be at the front of the unit and shall direct the water flow in a trajectory that is parallel or nearly parallel to the front of the unit. The spout shall provide a flow of water at least 4 inches (100 mm) high so as to allow the insertion of a cup or glass under the flow of water. On an accessible drinking fountain with a round or oval bowl, the spout must be positioned so the flow of water is within 3 inches (75 mm) of the front edge of the fountain.

404.2.4 (Florida Building Code, Building, 11-4.15.4) Controls. Controls shall comply with Section 404.13. Unit controls shall be front mounted or side mounted near the front edge.

404.2.5 (Florida Building Code, Building, 11-4.15.5) Clearances.

404.2.5.1 [Florida Building Code, Building, 11-4.15.5(1)]. Wall-and post-mounted cantilevered units shall have a clear knee space between the bottom of the apron and the floor or ground at least 27 inches (685 mm) high, 30 inches (760 mm) wide, and 17 inches to 19 inches (430 mm to 485 mm) deep [see Figure 404.2.2(a) and Figure 404.2.2(b)]. Such units shall also have a minimum clear floor space 30 inches by 48 inches (760 mm by 1220 mm) to allow a person in a wheelchair to approach the unit facing forward.

404.2.5.2 [Florida Building Code, Building, 11-4.15.5(2)]. Free-standing or built-in units not having a clear space under them shall have a clear floor space at least 30 inches by 48 inches (760 mm by 1220 mm) that allows a person in a wheelchair to make a parallel approach to the unit [see Figure 404.2.2(c) and Figure 404.2.2(d)]. This clear floor space shall comply with Florida Building Code, Building, §11-4.2.4.

FIGURE 404.2.2 DRINKING FOUNTAINS AND WATER COOLERS

Florida Building Code, Building, Chapter 11, Figure 27

FIGURE 404.3.2 CLEAR FLOOR SPACE IN WATER CLOSETS (not in stall)

Florida Building Code, Building, Chapter 11, Figure 28

Figure 404.3.3 Grab Bars At Water Closet, Florida Building Code, Building, Chapter 11, Figure 29.

404.3  (Florida Building Code, Building, 11-4.16) Water closets.

404.3.1   (Florida Building Code, Building, 11-4.16.1) General. Accessible water closets shall comply with Section 404.3.

404.3.2   (Florida Building Code, Building, 11-4.16.2) Clear floor space. Clear floor space for water closets not in stalls shall comply with Figure 404.3.2. Clear floor space may be arranged to allow either a left-handed or right-handed approach.

404.3.3  (Florida Building Code, Building, 11-4.16.3) Height. The height of water closets shall be 17 inches to 19 inches (430 mm to 485 mm) measured to the top of the toilet seat [see Figure 404.3.3(b)]. Seats shall not be sprung to return to a lifted position.

404.3.4 (Florida Building Code, Building, 11-4.16.4) Grab bars. Grab bars for water closets not located in stalls shall comply with Section 404.12 and Figure 404.3.3. The grab bar behind the water closet shall be 36 inches (915 mm) minimum.

404.3.5   (Florida Building Code, Building, 11-4.16.5) Flush controls. Flush controls shall be hand operated or automatic and shall comply with Section 404.13. Controls for flush valves shall be mounted on the wide side of toilet areas no more than 44 inches (1120 mm) above the floor.

404.3.6  (Florida Building Code, Building, 11-4.16.6) Dispensers. Toilet paper dispensers shall be installed within reach, as shown in Figure 404.3.3(b). Dispensers that control delivery, or that do not permit continuous paper flow, shall not be used.

404.4 (Florida Building Code, Building, 11-4.17) Toilet Stalls.

404.4.1 (Florida Building Code, Building, 11-4.17.1) Location. Accessible toilet stalls shall be on an accessible route and shall meet the requirements of 404.4.

404.4.2(Florida Building Code, Building, 11-4.17.2) Water Closets. Water closets in accessible stalls shall comply with 404.3.

404.4.3(Florida Building Code, Building, 11-4.17.3) Size and Arrangement. The size and arrangement of the standard toilet stall shall comply with Figure 404.4.3(a), Standard Stall. Standard toilet stalls with a minimum depth of 56 inches (1420 mm) (See Figure 404.4.3(a)) shall have wall-mounted water closets. If the depth of a standard toilet stall is increased at least 3 inches (75 mm), then a floor-mounted water closet may be used. Arrangements shown for standard toilet stalls may be reversed to allow either a left-or right-hand approach. Additional stalls shall be provided in conformance with 404.9.4

Exception: In instances of alteration work where provision of a standard stall (See Figure 404.4.3(a)) is technically infeasible or where plumbing code requirements prevent combining existing stalls to provide space, either alternate stall (See Figure 404.4.3(b)) may be provided in lieu of the standard stall.

New Construction:

1. The standard accessible restroom stall shall contain an accessible lavatory within it, the size of such lavatory to be not less than 19 inches wide by 17 inches deep, nominal size, and wall mounted. The lavatory shall be mounted so as not to overlap the clear floor space areas required by 404.4 (See Fig.404.4.3 (e)) and to comply with 404.6 of the code. Such lavatories shall be counted as part of the required fixture count for the building.

2. The accessible water closet shall be located in the corner, diagonal to the door.

404.4.4(Florida Building Code, Building, 11-4.17.4) Toe Clearances. In standard stalls, the front partition and at least one side partition shall provide a toe clearance of at least 9 inches (230 mm) above the floor. If the depth of the stall is greater than 60 inches (1525 mm), then the toe clearance is not required.

404.4.5 (Florida Building Code, Building, 11-4.17.5) Doors. Toilet stall doors, including door hardware, shall comply with Florida Building Code, Building, 11-4.13. The doors shall be self closing. If toilet stall approach is from latch side of the stall door, clearance between the door side of the stall and any obstruction may be reduced to a minimum of 42 inches (1065 mm) (See Fig. 404.4.3). Doors shall not swing into the clear floor space of any fixture.

404.4.6 (Florida Building Code, Building, 11-4.17.6) Grab Bars. Grab bars complying with the length and positioning shown in Figure 404.4.3(a), Figure 404.4.3(b), Figure 404.4.3(c), and Figure 404.4.3(d) shall be provided. Grab bars may be mounted with any desired method as long as they have a gripping surface at the locations shown and do not obstruct the required clear floor area. Grab bars shall comply with 404.12.

FIGURE 404.4.3 TOILET STALLS

Florida Building Code, Building, Chapter 11, Figure 30

FIGURE 404.4.3(e) Toilet Stall New Construction

Florida Building Code, Building, Chapter 11, Figure 30(e)

In new construction a lavatory shall be provided within the accessible toilet stall.

The lavatory shall not encroach into the required clear floor space for the water offset.

See figure 404.4.3(a) for the required clear floor space for the water closet.

The location shown for the lavatory is only one of many possible locations within the accessible toilet stall.

The water closet shall be located in the corner diagonal to the door.

The toilet stall door shall not swing into the required clear floor space for any fixture.

Flush control shall comply with section 404.3.5

404.5 (Florida Building Code, Building, 11-4.18) Urinals.

404.5.1 (Florida Building Code, Building, 11-4.18.1) General. Accessible urinals shall comply with 404.5.

404.5.2(Florida Building Code, Building, 11-4.18.2) Height. Urinals shall be stall-type or wall-hung with an elongated rim at a maximum of 17 inches (430 mm) above the finish floor.

404.5.3(Florida Building Code, Building, 11-4.18.3) Clear Floor Space. A clear floor space 30 inches by 48 inches (760 mm by 1220 mm) shall be provided in front of urinals to allow forward approach. This clear space shall adjoin or overlap an accessible route and shall comply with Florida Building Code, Building, 11-4.2.4. Urinal shields that do not extend beyond the front edge of the urinal rim may be provided with 29 inches (735 mm) clearance between them.

404.5.4 (Florida Building Code, Building, 11-4.18.4) Flush Controls. Flush controls shall be hand operated or automatic, and shall comply with 404.13, and shall be mounted no more than 44 inches (1120 mm) above the finish floor.

404.6   (Florida Building Code, Building, 11-4.19) Lavatories and mirrors.

404.6.1  (Florida Building Code, Building, 11-4.19.1) General. The requirements of Section 404.6 shall apply to lavatory fixtures, vanities and built-in lavatories.

404.6.2  (Florida Building Code, Building, 11-4.19.2) Height and clearances. Lavatories shall be mounted with the rim or counter surface no higher than 34 inches (865 mm) above the finish floor. Provide a clearance of at least 29 inches (735 mm) above the finish floor to the bottom of the apron. Knee and toe clearance shall comply with Figure 404.6.2.

404.6.3   (Florida Building Code, Building, 11-4.19.3) Clear floor space. A clear floor space 30 inches by 48 inches (760 mm by 1220 mm) complying with Florida Building Code, Building, §11-4.2.4 shall be provided in front of a lavatory to allow forward approach. Such clear floor space shall adjoin or overlap an accessible route and shall extend a maximum of 19 inches (485 mm) underneath the lavatory (see Figure 404.6.3).

404.6.4 (Florida Building Code, Building, 11-4.19.4) Exposed pipes and surfaces. Hot water and drain pipes under lavatories shall be insulated or otherwise configured to protect against contact. There shall be no sharp or abrasive surfaces under lavatories.

404.6.5   (Florida Building Code, Building, 11-4.19.5) Faucets. Faucets shall comply with Section 404.13. Lever-operated, push-type and electronically controlled mechanisms are examples of acceptable designs. If self-closing valves are used, the faucet shall remain open for at least 10 seconds.

404.6.6  [Florida Building Code, Building, 11-4.19.6(1)] Mirrors. Mirrors shall be mounted with the bottom edge of the reflecting surface no higher than 40 inches (1015 mm) above the finish floor (see Figure 404.6.2).

FIGURE 404.6.2 LAVATORY CLEARANCES

(Florida Building Code, Building Chapter 11, Figure 31)

FIGURE 404.6.3 CLEAR FLOOR SPACE AT LAVATORIES

(Florida Building Code, Building Chapter 11, Figure 32)

404.7   (Florida Building Code, Building, 11-4.20) Bathtubs.

404.7.1  (Florida Building Code, Building, 11-4.20.1) General. Accessible bathtubs shall comply with Section 404.7.

404.7.2  (Florida Building Code, Building, 11-4.20.2) Floor Space. Clear floor space in front of bathtubs shall be as shown in Figure 404.7.2.

404.7.3 (Florida Building Code, Building, 11-4.20.3) Seat. An in-tub seat or a seat at the head end of the tub shall be provided as shown in Figure 404.7.2 and Figure 404.7.3. The structural strength of seats and their attachments shall comply with Section 404.12.3. Seats shall be mounted securely and shall not slip during use.

404.7.4   (Florida Building Code, Building, 11-4.20.4) Grab bars. Grab bars complying with Section 404.12 shall be provided as shown in Figure 404.7.2 and Figure 404.7.3.

404.7.5   (Florida Building Code, Building, 11-4.20.5) Controls. Faucets and other controls complying with Florida Building Code, Building, Section 404.13 shall be located as shown in Figure 404.7.3.

404.7.6   (Florida Building Code, Building, 11-4.20.6) Shower unit. A shower spray unit with a hose at least 60 inches (1525 mm) long that can be used both as a fixed shower head and as a hand-held shower shall be provided.

404.7.7  (Florida Building Code, Building, 11-4.20.7) Bathtub enclosures. If provided, enclosures for bathtubs shall not obstruct controls or transfer from wheelchairs onto bathtub seats or into tubs. Enclosures on bathtubs shall not have tracks mounted on their rims.

FIGURE 404.7.2 CLEAR FLOOR SPACE AT BATHTUBS

(Florida Building Code, Building, Chapter 11, Figure 33)

FIGURE 404.7.3 GRAB BARS AT BATHTUBS

(Florida Building Code, Building, Chapter 11, Figure 34)

404.8(Florida Building Code, Building, 11-4.21) Shower Stalls.

404.8.1 (Florida Building Code, Building, 11-4.21.1) General. Accessible shower stalls shall comply with 404.8.

404.8.2(Florida Building Code, Building, 11-4.21.2) Size and Clearances. Except as specified in 11-9.1.2, shower stall size and clear floor space shall comply with Figure 404.8.2(1)(a) or Figure 404.8.2(1)(b). The shower stall in Figure 404.8.2(1)(a) shall be 36 inches by 36 inches (915 mm by 915 mm). Shower stalls required by Florida Building Code, Building, 11-9.1.2 shall comply with Figure 404.8.2(2)(a) or Figure 404.8.2(2)(b). The shower stall in Figure 404.8.2(1)(b) will fit into the space required for a bathtub.

404.8.3 (Florida Building Code, Building, 11-4.21.3) Seat. A seat shall be provided in shower stalls 36 inches by 36 inches (915 mm by 915 mm) and shall be as shown in Figure 404.8.3. The seat shall be mounted 17 inches to 19 inches (430 mm to 485 mm) from the bathroom floor and shall extend the full depth of the stall. In a 36-inch by 36-inch (915 mm by 915 mm) shower stall, the seat shall be on the wall opposite the controls. Where a fixed seat is provided in a 30-inch by 60-inch minimum (760 mm by 1525 mm) shower stall, it shall be a folding type and shall be mounted on the wall adjacent to the controls as shown in Figure 404.8.2(2). The structural strength of seats and their attachments shall comply with Section 404.12.3.

404.8.4 (Florida Building Code, Building, 11-4.21.4) Grab Bars. Grab bars complying with Section 404.12 shall be provided as shown in Figure 404.8.4.

404.8.5 (Florida Building Code, Building, 11-4.21.5) Controls. Faucets and other controls complying with Section 404.13 shall be located as shown in Figure 404.8.4. In shower stalls 36 inches by 36 inches (915 mm by 915 mm), all controls, faucets and the shower unit shall be mounted on the side wall opposite the seat.

404.8.6 (Florida Building Code, Building, 11-4.21.6) Shower unit. A shower spray unit with a hose at least 60 inches (1525 mm) long that can be used both as a fixed shower head and as a hand-held shower shall be provided.

Exception: In unmonitored facilities where vandalism is a consideration, a fixed shower head mounted at 48 inches (1220 mm) above the shower floor may be used in lieu of a hand-held shower head.

404.8.7 (Florida Building Code, Building, 11-4.21.7) Curbs. If provided, curbs in shower stalls 36 inches by 36 inches (915 mm by 915 mm) shall be no higher than ½ inch (13 mm). Shower stalls that are 30 inches by 60 inches (760 mm by 1525 mm) minimum shall not have curbs.

404.8.8 (Florida Building Code, Building, 11-4.21.8) Shower enclosures. If provided, enclosures for shower stalls shall not obstruct controls or obstruct transfer from wheelchairs onto shower seats.

FIGURE 404.8.2(1) SHOWER SIZE AND CLEARANCES

(Florida Building Code, Building, Chapter 11, Figure 35)

FIGURE 404.8.2(2)  ROLL-IN SHOWER WITH FOLDING SEAT

(Florida Building Code, Building, Chapter 11, Figure 57

FIGURE 404.8.3 SHOWER SEAT DESIGN

(Florida Building Code, Building, Chapter 11, Figure 36)

FIGURE 404.8.4    GRAB BARS AT SHOWER STALLS

(Florida Building Code, Building, Chapter 11, Figure 37)

404.9(Florida Building Code, Building, 11-4.22) Toilet Rooms

404.9.1(Florida Building Code, Building, 11-4.22.1) Minimum Number. Toilet facilities required to be accessible by Florida Building Code, Building, 11-4.1 shall comply with Florida Building Code, Building, 11-4.22. Accessible toilet rooms shall be on an accessible route.

404.9.2 (Florida Building Code, Building, 11-4.22.2) Doors. All doors to accessible toilet rooms shall comply with Florida Building Code, Building, 11-4.13. Doors shall not swing into the clear floor space required for any fixture.

Exception: All new single-family houses, duplexes, triplexes, condominiums, and townhouses shall provide at least one bathroom, located with maximum possible privacy, where bathrooms are provided on habitable grade levels, with a door that has a 29 inch clear opening. However, if only a toilet room is provided at grade level, such toilet room shall have a clear opening of not less than 29 inches.

404.9.3(Florida Building Code, Building, 11-4.22.3) Clear Floor Space. The accessible fixtures and controls required in 404.9.4, 404.9.5, 404.9.6 and 404.9.7 shall be on an accessible route. An unobstructed turning space complying with Florida Building Code, Building, 11-4.2.3 shall be provided within an accessible toilet room. The clear floor space at fixtures and controls, the accessible route, and the turning space may overlap.

404.9.4 (Florida Building Code, Building, 11-4.22.4) Water closets. If toilet stalls are provided, then at least one shall be a standard toilet stall complying with Section 404.4; where six or more stalls are provided, in addition to the stall complying with Section 404.4.3, at least one stall 36 inches (915 mm) wide with an outward swinging, self-closing door and parallel grab bars complying with Figures 404.4.3(d) and 404.12.2 shall be provided. Water closets in such stalls shall comply with Section 404.3. If water closets are not in stalls, then at least one shall comply with Section 404.3

404.9.5(Florida Building Code, Building, 11-4.22.5) Urinals. If urinals are provided, then at least one shall comply with 404.5.

404.9.6 (Florida Building Code, Building, 11-4.22.6) Lavatories and Mirrors. If lavatories and mirrors are provided, then at least one of each shall comply with 404.6.

404.9.7 (Florida Building Code, Building, 11-4.22.7) Controls and Dispensers. If controls, dispensers, receptacles, or other equipment are provided, then at least one of each shall be on an accessible route and shall comply with Florida Building Code, Building, 11-4.27.

404.10 (Florida Building Code, Building, 11-4.23) Bathrooms, Bathing Facilities, and Shower Rooms.

404.10.1 (Florida Building Code, Building, 11-4.23.1) Minimum Number. Bathrooms, bathing facilities, or shower rooms required to be accessible by Florida Building Code, Building, 11-4.1 shall comply with 404.10 and shall be on an accessible route.

404.10.2 (Florida Building Code, Building, 11-4.23.2) Doors. Doors to accessible bathrooms shall comply with Florida Building Code, Building, §11-4.13. Doors shall not swing into the floor space required for any fixture.

Exception: All new single-family houses, duplexes, triplexes, condominiums and townhouses shall provide at least one bathroom, located with maximum possible privacy, where bathrooms are provided on habitable grade levels, with a door that has a 29-inch (737 mm) clear opening. However, if only a toilet room is provided at grade level, such toilet room shall have a clear opening of not less than 29 inches (737 mm).

404.10.3 (Florida Building Code, Building, 11-4.23.3) Clear floor space. The accessible fixtures and controls required in Sections 404.10.4, 404.10.5, 404.10.6, 404.10.7, 404.10.8 and 404.10.9 shall be on an accessible route. An unobstructed turning space complying with Florida Building Code, Building, §11-4.2.3 shall be provided within an accessible bathroom. The clear floor spaces at fixtures and controls, the accessible route and the turning space may overlap.

404.10.4 (Florida Building Code, Building, 11-4.23.4) Water closets. If toilet stalls are provided, then at least one shall be a standard toilet stall complying with Section 404.4; where six or more stalls are provided, in addition to the stall complying with Section 404.4.3, at least one stall 36 inches (915 mm) wide with an outward swinging, self-closing door and parallel grab bars complying with Section 404.12 and Figure 404.4.3(d) shall be provided. Water closets in such stalls shall comply with Section 404.3. If water closets are not in stalls, then at least one shall comply with Section 404.3.

404.10.5 (Florida Building Code, Building, 11-4.23.5) Urinals. If urinals are provided, then at least one shall comply with Section 404.5.

404.10.6 (Florida Building Code, Building, 11-4.23.6) Lavatories and mirrors. If lavatories and mirrors are provided, then at least one of each shall comply with Section 404.6.

404.10.7 (Florida Building Code, Building, 11-4.23.7) Controls and dispensers. If controls, dispensers, receptacles or other equipment are provided, then at least one of each shall be on an accessible route and shall comply with Florida Building Code, Building, Section 11-4.27.

404.10.8 (Florida Building Code, Building, 11-4.23.8) Bathing and shower facilities. If tubs or showers are provided, then at least one accessible tub that complies with Section 404.7 or at least one accessible shower that complies with Section 404.8 shall be provided.

404.10.9(Florida Building Code, Building, 11-4.23.9) Medicine Cabinets. If medicine cabinets are provided, at least one shall be located with a usable shelf no higher than 44 in (1120 mm) above the floor space. The floor space shall comply with Florida Building Code, Building, 11-4.2.4.

404.11 (Florida Building Code, Building, 11-4.24) Sinks.

404.11.1 (Florida Building Code, Building, 11-4.24.1) General. Sinks required to be accessible by Florida Building Code, Building, Section 11-4.1 shall comply with Section 404.11.

404.11.2 (Florida Building Code, Building, 11-4.24.2) Height. Sinks shall be mounted with the counter or rim no higher than 34 inches (865 mm) above the finish floor.

404.11.3 (Florida Building Code, Building, 11-4.24.3) Knee clearance. Knee clearance that is at least 27 inches (685 mm) high, 30 inches (760 mm) wide and 19 inches (485 mm) deep shall be provided underneath sinks.

404.11.4 (Florida Building Code, Building, 11-4.24.4) Depth. Each sink shall be a maximum of 6½ inches (165 mm) deep.

404.11.5 (Florida Building Code, Building, 11-4.24.5) Clear floor space. A clear floor space at least 30 inches by 48 inches (760 mm by 1220 mm) complying with Florida Building Code, Building, Section 11-4.2.4 shall be provided in front of a sink to allow forward approach. The clear floor space shall be on an accessible route and shall extend a maximum of 19 inches (485 mm) underneath the sink (see Figure 404.6.3).

404.11.6 (Florida Building Code, Building, 11-4.24.6) Exposed pipes and surfaces. Hot water and drain pipes exposed under sinks shall be insulated or otherwise configured so as to protect against contact. There shall be no sharp or abrasive surfaces under sinks.

404.11.7 (Florida Building Code, Building, 11-4.24.7) Faucets. Faucets shall comply with Section 404.13. Lever-operated, push-type, touch-type or electronically controlled mechanisms are acceptable designs.

404.12 (Florida Building Code, Building, 11-4.26) Handrails, grab bars, and tub and shower seats.

404.12.1 (Florida Building Code, Building, 11-4.26.1) General. All handrails, grab bars and tub and shower seats required to be accessible by Florida Building Code, Building, Section 11-4.1, Florida Building Code, Building, Section 11-4.8, Florida Building Code, Building, Section 11-4.9, Section 404.3, 404.4, 404.7 or 404.8 shall comply with Section 404.12.

404.12.2 (Florida Building Code, Building, 11-4.26.2) Size and Spacing of grab bars and handrails. The diameter or width of the gripping surfaces of a handrail or grab bar shall be 1¼ inches to 1½ inches (32 mm to 38 mm), or the shape shall provide an equivalent gripping surface. If handrails or grab bars are mounted adjacent to a wall, the space between the wall and the grab bar shall be 1½ inches (38 mm) [see Figure 404.12.2(a), Figure 404.12.2(b), Figure 404.12.2(c), and Figure 404.12.2(e)]. Handrails may be located in a recess if the recess is a maximum of 3 inches (75 mm) deep and extends at least 18 inches (455 mm) above the top of the rail [see Figure 404.12.2(d)].

404.12.3 (Florida Building Code, Building, 11-4.26.3) Structural strength. The structural strength of grab bars, tub and shower seats, fasteners and mounting devices shall meet the following specification:

1.    Bending stress in a grab bar or seat induced by the maximum bending moment from the application of 250 pound-foot (1112 N) shall be less than the allowable stress for the material of the grab bar or seat.

2.    Shear stress induced in a grab bar or seat by the application of 250 pound foot (1112 N) shall be less than the allowable shear stress for the material of the grab bar or seat. If the connection between the grab bar or seat and its mounting bracket or other support is considered to be fully restrained, then direct and torsional shear stresses shall be totaled for the combined shear stress, which shall not exceed the allowable shear stress.

3.    Shear force induced in a fastener or mounting device from the application of 250 pound-foot (1112 N) shall be less than the allowable lateral load of either the fastener or mounting device or the supporting structure, whichever is the smaller allowable load.

4.    Tensile force induced in a fastener by a direct tension force of 250 pound-foot (1112 N) plus the maximum moment from the application of 250 pound-foot (1112 N) shall be less than the allowable withdrawal load between the fastener and the supporting structure.

5.Grab bars shall not rotate within their fittings.

404.12.4 (Florida Building Code, Building, 11-4.26.4) Eliminating hazards. A handrail or grab bar and any wall or other surface adjacent to it shall be free of any sharp or abrasive elements. Edges shall have a minimum radius of 1/8 inch (3.2 mm).

FIGURE 404.12.2 SIZE AND SPACING OF HANDRAILS AND GRAB BARS.

(Florida Building Code, Building, Chapter 11, Figure 39)

404.13 (Florida Building Code, Building, 11-4.27.4) Operation. Controls and operating mechanisms shall be operable with one hand and shall not require tight grasping, pinching, or twisting of the wrist. The force required to activate controls shall be no greater than 5 lbf (22.2 N).

P4522

Chapter 6 – WATER SUPPLY AND DISTRIBUTION

TABLE 607.2.1

MINIMUM PIPE INSULATION (in.)a,b

Domestic and Service Hot Water Circulating Systemsa

[No change to table except footnote a]

a Section 504.5 of the Florida Building Code, Energy Conservation, requires piping insulation for

1) recirculating system piping, including the supply and return piping of a circulating tank type water heater,

2) the first 8’ of outlet piping for a constant temperature nonrecirculating storage system,

3) the inlet pipe between the storage tank and a heat trap in a nonrecirculating storage system and

4) pipes that are externally heated for commercial nonrecirculating systems. For residential greater than two-family and less than 4 stories Section 403.4.1 of the Florida Building Code, Energy Conservation, requires at least ½ inch insulation for circulating hot water system pipes.

P4634

Chapter 7 – SANITARY DRAINAGE

701.2 Sewer required. Every building in which plumbing fixtures are installed and all premises having drainage piping shall be connected to a publicly owned or investor-owned sewerage system sewer, where available, or an approved onsite sewage treatment and private sewage disposal system in accordance with Chapter 64E-6, Florida Administrative Code, Standards for Onsite Sewage Treatment and Disposal Systems.

SP4808

Chapter 10 – TRAPS and ENTERCEPTORS

1003.2 Approval. The size, type and location of each interceptor and of each separator shall be approved by the plumbing official. Where the interceptor or separator is located within an onsite sewage treatment and private sewage disposal system, such interceptor or separator shall be approved by the health official. The interceptor or separator shall be designed and installed in accordance with the manufacturer’s instructions and the requirements of this section. Wastes that do not require treatment or separation shall not be discharged into any interceptor or separator. 1003.3 Grease traps and grease interceptors for publicly owned or investor-owned sewerage systems sewer. Grease interceptors shall comply with the requirements of Sections 1003.3.1 through 1003.3.4.2.

SP4819

1003.5 Grease interceptors. -   Change to read as shown.

1003.5 Grease interceptors for onsite sewage treatment and disposal systems. Grease interceptors are not required for a residence.  However, one ore more grease interceptors are required where grease waste is produced in quantities that could otherwise cause line stoppage or hinder sewage disposal.  Where a grease interceptor is required or used, only kitchen wastewater shall first pass through the interceptor and then be discharged into the first compartment of a septic tank or other approved system. Grease interceptors shall be water and gas tight. Each interceptor shall be engineered to withstand the load, such as from vehicular traffic, to be placed on the interceptor. Sizing of grease interceptors shall be based on the equations of Table 1003.5.1.  The minimum tank volume of grease interceptors shall be 750 gallons (2839 L), and the maximum volume of an individual grease interceptor chamber shall be 1,250 gallons (4731 L). Interceptors shall be permitted to be installed in series or as multi-chambered tanks.

1003.5.1 Grease interceptor capacity -  Change to read as shown.

1003.5.1 Grease interceptor capacity.  Sizing of grease interceptors shall be based on the equations of Table 1003.5.1.  The minimum tank volume of grease interceptors shall be 750 gallons (2839 L), and the maximum volume of an individual grease interceptor chamber shall be 1,250 gallons (4731 L). When the required effective capacity of the grease interceptor is greater than 1250 gallons, installation of multi-chambered grease interceptors or grease interceptors in series is required. The minimum grease retention capacity for interceptors shall be at least two times the flow-through rate.

1003.5.2 Construction of interceptor -  Change to read as shown.

1003.5.2 Construction of interceptor. Each interceptor shall be constructed and approved in accordance with Rule 64E-6, Florida Administrative Code. Minimum depth of the liquid shall be 40 inches (1016 mm). Each compartment shall be accessible with a manhole having a minimum area of 225 square inches clearance of 18 inches (457 mm) square or in diameter.  Interceptors must be located so as to provide easy access for routine inspection, cleaning and maintenance.  Manholes shall be provided over the inlet and outlet of each interceptor and be brought to finished grade.

1003.5.3 Inlet and outlet piping -  Change  to read as shown.

1003.5.3 Inlet and outlet piping.   The inlet invert shall discharge a minimum 2 1/2 inches above the liquid level line and the outlet pipe shall have a tee with a minimum diameter of 4 inches that extends to within 8 inches of the bottom of the tank. The inlet and outlet piping shall have a two-way cleanout tee installed. Inlet piping shall enter at 2½ inches (64 mm) above the liquid level. Inlet piping shall connect to a tee, sweep or baffle, which shall extend to 24 inches (610 mm) below the water level.  The outlet pipe shall start at 8 inches (203 mm) above the bottom of the interceptor and extend vertically to a tee. The tee and pipe shall be no less than 4 inches (102 mm) in diameter. The tee shall be installed with the run in the vertical direction.

Table 1003.5.1: Sizing Formulas for Grease Interceptors Private Sewage Disposal System -  Change to read as shown.

Table 1003.5.1

Sizing Formulas for Grease Interceptors

Private Sewage Disposal System

| SIZING FORMULA FOR RESTAURANTS: | OTHER ESTABLISHMENTS WITH COMMERCIAL KITCHENS: |
| --- | --- |
| (S)x(GS)x(HR/12)x(LF)=Effective cCapacity of grease iInterceptor in gallons Where: S = Number of seats in dining area GS = Gallons of waste water per seat (Use 25 gallons for ordinary restaurants with china dishes and/or automatic dishwasher) (; Use 10 gallons for single service article restaurants with paper or baskets and no dishwashers) HR = Number of hours establishment restaurant is open LF = Loading Factor (Use 2.00 interstate highway; 1.50 other freeways; 1.25 recreational area; 1.00 main highway; 0.75 other roadshighway) | (M)x(GM)x(LF) = Effective capacity of gGrease interceptor in gallons Where: M = Meals prepared per day GM = Gallons of waste water per meal (Use 5 gallons) LF = Loading Factor (Use 1.00 with dishwashing machine and 0.75 without dishwashing machine) |

Note:  For other than private sewage disposal systems, reduce gallon values by 25%.

Comment after Glitch