## Sheet1
ID | Manufacturer | Category | Subcategory | TBA | POC | FBC | Comments
Evaluation by Engineer/ Architect Method - TBA Reviewers Recommend Approval
298-R3 | W.R. Grace | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
1601-R7 | Carlisle SynTec Incorporated | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
1712-R4 | Heartland Siding | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
1960-R3 | TAMKO Building Products, Inc. | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | Revised
2524-R4 | Georgia Pacific-Gypsum | Panel Walls | Exterior Insulation Finish System | a | a |  | Recommend Approval | Revision
2569-R5 | Soprema, Inc. (Canada) | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
3203-R3 | RM Enterprises, Inc. | Structural Components | Pre-engineered AC Stands | a | a |  | Recommend Approval | Revision
3443-R4 | GAF | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
3784-R4 | Alside Window Company | Windows | Awning | a | a |  | Recommend Approval | Revision
3896-R3 | Golden Giant, Inc | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
4077-R4 | Edco Products, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Editorial Change
4216-R3 | Golden Giant, Inc | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
4483-R5 | Petersen Aluminum Corporation | Panel Walls | Soffits | a | a |  | Recommend Approval | Editorial Change
4500-R1 | Altenloh, Brinck and Co. U.S., Inc. | Roofing | Roofing Fasteners | a | a |  | Recommend Approval | Revision
5293-R7 | GAF | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
5480-R2 | Atlantic Shutter Systems | Shutters | Bahama | a | a |  | Recommend Approval | Revision
5562-R4 | Petersen Aluminum Corporation | Structural Components | Roof Deck | a | a |  | Recommend Approval | Editorial Change
5734-R3 | CertainTeed Corporation Siding Products | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
5891-R3 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
6276-R3 | 3M Company | Roofing | Roof Tile Adhesives | a | a |  | Recommend Approval | Revision
6356-R3 | The Foundry | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
6993-R3 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
7215-R2 | RM Enterprises, Inc. | Structural Components | Pre-engineered AC Stands | a | a |  | Recommend Approval | Revision
7347-R4 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
7547-R4 | Petersen Aluminum Corporation | Panel Walls | Soffits | a | a |  | Recommend Approval | Editorial Change
7630-R4 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
7640-R4 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
7804-R7 | Entegra Roof Tile, Inc. | Roofing | Roofing Tiles | a | a |  | Recommend Approval | Revision
7873-R7 | USA Shutter Company LLC | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
9267-R2 | Brannen Millwork Company | Windows | Casement | a | a |  | Recommend Approval | Revision
9694-R3 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
9948-R2 | Reilly WoodWorks | Windows | Dual Action | a | a |  | Recommend Approval | Revision
9949-R2 | Reilly WoodWorks | Windows | Casement | a | a |  | Recommend Approval | Revision
9950-R2 | Reilly WoodWorks | Windows | Fixed | a | a |  | Recommend Approval | Revision
9951-R2 | Reilly WoodWorks | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
10106-R2 | Elite Storm Systems | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
10315-R1 | NuAir Windows and Doors | Windows | Casement | a | a |  | Recommend Approval | Revision
10342 | Siplast / Icopal | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | New
10408-R3 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision Deferred
10450-R3 | Tarco Roofing | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
10815-R1 | NuAir Windows and Doors | Windows | Single Hung | a | a |  | Recommend Approval | Revision
10882-R2 | ROLLINGSHIELD INC | Shutters | Roll-up | a | a |  | Recommend Approval | Revision
10996-R1 | NuAir Windows and Doors | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
11031-R2 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision Deferred
11037-R1 | NuAir Windows and Doors | Windows | Fixed | a | a |  | Recommend Approval | Revision
11039-R1 | NuAir Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
11288-R8 | CertainTeed Corporation-Roofing | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
11436-R1 | Custom Door and Millworks | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
11797-R1 | Crowther Roofing and Sheet Metal | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
11848-R2 | Gentek Building Products | Windows | Awning | a | a |  | Recommend Approval | Revision
11849-R2 | Revere Building Products | Windows | Awning | a | a |  | Recommend Approval | Revision
11850-R2 | Associated Materials Inc. | Windows | Awning | a | a |  | Recommend Approval | Revision
11991-R3 | Windoor Incorporated | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
12145-R1 | Rosenlew RKW Finland LTD | Roofing | Underlayments | a | a |  | Recommend Approval | Revision
12163-R2 | Four Seasons Solar Products LLC | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
12225-R2 | Elite Aluminum Corporation | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
12276-R1 | Reilly WoodWorks | Windows | Double Hung | a | a |  | Recommend Approval | Revision
12496-R2 | Andersen Corporation | Windows | Casement | a | a |  | Recommend Approval | Revision
12513-R4 | CENTRIA | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | Revision
12568-R1 | JELD-WEN | Windows | Mullions | a | a |  | Recommend Approval | Revision
12725-R1 | Reed's Metals | Roofing | Metal Roofing |  | a |  |  | Revision
12859-R2 | Four Seasons Solar Products LLC | Windows | Single Hung | a | a |  | Recommend Approval | Revision
12881-R1 | K-G Metals | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revision
13230-R1 | Atrium Companies Inc. | Windows | Fixed | a | a |  | Recommend Approval | Revision
13232-R1 | Atrium Companies Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | Revision
13233-R1 | Atrium Companies Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13259-R2 | Crimsafe North America | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
13433-R3 | YKK AP America | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | Revision
13464-R2 | GAF | Roofing | Modified Bitumen Roof System | a | a |  | Recommend Approval | Editorial Change
13702-R2 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
13766-R1 | ROLLINGSHIELD INC | Shutters | Accordion | a | a |  | Recommend Approval | Revision
13770-R2 | Crimsafe North America | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
13779-R2 | Crimsafe North America | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
13806-R2 | Soprema, Inc. | Roofing | Liquid Applied Roof Systems | a | a |  | Recommend Approval | Revision
13867-R3 | PGT Industries | Windows | Mullions | a | a |  | Recommend Approval | Revision
13985-R2 | Gramatica SIPS International, Inc | Panel Walls | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
14016-R1 | Central States Manufacturing, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | Revision
14017-R1 | Alpine Overhead Doors, Inc. | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14024-R1 | Central States Manufacturing, Inc. | Structural Components | Structural Wall | a | a |  | Recommend Approval | Revision
14163-R1 | J. SUSSMAN, INC. | Windows | Fixed | a | a |  | Recommend Approval | Revision
14165-R2 | Carlisle SynTec Incorporated | Roofing | Single Ply Roof Systems | a | a |  | Recommend Approval | Revision
14222-R2 | Windoor Incorporated | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14274-R2 | Gramatica SIPS International, Inc | Roofing | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
14338 | RIFFE Metals LLC. | Roofing | Metal Roofing | a | a |  | Recommend Approval | Revised
14421-R1 | C.K. Screens, Inc. | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
14517-R3 | Exteria Building Products | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
14558-R2 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14573-R1 | Chem-Pruf Door Co., Ltd. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
14580-R1 | Ross Manufacturing, LLC | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
14664-R1 | VuSafe Industries, LLC | Shutters | Storm Panels | a | a |  | Recommend Approval | Revision
14682-R2 | Four Seasons Solar Products LLC | Windows | Fixed | a | a |  | Recommend Approval | Revision
14766-R1 | The Foundry | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
14787-R1 | Simonton Windows | Windows | Mullions | a | a |  | Recommend Approval | Revision
14937-R1 | Silverline Building Products Corp. | Windows | Casement | a | a |  | Recommend Approval | Revision
14975-R2 | Bayer Material Science LLC | Roofing | Cements-Adhesives-Coatings | a | a |  | Recommend Approval | Revision
15006-R1 | VEKA Inc. | Windows | Fixed | a | a |  | Recommend Approval | Revision
15012-R1 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision Deferred
15090-R1 | OLDCASTLE BUILDING ENVELOPE | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
15103 | OLDCASTLE BUILDING ENVELOPE | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
15210-R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
15212-R2 | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
15217-R1 | General Aluminum Company | Windows | Single Hung | a | a |  | Recommend Approval | Revision
15263-R1 | Ply Gem Windows | Windows | Mullions | a | a |  | Recommend Approval | Revision
15337 | Altech Panel Systems, Inc. | Panel Walls | Siding | a | a |  | Recommend Approval | New
15353 | MI Windows and Doors | Windows | Mullions | a | a |  | Recommend Approval | New
15407 | Vi Win Tech | Windows | Double Hung | a | a |  | Recommend Approval | New
15408 | Vi Win Tech | Windows | Fixed | a | a |  | Recommend Approval | New
15409 | Vi Win Tech | Windows | Single Hung | a | a |  | Recommend Approval | New
15410 | Vi Win Tech | Windows | Casement | a | a |  | Recommend Approval | New
15420 | Tubelite Inc. | Windows | Awning | a | a |  | Recommend Approval | New
15421 | Tubelite Inc. | Windows | Casement | a | a |  | Recommend Approval | New
15424 | Hurst Awning Company Inc. | Shutters | Colonial | a | a |  | Recommend Approval | New
15490-R1 | Trulite Window & Door Solutions, LLC | Windows | Single Hung | a | a |  | Recommend Approval | Editorial Change
15493 | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15497-R1 | Andersen Corporation | Windows | Double Hung | a | a |  | Recommend Approval | Revision
15517 | Exterior Portfolio, LLC | Panel Walls | Siding | a | a |  | Recommend Approval | New
15527-R1 | Croft,LLC | Windows | Mullions | a | a |  | Recommend Approval | Revision
15534-R1 | Simonton Windows | Windows | Mullions | a | a |  | Recommend Approval | Revision
15539 | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15544 | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15548 | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15560-R1 | Fleetwood Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
15566 | Tubelite Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15567 | Tubelite Inc. | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
15568 | Tubelite Inc. | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | New
15570 | Lafarge North America | Panel Walls | Siding | a | a |  | Recommend Approval | New
15605 | General Aluminum Company | Windows | Fixed | a | a |  | Recommend Approval | New
15606 | General Aluminum Company | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
15610 | All American Shutters of Pensacola | Shutters | Storm Panels | a | a |  | Recommend Approval | New
15628 | EFCO Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
15629 | JELD-WEN | Windows | Double Hung | a | a |  | Recommend Approval | New
15631 | Wincore Window Company, LLC | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15639 | Trulite Window & Door Solutions, LLC | Windows | Single Hung | a | a |  | Recommend Approval | New
15644 | Escon Doors | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15653 | EFCO Corporation | Windows | Fixed | a | a |  | Recommend Approval | New
15655 | Brannen Millwork Company | Windows | Fixed | a | a |  | Recommend Approval | New
15656 | Hurst Awning Company Inc. | Shutters | Accordion | a | a |  | Recommend Approval | New
15657 | Hurst Awning Company Inc. | Shutters | Storm Panels | a | a |  | Recommend Approval | New
15658 | Hurst Awning Company Inc. | Shutters | Roll-up | a | a |  | Recommend Approval | New
15662 | Hurst Awning Company Inc. | Shutters | Roll-up | a | a |  | Recommend Approval | New
15690 | Drexel Metals, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
15691 | CertainTeed Corporation Siding Products | Panel Walls | Soffits | a | a |  | Recommend Approval | New
15692 | CertainTeed Corporation-Roofing | Roofing | Underlayments | a | a |  | Recommend Approval | New
15694 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a |  | Recommend Approval | New
15697 | CROCI NORTH AMERICA | Shutters | Colonial | a | a |  | Recommend Approval | New
15698 | Hurst Awning Company Inc. | Shutters | Bahama | a | a |  | Recommend Approval | New
15701 | Smartglass, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
15705 | Windoor Incorporated | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15706 | Windoor Incorporated | Windows | Mullions | a | a |  | Recommend Approval | New
15708 | Windoor Incorporated | Windows | Mullions | a | a |  | Recommend Approval | New
15709 | Windoor Incorporated | Windows | Fixed | a | a |  | Recommend Approval | New
15713 | Tubelite Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15715 | Hurst Awning Company Inc. | Shutters | Accordion | a | a |  | Recommend Approval | New
15716 | Mid Florida Metal Roofing Supply/Supplies, Inc. | Structural Components | Roof Deck | a | a |  | Recommend Approval | New
15723 | Andersen Corporation | Windows | Fixed | a | a |  | Recommend Approval | New
15726 | T M Windows LLC | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
15727 | Andersen Corporation | Windows | Awning | a | a |  | Recommend Approval | New
15728 | Andersen Corporation | Windows | Casement |  | a |  |  | New
15729 | YKK AP America | Windows | Mullions | a | a |  | Recommend Approval | New
15734 | ALUCOM, LLC | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
15737 | Brannen Millwork Company | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15744 | Buckingham Slate Company | Roofing | Roofing Slate | a | a |  | Recommend Approval | New
15750 | RM Enterprises, Inc. | Structural Components | Anchors | a | a |  | Recommend Approval | New
15751 | Millwork Artisans, LLC | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15752 | Andersen Corporation | Windows | Double Hung | a | a |  | Recommend Approval | New
Evaluation by Test Report - TBA Reviewers Recommend Approval
11143-R2 | Metal-Era, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a |  | Recommend Approval | Revision
14499 | Neptune Coatings Corporation | Roofing | Liquid Applied Roof Systems | a | a |  | Recommend Approval | New
15569 | Dan's Custom Sheet Metal, Inc. | Roofing | Metal Roofing | a | a |  | Recommend Approval | New
15748 | Tubelite Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15753 | Tubelite Inc. | Panel Walls | Curtain Walls | a | a |  | Recommend Approval | New
Evaluation by Evaluation Entity - TBA Reviewers Recommend Approval
3505-R5 | Hanson Roof Tile | Roofing | Roofing Tiles | a | a |  | Recommend Approval | Revision
7987-R3 | MiTek Industries, Inc. | Structural Components | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | Revision
8283-R2 | Tamlyn | Structural Components | Wood Connectors | a | a |  | Recommend Approval | Revision
10007-R5 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors | a | a |  | Recommend Approval | Revision
12201-R1 | KP Building Products Inc | Panel Walls | Siding | a | a |  | Recommend Approval | Revision
12487-R1 | Parex USA, Incorporated | Panel Walls | Exterior Insulation Finish System | a | a |  | Recommend Approval | Revision
14101-R3 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors | a | a |  | Recommend Approval | Revision
14324-R1 | Besam AES | Exterior Doors | Automatic Exterior Door Assemblies | a | a |  | Recommend Approval | Revision
15027 | Pli-Dek | Roofing | Products Introduced as a Result of New Technology | a | a |  | Recommend Approval | New
15608 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors | a | a |  | Recommend Approval | New
15638 | MiTek Industries, Inc. | Structural Components | Truss Plates | a | a |  | Recommend Approval | New
15663 | Sunshine Windows Manufacturing Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
15664 | Sunshine Windows Manufacturing Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
15665 | Sunshine Windows Manufacturing Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
15668 | Sunshine Windows Manufacturing Inc. | Windows | Single Hung | a | a |  | Recommend Approval | New
15669 | Sunshine Windows Manufacturing Inc. | Windows | Single Hung | a | a |  | Recommend Approval | New
15671 | Sunshine Windows Manufacturing Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
15672 | Sunshine Windows Manufacturing Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
15673 | Sunshine Windows Manufacturing Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
15674 | Sunshine Windows Manufacturing Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a |  | Recommend Approval | New
15675 | Sunshine Windows Manufacturing Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15676 | Sunshine Windows Manufacturing Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15677 | Sunshine Windows Manufacturing Inc. | Windows | Casement | a | a |  | Recommend Approval | New
15678 | Sunshine Windows Manufacturing Inc. | Windows | Casement | a | a |  | Recommend Approval | New
15679 | Sunshine Windows Manufacturing Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
15681 | Sunshine Windows Manufacturing Inc. | Windows | Horizontal Slider | a | a |  | Recommend Approval | New
15682 | Sunshine Windows Manufacturing Inc. | Windows | Mullions | a | a |  | Recommend Approval | New
15683 | Sunshine Windows Manufacturing Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a |  | Recommend Approval | New
15684 | Sunshine Windows Manufacturing Inc. | Panel Walls | Storefronts | a | a |  | Recommend Approval | New
15685 | Sunshine Windows Manufacturing Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
15686 | Sunshine Windows Manufacturing Inc. | Windows | Fixed | a | a |  | Recommend Approval | New
15730 | Simpson Strong-Tie Co. | Structural Components | Anchors | a | a |  | Recommend Approval | New
15731 | Simpson Strong-Tie Co. | Structural Components | Anchors | a | a |  | Recommend Approval | New
Entities - TBA Reviewers Recommend Approval
QUA1673 | Intertek Testing Services NA Inc.- ETL/Warnock Hersey | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
QUA1680 | PFS Corporation | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
QUA1789 | National Accreditation and Management Institute | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
QUA3096 | CI Professional Services | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
QUA7318 | Lenard Gabert and Associates | Product Quality Assurance |  | a | a |  | Recommend Approval | Revision
TST1509 | Intertek Testing Services NA Ltd. | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST2469 | IBA Consultants | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST4205 | Progressive Engineering, Inc. | Product Testing Laboratory |  | a | a |  | Recommend Approval | Revision
TST9763 | AMCA International, Inc. | Product Testing Laboratory |  | a | a |  | Recommend Approval | New
TST9778 | Element Materials Technology | Product Testing Laboratory |  | a | a |  | Recommend Approval | New
Discussion Items
9159-R3 | MasterCraft Engineering | Structural Components | Wood Connectors | c | c |  | The evaluation report on-line shows signed and sealed with a Georgia PE seal. The evaluation hardcopy also shows the Georgia PE seal and has a Florida PE raised seal. The permanent record will be the on-line copy that does not show the Florida seal. Recommend Conditional Approval with condition of: Provide on-line copy of evaluation report showing signature, date and Florida PE seal. | Revision
12098-R2 | Nichiha USA, Inc. | Panel Walls | Siding | c | c |  | Installation instructions indicate use on an OSB substrate. These OSB panels have not shown compliance with HVHZ requirements in accordance with Sect. 2315.1.11. Recommend Conditional Approval with condition of: On limits of use of application indicate "Within HVHZ this products may not be used with OSB sheating." | Revision
15272 | Alside | Panel Walls | Soffits | a | a |  | Upon final review a question arose on compliance with ASTM D4477. Applicant indicated that it was indicated on "Equivalency of Standards Section". Recommend Approval. | New
13083-R1 | Gentek Building Products | Panel Walls | Soffits | a | a |  | Upon final review a question arose on compliance with ASTM D4477. Applicant indicated that it was indicated on "Equivalency of Standards Section". Recommend Approval. | Revision
13244-R1 | RIFFE Metals LLC. | Roofing | Metal Roofing | c | c |  | Limits of use indicate "No" for use within HVHZ. Description of products indicates HVHZ. Recommend Conditional Approval with condition of: Remove from description of products the term "HVHZ". | Revision
13438-R1 | RIFFE Metals LLC. | Roofing | Metal Roofing | c | c |  | Limits of use indicate "No" for use within HVHZ. Description of products indicates HVHZ. Recommend Conditional Approval with condition of: Remove from description of products the term "HVHZ". | Revision
15710 | YKK AP America | Windows | Mullions | d | c |  | The preliminary deadline for this period was 6/22/2012 and the completion deadline was 6/28/2012. This application was validated on 6/25/2012 and hardcopies of evaluation and validation were received on 6/28/2012. Application was reviewed on 6/28/2012 and comment was sent indicating: "Mullion missile level is not indicated." There was not time left for revision of the application to indicate the missing limit. Typically mullions indicate the level of missile impact. As Administrator we need to comply with established deadlines and Recommend Conditional Approval with condition of: Provide missile level of mullion impact resistance. | New
15718 | Greenheck Fan Corporation | Panel Walls | Wall Louver | d | c |  | The evaluation report does not indicate testing to TAS 201/202/203 therefore is not compliant to be used within HVHZ. The evaluation report does refer to another application for the product(s) that have been approved for within HVHZ. Discussing with applicant the need to have the evaluator indicate the tested standards for compliance applicant has agreed to revise the application indicating "No" for use within HVHZ. Application was completed after preliminary deadline and validated on 6/27/2012 with a completion deadline of 6/28/2012. Recommend Conditional Approval with condition of: Indicate "No" for use within HVHZ. | New
15718 | Public Comment by Jaime Gascon | [5 empty] | AMCA 540 has not been deemed equivalent to TAS201 and TAS203 for use in the HVHZ. Therefore, indicate "no" for use in the HVHZ.
15719 | Greenheck Fan Corporation | Panel Walls | Wall Louver | d | c |  | The evaluation report does not indicate testing to TAS 201/202/203 therefore is not compliant to be used within HVHZ. The evaluation report does refer to another application for the product(s) that have been approved for within HVHZ. Discussing with applicant the need to have the evaluator indicate the tested standards for compliance applicant has agreed to revise the application indicating "No" for use within HVHZ. Application was completed after preliminary deadline and validated on 6/27/2012 with a completion deadline of 6/28/2012. Recommend Conditional Approval with condition of: Indicate "No" for use within HVHZ. | New
15719 | Public Comment by Jaime Gascon | [5 empty] | AMCA 540 has not been deemed equivalent to TAS201 and TAS203 for use in the HVHZ. Therefore, indicate "no" for use in the HVHZ.
15720 | The Airolite Company, LLC | Panel Walls | Wall Louver | d | c |  | The evaluation report does not indicate testing to TAS 201/202/203 therefore is not compliant to be used within HVHZ. The evaluation report does refer to another application for the product(s) that have been approved for within HVHZ. Discussing with applicant the need to have the evaluator indicate the tested standards for compliance applicant has agreed to revise the application indicating "No" for use within HVHZ. Application was completed after preliminary deadline and validated on 6/27/2012 with a completion deadline of 6/28/2012. Recommend Conditional Approval with condition of: Indicate "No" for use within HVHZ. | New
15720 | Public Comment by Jaime Gascon | [5 empty] | AMCA 540 has not been deemed equivalent to TAS201 and TAS203 for use in the HVHZ. Therefore, indicate "no" for use in the HVHZ.
15721 | The Airolite Company, LLC | Panel Walls | Wall Louver | d | c |  | The evaluation report does not indicate testing to TAS 201/202/203 therefore is not compliant to be used within HVHZ. The evaluation report does refer to another application for the product(s) that have been approved for within HVHZ. Discussing with applicant the need to have the evaluator indicate the tested standards for compliance applicant has agreed to revise the application indicating "No" for use within HVHZ. Application was completed after preliminary deadline and validated on 6/27/2012 with a completion deadline of 6/28/2012. Recommend Conditional Approval with condition of: Indicate "No" for use within HVHZ. | New
15721 | Public Comment by Jaime Gascon | [5 empty] | AMCA 540 has not been deemed equivalent to TAS201 and TAS203 for use in the HVHZ. Therefore, indicate "no" for use in the HVHZ.
15087 | Ply Gem Siding Group | Panel Walls | Soffits | y | y |  | At the June 2012 meeting this application was presented as a discussion item with a dicussion scope ot the use of use of "pressure equalization factor" for the evaluation of PVC soffits. Evaluator indicated at the meeting that this factor was not used, although the evaluation report indicated the use. To verify the new assertion by evaluator the application received a conditional approval with condition of "Submit to Administrator tests and calculations for Administrator disposition". The applicant submitted calculations and references to test reports on both the PVC and the aluminum soffits. | Con-ditional
15087 | (Continuation) | [5 empty] | Upon review of the submitted information the following was noted: 1. The documents indicate compliance with the 2001 Florida Building Code (not 2010 FBC). 2. The tested specimens were supported at spans between 10" and 16". 3. Evaluator used rational analysis based on anchor resistance to extrapolate use of the products on spans of up to 24". 4. The 2010 FBC on Section 1715.9 Soffit on 1715.9. indicates that: ...Manufactured soffits shall be tested at 1.5 times the design pressure.... and ...soffit system component or components provide equal or greater structural performance and durability as demonstrated by testing in accordance with approved test standards... Based on these points Recommend Denial
15108 | Ply Gem Siding Group | Panel Walls | Soffits | y | y |  | At the June 2012 meeting this application was presented as a discussion item with a dicussion scope ot the use of use of "pressure equalization factor" for the evaluation of PVC soffits. Evaluator indicated at the meeting that this factor was not used, although the evaluation report indicated the use. To verify the new assertion by evaluator the application received a conditional approval with condition of "Submit to Administrator tests and calculations for Administrator disposition". The applicant submitted calculations and references to test reports on both the PVC and the aluminum soffits. | Con-ditional
15108 | (Continuation) | [5 empty] | Upon review of the submitted information the following was noted: 1. The documents indicate compliance with the 2001 Florida Building Code (not 2010 FBC). 2. The tested specimens were supported at spans between 10" and 16". 3. Evaluator used rational analysis based on anchor resistance to extrapolate use of the products on spans of up to 24". 4. The 2010 FBC on Section 1715.9 Soffit on 1715.9. indicates that: ...Manufactured soffits shall be tested at 1.5 times the design pressure.... and ...soffit system component or components provide equal or greater structural performance and durability as demonstrated by testing in accordance with approved test standards... Based on these points Recommend Denial
15138 | Ply Gem Siding Group | Panel Walls | Soffits | y | y |  | At the June 2012 meeting this application was presented as a discussion item with a dicussion scope ot the use of use of "pressure equalization factor" for the evaluation of PVC soffits. Evaluator indicated at the meeting that this factor was not used, although the evaluation report indicated the use. To verify the new assertion by evaluator the application received a conditional approval with condition of "Submit to Administrator tests and calculations for Administrator disposition". The applicant submitted calculations and references to test reports on both the PVC and the aluminum soffits. | Con-ditional
15138 | (Continuation) | [5 empty] | Upon review of the submitted information the following was noted: 1. The documents indicate compliance with the 2001 Florida Building Code (not 2010 FBC). 2. The tested specimens were supported at spans between 10" and 16". 3. Evaluator used rational analysis based on anchor resistance to extrapolate use of the products on spans of up to 24". 4. The 2010 FBC on Section 1715.9 Soffit on 1715.9. indicates that: ...Manufactured soffits shall be tested at 1.5 times the design pressure.... and ...soffit system component or components provide equal or greater structural performance and durability as demonstrated by testing in accordance with approved test standards... Based on these points Recommend Denial
15147 | Ply Gem Siding Group | Panel Walls | Soffits | y | y |  | At the June 2012 meeting this application was presented as a discussion item with a dicussion scope ot the use of use of "pressure equalization factor" for the evaluation of PVC soffits. Evaluator indicated at the meeting that this factor was not used, although the evaluation report indicated the use. To verify the new assertion by evaluator the application received a conditional approval with condition of "Submit to Administrator tests and calculations for Administrator disposition". The applicant submitted calculations and references to test reports on both the PVC and the aluminum soffits. | Con-ditional
15147 | (Continuation) | [5 empty] | Upon review of the submitted information the following was noted: 1. The documents indicate compliance with the 2001 Florida Building Code (not 2010 FBC). 2. The tested specimens were supported at spans between 10" and 16". 3. Evaluator used rational analysis based on anchor resistance to extrapolate use of the products on spans of up to 24". 4. The 2010 FBC on Section 1715.9 Soffit on 1715.9. indicates that: ...Manufactured soffits shall be tested at 1.5 times the design pressure.... and ...soffit system component or components provide equal or greater structural performance and durability as demonstrated by testing in accordance with approved test standards... Based on these points Recommend Denial
Public Comments
15476 | Schnee-Morehead, Inc., an ITW company | Roofing | Cements-Adhesives-Coatings | a |  |  | Recommend Approval | New
15476 | Public Comment by Jaime Gascon | [5 empty] | Limits of use must indicate that the deck must be fastened as required by FBC R803.2.3.1 or 2304.9.2. See also R4402.10.5, R4409.9.2.8, 1521.5 and 2322.2.8, indicative of required fastening. Else, limit not for use in the HVHZ.
15476 | Public Comment by Jason Hoerter | [5 empty] | In the FL15476 application, it states that the product “May be used in the High Velocity Hurricane Zone.” I do not believe they have completed the necessary testing to comply with the intent of the HVHZ code. There are two manufacturers who have obtained NOAs on their wind-uplift spray polyurethane foam adhesive to be used in the HVHZ. Below are links to these two NOAs. Dow – 10-0901.21 - http://www.miamidade.gov/building/library/productcontrol/noa/10090121.pdf BASF – 10-0304.02 - http://www.miamidade.gov/building/library/productcontrol/noa/10030402.pdf
15476 | Public Comment by Jason Hoerter (Cont.) | [5 empty] | In each Miami Dade NOA, they list a set of laboratory tests that were conducted on their products. This list does not appear in the FL15476 application. One such test of importance to wind-uplift that does not appear in the FL15476 application is TAS 203. Additionally, in the two cited NOA’s they report the Allowable Design Uplift Resistance with a safety factor of 2, not 1.5. as depicted in FL15476. I recommend that the approval is revised as it is stated in other FL reports, “This report does not evaluate the use of this product for use in the High Velocity Hurricane Zone code section.
15476 | Response by Jucas Turner | [5 empty] | Thank you for these comments. This same product was approved for HVHZ under the 2007 code via FL11926, under the previous company name ITW Futura Coatings (the name change prompted the new FL number rather than a revision to FL11926). I am in agreement to indicate compliance with the mechanical fastening requirements in Limits of Use as Mr. Gascon recommended, as this Foamseal/SF2100 product is intended to supplement and not replace proper roof deck fastening. I would ask that the Product Approval POC vote on this application in the July 26th meeting as a Conditional Approval, with the condition of changing the Limits of Use section as indicated.
15476 | Response by Jucas Turner (Cont.) | [5 empty] | In response to Mr. Hoerter, with the burning/ignition properties tested as required in FBC sect. 2612.2 definition of Approved Foam Plastic for the HVHZ, with the mechanical fastening requirements clarified as indicated above to ensure structural adequacy, and the intended use of this product, I believe it does meet the intent of the FBC for use in HVHZ. The 1.5 factor of safety stems from the TAS 202 and ASTM E 330 standards employed in the product testing; however the deflection-limited structural test pressure and ultimate pressures of the product in the testing are provided in the evaluation report so any factor of safety may be employed as desired by the Authority Having Jurisdiction.
15476 | Analysis and Recommendation by Administrator |  |  | c | c |  | The Sections of the building code cited by Mr. Gascon relate to the issue of nailing requirements of sheating when re-roofing. It shall be noted that Sect. 2304.9.4 (outside HVHZ) allows the use of glues. Although the use of the product could be associated with re-roofing it would not always be case. Similar products have been approved including within HVHZ as indicated by the referred FL11926 (2007 FBC). The building code does not address specific testing requirements for these products and therefore the evaluator used Method 2 on the application. The testing provided would be applicable to this type of products. On the issue of the factor of safety, the deflection limited and ultimate pressure tested would be consistent with requirements although a 2 to 1 safety factor would produce a design load of 116 psf instead of the indicated 120 psf. Recommend Conditional Approval with condition of: indicate on the limits of use a Design Pressure of -116 psf.