## Results
Florida HERS BESTEST results for: | [5 empty] | Software Name: | Wrightsoft Right-Energy® Simulation v1.0 Sun 09-Jul-17 11:08:24 pm
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Annual Heating Loads: Orlando | [5 empty] | Annual Heating Load deltas: Orlando
| Heating | range max | range min | Result | pass/fail |  | Heating | range max | range min | Result | pass/fail
| L100AO | 10.56 | 1.54 | 5.2209 | pass |  | L110AO-L100AO | 8.15 | -0.05 | 4.5052 | pass
| L110AO | 14.71 | 5.54 | 9.7261 | pass |  | L120AO-L100AO | 2.39 | -5.99 | -1.8981 | pass
| L120AO | 8.57 | -0.44 | 3.3228 | pass |  | L130AO-L100AO | 2.15 | -6.7 | -1.5445 | pass
| L130AO | 7.86 | -0.48 | 3.6764 | pass |  | L140AO-L100AO | 2.52 | -6.22 | -0.93175 | pass
| L140AO | 8.34 | -0.05 | 4.2891 | pass |  | L150AO-L100AO | 3.2 | -5.17 | -0.92344 | pass
| L150AO | 9.55 | 0.37 | 4.2974 | pass |  | L155AO-L100AO | 4.41 | -3.69 | 0.43573 | pass
| L155AO | 9.95 | 0.78 | 4.7332 | pass |  | L160AO-L100AO | 4.28 | -3.85 | -0.04954 | pass
| L160AO | 10.71 | 1.74 | 5.1713 | pass |  | L170AO-L100AO | 8.11 | -0.81 | 3.612 | pass
| L170AO | 14.37 | 4.78 | 8.8329 | pass |  | L200AO-L100AO | 18.99 | 7.81 | 15.118 | pass
| L200AO | 25.55 | 13.41 | 20.3389 | pass |  | L202AO-L200AO | 4.82 | -3.53 | 1.0766 | pass
| L202AO | 26.24 | 13.87 | 21.4155 | pass |  | L302XO-L100AO | 5.6 | -6.6 | 1.4167 | pass
| L302XO | 12.09 | -0.04 | 6.6376 | pass |  | L302XO-L304XO | 5.73 | -3.18 | 1.4738 | pass
| L304XO | 10.36 | -0.97 | 5.1638 | pass |  | L322XO-L100AO | 8.26 | -6.12 | 3.9244 | pass
| L322XO | 14.82 | -0.25 | 9.1452 | pass |  | L322XO-L324XO | 8.67 | -2.65 | 4.259 | pass
| L324XO | 10.15 | -1.87 | 4.8862 | pass
Annual Cooling Loads: Orlando | [5 empty] | Annual Cooling Load deltas: Orlando
| Cooling | range max | range min | Result | pass/fail |  | Cooling | range max | range min | Result | pass/fail
| L100AO | 55.152 | 39.34 | 43.6841 | pass |  | L110AO-L100AO | 4.49 | -3.73 | 0.6174 | pass
| L110AO | 55.6456 | 39.61 | 44.3015 | pass |  | L120AO-L100AO | 2.77 | -6.89 | -2.4241 | pass
| L120AO | 51.57 | 38.11 | 41.26 | pass |  | L130AO-L100AO | -10.24 | -20.76 | -13.9812 | pass
| L130AO | 38.46 | 25.1 | 29.7029 | pass |  | L140AO-L100AO | -22.79 | -34.56 | -26.7842 | pass
| L140AO | 24.75 | 12.55 | 16.8999 | pass |  | L150AO-L100AO | 13.53 | 3.61 | 6.8146 | pass
| L150AO | 65.6172 | 46.5362 | 50.4987 | pass |  | L155AO-L150AO | -3.42 | -16.21 | -7.1169 | pass
| L155AO | 53.2 | 39.53 | 43.3818 | pass |  | L160AO-L100AO | 7.68 | -0.69 | 4.8039 | pass
| L160AO | 58.8955 | 42.65 | 48.488 | pass |  | L170AO-L100AO | -6.39 | -17.76 | -11.43 | pass
| L170AO | 40.63 | 28.95 | 32.2541 | pass |  | L200AO-L100AO | 10.77 | -1.59 | 9.3782 | pass
| L200AO | 63.082 | 40.8113 | 53.0623 | pass |  | L202AO-L200AO | 13.49 | 1.06 | 11.0757 | pass
| L202AO | 53.1085 | 36.5115 | 41.9866 | pass

## Plot_data
Chart plot data
Chart 1 | L100AO | L110AO | L120AO | L130AO | L140AO | L150AO | L155AO | L160AO
max | 10.56 | 14.71 | 8.57 | 7.86 | 8.34 | 9.55 | 9.95 | 10.71
min | 1.54 | 5.54 | -0.44 | -0.48 | -0.05 | 0.37 | 0.78 | 1.74
avg | 6.05 | 10.125 | 4.065 | 3.69 | 4.145 | 4.96 | 5.365 | 6.225
result | 5.2209 | 9.7261 | 3.3228 | 3.6764 | 4.2891 | 4.2974 | 4.7332 | 5.1713
Chart 2 | L170AO | L200AO | L202AO | L302XO | L304XO | L322XO | L324XO
max | 14.37 | 25.55 | 26.24 | 12.09 | 10.36 | 14.82 | 10.15
min | 4.78 | 13.41 | 13.87 | -0.04 | -0.97 | -0.25 | -1.87
avg | 9.575 | 19.48 | 20.055 | 6.025 | 4.695 | 7.285 | 4.14
result | 8.8329 | 20.3389 | 21.4155 | 6.6376 | 5.1638 | 9.1452 | 4.8862
Chart 3 | L110AO-L100AO | L120AO-L100AO | L130AO-L100AO | L140AO-L100AO | L150AO-L100AO | L155AO-L100AO | L160AO-L100AO
max | 8.15 | 2.39 | 2.15 | 2.52 | 3.2 | 4.41 | 4.28
min | -0.05 | -5.99 | -6.7 | -6.22 | -5.17 | -3.69 | -3.85
avg | 4.05 | -1.8 | -2.275 | -1.85 | -0.985 | 0.36 | 0.215
result | 4.5052 | -1.8981 | -1.5445 | -0.93175 | -0.92344 | 0.43573 | -0.04954
Chart 4 | L170AO-L100AO | L200AO-L100AO | L202AO-L200AO | L302XO-L100AO | L302XO-L304XO | L322XO-L100AO | L322XO-L324XO
max | 8.11 | 18.99 | 4.82 | 5.6 | 5.73 | 8.26 | 8.67
min | -0.81 | 7.81 | -3.53 | -6.6 | -3.18 | -6.12 | -2.65
avg | 3.65 | 13.4 | 0.645 | -0.5 | 1.275 | 1.07 | 3.01
result | 3.612 | 15.118 | 1.0766 | 1.4167 | 1.4738 | 3.9244 | 4.259
Chart 5 | L100AO | L110AO | L120AO | L130AO | L140AO | L150AO
max | 55.152 | 55.6456 | 51.57 | 38.46 | 24.75 | 65.6172
min | 39.34 | 39.61 | 38.11 | 25.1 | 12.55 | 46.5362
avg | 47.246 | 47.6278 | 44.84 | 31.78 | 18.65 | 56.0767
result | 43.6841 | 44.3015 | 41.26 | 29.7029 | 16.8999 | 50.4987
Chart 6 | L155AO | L160AO | L170AO | L200AO | L202AO
max | 53.2 | 58.8955 | 40.63 | 63.082 | 53.1085
min | 39.53 | 42.65 | 28.95 | 40.8113 | 36.5115
avg | 46.365 | 50.7728 | 34.79 | 51.9467 | 44.81
result | 43.3818 | 48.488 | 32.2541 | 53.0623 | 41.9866
Chart 7 | L110AO-L100AO | L120AO-L100AO | L130AO-L100AO | L140AO-L100AO | L150AO-L100AO
max | 4.49 | 2.77 | -10.24 | -22.79 | 13.53
min | -3.73 | -6.89 | -20.76 | -34.56 | 3.61
avg | 0.38 | -2.06 | -15.5 | -28.675 | 8.57
result | 0.6174 | -2.4241 | -13.9812 | -26.7842 | 6.8146
Chart 8 | L155AO-L150AO | L160AO-L100AO | L170AO-L100AO | L200AO-L100AO | L202AO-L200AO
max | -3.42 | 7.68 | -6.39 | 10.77 | 13.49
min | -16.21 | -0.69 | -17.76 | -1.59 | 1.06
avg | -9.815 | 3.495 | -12.075 | 4.59 | 7.275
result | -7.1169 | 4.8039 | -11.43 | 9.3782 | 11.0757

## Table 3-1
TABLE 3-1. HERS BESTEST Tier 1 Reference Results: Annual Heating and Cooling Loads
Orlando, FL | [10 empty] | Orlando, FL
Annual Heating (MBtu/y) |  |  | SERIRES/ |  |  |  |  | 2.92 | Acceptance Criteria |  | Annual Cooling (MBtu/y) |  |  | SERIRES/ | [5 empty] | Acceptance Criteria
Case # | BLAST | DOE2 | SUNCODE | mean | max | min | stdev | 90%CI | + Range | - Range | Case # | BLAST | DOE2 | SUNCODE | mean | max | min | stdev | 90%CI | + Range | - Range
L100AO | 5.59 | 5.54 | 6.56 | 5.8967 | 6.56 | 5.54 | 0.57501 | 1.1872 | 10.56 | 1.54 | L100AO | 43.34 | 50.39 | 48.81 | 47.5133 | 50.39 | 43.34 | 3.6995 | 7.6386 | 55.152 | 39.34
L110AO | 9.54 | 9.69 | 10.71 | 9.98 | 10.71 | 9.54 | 0.63663 | 1.3145 | 14.71 | 5.54 | L110AO | 43.61 | 50.72 | 49.3 | 47.8767 | 50.72 | 43.61 | 3.7626 | 7.7689 | 55.6456 | 39.61
L120AO | 3.99 | 3.56 | 4.57 | 4.04 | 4.57 | 3.56 | 0.50685 | 1.0465 | 8.57 | -0.44 | L120AO | 42.11 | 47.57 | 45.93 | 45.2033 | 47.57 | 42.11 | 2.8016 | 5.7846 | 51.57 | 38.11
L130AO | 3.52 | 3.69 | 3.86 | 3.69 | 3.86 | 3.52 | 0.17 | 0.35101 | 7.86 | -0.48 | L130AO | 29.1 | 34.46 | 32.06 | 31.8733 | 34.46 | 29.1 | 2.6849 | 5.5436 | 38.46 | 25.1
L140AO | 3.95 | 4.06 | 4.34 | 4.1167 | 4.34 | 3.95 | 0.20108 | 0.41518 | 8.34 | -0.05 | L140AO | 16.55 | 20.75 | 18.26 | 18.52 | 20.75 | 16.55 | 2.112 | 4.3608 | 24.75 | 12.55
L150AO | 4.8 | 4.37 | 5.55 | 4.9067 | 5.55 | 4.37 | 0.59719 | 1.233 | 9.55 | 0.37 | L150AO | 50.95 | 59.92 | 57.36 | 56.0767 | 59.92 | 50.95 | 4.6207 | 9.5405 | 65.6172 | 46.5362
L155AO | 5.1 | 4.78 | 5.95 | 5.2767 | 5.95 | 4.78 | 0.60468 | 1.2485 | 9.95 | 0.78 | L155AO | 43.53 | 47.71 | 49.2 | 46.8133 | 49.2 | 43.53 | 2.9394 | 6.0692 | 53.2 | 39.53
L160AO | 5.74 | 5.81 | 6.71 | 6.0867 | 6.71 | 5.74 | 0.54096 | 1.1169 | 10.71 | 1.74 | L160AO | 46.65 | 54.07 | 52.13 | 50.95 | 54.07 | 46.65 | 3.8482 | 7.9455 | 58.8955 | 42.65
L170AO | 8.78 | 9.65 | 10.37 | 9.6 | 10.37 | 8.78 | 0.79618 | 1.6439 | 14.37 | 4.78 | L170AO | 32.95 | 36.63 | 36.61 | 35.3967 | 36.63 | 32.95 | 2.1189 | 4.375 | 40.63 | 28.95
L200AO | 17.41 | 19.28 | 21.55 | 19.4133 | 21.55 | 17.41 | 2.0732 | 4.2807 | 25.55 | 13.41 | L200AO | 45.75 | 54.51 | 55.58 | 51.9467 | 55.58 | 45.75 | 5.3931 | 11.1354 | 63.082 | 40.8113
L202AO | 17.87 | 20.11 | 22.24 | 20.0733 | 22.24 | 17.87 | 2.1852 | 4.512 | 26.24 | 13.87 | L202AO | 40.69 | 45.02 | 48.72 | 44.81 | 48.72 | 40.69 | 4.0191 | 8.2985 | 53.1085 | 36.5115
L302AO | 7.14 | 7.14 | 8.09 | 7.4567 | 8.09 | 7.14 | 0.54848 | 1.1325 | 12.09 | 3.14
L302BO | 4 | 4.1 | 3.96 | 4.02 | 4.1 | 3.96 | 0.072111 | 0.14889 | 8.1 | -0.04
L304AO | 5.66 | 5.69 | 6.36 | 5.9033 | 6.36 | 5.66 | 0.39577 | 0.81717 | 10.36 | 1.66
L304BO | 3.18 | 3.08 | 3.03 | 3.0967 | 3.18 | 3.03 | 0.076376 | 0.1577 | 7.18 | -0.97
L322A1O | 9.28 | 9.79 | 10.42 | 9.83 | 10.42 | 9.28 | 0.57105 | 1.1791 | 14.42 | 5.28
L322A2O | 8.94 | 8.67 | 10.82 | 9.4767 | 10.82 | 8.67 | 1.1712 | 2.4182 | 14.82 | 4.67
L322B1O | 3.75 | 3.96 | 4.44 | 4.05 | 4.44 | 3.75 | 0.35369 | 0.73029 | 8.44 | -0.25
L322B2O | 5.53 | 6.05 | 5.81 | 5.7967 | 6.05 | 5.53 | 0.26026 | 0.53736 | 10.05 | 1.53
L324A1O | 5.49 | 5.64 | 5.94 | 5.69 | 5.94 | 5.49 | 0.22913 | 0.47309 | 9.94 | 1.49
L324A2O | 5.22 | 4.98 | 6.15 | 5.45 | 6.15 | 4.98 | 0.61798 | 1.276 | 10.15 | 0.98
L324B1O | 2.4 | 2.13 | 2.78 | 2.4367 | 2.78 | 2.13 | 0.32655 | 0.67424 | 6.78 | -1.87
L324B2O | 3.7 | 3.57 | 4.05 | 3.7733 | 4.05 | 3.57 | 0.24826 | 0.5126 | 8.05 | -0.43
L302XO | [8 empty] | 12.09 | -0.04
L304XO | [8 empty] | 10.36 | -0.97
L322XO | [8 empty] | 14.82 | -0.25
L324XO | [8 empty] | 10.15 | -1.87

## Table 3-2
Table 3-2. HERS BESTEST Tier 1 Reference Results: Annual Heating and Cooling Load Deltas
Orlando, FL | [10 empty] | Orlando, FL
Delta Annual Heating (MBtu/y) |  |  | SERIRES/ |  |  |  |  | 2.92 | Acceptance Criteria |  | Delta Annual Cooling (MBtu/y) |  |  | SERIRES/ | [5 empty] | Acceptance Criteria
Case | BLAST | DOE2 | SUNCODE | mean | max | min | stdev | 90%CI | + Range | - Range | Case | BLAST | DOE2 | SUNCODE | mean | max | min | stdev | 90%CI | + Range | - Range
L110AO-L100AO | 3.95 | 4.15 | 4.15 | 4.0833 | 4.15 | 3.95 | 0.11547 | 0.23842 | 8.15 | -0.05 | L110AO-L100AO | 0.27 | 0.32 | 0.49 | 0.36 | 0.49 | 0.27 | 0.11533 | 0.23812 | 4.49 | -3.73
L120AO-L100AO | -1.61 | -1.98 | -1.99 | -1.86 | -1.61 | -1.99 | 0.21656 | 0.44715 | 2.39 | -5.99 | L120AO-L100AO | -1.23 | -2.83 | -2.89 | -2.3167 | -1.23 | -2.89 | 0.94156 | 1.9441 | 2.77 | -6.89
L130AO-L100AO | -2.07 | -1.85 | -2.7 | -2.2067 | -1.85 | -2.7 | 0.44117 | 0.91091 | 2.15 | -6.7 | L130AO-L100AO | -14.24 | -15.94 | -16.76 | -15.6467 | -14.24 | -16.76 | 1.2854 | 2.6539 | -10.24 | -20.76
L140AO-L100AO | -1.64 | -1.48 | -2.22 | -1.78 | -1.48 | -2.22 | 0.38936 | 0.80393 | 2.52 | -6.22 | L140AO-L100AO | -26.79 | -29.64 | -30.56 | -28.9967 | -26.79 | -30.56 | 1.9656 | 4.0585 | -22.79 | -34.56
L150AO-L100AO | -0.8 | -1.17 | -1.01 | -0.99333 | -0.8 | -1.17 | 0.18556 | 0.38314 | 3.2 | -5.17 | L150AO-L100AO | 7.61 | 9.53 | 8.55 | 8.5633 | 9.53 | 7.61 | 0.96007 | 1.9823 | 13.53 | 3.61
L155AO-L100AO | 0.31 | 0.41 | 0.4 | 0.37333 | 0.41 | 0.31 | 0.055076 | 0.11372 | 4.41 | -3.69 | L155AO-L150AO | -7.42 | -12.21 | -8.16 | -9.2633 | -7.42 | -12.21 | 2.5786 | 5.3241 | -3.42 | -16.21
L160AO-L100AO | 0.15 | 0.28 | 0.15 | 0.19333 | 0.28 | 0.15 | 0.075056 | 0.15497 | 4.28 | -3.85 | L160AO-L100AO | 3.31 | 3.68 | 3.31 | 3.4333 | 3.68 | 3.31 | 0.21362 | 0.44107 | 7.68 | -0.69
L170AO-L100AO | 3.19 | 4.11 | 3.81 | 3.7033 | 4.11 | 3.19 | 0.46918 | 0.96875 | 8.11 | -0.81 | L170AO-L100AO | -10.39 | -13.76 | -12.2 | -12.1167 | -10.39 | -13.76 | 1.6865 | 3.4823 | -6.39 | -17.76
L200AO-L100AO | 11.81 | 13.75 | 14.99 | 13.5167 | 14.99 | 11.81 | 1.6028 | 3.3094 | 18.99 | 7.81 | L200AO-L100AO | 2.41 | 4.12 | 6.77 | 4.4333 | 6.77 | 2.41 | 2.1968 | 4.5359 | 10.77 | -1.59
L202AO-L200AO | 0.47 | 0.82 | 0.69 | 0.66 | 0.82 | 0.47 | 0.17692 | 0.36529 | 4.82 | -3.53 | L202AO-L200AO | 5.06 | 9.49 | 6.86 | 7.1367 | 9.49 | 5.06 | 2.2279 | 4.6001 | 13.49 | 1.06
L302AO-L100AO | 1.54 | 1.6 | 1.53 | 1.5567 | 1.6 | 1.53 | 0.037859 | 0.07817 | 5.6 | -2.47
L302BO-L100AO | -1.59 | -1.44 | -2.6 | -1.8767 | -1.44 | -2.6 | 0.6309 | 1.3026 | 2.56 | -6.6
L302AO-L304AO | 1.48 | 1.45 | 1.73 | 1.5533 | 1.73 | 1.45 | 0.15373 | 0.31742 | 5.73 | -2.55
L302BO-L304BO | 0.82 | 1.02 | 0.92 | 0.92 | 1.02 | 0.82 | 0.1 | 0.20648 | 5.02 | -3.18
L322A1O-L100AO | 3.69 | 4.25 | 3.86 | 3.9333 | 4.25 | 3.69 | 0.28711 | 0.59282 | 8.25 | -0.31
L322A2O-L100AO | 3.34 | 3.14 | 4.26 | 3.58 | 4.26 | 3.14 | 0.59733 | 1.2333 | 8.26 | -0.86
L322B1O-L100AO | -1.84 | -1.58 | -2.12 | -1.8467 | -1.58 | -2.12 | 0.27006 | 0.55761 | 2.42 | -6.12
L322B2O-L100AO | -0.06 | 0.51 | -0.75 | -0.1 | 0.51 | -0.75 | 0.63095 | 1.3028 | 4.51 | -4.75
L322A1O-L324A1O | 3.78 | 4.15 | 4.47 | 4.1333 | 4.47 | 3.78 | 0.3453 | 0.71296 | 8.47 | -0.22
L322A2O-L324A2O | 3.72 | 3.7 | 4.67 | 4.03 | 4.67 | 3.7 | 0.55435 | 1.1446 | 8.67 | -0.3
L322B1O-L324B1O | 1.35 | 1.83 | 1.67 | 1.6167 | 1.83 | 1.35 | 0.2444 | 0.50463 | 5.83 | -2.65
L322B2O-L324B2O | 1.83 | 2.47 | 1.76 | 2.02 | 2.47 | 1.76 | 0.39128 | 0.8079 | 6.47 | -2.24
L302XO-L100AO | [8 empty] | 5.6 | -6.6
L302XO-L304XO | [8 empty] | 5.73 | -3.18
L322XO-L100AO | [8 empty] | 8.26 | -6.12
L322XO-L324XO | [8 empty] | 8.67 | -2.65