Energy Technical Advisory Committee – Errata

7th Edition (2020) Florida Building Code, Energy Conservation – Residential Provisions

CHAPTER 1 [RE] SCOPE AND ADMINISTRATION

EN-FBC-EC/R-Ch.1-Errata #1

Staff

Errata to remove the reference to Florida REScheck.  This program

does not exist as a compliance tool for the 2020 Florida Energy Code.

TABLE R101.5.1

INDEX TO CODE COMPLIANCE FORMS

| FORM | WHERE FOUND |
| --- | --- |
| Form R402 | Appendix RD |
| Florida REScheck | Computer printout |
| Form R405 | Commission approved software printout |

TAC Recommendation: AS

Commission Action: