Page 1 of 7
8/4/2021
Electrical
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  20
Pending Review
TAC Recommendation
Total Mods for  Electrical in  Pending Review
TAC: 
Electrical
 20
SubCode:
Building
Ü
4-Special Detailed Requirements Based on Use and Occupancy
Section
421.7
 9274 
Chapter
Mod #
Adds section 2702.2.12 as a pointer to the IFC to be consistent with Chapter 12 of the IFC
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
CCC IBC6-20
Staff Classication
Correlates Directly
9-Fire Protection Systems
Section
907.2.12.2
 9778 
Chapter
Mod #
Section 510 in the 2018 IFC uses several different terms to describe the communication system required. This proposal replaces all of these various terms with &quot;emergency communication coverage system&quot;.
9
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
F45-18
Staff Classication
Correlates Directly
10-Means of Egress
Section
1006.2.2.4
 9128 
Chapter
Mod #
The requirements for egress for electrical rooms are not currently addressed in this code, except for where panic or fire exit hardware is used in Section 1010.1.10. Proposal to address.
10
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
E17-18
Staff Classication
Correlates Directly

Page 2 of 7
8/4/2021
Electrical
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  20
Total Mods for  Electrical in  Pending Review
TAC: 
Electrical
 20
Mod #
 9179 
Proponent
1013.4
Section
10
Chapter
Pending Review
A greatly enlarged area of refuge is essentially a horizontal exit.  Tactile signage should be placed at all such locations where passage through the opening results in a greater level of safety.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
E73-18
CC #
Staff Classication
27-Electrical
Mod #
 9806 
Proponent
907.5.2.2.5
Section
27
Chapter
Pending Review
This code change is to provide clarification that the standby power for the EVACs system is to be designed to comply with NFPA 72.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F149-18
CC #
Staff Classication
Mod #
 9821 
Proponent
2702.1.1
Section
27
Chapter
Pending Review
This proposal is intended to provide a third option for protecting fuel lines supplying a generator set inside a high-rise building.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
F196-18
CC #
Staff Classication
35-Referenced Standards

Page 3 of 7
8/4/2021
Electrical
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  20
Total Mods for  Electrical in  Pending Review
TAC: 
Electrical
 20
Section
101
 9124 
Chapter
Mod #
Updates Referenced standards
35
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
ADM47-16
Staff Classication
Correlates Directly
SubCode:
Energy Conservation
Ü
4-[CE] - Commercial Energy Efficiency
Mod #
 8915 
Proponent
405.8.1
Section
4
Chapter
Pending Review
Modifies text of C405.8.1, C405.8.2, C405.8.2.1, C405.9, adding &quot;Mandatory&quot; to sections.  Modification to text of C407.2 to update mandatory sections.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CE212-19
CC #
Staff Classication
Section
405.9
 8917 
Chapter
Mod #
The current requirement for voltage drop in feeder conductors does not include customer-owned service conductors. Proposal to add language concerning this.
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
CE214-19
Staff Classication
Correlates Directly

Page 4 of 7
8/4/2021
Electrical
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  20
Total Mods for  Electrical in  Pending Review
TAC: 
Electrical
 20
Section
405.10
 8918 
Chapter
Mod #
Modification to add new Section C405.10 &quot;Energy Monitoring (Mandatory)&quot;, proposal concerning same.
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
CE215-19
Staff Classication
Energy Standard Needed
Section
405.10
 8919 
Chapter
Mod #
Adds new Section C405.10 &quot;Automatic Receptacle Control&quot;, and provides requirements for Automatic Receptacle Control.
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
CE216-19
Staff Classication
Energy Standard Needed
Section
405.10
 8921 
Chapter
Mod #
Adds new Section C405.10 &quot;Electric Vehicle (EV) charging for new construction&quot;.  Adds requirements for Electric Vehicle Infrastructure.
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
CE217-19 Part I
Staff Classication
Correlates Directly
Section
406.10
 8927 
Chapter
Mod #
Adds new Section 406.10 &quot;Energy Monitoring&quot;.  The only means to retain the energy performance of a building is to continuously monitor energy consumption levels of and compare them to previous levels
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
CE237-19
Staff Classication
Correlates Directly

Page 5 of 7
8/4/2021
Electrical
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  20
Total Mods for  Electrical in  Pending Review
TAC: 
Electrical
 20
Section
406.10
 8928 
Chapter
Mod #
The proposed requirement will reduce degradation by detecting HVAC system faults and notifying building operators so that actions may be taken to reduce energy consumption of the building.
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
CE239-19
Staff Classication
Correlates Directly
4-[RE] - Residential Energy Efficiency
Section
404.2
 8922 
Chapter
Mod #
Adds new Sections R404.2 &quot;Electric Vehicle (EV) charging for new construction&quot;. Proposal concerning infrastructure for Electric Vehicles.
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
CE217-19 Part II
Staff Classication
Correlates Directly
SubCode:
Existing Building
Ü
4-Repairs
Section
406.1.4
 9758 
Chapter
Mod #
NFPA 99 specifies broader requirements for existing buildings beyond just hospital grade receptacles. This change will align the electrical and medical gas systems installation requirements for Outpatient Clinics, Group B Ambulatory Care and Group I-2 facilities.
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
EB46-19
Staff Classication
Overlap
5-Prescriptive Compliance Method

Page 6 of 7
8/4/2021
Electrical
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  20
Total Mods for  Electrical in  Pending Review
TAC: 
Electrical
 20
Mod #
 9760 
Proponent
501.3
Section
5
Chapter
Pending Review
This change will align the electrical and medical gas systems installation requirements for Outpatient Clinics, Group B Ambulatory Care and Group I-2 facilities. Adds new Sections 501.3, 706.1, 807.3, 809.2. &quot;Healthcare facilities&quot;.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB49-19
CC #
Staff Classication
10-Change of Occupancy
Section
1007.1
 9693 
Chapter
Mod #
This change will align the electrical systems installation requirements for Outpatient Clinics, Group B Ambulatory Care and Group I-2 facilities. NFPA 99
10
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
EB99-19
Staff Classication
Correlates Directly
SubCode:
Residential
Ü
3-Building Planning
Section
322
 8699 
Chapter
Mod #
The primary aspect of elevated homes in flood hazard areas that contributes to reducing damage is the elevation of the lowest floor (R322.2.1) or lowest horizontal structural member of the lowest floor in Zone V and Coastal A Zones (R322.3.2) relative to the base flood elevation.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB141-19
Staff Classication
Flood Requirements

Page 7 of 7
8/4/2021
Electrical
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  20
Total Mods for  Electrical in  Pending Review
TAC: 
Electrical
 20
Section
327
 8718 
Chapter
Mod #
The code change replaces the term Stationary Battery Storage System with Energy Storage Systems (ESS) throughout the document and the adds Section R327.6 for commissioning requirements as part of the installation of ESS.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB153-19
Staff Classication
Correlates Directly
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria