## Commission (19)
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 12256 | 5 | Revision | Metallic Products | Panel Walls | Wall Louver | Recommend Approval | a | a
2 | 12805 | 6 | Revision | Metallic Products | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | a | a
3 | 16758 | 30 | Revision | Johns Manville | Roofing | Single Ply Roof Systems | Recommend Approval | a | a
4 | 17669 | 3 | Revision | OLDCASTLE BUILDING ENVELOPE | Sky Lights | Skylight | Recommend Approval | a | a
5 | 19626 | 15 | Revision | Physical Security, LLC | Panel Walls | Curtain Walls | Recommend Approval | a | a
6 | 29520 | 14 | Revision | Crawford Tracey Corporation | Panel Walls | Curtain Walls | Recommend Approval | a | a
7 | 39170 | 1 | Revision | The Hillman Group Inc. | Structural Components | Anchors | Recommend Approval | a | a
8 | 41717 | 2 | Revision | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a
9 | 41960 | 0 | New | Cupa Pizarras | Roofing | Products Introduced as a Result of New Technology | Recommend Approval | a | a
10 | 42073 | 0 | New | Hormann-LLC | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a
11 | 42141 | 1 | Revision | ESS Manufacturing | Impact Protective Systems | Operable | Recommend Approval | a | a
12 | 42143 | 0 | New | Metal Sales Manufacturing Corporation | Panel Walls | Siding | Recommend Approval | a | a
13 | 42224 | 0 | New | ROLLINGSHIELD INC | Impact Protective Systems | Operable | Recommend Approval | a | a
14 | 42225 | 0 | New | ROLLINGSHIELD INC | Shutters | Roll-up | Recommend Approval | a | a
15 | 42285 | 0 | New | Linea Rossa Windows & Doors | Windows | Horizontal Slider | Recommend Approval | a | a
16 | 42286 | 0 | New | Linea Rossa Windows & Doors | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | a | a
17 | 42293 | 0 | New | Linea Rossa Windows & Doors | Panel Walls | Curtain Walls | Recommend Approval | a | a
18 | 42294 | 0 | New | Linea Rossa Windows & Doors | Windows | Mullions | Recommend Approval | a | a
19 | 42309 | 0 | New | Pella Corporation | Windows | Mullions | Recommend Approval | a | a
20 | 42317 | 0 | New | SunPro Motorized Awnings & Screens | Shutters | Roll-up | Recommend Approval | a | a
21 | 42332 | 0 | New | Americas Best Window & Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a
22 | 42356 | 0 | New | SKYLIGHT CONCEPTS, INC. | Sky Lights | Skylight | Recommend Approval | a | a
23 | 42359 | 0 | New | New Horizon Shutters | Shutters | Colonial | Recommend Approval | a | a
24 | 42360 | 0 | New | Spectrum Brands | Exterior Doors | Exterior Door Components | Recommend Approval | a | a
Test Report
25 | 32550 | 0 | New | TruLog Siding | Panel Walls | Siding | Recommend Approval | a | a
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
26 | 42284 | 0 | New | Linea Rossa Windows & Doors | Windows | Single Hung | Recommend Approval | a | a
| Helmy Makar's Public Comment |  | Mullion complying L/180 capacity chart is not provided
| Spencer Moore's Response |  | The chart is provided on sheet 3 of the drawing.
| POC Recommendation |  | Based on the applicant's clarifaction, POC recommends approval.
27 | 42289 | 0 | New | Linea Rossa Windows & Doors | Windows | Casement | Recommend Approval | a | a
| Helmy Makar's Public Comment |  | Mullion complying L/180 capacity chart is not provided
| Spencer Moore's Response |  | The chart is provided on sheet 3 of the drawing.
| POC Recommendation |  | Based on the applicant's clarification, POC recommends approval.
28 | 42290 | 0 | New | Linea Rossa Windows & Doors | Windows | Fixed | Recommend Approval | a | a
| Helmy Makar's Public Comment |  | Mullion complying L/180 capacity chart is not provided
| Spencer Moore's Response |  | The chart is provided on sheet 3 of the drawing.
| POC Recommendation |  | Based on the applicant's clarification, POC recommends approval.
29 | 42291 | 0 | New | Linea Rossa Windows & Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | c | c
| Helmy Makar's Public Comment |  | Provide capacity of mullion per chapter 1616.3.1(6) and chapter 17 mullion or a statement of compliance to deflection criteria. Also, clarify water rating of low (ADA) thresold.
| Spencer Moore's Response |  | The mullion's max capacity is 100 psf as indicated by the design pressure table on sheet 1, alternate mullion sizes have not been included. The mullion has been proven by testing to satisfy L/180 criteria. The ADA threshold achieved 9 psf during water testing, corresponding to a +60 design pressure. We request conditional approval to clarify the water rating.
| POC Recommendation |  | Based on the applicant's request, POC recommends conditional approval so the applicant can clarify the water rating.