**From:** Muthusamy Swami [mailto:Muthusamy.Swami@ucf.edu]   
**Sent:** Friday, November 19, 2021 12:58 PM  
**To:** Madani, Mo  
**Subject:** Energygauge Summit Version 7.1 revision summary.

Mo:

The following fixes are incorporated in EnerguGauge Summit 7.1 (FBC filing Version). These will be reflected on all compliance options and corresponding reports.

1. Min Water heater efficiencies & loss have been rounded to two decimals places since manufacturers provide numbers with two decimals
2. Min Piping insulation have been rounded to two decimals places since code tables provide numbers with two decimals
3. Output report signature page revised to reflect code language
4. Output report header revised to reflect compliance option more clearly
5. Added user input data to Input report – Number of water heaters.
6. Mistyped return duct insulation values corrected.

The revised version 7.1 of the software will be uploaded to the following link shortly.

<https://support.energygauge.com/a/solutions/articles/12000075977>

Thank you for your time

Muthusamy Swami