## WeeklyCommisionReport (38)
| FL# | Revision # | Category | Subcategory | Manufacturer | Application Type | DBPR | POC | FBC
Certification Mark or Listing
1 | 3595 | 11 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Lomanco | REV | a
2 | 3792 | 15 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Lomanco | REV | a
3 | 3902 | 5 | ROOFING | Waterproofing | American Hydrotech, Inc. | REV | a
4 | 5177 | 35 | WINDOWS | Fixed | Simonton/Ply Gem Windows | REV | a
5 | 5979 | 19 | EXTDOORS | Sliding Exterior Door Assemblies | Simonton/Ply Gem Windows | REV | a
6 | 8617 | 9 | SKY_LITE | Skylight | Sun-Tek Mfg | REV | a
7 | 9668 | 10 | EXTDOORS | Swinging Exterior Door Assemblies | Simpson Door Company | EDIT_CHG | a
8 | 10160 | 22 | WINDOWS | Horizontal Slider | Simonton/Ply Gem Windows | REV | a
9 | 10597 | 9 | EXTDOORS | Swinging Exterior Door Assemblies | CGI Windows and Doors | REV | a
10 | 11136 | 10 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
11 | 11136 | 11 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
12 | 11345 | 6 | WINDOWS | Fixed | Croft,LLC | REV | a
13 | 11409 | 13 | WINDOWS | Fixed | Regency Plus Inc | EDIT_CHG | a
14 | 11410 | 8 | WINDOWS | Casement | Regency Plus Inc | EDIT_CHG | a
15 | 11411 | 9 | WINDOWS | Horizontal Slider | Regency Plus Inc | EDIT_CHG | a
16 | 11412 | 10 | WINDOWS | Single Hung | Regency Plus Inc | EDIT_CHG | a
17 | 11413 | 10 | WINDOWS | Double Hung | Regency Plus Inc | EDIT_CHG | a
18 | 12313 | 17 | EXTDOORS | Sliding Exterior Door Assemblies | JELD-WEN | REV | a
19 | 12426 | 12 | WINDOWS | Casement | JELD-WEN | REV | a
20 | 12463 | 16 | EXTDOORS | Swinging Exterior Door Assemblies | ProVia Door, Inc. | REV | a
21 | 12952 | 7 | WINDOWS | Double Hung | Pella Corporation | REV | a
22 | 13308 | 7 | SKY_LITE | Skylight | Velux America, LLC | REV | a
23 | 13309 | 7 | SKY_LITE | Skylight | Velux America, LLC | REV | a
24 | 13488 | 8 | SKY_LITE | Skylight | Sun-Tek Mfg | REV | a
25 | 13560 | 9 | SKY_LITE | Skylight | Velux America, LLC | REV | a
26 | 13643 | 6 | WINDOWS | Fixed | Windsor Windows and Doors | REV | a
27 | 14487 | 8 | EXTDOORS | Swinging Exterior Door Assemblies | Simpson Door Company | EDIT_CHG | a
28 | 14488 | 8 | WINDOWS | Fixed | Simpson Door Company | EDIT_CHG | a
29 | 14585 | 5 | ROOFING | Cements-Adhesives-Coatings | Topps Products | REV | a
30 | 15349 | 15 | WINDOWS | Fixed | MI Windows and Doors | EDIT_CHG | a
31 | 16401 | 12 | EXTDOORS | Swinging Exterior Door Assemblies | ProVia Door, Inc. | REV | a
32 | 16418 | 6 | WINDOWS | Fixed | ProVia Door, Inc. | EDIT_CHG | a
33 | 16904 | 16 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
34 | 16923 | 5 | WINDOWS | Fixed | Vetrotech Saint-Gobain NA | EDIT_CHG | a
35 | 17455 | 7 | WINDOWS | Awning | UNILUX GmbH | EDIT_CHG | a
36 | 17676 | 18 | WINDOWS | Single Hung | MI Windows and Doors | REV | a
37 | 17676 | 19 | WINDOWS | Single Hung | MI Windows and Doors | EDIT_CHG | a
38 | 17806 | 2 | WINDOWS | Fixed | Legacy Vinyl Windows | REV | a
39 | 17845 | 5 | WINDOWS | Fixed | MI Windows and Doors | REV | a
40 | 17880 | 7 | EXTDOORS | Sliding Exterior Door Assemblies | MI Windows and Doors | EDIT_CHG | a
41 | 19247 | 3 | WINDOWS | Single Hung | Moss Supply Company | REV | a
42 | 20653 | 4 | WINDOWS | Fixed | Pella Corporation | REV | a
43 | 20813 | 3 | WINDOWS | Fixed | Moss Supply Company | REV | a
44 | 21637 | 10 | WINDOWS | Single Hung | MI Windows and Doors | REV | a
45 | 21637 | 11 | WINDOWS | Single Hung | MI Windows and Doors | REV | a
46 | 21638 | 6 | WINDOWS | Horizontal Slider | MI Windows and Doors | EDIT_CHG | a
47 | 21639 | 5 | WINDOWS | Fixed | MI Windows and Doors | EDIT_CHG | a
48 | 21959 | 1 | PANEL | Siding | Fiber Composites, LLC | REV | a
49 | 22307 | 3 | WINDOWS | Double Hung | JELD-WEN | REV | a
50 | 22308 | 7 | WINDOWS | Awning | JELD-WEN | REV | a
51 | 22835 | 1 | SKY_LITE | Skylight | Glass Flooring Systems | REV | a
52 | 23103 | 4 | WINDOWS | Fixed | Simpson Door Company | EDIT_CHG | a
53 | 23130 | 2 | EXTDOORS | Exterior Door Components | Hager Companies | REV | a
54 | 25840 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | CUSTOM DOORS & CLOSETS, LLC | REV | a
55 | 27670 | 2 | PANEL | Curtain Walls | Continental Glass Systems, LLC | REV | a
56 | 27673 | 3 | WINDOWS | Casement | Quaker Window Products Co., Inc. | REV | a
57 | 27676 | 2 | WINDOWS | Awning | Quaker Window Products Co., Inc. | REV | a
58 | 27940 | 2 | ROOFING | Underlayments | International Insulation Products | REV | a
59 | 28093 | 5 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | REV | a
60 | 28095 | 4 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | REV | a
61 | 28498 | 3 | WINDOWS | Fixed | MI Windows and Doors | EDIT_CHG | a
62 | 28862 | 1 | SHUTTERS | Bahama | CGS Sales, Inc., dba Bahama Screens | REV | a
63 | 29714 | 5 | EXTDOORS | Swinging Exterior Door Assemblies | Nan Ya Plastics Corporation USA | REV | a
64 | 31609 | 2 | EXTDOORS | Sliding Exterior Door Assemblies | Lippert Components, Inc | REV | a
65 | 31794 | 3 | WINDOWS | Casement | JELD-WEN | REV | a
66 | 32626 | 1 | PANEL | Wall Louver | All-Lite | REV | a
67 | 32817 | 1 | EXTDOORS | Sliding Exterior Door Assemblies | Vi Win Tech | REV | a
68 | 35415 | 1 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | SRS Distribution Inc. | REV | a
69 | 35416 | 1 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | SRS Distribution Inc. | REV | a
70 | 35443 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | WinDoor Inc. | REV | a
71 | 38691 | 1 | EXTDOORS | Sliding Exterior Door Assemblies | JELD-WEN | REV | a
72 | 39251 | 0 | WINDOWS | Single Hung | Linea Rossa LLC | NEW | a
73 | 39355 | 0 | WINDOWS | Single Hung | Continental Glass Systems, LLC | NEW | a
74 | 39358 | 0 | WINDOWS | Fixed | Continental Glass Systems, LLC | NEW | a
75 | 39359 | 0 | WINDOWS | Casement | Continental Glass Systems, LLC | NEW | a
76 | 39360 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Continental Glass Systems, LLC | NEW | a
77 | 39368 | 0 | WINDOWS | Single Hung | Elite Windows and Doors, LLC | NEW | a
78 | 39372 | 0 | WINDOWS | Casement | Elite Windows and Doors, LLC | NEW | a
79 | 39373 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Elite Windows and Doors, LLC | NEW | a
80 | 39389 | 0 | WINDOWS | Fixed | Shwinco Architectural Products, LLC | NEW | a
81 | 39613 | 0 | WINDOWS | Awning | Simonton/Ply Gem Windows | NEW | a
82 | 39614 | 0 | WINDOWS | Casement | Simonton/Ply Gem Windows | NEW | a
83 | 39615 | 0 | WINDOWS | Double Hung | Simonton/Ply Gem Windows | NEW | a
84 | 39616 | 0 | WINDOWS | Fixed | Simonton/Ply Gem Windows | NEW | a
85 | 39617 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | Simonton/Ply Gem Windows | NEW | a
86 | 39620 | 0 | WINDOWS | Horizontal Slider | Simonton/Ply Gem Windows | NEW | a
87 | 39631 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | PS Industries Incorporated | NEW | a
88 | 39772 | 0 | WINDOWS | Fixed | MP Windows, Inc. | NEW | a
89 | 39799 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | All Seasons Commercial Div. | NEW | a
90 | 39813 | 0 | PANEL | Storefronts | Continental Glass Systems, LLC | NEW | a
91 | 39842 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Sierra Pacific Windows | NEW | a
92 | 39867 | 0 | WINDOWS | Horizontal Slider | Sierra Pacific Windows | NEW | a
93 | 39868 | 0 | WINDOWS | Single Hung | Sierra Pacific Windows | NEW | a
94 | 40168 | 0 | ROOFING | Roofing Accessories that are an Integral Part of the Roofing System | Air Vent, Inc. | NEW | a
95 | 40230 | 0 | WINDOWS | Single Hung | Quaker Window Products Co., Inc. | NEW | a
Evaluation Report from a Product Evaluation Entity
96 | 1630 | 12 | STRUCT | Engineered Lumber | Weyerhaeuser | EDIT_CHG | a
97 | 6527 | 12 | STRUCT | Engineered Lumber | Weyerhaeuser | EDIT_CHG | a
98 | 11496 | 6 | STRUCT | Wood Connectors | Simpson Strong-Tie Co. | REV | a
99 | 12672 | 4 | PANEL | Wall Louver | All-Lite | REV | a
100 | 13650 | 5 | EXTDOORS | Automatic Exterior Door Assemblies | Horton Automatics | REV | a
101 | 15929 | 9 | PANEL | Wall Louver | Construction Specialties, Inc. | REV | a
102 | 16748 | 2 | PANEL | Wall Louver | All-Lite | REV | a
103 | 16827 | 4 | PANEL | Wall Louver | Architectural Louvers | REV | a
104 | 16850 | 6 | ROOFING | Underlayments | Epilay Inc. | REV | a
105 | 17876 | 2 | PANEL | Wall Louver | Pottorff | REV | a
106 | 20155 | 4 | ROOFING | Underlayments | VB Synthetics | REV | a
107 | 21658 | 3 | PANEL | Wall Louver | Construction Specialties, Inc. | REV | a
108 | 27568 | 1 | PANEL | Wall Louver | Pottorff | REV | a
109 | 29563 | 1 | ROOFING | Roofing Insulation | Insulfoam-a division of Carlisle Construction Materials | REV | a
110 | 31342 | 4 | ROOFING | Products Introduced as a Result of New Technology | Tesla Inc. | REV | a
111 | 31342 | 5 | ROOFING | Products Introduced as a Result of New Technology | Tesla Inc. | REV | a
112 | 38127 | 0 | PANEL | Siding | Arcitell, LLC | NEW | a
113 | 39085 | 0 | STRUCT | Structural Wall | G R Building Systems, LLC | NEW | a
114 | 39326 | 0 | ROOFING | Metal Roofing | Ideal Roofing | NEW | a
115 | 39762 | 0 | STRUCT | Engineered Lumber | Pacific Woodtech Corporation | NEW | a
116 | 39763 | 0 | ROOFING | Underlayments | AtticFoil Radiant Barrier LLC | NEW | a
117 | 39780 | 0 | ROOFING | Asphalt Shingles | GAF | NEW | a
118 | 39821 | 0 | ROOFING | Underlayments | Huber Engineered Woods LLC | NEW | a
119 | 40191 | 0 | ROOFING | Roofing Tiles | VHR Roof Tile Mfg LLC | NEW | a
Certification and Evaluation Entity Method
120 | 39801 | 0 | WINDOWS | Dual Action | Valda 90 OOD | NEW | a
| H.Makar's comment (Miami Dade) |  | Specify if PVC framing material is an approved plastic per Section 2612.2
| Robert Amruso's Response |  | Please note that only FL39801.1 is applicable to the public comment (verified with Mr. Makar) as it is approved for the HVHZ and is a PVC/Vinyl framed product. FL39801.2, FL39801.3 and FL39801.4 are not applicable due to not being HVHZ or Aluminum framed. The Product Evaluation Report (PER) for FL39801.1, PER-ACE-1067 was revised to Rev. 1 to refer to the plastics testing report obtained from Deceuninck. The PER refers to the test report and summarized the results as applicable to Section 2615 of the 7th Edition (2020) FBC. Additionally, EER-ACE-1067 was revised to Rev. 1 to perform equivalency evaluation for the ASTMs use in the Deceuninck plastics testing. Also not that after conversations with Mr. Makar, it was determined that the original public comment mistakenly referring to Section 2612.2. However, Section 2615 is the correct section and has been used in my revisions
| Staff 's Response |  | As per the applicant’s response, the application has been revised to address the public comment. No further action is needed.
121 | 39802 | 0 | WINDOWS | Dual Action | Valda 90 OOD | NEW | a
| H.Makar's comment (Miami Dade) |  | Specify if PVC framing material is an approved plastic per Section 2612.2
| Robert Amruso's Response |  | The Product Evaluation Report (PER) for FL39801.1, PER-ACE-1068 was revised to Rev. 1 to refer to the plastics testing report obtained from Deceuninck. The PER refers to the test report and summarized the results as applicable to Section 2615 of the 7th Edition (2020) FBC. Additionally, EER-ACE-1068 was revised to Rev. 1 to perform equivalency evaluation for the ASTMs use in the Deceuninck plastics testing. Both reports have been updated and uploaded as an Editorial Revision and are ready for validation by NAMI. Also not that after conversations with Mr. Makar, it was determined that the original public comment mistakenly referring to Section 2612.2. However, Section 2615 is the correct section and has been used in my revisions.
| Staff 's Response |  | As per the applicant’s response, the application has been revised to address the public comment. No further action is needed.
122 | 39361 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Continental Glass Systems, LLC | NEW | a
| H.Makar's comment (Miami Dade) |  | limit panel and frame area per FBC2411.3.2.4(I)(2)
| Spencer Moore's response |  | The frame area is limited to the tested size shown on page 2, and we will proceed with submitting a revision to further clarify panel area ASAP.
| Staff 's Response |  | As per the applicant’s response, the application is being revised to address the public comment. No further action is needed.
123 | 38106 | 0 | WINDOWS | Casement | Ply Gem Windows | NEW | a
| H.Makar's comment (Miami Dade) |  | General Note #5 does not comply with FBC Section 2411.1.11. Glass Note #4 on sheet #1 specify Safety Glaze while the product details not showing this condition. Specify if PVC framing material is an approved plastic per FBC Section 2612.2.
| Spencer Moore's response |  | The product has been tested per TAS 201/202/203 as a large missile-impact resistant glazed assembly, and thus complies with FBC Section 2411.1.11. Glass Note 1 on sheet 4 refers to insulating glazing spacers, not safety glazing, so I assume this comment is questioning note #3 which references safety glazing, and specifies for installation over 30’ above grade (SMI) the unit must be safety glazed, in which case the exterior sacrificial lite may be substituted to tempered glass, therefore meeting the requirements. The PVC window framing meets Chapter 26 requirements, as verified by the inspection agency’s certification per NAFS which includes verification of compliance with AAMA 303 as part of their QA program.
| Staff's Response |  | Staff agrees with the applicant’s response. No further action is needed
124 | 38107 | 0 | WINDOWS | Fixed | Ply Gem Windows | NEW | a
| H.Makar's comment (Miami Dade) |  | General Note #5 does not comply with FBC Section 2411.1.11. Glass Note #1 on sheet #4 specify Safety Glaze while the product details not showing this condition. Specify if PVC framing material is an approved plastic per FBC Section 2612.2.
| Spencer Moore's response |  | The product has been tested per TAS 201/202/203 as a large missile-impact resistant glazed assembly, and thus complies with FBC Section 2411.1.11. Glass Note 1 on sheet 4 refers to insulating glazing spacers, not safety glazing, so I assume this comment is questioning note #3 which references safety glazing, and specifies for installation over 30’ above grade (SMI) the unit must be safety glazed, in which case the exterior sacrificial lite may be substituted to tempered glass, therefore meeting the requirements. The PVC window framing meets Chapter 26 requirements, as verified by the inspection agency’s certification per NAFS which includes verification of compliance with AAMA 303 as part of their QA program.
| Staff's Response |  | Staff agrees with the applicant’s response. No further action is needed.
125 | 38105 | 0 | WINDOWS | Awning | Ply Gem Windows | NEW | a
| H.Makar's comment (Miami Dade) |  | General Note #5 does not comply with FBC Section 2411.1.11. Glass Note #1 on sheet #4 specify Safety Glaze while the product details not showing this condition. Specify if PVC framing material is an approved plastic per FBC Section 2612.2.
| Spencer Moore's response | 0 | The product has been tested per TAS 201/202/203 as a large missile-impact resistant glazed assembly, and thus complies with FBC Section 2411.1.11. Glass Note 4 on sheet 1 specifies for installation over 30’ above grade (SMI) the unit must be safety glazed, in which case the exterior sacrificial lite may be substituted to tempered glass, therefore meeting the requirements. The PVC window framing meets Chapter 26 requirements, as verified by the inspection agency’s certification per NAFS which includes verification of compliance with AAMA 303 as part of their QA program. |  |  | NEW | a
130 | Staff's Response |  | Staff agrees with the applicant’s response. No further action is needed.
a
131