Page 1 of 3
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  7
Electrical
Denied
TAC Recommendation
Electrical
TAC:
 4
Total Mods for  
Electrical
in
Denied
SubCode:
Ü
SubCode:
Building
27‑Electrical
John Lovett
Comment
Summary
Proponent
2703
This is a proposal to drop the arc fault requirement for the state of Florida.
Mod #
 10220
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 27
Chapter

Section
SubCode:
Ü
SubCode:
Residential
34‑General Requirements
Amanda Hickman
Comment
Summary
Proponent
3408
GFCI nuisance tripping
Mod #
 10138
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 34
Chapter

Section
John Lovett
Comment
Summary
Proponent
3401.5
drop arc fault (circuit breakers and receptacles) requirment
Mod #
 10244
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 34
Chapter

Section
42‑Swimming Pool[Electrical Provisions]

Page 2 of 3
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  7
Electrical
Electrical
TAC:
 4
Total Mods for  
Electrical
in
Denied
Douglas Dorr
Comment
Summary
Proponent
4204.2
The proposed amendment clarifies that a single bare copper wire should only be used for bonding at above ground pools and a wire mesh or grid is necessary for inground pool perimeter surfaces
Mod #
 10437
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Denied
W
Chapter 42
Chapter

Section
Pulled off Consent by Interested Entity
TAC Recommendation
Electrical
TAC:
 1
Total Mods for  
Electrical
in
Pulled off Consent by Interested Entity
SubCode:
Ü
SubCode:
Residential
34‑General Requirements
Amanda Hickman
Comment
Summary
Proponent
3408
GFCI nuisance tripping
Mod #
 10149
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Pulled off Consent by Interested Entity
W
Chapter 34
Chapter

Pulled off consent by Amanda Hickman for consideration of the original modification
TAC's Final action:

TAC - Electrical TAC - "D"
Section
Withdrawn
TAC Recommendation
Electrical
TAC:
 2
Total Mods for  
Electrical
in
Withdrawn
SubCode:
Ü
SubCode:
Building
27‑Electrical

Page 3 of 3
11/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  7
Electrical
Electrical
TAC:
 2
Total Mods for  
Electrical
in
Withdrawn
Amanda Hickman
Comment
Summary
Proponent
2703
GFCI nuisance tripping
Mod #
 10137
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 27
Chapter

Section
Amanda Hickman
Comment
Summary
Proponent
2703
GFCI nuisance tripping
Mod #
 10150
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Withdrawn
W
Chapter 27
Chapter

Section
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
E
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria