## Commission (25)
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendation | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 42386 | 0 | New | L.V. Thompson, Inc. dba Thompson Architectural Metals Company (TAMCO) | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | a | a
2 | 42407 | 0 | New | Inland Coatings Corp. | Roofing | Cements-Adhesives-Coatings | Recommend Approval | a | a
3 | 42451 | 0 | New | Global Performance Window d.b.a. Epsylon USA | Windows | Casement | Recommend Approval | a | a
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
4 | 42525 | 0 | New | GM&P Consulting and Glazing Contractors Inc. | Panel Walls | Storefronts | Recommend Approval | c | c
| Helmy Makar's Public Comment |  |  | Provide compliance with AAMA 501 with TAS 202 sequence per FBC 1709.8.4 & 2411.3.2.1.1
| Manuel Morales's Response |  |  | The applicant request conditional approval to allow to re-submit the Evaulation Report including confirmation of compliance with AAMA 501 Mandatory Testing.
| POC Recommendation |  |  | Based on the applicant's request, POC recommends conditional approval so that the applicant can revise the evaluation report to confirm compliance with AAMA 501.