Florida Supplement to the 2009 IEBC

Note 1:  Throughout the document, change International Building Code to Florida Building Code, Building; change the ICC Electrical Code to Chapter 27 of the Florida Building Code, Building; change the International Energy Conservation Code to Chapter 13 of the Florida Building Code, Building; change the International Existing Building Code to Florida Building Code, Existing Building; change the International Fire code to Florida Fire Prevention Code; change International Fuel Gas Code to Florida Building Code, Fuel Gas; change the International Mechanical Code to Florida Building Code, Mechanical; change the International Plumbing Code to Florida Building Code, Plumbing; change the International Residential Code to Florida Building Code, Residential.

Note 2:  Criteria blocked in yellow indicate Florida specific language from the 2007 FBC-Mechanical with 2009 Supplement.

Note 3:  Criteria in red text indicate revisions to ICC language (2006 to 2009) that may be in conflict with Florida specific language and need to be resolved.

Note 4:  Maroon colored words indicate that the reference will need to be  checked/corrected.

Chapter 1, Scope and Administration

Section 101 General

101.1  Title.  These regulations shall be known as the Florida Building Code, Existing Building,, hereinafter referred to as “this code.“ In addition to the provisions of this chapter, the provisions of Chapter 1, Florida Building Code, Building, shall govern the administration and enforcement of this code.

101.2  Scope.  Change to read as shown:

101.2  Scope.  The provisions of the Florida Building Code, Existing Building, shall apply to the repair, alteration, change of occupancy, addition, and relocation of existing buildings.

Exception: For the purpose of public educational facilities and state licensed facilities, see Chapter 4, Special Occupancy, of the Florida Building Code, Building.

101.4 Applicability.  Change to read as follows:

101.4 Applicability. This code shall apply to the repair, alteration, change of occupancy, addition and relocation of all existing buildings, regardless of occupancy, subject to the criteria of Sections 101.4.1 and 101.4.2.

101.4.1 Buildings not previously occupied. A building or portion of a building that has not been previously occupied or used for its intended purpose in accordance with the laws

in existence at the time of its completion shall comply with the provisions of the Florida  Building Code, Building or Florida Building Code, Residential, as applicable, for new construction or with any current permit for such occupancy.

101.4.2 Buildings previously occupied. The legal occupancy of any building existing on the date of adoption of this code shall be permitted to continue without change, except

as is specifically covered in this code, the Florida Fire Prevention Code, or as is deemed necessary by the code official for the general safety and welfare of the occupants and the public.

101.5 Compliance methods.  Revise to read as follows:

101.5 Compliance methods. The repair, alteration, change of occupancy, addition or relocation of all existing buildings shall comply with one of the methods listed in Sections 101.5.1 through 101.5.3 as selected by the applicant. Application of a method shall be the sole basis for assessing the compliance of work performed under a single permit unless otherwise approved by the code official. Sections 101.5.1 through

101.5.3 shall not be applied in combination with each other. Where this code requires consideration of the seismic- force-resisting system of an existing building subject to

repair, alteration, change of occupancy, addition or relocation of existing buildings, the seismic evaluation and design shall be based on Section 101.5.4 regardless of which compliance method is used.

Exception: Subject to the approval of the code official, alterations complying with the laws in existence at the time the building or the affected portion of the buildingwas built shall be considered in compliance with the provisions of this code unless the building is undergoing more than a limited structural alteration as defined in Section 807.5.3. New structural members added as part of the alteration shall comply with the Florida Building Code, Building. Alterations of existing buildings in flood hazard areas shall comply with Section 601.3.

101.5.4 Evaluation and design procedures.  Reserved.

101.5.4.1 Compliance with IBC level seismic forces.  Reserved.

101.5.4.2 Compliance with reduced IBC level seismic.  Reserved.

101.7  Appendices.   Reserved.

Sections 102 - 117.  Change to read as shown:

Sections 102 – 117  Reserved

Chapter 2 Definitions

Section 201 General

201.3 Terms defined in other codes.  Change to read as shown.

201.3 Terms defined in other codes.  Where terms are not defined in this code and are defined in the other Florida Building Code or the Florida Fire Prevention Code. Such terms shall have the meanings ascribed to them in those codes.

201.4 Terms not defined.  Change to read as shown.

  - Terms not defined.  Where terms are not defined through the methods authorized by this chapter, such terms shall have the meanings as defined in Webster‘s Third New International Dictionary of the English Language, Unabridged.

Section 202 General Definitions

202 General Definitions.  Change to read as shown.

CONVENTIONAL LIGHT-FRAME CONSTRUCTION.

Limitations. Buildings are permitted to be constructed in accordance with the provisions of conventional light frame construction, subject to the following limitations:

1.	Buildings shall be limited to a maximum of three stories above grade.

Exception: Solid blocked cripple walls not exceeding 14 inches (356 mm) in height need not be considered a story.

2.	Bearing wall floor-to-floor heights shall not exceed 10 feet (3048 mm).

3.	Loads as determined in Chapter 16 of the Florida Building Code, Building shall not exceed the following:

3.1.	Average dead loads shall not exceed 15 psf (718 N/m2) for roofs and exterior walls, floors and partitions.

3.2.	Live loads shall not exceed 40 psf (1916 N/m2) for floors.

4.	Wind speeds shall not exceed 100 mph (161 km/hr)(3-second gust).

5.	Roof trusses and rafters shall not span more than 40 feet (12 192 mm) between points of vertical support.

EXISTING BUILDING. A building or structure or portion of a building or structure which has been previously legally occupied or used for its intended purpose.

HISTORIC BUILDING. See Section 1002.

INCIDENTAL USE AREA.  In cases where use is incidental to some other occupancy, the section of this code governing the occupancy shall apply.

REPAIR. The patching, restoration and/or minor replacement of materials, elements, components, equipment and/or fixtures for the purposes of maintaining such materials, elements, components, equipment and/or fixtures in good or sound condition.

RETROFIT.  The voluntary process of strengthening or improving  buildings or structures, or individual components of buildings or structures for the purpose of making existing conditions better serve the purpose for which they were originally intended or the purpose that current building codes intend.

ROOF SECTION.	A separating or division of a roof area by existing expansion joints, parapet walls, flashing (excluding valley), difference of elevation (excluding hips and ridges), roof type or legal description; not including the roof area required for a proper tie-off with an existing system.

Site built single- family residential structures.  This term shall mean site built single family detached residential structures.

STRUCTURAL DETERMINATION. For purposes of this code, "structural“ shall mean any part, material or assembly of a building or structure which affects the safety of such building or structure and/or which supports any dead or designed live load and the removal of which part, material or assembly could cause, or be expected to cause, all or any portion to collapse or fail.

SUBSTANTIAL STRUCTURAL DAMAGE. A condition where:

1. In any story, the elements of the lateral-force-resisting system have suffered damage such that the lateral load-carrying capacity of the structure in any horizontal direction has been reduced by more than 20 percent from its pre-damaged condition, or

2. The capacity of any vertical load-carrying components , or any group of such components, that supports more than 30 percent of the total area of the structure’s floor(s) and roof(s) has been reduced more than 20 percent from its predamaged condition and the remaining capacity of such affected elements, with respect to all dead and live loads, is less than 75 percent of that required by the Florida Building Code, Building for new buildings of similar structure, purpose and location.

SUNROOM

- A room with roof panels that include sloped glazing that is a one-story structure added to an existing dwelling with an open or glazed area in excess of 40 percent of the gross area of the sunroom structure’s exterior walls and roof.

- A one-story structure added to a dwelling with structural roof panels without sloped glazing. The sunroom walls may have any configuration, provided the open area of the longer wall and one additional wall is equal to at least 65 percent of the area below 6 foot 8 inches (2032 mm) of each wall, measured

- from the floor.

For the purposes of this code the term sunroom as used herein shall include conservatories, supspaces, solariums and porch or patio covers or inclosures.

VALUE. The estimated current replacement cost of the building in kind.

WORK AREA. That portion or portions of a building consisting of all reconfigured elements, systems or spaces as indicated on the construction documents. Work area excludes other portions of the building where incidental work entailed by the intended work must be performed and portions of the building where work not initially intended by the owner is specifically required by this code.

Chapter 3 Prescriptive Compliance Method

Section 302 Addition

302.1 General.  Revise to read as follows:

302.1 General. Additions to any building or structure shall comply with the requirements of the Florida Building Code, Building for new construction. Alterations to the existing building or structure shall be made to ensure that the existing building or structure together with the addition are no less conforming with the provisions of this code than the existing building or structure was prior to the addition. An existing building together with its additions shall comply with the height and area provisions of Chapter 5 of the Florida Building Code, Building

302.2 Flood hazard areas.  Revise to read as follows:

302.2 Flood hazard areas. For buildings and structures in

flood hazard areas established in Section 1612.3 of the Florida Building

Code, Building, any addition that constitutes substantial

improvement of the existing structure, as defined in Section

1612.2 of the Florida Building Code, Building, shall comply with

the flood design requirements for new construction, and all

aspects of the existing structure shall be brought into compliance

with the requirements for new construction for flood

design. For buildings and structures in flood hazard areas established

in Section 1612.3 of the Florida Building Code, Building,

any additions that do not constitute substantial improvement or

substantial damage of the existing structure, as defined in Section

1612.2 of the Florida Building Code, Building, are not

required to comply with the flood design requirements for new

construction.

302.3.1 Design live load.  Revise to read as follows:

302.3.1 Design live load. Where the addition does not result in increased design live load, existing gravity load-carrying structural elements shall be permitted to be evaluated and designed for live loads approved prior to the addition. If the approved live load is less than that required by Section 1607 of the Florida Building Code, Building, the

area designed for the nonconforming live load shall be posted with placards of approved design indicating the approved live load. Where the addition does result in increased design live load, the live load required by Section 1607 of the Florida Building

Code, Building shall be used.

302.4 Existing structural elements carrying lateral load.  Revise to read as follows:

302.4 Existing structural elements carrying lateral load. Where the addition is structurally independent of the existing structure, existing lateral load-carrying structural elements shall be permitted to remain unaltered. Where the addition is not structurally independent of the existing structure, the existing structure and its addition acting together as a single structure shall be shown to meet the requirements of Section 1609 Florida Building Code, Building

.

Exception: Any existing lateral load-carrying structural element whose demand-capacity ratio with the addition considered is no more than 10 percent greater than its demand-capacity ratio with the addition ignored shall be permitted to remain unaltered. For purposes of calculating demand-capacity ratios, the demand shall consider applicable

load combinations with design lateral loads or forces in accordance with Section 1609 Florida Building Code, Building . For purposes of this exception, comparisons

of demand-capacity ratios and calculation of design lateral loads, forces and capacities shall account for the cumulative effects of additions and alterations since original construction.

302.4.1 Seismic.  Revise to read as follows:

302.4.1 Seismic.  Reserved.

[B] SECTION 303

ALTERATIONS

303.1 General.  Revise to read as follows:

303.1 General. Except as provided by Section 301.2 or this section, alterations to any building or structure shall comply with the requirements of the code for new construction. Alterations shall be such that the existing building or structure is no less conforming with the provisions of this code than the existing building or structure was prior to the alteration.

Exceptions:

1. An existing stairway shall not be required to comply with the requirements of Section 1009 of the Florida Building Code, Building where the existing space and construction does not allow a reduction in pitch or slope.

2. Handrails otherwise required to comply with Section 1009.12 of the International Building Code shall not be required to comply with the requirements of Section

1012.6 of the Florida Building Code, Building regarding full extension of the handrails where such extensions would be hazardous due to plan configuration.

303.2 Flood hazard areas.  Revise to read as follows:

303.2 Flood hazard areas. For buildings and structures in flood hazard areas established in Section 1612.3 of the Florida Building Code, Building, any alteration that constitutes substantial improvement of the existing structure, as defined in Section 1612.2 of the Florida Building Code, Building, shall comply with the flood design requirements for new construction, and all aspects of the existing structure shall be brought into compliance with the requirements for new construction for flood design. For buildings and structures in flood hazard areas established in Section 1612.3 of the Florida Building

Code, Building, any alterations that do not constitute substantial improvement or substantial damage of the existing structure, as defined in Section 1612.2 of the Florida Building Code, Building, are not required to comply with the flood design requirements for new construction.

303.3.1 Design live load.  Revise to read as follow:

303.3.1 Design live load. Where the alteration does not result in increased design live load, existing gravity load-carrying structural elements shall be permitted to be evaluated and designed for live loads approved prior to the alteration. If the approved live load is less than that required by Section 1607 of the Florida Building Code, Building, the area designed for the nonconforming live load shall be posted with placards of approved design indicating the approved live load. Where the alteration does result in increased design live load, the live load required by Section 1607 of the Florida Building

Code, Building shall be used.

303.4 Existing structural elements carrying lateral load.  Revise to read as follows:

303.4 Existing structural elements carrying lateral load.  Except as permitted by Section 303.5, with the alteration increases design lateral loads in accordance with Section 1609 of the Florida Building Code, Building, or where the alteration results in a structural irregularity as defined in ASCE 7, or where the alteration decreases the capacity of any existing lateral load-carrying structural element, the structure of the altered building or structure shall be shown to meet the requirements of Section 1609 Florida Building Code, Building.

Exception: Any existing lateral load-carrying structural element whose demand-capacity ratio with the alteration considered is no more than 10 percent greater than its demand-capacity ratio with the alteration ignored shall be permitted to remain unaltered. For purposes of calculating demand-capacity ratios, the demand shall consider applicable

load combinations with design lateral loads or forces in accordance with Section 1609 Florida Building Code, Building. For purposes of this exception, comparisons

of demand-capacity ratios and calculation of design lateral loads, forces and capacities shall account for the cumulative effects of additions and alterations since

original construction.

303.4.1 Seismic.  Revise to read as follows:

303.4.1 Seismic. Reserved.

303.5 Voluntary seismic improvements.  Revise to read as follows:

303.5 Voluntary seismic improvements.  Reserved.

303.6 Means of egress capacity factors.  Revise to read as follows:

303.6 Means of egress capacity factors. Alterations to any existing building or structure shall not be subject to the egress width factors in Section 1005.1 of the Florida Building

Code, Building for new construction in determining the minimum egress widths or the minimum number of exits in an existing building or structure. The minimum egress widths for the components of the means of egress shall be based on the means of egress

width factors in the building code under which the building was constructed, and shall be considered as complying means of egress for any alteration if, in the opinion of the code official, they do not constitute a distinct hazard to life.

SECTION 304

REPAIRS

304.2.1 Evaluation.  Revise to read as follows:

304.2.1 Evaluation. The building shall be evaluated by a registered design professional, and the evaluation findings shall be submitted to the code official. The evaluation shall

establish whether the damaged building, if repaired to its pre-damage state, would comply with the provisions of this code for wind and earthquake loads. Evaluation for earthquake loads shall be required if the substantial structural damage was caused by or related to earthquake effects or if the building is in Seismic Design Category C, D, E or F. Wind loads for this evaluation shall be those prescribed in Section 1609 of the Florida Building Code, Building. Earthquake loads for this evaluation, if required, shall be permitted to be 75 percent of those prescribed in Section 1613 of the International Building Code. Values of R,W0 and Cd for the existing seismic force-resisting system shall be those specified by this code for an ordinary system unless it is demonstrated that the existing system will provide performance equivalent to that of an intermediate or special system.

304.2.3 Extent of repair for noncompliant buildings.  Revise to read as follows:

304.2.3 Extent of repair for noncompliant buildings. If the evaluation does not establish compliance of the pre-damage building in accordance with Section 304.2.1,

then the building shall be rehabilitated to comply with applicable provisions of this code for load combinations, including wind or seismic loads. The wind loads for the repair

shall be as required by the building code in effect at the time of original construction, unless the damage was caused by wind, in which case the wind loads shall be as required by the building code in effect at the time of original construction or as required by this code, whichever are greater.  Earthquake loads for this rehabilitation design shall be those

required for the design of the pre-damage building, but not less than 75 percent of those prescribed in Section 1613 of the International Building Code. New structural members

and connections required by this rehabilitation design shall comply with the detailing provisions of this code for new buildings of similar structure, purpose and location.

304.3 Substantial structural damage to gravity load-carrying components.  Revise to read as follows:

304.3 Substantial structural damage to gravity load-carrying components. Gravity load-carrying components that have sustained substantial structural damage shall be rehabilitated to comply with the applicable provisions of this code for dead and live loads. Snow loads shall be considered if the substantial structural damage was caused by or related to snow load effects. Existing gravity load-carrying structural elements shall

be permitted to be designed for live loads approved prior to the damage. Non damaged gravity load-carrying components that receive dead or live or snow loads from rehabilitated components shall also be rehabilitated or shown to have the capacity to carry the design loads of the rehabilitation design. New structural members and connections required by this rehabilitation design shall comply with the detailing provisions of this code for new buildings of similar structure, purpose and location.

304.3.1 Lateral force-resisting elements.  Revise to read as follows:

304.3.1 Lateral force-resisting elements. Regardless of the level of damage to vertical elements of the lateral force-resisting system, if substantial structural damage to

gravity load-carrying components was caused primarily by wind or earthquake effects, then the building shall be evaluated in accordance with Section 304.2.1 and, if noncompliant, rehabilitated in accordance with Section 304.2.3.

304.5 Flood hazard areas.  Revise to read as follows:

304.5 Flood hazard areas. For buildings and structures in flood hazard areas established in Section 1612.3 of the International Building Code, any repair that constitutes substantial improvement of the existing structure, as defined in Section 1612.2 of the International Building Code, shall comply with the flood design requirements for new construction, and all aspects of the existing structure shall be brought into compliance

with the requirements for new construction for flood design. For buildings and structures in flood hazard areas established in Section 1612.3 of the Florida Building

Code, Building, any repairs that do not constitute substantial improvement or substantial damage of the existing structure, as defined in Section 1612.2 of the Florida Building

Code, Building, are not required to comply with the flood design requirements for new construction.

SECTION 307

CHANGE OF OCCUPANCY

307.3 Stairways.  Revise to read as follows:

[B] 307.3 Stairways. Existing stairways in an existing structure shall not be required to comply with the requirements of a new stairway as outlined in Section 1009 of the Florida Building Code, Building where the existing space and construction will not allow a reduction in pitch or slope.

307.4 Structural.  Revise to read as follows:

[B] 307.4 Structural. Reserved.  When a change of occupancy results in a structure being reclassified to a higher occupancy category, the structure shall conform to the seismic requirements for a new structure of the higher occupancy category. Where the existing

seismic force-resisting system is a type that can be designated ordinary, values of R, _

0 and Cd for the existing seismic force-resisting system shall be those specified by this code for an ordinary system unless it is demonstrated that the existing system will provide performance equivalent to that of a detailed, intermediate or special system.

Exceptions:

1. Specific seismic detailing requirements of this code or Section 1613 of the International Building Code for a new structure shall not be required to be met

where it can be shown that the level of performance and seismic safety is equivalent to that of a new structure. Such analysis shall consider the regularity, over strength, redundancy and ductility of the structure within the context of the existing and retrofit (if any) detailing provided.

2. When a change of use results in a structure being reclassified from Occupancy Category I or II to Occupancy Category III and the structure is located in a seismic map area where SDS _ 0.33, compliance with the seismic requirements of this code and Section 1613 of the International Building Code is not required.

307.5 Energy.  Revise to read as follows:

[EC] 307.5 Energy. Buildings undergoing a change in occupancy that would result in an increase in demand for either fossil fuel or electrical energy shall comply with the International Energy Conservation Code. See Chapter 13 of the Florida Building Code, Building

307.6 Electrical.  Revise to read as follows:

307.6 Electrical. It shall be unlawful to make a change in the occupancy of a structure that will subject the structure to the special provisions of the  Florida Building Code, Building related to electrical installations applicable to the new occupancy without approval. The code official shall certify that the structure meets the intent of the provisions of law governing building construction for the proposed new occupancy and that such change of occupancy does not result in any hazard to the public health, safety or welfare.

307.7 Fuel gas.  Revise to read as follows:

[FG] 307.7 Fuel gas. It shall be unlawful to make a change in the occupancy of a structure that will subject the structure to the special provisions of the Florida Building Code, Building, Fuel Gas applicable to the new occupancy without approval. The code official shall certify that the structure meets the intent of the provisions of law governing building construction for the proposed new occupancy and that such change of occupancy does not result in any hazard to the public health, safety or welfare.

307.8 Mechanical.  Revise to read as follows:

[M] 307.8 Mechanical. It shall be unlawful to make a change in the occupancy of a structure that will subject the structure to the special provisions of the Florida Building Code, Building, Mechanical applicable to the new occupancy without approval. The code official shall certify that the structure meets the intent of the provisions of law governing building construction for the proposed new occupancy and that such change of occupancy does not result in any hazard to the public health, safety or welfare.

307.9 Plumbing.  Revise to read as follows:

[P] 307.9 Plumbing. It shall be unlawful to make a change in the occupancy of a structure that will subject the structure to the special provisions of the Florida Building Code, Building, Plumbing applicable to the new occupancy without approval. The code official shall certify that the structure meets the intent of the provisions of law governing building construction for the proposed new occupancy and that such change of occupancy does not result in any hazard to the public health, safety or welfare.

308 Historic Buildings.  Revise to read as follows:

[B] SECTION 308

HISTORIC BUILDINGS

SEE CHAPTER 11

309 Moved Structures.  Revise to read as follows:

[B] SECTION 309

MOVED STRUCTURES

307.1 Conformance. See Chapter 12

310 Accessibility for Existing Buildings.  Revise to read as follows:

[B] SECTION 310

ACCESSIBILITY FOR EXISTING BUILDINGS

See Chapter 11 of the Florida Building Code, Building.

311 Energy Conservation. Revise to read as follows:

[B] SECTION 311

ENERGY CONSERVATION

See Chapter 13 of the Florida Building Code, Building

312 Reroofing.  Add to read as follows:

Section 312 Reroofing

See Section 611, Reroofing of this Code.

Chapter 4 Classification of Work

Section 401 General

401.3 Occupancy and use.  Change to read as shown.

401.3  Occupancy and use.  When determining the appropriate application of the referenced sections of this code, the occupancy and use of a building shall be determined in accordance with Chapter 3 of the Florida Building Code, Building.

401.4   Is added to read

401.4 A design professional or an owner must elect one or a combination of levels of alteration pursuant to Sections 403, 404 and 405 of this code.

Section 403 Alternation-Level 1

403.1 Scope.  Change to read as shown.

403.1  Scope.  Level 1 alterations include the removal and replacement or the covering of existing materials, elements, equipment, or fixtures using new materials, elements, equipment, or fixtures that serve the same purpose. Level 1 alterations shall not include any removal, replacement or covering of existing materials, elements, equipment or fixtures undertaken for purpose of repair as defined in Chapter 2 and described in Section 402.

Section 405 Alteration- Level 3

405.1 Scope.  Change to read as shown.

405.1  Scope.  Level 3 alterations apply where the work area exceeds 50 percent of the aggregate area of the building and made within any 12-month period.

Exception: Work areas in which the alteration work is exclusively plumbing, mechanical or electrical shall not be included in the computation of total area of all work areas.

Section 408 Historic Buildings

408.1 Scope.  Change to read as shown.

  - Scope.  Historic buildings provisions shall apply to buildings classified as historic as defined in Chapter 11.

408.2 Application. Except as specifically provided for in Chapter 11, history buildings shall comply with applicable provisions of this code for the type of work performed.

Section 410 Retrofitting, add text to read as follows:

# SECTON 410 RETROFITTING

410.1 Scope.  Retrofitting of buildings, as defined in Chapter 2, includes work of a voluntary nature for the purposes of improving the ability of the building or building elements or building components to better serve the purpose for which they were originally intended or the purpose that current building codes intend.  Retrofit work shall not include repair work as defined in Chapter 2 and described in Section 402.1

410.2 Application.  Retrofitting of existing buildings shall comply with the provisions of Chapter 16.

Chapter 5 Repairs

501.3 Flood hazard areas.  Revise to read as follows:

501.3 Flood hazard areas. In flood hazard areas, repairs that constitute substantial improvement shall require that the building comply with Section 1612 of the Florida Building Code, Building.

501.3.1 Structure seaward of a coastal construction line.  Add to read as shown.

501.3.1  Structure seaward of a coastal construction line.  Structures located seaward of the coastal construction line shall be designed to resist the predicted forces of a 100-year storm event in accordance with Section 3109 of the Florida Building Code, Building.

501.4 Dangerous buildings.  Add to read as shown.

501.4 Dangerous buildings.  When an historic building is determined as dangerous, no work shall be required except as necessary to correct identified dangerous conditions.

Section 502 Building Elements and Materials

502.1 Existing building materials. Materials already in use in a building in conformance with requirements or approvals in effect at the time of their erection or installation shall be permitted to remain in use unless determined by the code official to render the  building or structure unsafe or dangerous as defined in Chapter 2.

502.2 New and replacement materials. Except as otherwise required or permitted by this code, materials permitted by the applicable code for new construction shall be used. Like materials shall be permitted for repairs and alterations, provided no dangerous or unsafe condition, as defined in Chapter 2, is created.  Hazardous materials, such as asbestos and lead-based paint, shall not be used where the code for new construction

would not permit their use in buildings of similar occupancy, purpose and location.

Exception: Repairs to a historic building shall be permitted using original or like materials. Materials shall comply with Sections 502.2, 502.3 and 502.4.

502.3 Glazing in hazardous locations.  Change to read as shown.

502.3   Glazing in hazardous locations.  Replacement glazing in hazardous locations shall comply with the safety glazing requirements of the Florida Building Code, Building or the Florida Building Code, Residential as applicable.

Exception: Glass block walls, louvered windows, and jalousies repaired with like materials.

502.4 Replacement.  Added to read as shown.

502.4   Replacement.  For repairs in an historic building, replacement or partial replacement of existing or missing features that match the original in configuration, height, size and original methods of construction shall be permitted.

Exception: Glazing in hazardous locations shall comply with Section 502.3.

Section 505 Accessibility

505.1 General.  Change to read as shown.

505.1 General.  Repairs shall be done in accordance with Chapter 11 of the Florida Building Code, Building.

Section 506 Structural

506.1 General

506.1 General. Structural repairs shall be in compliance with this section and Section 501.2. Regardless of the extent of structural or nonstructural damage, dangerous conditions shall be eliminated. Regardless of the scope of repair, new structural members and connections used for repair or rehabilitation shall comply with the detailing  provisions of the Florida Building Code, Building for new buildings of similar structure, purpose and location.

506.1.1 add to read as follows:

506.1.1  Nonstructural repairs exclusive of fixtures and furniture, the cost of which does not exceed 25 percent of the replacement value of the existing building or structure, with the approval of the building official, may be made of the same material of which the building or structure is constructed.

Exception: Historic buildings shall comply with Section 502.4.

Section 506.2 Repairs to damaged buildings.  Change to read as shown.

Repairs to damaged buildings.  Repairs to damaged buildings shall comply with this section and section 611, Reroofing.  [Mod 2239]

Section 506.2.2 change to read as shown.

506.2.2 Repairs for substantial structural damage to vertical elements of the lateral-force-resisting system. A building that has sustained substantial structural damage to

the vertical elements of its lateral-force-resisting system shall be evaluated in accordance with Section 506.2.2.1, and either repaired in accordance with Section 506.2.2.2 or

repaired and rehabilitated in accordance with Section 506.2.2.3 depending on the results of the evaluation.

506.2.2.1 Evaluation, change to read as shown:

506.2.2.1 Evaluation. The building shall be evaluated by a registered design professional, and the evaluation findings shall be submitted to the code official. The evaluation shall establish whether the damaged building, if repaired to its predamaged state, would comply with the provisions of the codes that were in effect when the building was permitted. International Building Code, except that the seismic design criteria shall be the reduced level seismic forces specified in Section 101.5.4.2.

506.2.2.3 Extent of repair for noncompliant buildings. Revise to read as follows:

506.2.2.3 Extent of repair for noncompliant buildings. If the evaluation does not establish that the building in its predamage condition complies with the provisions

of Section 506.2.2.1, then the building shall be rehabilitated to comply with the provisions of this section. The wind load for the repair and rehabilitation shall be those

required by the building code in effect at the time of original construction, unless the damage was caused by wind, in which case the wind loads shall be in accordance with the Florida Building Code, Building. The seismic loads for this rehabilitation design shall be those required by the building code in effect at the time of original construction,

but not less than the reduced-level seismic forces specified in Section 101.5.4.2.

506.2.2.3 Extent of repair for noncompliant buildings.  Revise to read as follows:

506.2.2.3 Extent of repair for noncompliant buildings. If the evaluation does not establish that the building in its predamage condition complies with the provisions

of Section 506.2.2.1, then the building shall be rehabilitated to comply with the provisions of this section. The wind load for the repair and rehabilitation shall be those

required by the building code in effect at the time of original construction, unless the damage was caused by wind, in which case the wind loads shall be in accordance with the Florida Building Code, Building. The seismic loads for this rehabilitation design shall be those required by the building code in effect at the time of original construction,

but not less than the reduced-level seismic forces specified in Section 101.5.4.2.

506.2.3.1 Lateral-force resisting elements.  Change to read as shown

506.2.3.1 Lateral-force-resisting elements. Regardless of the level of damage to gravity elements of the lateral force-resisting system, if substantial structural damage

gravity load-carrying components was caused primarily by wind or seismic effects, then the building shall be evaluated in accordance with Section 506.2.2.1 and, if noncompliant, rehabilitated in accordance with Section 506.2.2.3.

507.1  Material 	Change to read as shown

507.1  Material. Existing electrical wiring and equipment undergoing repair shall be allowed to be repaired or replaced with like material in accordance with Chapter 27 of the Florida Building Code, Building.

Exceptions:

1.	Existing electrical wiring and equipment undergoing repair shall be permitted to be repaired or replaced with like material.

507.1.1 Receptacles. 	Change to read as shown

507.1.1 Receptacles. Replacement of electrical receptacles shall comply with the applicable requirements of Chapter 27 of the Florida Building Code, Building Section 406.3(D) of NFPA 70.

Change to read as shown

507.1.2 Plug fuses. Plug fuses of the Edison-base type shall be used for replacements only where there is no evidence of over fusing or tampering per applicable requirements of Chapter 27 of the Florida Building Code, Building Section 240.51(B) of NFPA 70.

507.1.3 Nongrounding-type receptacles. 	Change to read as shown

507.1.3 Nongrounding-type receptacles. For replacement of nongrounding-type receptacles with grounding-type receptacles and for branch circuits that do not have an equipment grounding conductor in the branch circuitry, the grounding conductor of a grounding-type receptacle outlet shall be permitted to be grounded to any accessible point on the grounding electrode system or to any accessible point on the grounding electrode conductor in accordance with Chapter 27 of the Florida Building Code, Building Section 250.130(C) of NFPA 70.

Section 507.1.4 Group I-2 receptacles. 	Change to read as shown

507.1.4 Group I-2 receptacles. Non-“hospital grade” receptacles in patient bed locations of Group I-2 shall be replaced with “hospital grade” receptacles, as required by NFPA 99 and Chapter 27 of the Florida Building Code, Building Article 517 of NFPA 70.

507.1.5 Grounding of appliances. 	Change to read as shown

507.1.5 Grounding of appliances. Frames of electric ranges, wall-mounted ovens, counter-mounted cooking units, clothes dryers and outlet or junction boxes that are part of the existing branch circuit for these appliances shall be permitted to be grounded to the grounded circuit conductor in accordance with Chapter 27 of the Florida Building Code, Building Section 250.140 of NFPA 70.

Section 508, Mechanical

508.1  General. 	Change to read as shown

508.1  General. Existing mechanical systems undergoing repair shall comply with Section 301.11 of the Florida Building Code, Mechanical and shall not make the building less conforming than it was before the repair was undertaken.

Section 509, Plumbing

509.2  Plumbing fixture replacement 	Change to read as shown

509.2  Plumbing fixture replacement. When any plumbing fixture is replaced, the replacement plumbing fixture shall comply with the Florida Building Code, Plumbing.

Exception: Blowout-design water closets [3.5 gallons (13 L) per flushing cycle].

Chapter 6 Alterations - Level 1

Section 601, General

601.2  Conformance 	Change to read as shown

601.2  Conformance. An existing building or portion thereof shall not be altered such that the building becomes less safe or energy efficient than its existing condition. If in the alteration the current level of safety or sanitation is to be reduced, the portion altered shall conform to the requirements of the Florida Building Code, Building.

Section 604, Means of Egress

604.1  General. 	Change to read as shown

604.1  General. Means of egress for buildings undergoing alteration shall comply with the requirements of Section 601.1 and the scoping provisions of Chapter 1 where applicable..

Exception: Door and window dimensions. In residential dwellings and dwelling units, a maximum of 5 percent reduction in the clear opening dimensions of replacement doors and windows shall be allowed.

Section 605, Accessibility

605.1 General.	Change to read as shown.

605.1 General. 1 Accessibility shall be in accordance with Chapter 11 of the Florida Building Code, Building.

605.1.1  through 605.2  	Delete text and change to reads as shown.

605.1.1 through 605.2.  Reserved

Section 606, Structural

Section 606.1.1, Nonstructural alteration, add to read as follows:

Section 606.1.1 Nonstructural alteration.  Nonstructural alterations exclusive of fixtures and furniture, the cost of which does not exceed 25 percent of the replacement value of the existing building or structure, with the approval of the building official may be made of the same material of which the building or structure is constructed.

606.2.1 Wall anchors for concrete and masonry buildings. Revise to read as follows:

606.2.1 Wall anchors for concrete and masonry buildings.  Reserved.  Where a permit is issued for reroofing on a building assigned to Seismic Design Category D, E or F with a structural system consisting of concrete or reinforced masonry walls with a flexible roof diaphragm or unreinforced masonry walls with any type of roof diaphragms, the work shall include installation of wall anchors at the roof line to resist the reduced International Building Code level seismic forces as specified in Section 101.5.4.2 of this code and design procedures of Section 101.5.4, unless an evaluation demonstrates compliance of existing wall anchorage.

606.4   Replacement of windows and doors.		Add text to read as shown.

606.4  Replacement of windows and doors.  The replacement of garage doors, exterior doors, skylight, operative and inoperative windows shall be designed and constructed to comply with Chapter 16 of the Florida Building Code, Building.

Exceptions:

1.	Opening protection exception: For one- and two-family dwellings constructed under codes other than the Florida Building Code and located in windborne debris regions, the replacement of garage doors and exterior doors with glazing, sliding glass doors, glass patio doors, skylights, and operable and inoperable windows within any 12-month period shall not be required to have opening protection but shall be designed for wind pressures for enclosed buildings, provided the aggregate area of the glazing in the replaced components does not exceed 25 percent of the aggregate area of the glazed openings in the dwelling or dwelling unit.

2.	Opening protection exception for High Velocity Hurricane Zones: For one-and two-family dwellings constructed under codes prior to September 1, 1994 the replacement of exterior doors with glazing, sliding glass doors, glass patio doors, skylights, and operable and inoperable windows within any 12 month period shall not be required to have opening protection provided the aggregate area of the glazing in the replaced components does not exceed 25 percent of the aggregate area of the glazed openings in the dwelling or dwelling unit.

606.5   		Add text to read as shown.

606.5 Openings in sunrooms, enclosed balconies and enclosed porches constructed under existing roofs or decks are not required to be protected, provided the space is separated from the building interior by a wall and all openings in the separating wall are protected in accordance with Section 1609.1.4 of the Florida Building Code, Building. Such spaces shall be permitted to be designed as enclosed or partially enclosed. (High Velocity Hurricane Zones must comply with Chapter 16 of the Florida Building Code, Building.)

Section 607 , Energy Conservation

Section 607 , Energy Conservation 		Delete text and change to reads as shown.

SECTION 607

ENERGY CONSERVATION

RESERVED

(See Section 612)

Section 608, Electrical

Section 608, Electrical	Add text to read as shown.

Section 608

Electrical

608.1 Residential R3 Occupancies

608.1.1  Existing wiring and equipment. Existing electrical wiring and equipment undergoing repair shall be permitted to be repaired or replaced with like material.

608.1.2  Replacement of receptacles. For replacement of nongrounding-type receptacles with grounding-type receptacles and for branch circuits that do not have an equipment grounding conductor in the branch circuitry, the grounding conductor of a grounding-type receptacle outlet shall be permitted to be grounded to any accessible point on the grounding electrode system or to any accessible point on the grounding electrode conductor, in accordance with Article 250.130 (C) of Chapter 27 of the Florida Building Code, Building.

608.1.3  Appliances. Frames of electric ranges, wall mounted ovens, counter-mounted cooking units, clothes dryers, and outlet or junction boxes that are part of the existing branch circuit for these appliances shall be permitted to be grounded to the grounded circuit conductor in accordance with Article 250.140 of Chapter 27 of the Florida Building Code, Building.

Section 609, Mechanical

Section 609, Mechanical	Add text to read as follows.

Section 609

Mechanical

609.1  General. Existing mechanical systems undergoing alteration shall comply with Section 301.11 of the Florida Building Code, Mechanical.

Section 610, Plumbing

Section 610, Plumbing	Add text to read as follows.

Section 610

Plumbing

610.1  Materials.  Change to read as shown.

610.1  Materials. The following plumbing materials and supplies shall not be used:

1.	Sheet and tubular copper and brass trap and tailpiece fittings less than the minimum wall thickness of .027 inches (0.69 mm).

2.	Solder having more than 0.2-percent lead in the repair of potable water systems.

3.	Water closets having a concealed trap seal or an unventilated space or having walls that are not thoroughly washed at each discharge in accordance with ASME A112.19.2 M.

4.	The following types of joints shall be prohibited:

4.1. Mastic or hot-pour bituminous joints.

4.2. Joints made with fittings not approved for the specific installation.

4.3. Joints between different diameter pipes made with elastomeric rolling O-rings.

4.4. Solvent-cement joints between different types of plastic pipe.

4.5. Saddle-type fittings.

5.    The following types of traps are prohibited:

5.1. Traps that depend on moving parts to maintain the seal.

5.2. Bell traps.

5.3. Crown-vented traps.

5.4. Traps not integral with a fixture and that depend on interior partitions for the seal, except those traps constructed of an approved material that is resistant to corrosion and degradation.

610.2  Water closet replacement.  Change to read as shown.

610.2  Water closet replacement. When any water closet is replaced, the replacement water closet shall comply with the Florida Building Code, Plumbing. The maximum water consumption flow rates and quantities for all replaced water closets shall be 1.6 gallons (6 L) per flushing cycle.

Exception: Blowout design water closets [3.5 gallons (13 L) per flushing cycle].

Section 611, Reroofing

Section 611, Reroofing	Add text to read as shown.

Section 611

Reroofing

]

611.1  General. Materials and methods of application used for recovering or replacing an existing roof covering shall comply with the requirements of Chapter 15 of the Florida Building Code, Building or Chapter 9 of the Florida Building Code, Residenial. Roof repairs to existing roofs and roof coverings shall comply with the provisions of this code.

Exception: Reroofing shall not be required to meet the minimum design slope requirement of ¼:12 in Section 1507 of the Florida Building Code, Building for roofs that provide positive roof drainage (high-velocity hurricane zones shall comply with Sections 1515.2.2.1 and 1515.2.2.2 of the Florida Building Code, Building).

611.1.2 Not more than 25% of the total roof area or roof section of any existing building or structure shall be repaired, replaced or recovered in any 12 month period unless the entire roofing system or roof section conforms to requirements of this code.

611.2  Structural and construction loads. The structural roof components shall be capable of supporting the roof covering system and the material and equipment loads that will be encountered during installation of the roof covering system.

611.3  Recovering versus replacement. New roof coverings shall not be installed without first removing existing roof coverings where any of the following conditions occur:

1.	When the old roofing is water-soaked or deteriorated to the point that it is not suitable as a base for additional roofing.

2.	When blisters exist in any roofing, unless blisters are cut or scraped open and nailed down before applying additional roofing.

3.	When the existing roof surface is gravel or the like, the gravel shall be thoroughly removed or all loose gravel removed and approved base material installed before applying additional roofing.

4.	When existing roof is slate or the like.

5.	When sheathing or supports are deteriorated to the point that the roof structural system is not substantial enough to support recovering.

6.	When existing roof has two or more applications of any type roofing material. Conformance with this item shall make replacement mandatory.

Exceptions:

1.	Building and structures located within the high-velocity hurricane zone shall comply with the provisions of Sections 1512 through 1525 of the Florida Building Code, Building.

2.	When the structural deck is concrete and the existing roof is firmly attached to the deck, then the roof shall be removed down to a minimum of three plies of moisture-free felts.

3.	When otherwise approved by the building official.

4.	Wood shingles or shakes shall not be placed over more than one application of wood or asphalt shingles. Wood shingles or shakes may be placed over existing shakes when installed in accordance with Cedar Shake and Shingle Bureau recommendations.

611.4  Roof recovering. Where the application of a new roof covering over wood shingle or shake roofs creates a combustible concealed space, the entire existing surface shall be covered with gypsum board, mineral fiber, glass fiber or other approved materials securely fastened in place.

611.5  Reinstallation of materials. Existing slate, clay or cement tile shall be permitted for reinstallation, except that damaged, cracked or broken slate or tile shall not be reinstalled. Existing vent flashing, metal edgings, drain outlets, collars and metal counter flashings shall not be reinstalled where rusted, damaged or deteriorated. Aggregate surfacing materials shall not be reinstalled (high-velocity hurricane zones shall comply with Sections 1512 through 1525 of the Florida Building Code, Building).

611.6  Flashings. Flashings shall be reconstructed in accordance with roof covering manufacturer’s installation instructions. Metal flashing to which bituminous materials are to be adhered shall be primed prior to installation (high-velocity hurricane zones shall comply with Sections 1512 through 1525 of the Florida Building Code, Building).

611.7 When a roof covering on an existing site-built - single family residential structure is removed and replaced, the following procedures shall be permitted to be performed by the roofing contractor:

(a) Roof-decking attachment shall be as required by Section 611.7.1.

(b) A secondary water barrier shall be provided as required by section 611.7.2.

Exception:  Single family residential structures permitted subject to the Florida Building Code are not required to comply with this section.

611.7.1 Roof decking attachment for site-built single family residential structures.  For site-built single family residential structures the fastening shall be in accordance with section 611.7.1.1 or  611.7.1.2 as appropriate for the existing construction. 8d nails shall be a minimum of 0.131 inch in diameter and shall be a minimum of 2-1/4 inch long to qualify for the provisions of this section for existing nails regardless of head shape or head diameter.

611.7.1.1   Roof decking consisting of sawn lumber or wood planks up to 12” wide and secured with at least two nails (minimum size 8d) to each roof framing member it crosses shall be deemed to be sufficiently connected.  Sawn lumber or wood plank decking secured with smaller fasteners than 8d nails or with fewer than two nails (minimum size 8d) to each framing member it crosses shall be deemed sufficiently connected if fasteners are added such that two clipped head, round head, or ring shank nails (minimum size 8d) are in place on each framing member it crosses.

611.7.1.2  For roof decking consisting of wood structural panels, fasteners and spacing required in columns 3 and 4 of Table 611.7.1.2 are deemed to comply with the requirements of Section 606.3, Florida Building Code, Existing Building for the indicated design wind speed range.  Wood structural panel connections retrofitted with a two part urethane based closed cell adhesive sprayed onto the joint between the sheathing and framing members are deemed to comply with the requirements of Section 606.3, Florida Building Code, Existing Building, provided testing using the manufacturer’s recommended application on panels connected with 6d smooth shank nails at no more than a 6-inch edge and 12-inch field spacing demonstrate an uplift resistance of a minimum of 200 psf.

Supplemental fasteners as required by Table 611.7.1.2 shall be 8d ring shank nails with round heads and the following minimum dimensions:

1. 0.113-inch nominal shank diameter

2. Ring diameter a minimum of 0.012-inch greater than shank diameter

3. 16 to 20 rings per inch

4. A minimum 0.280-inch full round head diameter

5. Ring shank to extend a minimum of 1 ½” from the tip of the nail.

6. Minimum 2-1/4 inch nail length

Table 611.7.1.2

Supplement Fasteners at Panel Edges and Intermediate Framing

| Existing fasteners | Existing spacing | Wind speed 110 mph or less supplemental fastener spacing shall be no greater than | Wind speed greater than 110 mph supplemental fastener spacing shall be no greater than |
| --- | --- | --- | --- |
| Staples or 6d | Any | 6” o.c. b | 6” o.c. b |
| 8d clipped head, round head, smooth or ring shank | 6” o.c. or less | None necessary | None necessary |
| 8d clipped head, round head , smooth or ring shank | Greater than 6” o.c. | 6” o.c.a | 6” o.c. a |

a.  Maximum spacing determined based on existing fasteners and supplemental fasteners.

b.  Maximum spacing determined based on supplemental fasteners only.

611.7.2 Roof secondary water barrier for site-built single family residential structures.  A secondary water barrier shall be installed using one of the following methods when roof covering is removed and replaced:

1.  In either HVHZ or Non-HVHZ regions,

a) All joints in structural panel roof sheathing or decking shall be covered with a minimum 4 in. wide strip of self-adhering polymer modified bitumen tape applied directly to the sheathing or decking.  The deck and self adhering polymer modified bitumen tape shall be covered with one of the underlayment systems approved for the particular roof covering to be applied to the roof.

b) The entire roof deck shall be covered with an approved asphalt impregnated 30# felt underlayment or approved synthetic underlayment installed with nails and tin-tabs in accordance with Sections R4402.7.2, R4402.7.3, or R4402.7.4 of the Florida  Building Code, Residential.  (No additional underlayment shall be required over the top of this sheet).  The synthetic underlayment shall be fastened in accordance with the manufacturer’s recommendations.

2. Outside the High Velocity Hurricane Zone:

a) The entire roof deck shall be covered with an approved self-adhering polymer modified bitumen sheet meeting ASTM D 1970 or an approved self-adhering synthetic underlayment installed in accordance with the manufacturer’s installation instructions.  No additional underlayment shall be required on top of this sheet for new installations.

b) An underlayment system approved for the particular roof covering shall be applied with the following modification:

(1) For roof slopes that require one layer of underlayment, a layer of approved asphalt impregnated ASTM D 226 Type I or Type II underlayment or approved synthetic underlayment shall be installed. The felt is to be fastened with 1” round plastic cap or metal cap nails, attached to a nailable deck in a grid pattern of 12 inches (305 mm) staggered between the overlaps, with 6-inch (152 mm) spacing at the overlaps.  The synthetic underlayment shall be fastened in accordance with the manufacturer’s recommendations.

(2) For roof slopes that require two layers of underlayment, an approved asphalt impregnated ASTM D 226 Type I or Type II underlayment shall be installed in a shingle-fashion and lapped 19” and fastened as described above. An approved synthetic underlayment shall be installed in accordance with the manufacturer’s installation instruction. (No additional underlayment shall be required over the top of this sheet).

Exceptions:

1. Roof slopes < 2:12 having a continuous roof system shall be deemed to comply with section 611.7.2 requirements for a secondary water barrier.

2. Clay and Concrete tile roof systems installed as required by the Florida Building Code are deemed to comply with the requirements of section 611.7.2 for Secondary Water Barriers.

Section 611.8, add text to read as follows:

611.8 When a roof covering on an existing site-built-single-family residential structure is removed and replaced on a building that is located in the wind-borne debris region as defined in the Florida Building Code, Building and that has an insured value of $300,000 or more or, if the building is uninsured or for which documentation of insured value is not presented, has a just valuation for the structure for purposes of ad valorem taxation of $300,000 or more:

(a)  Roof to wall connections shall be improved as required by Section 611.8.1

(b)  Mandated retrofits of the roof-to-wall connection shall not be required beyond a 15 percent increase in the cost of re-roofing.

Exception: Single family residential structures permitted subject to the Florida Building Code are not required to comply with this section.

[Mod 3050 revised and Mod 3118]

611.8.1 Roof-to-wall connections for site-built single family residential structures.  Where required by Section 611.8, the intersection of roof framing with the wall below shall provide sufficient resistance to meet the uplift loads specified in Table 611.8.1 either because of existing conditions or through retrofit measures. As an alternative to an engineered design, the prescriptive retrofit solutions provided in Sections 611.8.1.1 through 611.8.1.76 shall be accepted as meeting the mandated roof-to-wall retrofit requirements.

Exceptions:

1.  Where it can be demonstrated (by code adoption date documentation and permit issuance date) that roof-to-wall connections and/or roof-to-foundation continuous load path requirements were required at the time of original construction.

2.   Roof- to- wall connections shall not be required unless evaluation and installation of connections at gable ends or all corners can be completed for 15% of the cost of roof replacement.

611.8.1.1 Access for Retrofitting Roof to Wall Connections.  These provisions are not intended to limit the means for gaining access to the structural elements of the roof and wall for the purposes of retrofitting the connection.  The retrofit of roof to wall connections can be made by access through the area under the eave, from above through the roof, or from the interior of the house.  Methods for above access include removal of roof panels or sections thereof or removal of portions of roof paneling at selected locations large enough for access, viewing, and installing the retrofit connectors and fasteners.

Where panels or sections are removed, the removed portions shall not be reused.  New paneling shall be used and fastened as in new construction.

Holes shall be deemed adequately repaired if a patch of paneling is installed with no gap greater than ½ inch between the patch and the existing sheathing and if the patch is supported using one of the following methods.

a) Solid 1-1/2 inch lumber shall fully support the patch and shall be secured to the existing sheathing with #8 by 1-1/4 inch screws spaced a minimum of 3” around the perimeter with screws a minimum of ¾ inch from the near edge of the hole.  The patch shall be secured to the lumber with #8 x 1-1/4 inch screws spaced on a grid no greater than 6 inches by 6 inches with no fewer than 2 screws.

b) Holes that extend horizontally from roof framing member to adjacent roofing framing member that are less than or equal to 7” wide along the slope of the roof shall be supported by minimum of 2x4 lumber whose face is attached to each roofing framing members using a minimum of 2 each 3-inch long fasteners (#8 screws or 10d common nails) connecting the two.  The patch shall have attached to its bottom running horizontally a minimum 2x4 either flat wise or on edge secured with #8 x 1-1/4 inch screws a maximum of 4 inches on center and no more distant from the end of the added lumber than 3 inches.  The patch shall be secured with two #8 x 1-1/4 inch screws to each support member.

611.8.1.2 Partially inaccessible straps:  Where part of a strap is inaccessible, if the portion of the strap that is observed is fastened in compliance with these requirements, the inaccessible portion of the strap shall be presumed to comply with these requirements.

611.8.1.3  Prescriptive method for gable roofs on a wood frame wall.    The anchorage of each of the exposed rafters or truss within 6 ft of the corner along the exterior wall on each side of each gable end shall be inspected.  Wherever a strap is missing or an existing strap has fewer than four fasteners on each end, approved straps, ties or right angle brackets with a minimum uplift capacity of 500 lbs shall be installed that connect each rafter or truss to the top plate below.  Adding fasteners to existing straps shall be allowed in lieu of adding a new strap provided the strap is manufactured to accommodate at least 4 fasteners at each end.  Wherever access makes it possible (without damage of the wall or soffit finishes), both top plate members shall be connected to the stud below using a stud to plate connector with a minimum uplift capacity of 500 lbs.  Use of straps that connect directly from the rafter or truss to the wall stud below shall be allowed as an alternate provided the two members align with no more than 1-1/2” offset.

611.8.1.4  Prescriptive method for gable roofs on a masonry wall.  The anchorage of each of the exposed rafters or truss within 6 ft of the corner along the exterior wall on each side of each gable end shall be inspected.  Wherever a strap is missing or an existing strap has fewer than four fasteners on each end, approved straps, ties or right angle gusset brackets with a minimum uplift capacity of 500 lbs shall be installed that connect each rafter or truss to the top plate below or directly to the masonry wall using approved masonry screws that will provide at least a 2-1/2 embedment into the concrete or masonry.  When the straps or right angle gusset brackets are attached to a wood sill plate, the sill plate shall be anchored to the concrete masonry wall below.  This anchorage shall be accomplished by installing ¼-inch diameter masonry screws, each with supplementary ¼-inch washer, having sufficient length to develop a 2-1/2 inch embedment into the concrete and masonry.  These screws shall be installed within 4-inches of the truss or rafter on both sides of each interior rafter or truss and on the accessible wall side of the gable end truss or rafter.

611.8.1.5  Prescriptive method for hip roofs on a wood frame wall. Unless it is possible to verify through non-destructive inspection or from plans prepared by a design professional that the roof structure is anchored at least as well as outlined below, access shall be provided at a minimum to the hip rafter (commonly known as a “king jack”), to the hip girder and at each corner of the hip roof.  The hip rafter (commonly known as a “king jack”), the hip girder and the rafters/trusses adjacent to the hip girder that are not anchored with a strap having at least four fasteners on each end, shall be connected to the top plate below using a strap or a right angle gusset bracket having a minimum uplift capacity of 500 lbs.  Adding fasteners to existing straps shall be allowed in lieu of adding a new strap provided the strap is manufactured to accommodate at least 4 fasteners at each end.   Wherever access makes it possible (without damage of the wall or soffit finishes), both top plate members shall be connected to the stud below using a stud to plate connector with a minimum uplift capacity of 500 lbs.  Use of straps that connect directly from the hip rafter, hip girder or adjacent rafters/trusses to the wall stud below shall be allowed as an alternate provided the two members align with no more than 1-1/2” offset.

611.8.1.6 Prescriptive method for hip roofs on a masonry wall.  Unless it is possible to verify through non-destructive inspection or from plans prepared by a design professional that the roof structure is anchored at least as well as outlined below, access shall be provided at a minimum to the hip rafter (commonly known as a “king jack”), to the hip girder and at each corner of the hip roof.  The hip rafter (commonly known as a “king jack”), the hip girder and the rafters/trusses adjacent to the hip girder that are not anchored with a strap having at least four fasteners on each end, shall be connected to the concrete masonry wall below using approved straps or right angle gusset brackets with a minimum uplift capacity of 500 lbs.  Adding fasteners to existing straps shall be allowed in lieu of adding a new strap provided the strap is manufactured to accommodate at least 4 fasteners at each end.  The straps or right angle gusset brackets shall be installed such that they connect each rafter or truss to the top plate below or directly to the masonry wall using approved masonry screws that will provide at least a 2-1/2 embedment into the concrete or masonry.  When the straps or right angle gusset brackets are attached to a wood sill plate, the sill plate shall be anchored to the concrete masonry wall below.  This anchorage shall be accomplished by installing ¼-inch diameter masonry screws, each with supplementary ¼-inch washer, with sufficient length to develop a 2-1/2 inch embedment into the concrete and masonry.  These screws shall be installed within 4-inches of the truss or rafter on both sides of each interior rafter or truss and on the accessible wall side of the gable end truss or rafter.

611.8.1.7 Priorities for mandated roof-to-wall retrofit expenditures.  Priority shall be given to connecting the exterior corners of roofs to walls where the spans of the roofing members are greatest. For houses with both hip and gable roof ends, the priority shall be to retrofit the gable end roof-to-wall connections unless the width of the hip end is more than 1.5 times greater than the width of the gable end.

Table 611.8.1

Required Uplift Capacities for Roof-to-Wall Connections

(POUNDS PER LINEAR FOOT)

Section 612, Energy Conservation

Section 612, Energy Conservation		Add text to read as shown.

Section 612

Energy Conservation

612.1  Minimum requirements. Alterations subject to this chapter shall comply with the requirements of Chapter 13 of the Florida Building Code, Building.

Chapter 7 Alterations – Level 2

Section 702, Special Use and Occupancy.

Section 702, Special Use and Occupancy.  Delete text and change to reads as shown.

Section 702, Special Use and Occupancy.  Reserved.

Section 703, Building Elements and Materials

703.2.1  Existing vertical openings.  	Change to read as shown.

703.2.1  Existing vertical openings. All existing interior vertical openings connecting two or more floors shall comply with the appropriate sections of the Florida Fire Prevention Code.

Exceptions:

1.	One- and two-family dwellings.

2.	Group S occupancies where vertical opening protection is not required for open parking garages and ramps.

703.2.3  Supplemental stairway enclosure requirements.  Change to read as shown.

703.2.3  Supplemental stairway enclosure requirements. Where the work area on any floor exceeds 50 percent of that floor area, stairways that are part of the means of egress serving the work area shall, at a minimum, be enclosed with smoke-tight construction on the highest work area floor and all floors below.

Exception: Where stairway enclosure is not required by the Florida Building Code or the Florida Fire Prevention Code.

703.3.1 Compartmentation.. 	Delete text and change to reads as shown.

703.3.1  Compartmentation. See Section 407 of the Florida Building Code, Building.

703.3.2 Fire-resistance rating.  Change to read as shown.

703.3.2  Fire-resistance rating. The smoke barriers shall be constructed in accordance with the Florida Building Code, Building or the Florida Fire Prevention Code.

703.4  Interior finish. The interior finish of walls and ceilings in exits and corridors in any work area shall comply with the requirements of the Florida Building Code, Building.

Exception: Existing interior finish materials that do not comply with the interior finish requirements of the Florida Building Code, Building shall be permitted to be treated with an approved fire-retardant coating in accordance with the manufacturer‘s instructions to achieve the required rating.

Section 703.5.1 Minimum requirement. 	Change to read as shown.

703.5.1 Minimum requirement. Every  portion of a floor, such as a balcony or a loading dock, that is more than 30 inches (762 mm) above the floor or grade below and is not provided with guards, or those in which the existing guards are judged to be in danger of collapsing, shall be provided with guards.

Exception: Guards are not required for the following locations:

1. On the loading side of loading docks or piers.

2. On the audience side of stages and raised platforms, including steps leading up to the stage and raised platforms.

3. On raised stage and platform floor areas, such as runways, ramps and side stages used for entertainment or presentations.

4. At vertical openings in the performance area of stages and platforms.

5. At elevated walking surfaces appurtenant to stages and platforms for access to and utilization of special lighting or equipment.

6. Along vehicle service pits not accessible to the public.

7. In assembly seating where guards in accordance with Section 1025.14 are permitted and provided.

703.5.2  Design.  	Change to read as shown.

703.5.2  Design. Where there are no guards or where existing guards must be replaced, the guards shall be designed and installed in accordance with the Florida Building Code, Building.

Exception: Where existing guards are replaced, the design may match the existing design.

Section 704. Fire Protection

704.2.1 High-rise buildings.  	Delete text and change to reads as shown

704.2.1 High-rise buildings. See Section 403 of the Florida Building Code, Building.

704.2.1.1 Supplemental automatic sprinkler system requirements.  	Delete text and change to reads as shown.

704.2.1.1 Supplemental automatic sprinkler system requirements.  Reserved.

704.2.2 Groups A, E, F-1, H,I, M, R-1, R-2, R-4, S-1, and S-2. 	 Delete text and change to reads as shown.

704.2.2 Groups A, E, F-1, H,I, M, R-1, R-2, R-4, S-1, and S-2.  Reserved.

704.2.3 Windowless stories.  	Change to read as shown.

704.2.3  Windowless stories. Work located in a windowless story, as determined in accordance with the Florida Building Code, Building, shall be sprinklered where the work area is required to be sprinklered under the provisions of the Florida BuildingCode, Building as a newly constructed building and the building has a sufficient municipal water supply available to the floor without installation of a new fire pump.

704.2.4 Other required suppression systems.  	Delete text and change to reads as shown.

704.2.4  Other required suppression systems. In buildings and areas listed in Table 903.2.11.6 of the Florida Building Code, Building or the Florida Fire Prevention Code, work areas that include exits or corridors shared by more than one tenant or serving an occupant load greater than 30 shall be provided with sprinkler protection under the following condition:

The work area is required to be provided with automatic sprinkler protection in accordance with the Florida Building Code, Building, applicable to new construction.

2. The building has sufficient municipal water supply for design of a fire sprinkler system available to the floor without installation of a new fire pump.

.

704.2.5 Supervision.  	Change to read as shown.

FBC

704.2.5 Supervision. Fire sprinkler systems required by this section shall be supervised by one of the following methods:

1.	Approved central station system in accordance with NFPA r; 72;

2.	Approved proprietary system in accordance with NFPA 72;

3.	Approved remote station system of the jurisdiction in accordance with NFPA 72.

4.	Approved local alarm service that will cause the sounding of an alarm in accordance with NFPA 72.

Exception: Supervision is not required for the following:

1.	Underground gate valve with roadway boxes.

2.	Halogenated extinguishing systems.

3.	Carbon dioxide extinguishing systems.

4.	Dry and wet chemical extinguishing systems.

5.	Automatic sprinkler systems installed in accordance with NFPA 13R where a common supply main is used to supply both domestic and automatic sprinkler systems and a separate shutoff valve for the automatic sprinkler system is not provided.

704.3 Standpipes.  Change to read as shown.

704.3 Standpipes. Where the work area includes exits or corridors shared by more than one tenant and is located more than 50 feet (15 240 mm) above or below the lowest level of fire department access, a standpipe system shall be provided. Standpipes shall have an approved fire department connection with hose connections at each floor level above or below the lowest level of fire department access. Standpipe systems shall be installed in accordance with the Florida Building Code, Building.

Exceptions:

1.	No pump shall be required provided that the standpipes are capable of accepting delivery by fire department apparatus of a minimum of 250 gallons per minute (gpm) at 65 pounds per square inch (psi) (946 L/m at 448KPa) to the topmost floor in buildings equipped throughout with an automatic sprinkler system or a minimum of 500 gpm at 65 psi (1892 L/m at 448KPa) to the topmost floor in all other buildings.  Where the standpipe terminates below the topmost floor, the standpipe shall be designed to meet (gpm/psi) (L/m/KPa) requirements of this exception for possible future extension of the standpipe.

2.	 The interconnection of multiple standpipe risers shall not be required

704.4  Fire alarm and detection.  		Delete text and change to reads as shown.

704.4  Fire alarm and detection. An approved fire alarm system shall comply with the appropriate sections of the Florida Fire Protection Prevention Code for existing buildings.

704.4.1 Occupancy requirements.  		Delete text and change to reads as shown.

704.4.1 Occupancy requirements.  Reserved.

704.4.2  Supplemental fire alarm system requirements. 	 Delete text and change to reads as shown.

704.4.2  Supplemental fire alarm system requirements.  Reserved.

704.4.3  Smoke alarms.  Change to read as shown.

704.4.3 Smoke alarms. Individual sleeping units and individual dwelling units in any work area in Group R-1, R-2, R-3, R-4, and I-1 occupancies shall be provided with smoke alarms in accordance with the Florida Fire Prevention Code.

Section 705. Means of Egress

705.2  General.  Change to read as shown.

705.2  General. The means of egress shall comply with the requirements of this section.

Exceptions:

1.	Where the work area and the means of egress serving it complies with the Florida Fire Prevention Code.

2.	Means of egress conforming to the requirements of the Florida Building Code, Building and the Florida Fire Prevention Code under which the building was constructed shall be considered compliant means of egress if, in the opinion of the code official, they do not constitute a distinct hazard to life.

705.3  Number of exits. 	Delete and add text and to reads as shown.

.

705.3  Number of exits. The number of exits shall be in accordance with the appropriate sections of the Florida Fire Prevention Code.

Exception: Building of Group R3 occupancies shall comply with the Florida Building Code, Building.

705.3.1 Minimum number.  		Delete text and change to reads as shown.

705.3.1 Minimum number.   Reserved

705.3.1.1 Single-exit buildings. 	 Delete text and change to reads as shown.

705.3.1.1 Single-exit buildings.  Reserved

705.3.1.2  Fire escapes required.  	Delete text and change to reads as shown.

705.3.1.2  Fire escapes required. Fire escapes shall comply with the appropriate sections of the Florida Fire Prevention Code.

705.3.1.2.1 Fire escape access and details. 	Delete text and change to reads as shown.

705.3.1.2.1 Fire escape access and details.  Reserved.

705.3.1.2.2 Construction.	Delete text and change to reads as shown.

705.3.1.2.2 Construction.	Reserved.

705.3.1.2.3. Dimensions.	Delete text and change to reads as shown.

705.3.1.2.3. Dimensions.	Reserved.

[Mod 2872]

705.3.2  Mezzanines.  Delete text and change to reads as shown.

705.3.2  Mezzanines. Travel distance for mezzanines shall comply with Chapter 10 of the Florida Building Code, Building.

705.4.1.1  Occupant load and travel distance.  Delete text and change to reads as shown.

705.4.1.1  Occupant load and travel distance. In any work area, all rooms and spaces having an occupant load greater than 50 or in which the travel distance to an exit exceeds 75 feet (22 860 mm) shall have a minimum of two egress doorways.

Exception: Storage rooms in Group S1 and S2 occupancies having a maximum occupant load of 10.

705.4.3  Door closing.  Change to read as shown.

705.4.3  Door closing. In any work area, all doors opening onto an exit passageway at grade or an exit stair shall be self-closing or automatically closing by listed closing devices.

Exceptions:

1.	Where exit enclosure is not required by the Florida Building Code, Building.

2.	Means of egress within or serving only a tenant space that is entirely outside the work area

705.4.5  Emergency power source in Group I-3.  Change to read as shown.

705.4.5  Emergency power source in Group I-3. Work areas in buildings of Group I-3 occupancy having remote power unlocking capability for more than 10 locks shall be provided with an emergency power source for such locks. Power shall be arranged to operate automatically upon failure of normal power within 10 seconds and for a duration of not less than 1½ hours.

Section 705.5 Openings in corridor walls. 	Change to read as shown.

705.5 Openings in corridor walls.  Openings in corridor walls in any work area shall comply with Sections 705.5.1.1 through 705.5.4.

Exception: Openings in corridors where such corridors are not required to be rated in accordance with the Florida Building Code, Building.

Section 705.5.1 Corridor doors.  Revise to read as follows:

705.5.1 Corridor doors.

705.5.1.1 Corridor doors in the work area shall not be constructed of hollow core wood and shall not contain louvers.

705.5.1.2 All replacement doors shall be 1¾-inch (45 mm) solid bonded wood core or approved equivalent, unless the existing frame will accommodate only a 13/8-inch (35 mm) door.

705.5.1.3 All dwelling unit, guestroom or rooming unit corridor doors in work areas in buildings of Groups R-1, R-2, and I-1 shall be at least 13/8 -inch (35 mm) solid core wood or approved equivalent and shall not have any glass panels other than approved wired glass or other approved glazing material in metal frames. All dwelling unit or sleeping unit corridor doors in work areas in buildings of Groups R-1, R-2, and I-1 shall be equipped with approved door closers.

Exceptions:

1.	Corridor doors within a dwelling unit or guestroom.

2.	Existing doors meeting the requirements of HUD Guideline on Fire Ratings of Archaic Materials and Assemblies (FEBC Appendix C) for a rating of 15 minutes or more shall be accepted as meeting the provisions of this requirement.

3.	Existing doors in buildings protected throughout with an approved automatic sprinkler system shall be required only to resist smoke, be reasonably tight fitting and shall be equipped with approved door closers, and shall not contain louvers.

4.	In group homes with a maximum of 15 occupants and that are protected with an approved automatic detection system, closing devices may be omitted.

5.	Door assemblies having a fire-resistance rating of at least 20 minutes.

705.5.3.1 Supplemental requirements for other corridor opening.  Delete text and change to reads as shown.

705.5.3.1 Supplemental requirements for other corridor opening.  Reserved.

705.5.4  Supplemental requirements for corridor openings.  Change to read as shown.

705.5.4  Supplemental requirements for corridor openings. Where the work area on any floor exceeds 50 percent of the floor area the requirements of Sections 705.5.1 through 705.5.3 shall apply throughout the floor. This section shall be applicable to all corridor windows, grilles, sash and other openings on the floor.

705.6  Dead-end corridors.  Change to read as shown.

705.6  Dead-end corridors. Dead-end corridors in any work area shall comply with the requirements of Section 1016.3 of the Florida Building Code, Building.

705.7.1  Artificial lighting required.  Change to read as shown.

705.7.1  Artificial lighting required. Means of egress in all work areas shall be provided with artificial lighting in accordance with the requirements of the Florida Building Code, Building.

705.7.2  Supplemental requirements for means of egress lighting.  Change to read as shown.

705.7.2  Supplemental requirements for means of egress lighting. Where the work area on any floor exceeds 50 percent of that floor area, means of egress lighting throughout the floor shall comply with Section 605.7.1.

Exception:  Means of egress within or serving only a tenant space that is entirely outside the work area.

705.8.1  Work areas.  Change to read as shown.

705.8.1  Work areas. Means of egress in all work areas shall be provided with exit signs in accordance with the requirements of the Florida Building Code, Building.

705.8.2  Supplemental requirements for exit signs.  Change to read as shown.

705.8.2  Supplemental requirements for exit signs. Where the work area on any floor exceeds 50 percent of that floor area, means of egress existing signs throughout the floor shall comply with Section 705.8.1.

Exception: Means of egress within or serving only a tenant space that is entirely outside the work area.

705.9.2  Design.  Change to read as shown.

705.9.2  Design. Handrails required in accordance with Section 705.9.1 shall be designed and installed in accordance with the provisions of the Florida Building Code, Building.

Exception: Handrails being replaced in part may match the existing design.

705.10.2  Design.  Change to read as shown.

705.10.2  Design. Guards required in accordance with Section 705.10.1 shall be designed and installed in accordance with the Florida Building Code, Building.

Exception: Guards being replaced in part may match the existing design.

Section 706, Accessibility

706.1  General.  	Delete text and change to reads as shown.

706.1  General. A building, facility, or element that is altered shall comply with Chapter 11 of the Florida Building Code, Building.

706.2 Stairs and escalators in existing buildings.  Delete text and change to reads as shown.

706.2 Stairs and escalators in existing buildings. Reserved.

706.3 Dwelling units and sleeping units. Reserved

Section 707, Structural, revise to read as follows:

707.1  General. Structural elements and systems within buildings undergoing Level 2 alterations shall comply with this section.

707.2  New structural members.  New structural members in alterations, including connections and anchorage, shall comply with the Florida Building Code, Building.

707.3 Minimum design loads. The minimum design loads on existing elements of a structure that do not support additional loads as a result of an alteration shall be the loads applicable at the time the building was constructed.

707.4 Existing structural elements carrying gravity loads.  Alterations shall not reduce the capacity of existing gravity load-carrying structural elements unless it is demonstrated that the elements have the capacity to carry the applicable design gravity loads required by the Florida Building Code, Building. Existing structural elements supporting any dditional gravity loads as a result of the alterations, including the effects of snow drift, shall comply with the Florida Building Code, Building.

Exceptions:

1. Structural elements whose stress is not increased by more than 5 percent.

2. Buildings of Group R occupancy with not more than five dwelling or sleeping units used solely for residential purposes where the existing building and its alteration comply with the conventional light-frame construction methods of the Florida Building Code, Building. or the provisions of the Florida Building Code, Residential.

707.5 Existing structural elements resisting lateral loads.

Any existing lateral load-resisting structural element whose demand-capacity ratio with the alteration considered is more than 10 percent greater than its demand-capacity ratio with the alteration ignored shall comply with the structural requirements specified in Section 807.4. For purposes of calculating demand-capacity ratios, the demand shall consider applicable load combinations with design lateral loads or forces in accordance with Sections 1609 and 1613 of the Florida Building Code, Building.  For purposes of this section, comparisons of demand-capacity ratios and calculation of design lateral loads, forces and capacities shall account for the cumulative effects of additions and alterations since original construction.

707.6 Voluntary lateral-force-resisting system alterations.

Alterations of existing structural elements and additions of new structural elements that are initiated for the purpose of increasing the lateral-force-resisting strength or stiffness of an existing structure and that are not required by other sections of this code shall not be required to be designed for forces conforming to the Florida Building Code, Building,  provided that an engineering analysis is submitted to show that:

1. The capacity of existing structural elements required to resist forces is not reduced;

2. The lateral loading to existing structural elements is not increased either beyond their capacity or more than 10 percent;

3. New structural elements are detailed and connected to the existing structural elements as required by the Florida Building Code, Building;

4. New or relocated nonstructural elements are detailed and connected to existing or new structural elements as required by the Florida Building Code, Building; and

5. A dangerous condition as defined in this code is not created. Voluntary alterations to lateral-force-resisting systems conducted in accordance with Appendix A and the

referenced  standards of this code shall be permitted.

Section 708, Electrical

708.1  New installations.  Change to read as shown.

708.1  New installations. All newly installed electrical equipment and wiring relating to work done in any work area shall comply with the materials and methods requirements of Chapter 27 of the Florida Building Code, Building.

708.2  Existing installations.  Change to read as shown.

708.2  Existing installations. Existing wiring in all work areas in Group A-1, A-2, A-5, H, and I occupancies shall be upgraded to meet the requirements of Chapter 27 of the Florida Building Code, Building.

708.3 Residential occupancies.  Change to read as shown.

708.3  Residential occupancies. In Group R-2, R-3, and R-4 occupancies and buildings regulated by the Florida Building Code, Residential, the requirements of Sections 708.3.1 through 708.3.7 shall be applicable only to work areas located within a dwelling unit.

708.3.3  Laundry areas.  Change to read as shown.

708.3.3  Laundry areas. Laundry areas shall have a minimum of one duplex receptacle outlet located near the laundry equipment and installed on an independent circuit.

708.3.4 Ground fault circuit interruption.  Change to read as shown.

708.3.4 Ground fault circuit interruption. Reserved.

708.3.7 Residential R3 Occupancies.  Change to read as shown.

708.3.7 Residential R3 Occupancies.

708.3.7.1  Existing electrical wiring.  Change to read as shown.

708.3.7.1  Existing electrical wiring. Existing electrical wiring and equipment undergoing repair or replacement shall be permitted to be repaired or replaced with like material.

708.3.7.2  Replacement receptacles.  Change to read as shown.

708.3.7.2  Replacement receptacles. For replacement of nongrounding-type receptacles with grounding-type receptacles and for branch circuits that do not have an equipment grounding conductor in the branch circuitry, the grounding conductor of a grounding-type receptacle outlet shall be permitted to be grounded to any accessible point on the grounding electrode system, or to any accessible point on the grounding electrode conductor, in accordance with Article 250.130(c) of Chapter 27 of the Florida Building Code, Building.

708.3.7.3  Appliances.  Change to read as shown.

708.3.7.3  Appliances. Frames of electric ranges, wall-mounted ovens, counter-mounted cooking units, clothes dryers, and outlet or junction boxes that are part of the existing branch circuit for these appliances shall be permitted to be grounded to the grounded circuit conductor in accordance with Article 250.140 of Chapter 27 of the Florida Building Code, Building.

Section 709, Mechanical

709.1  Reconfigured or converted spaces.  Change to read as shown.

709.1  Reconfigured or converted spaces. All reconfigured spaces intended for occupancy and all spaces converted to habitable or occupiable space in any work area shall be provided with natural or mechanical ventilation or exhaust in accordance with the Florida Building Code, Mechanical.

709.2  Existing mechanical systems.  Change to read as shown.

709.2  Existing mechanical systems. Existing mechanical systems undergoing repair shall comply with Section 301.11 of the Florida Building Code, Mechanical.

709.3 Local exhaust.  Change to read as shown.

709.3 Local exhust. Reserved

Section 710, Plumbing

710.1  Minimum fixtures.  Change to read as shown.

710.1  Minimum fixtures. Where the occupant load of the story is increased by more than 20 percent, plumbing fixtures for the story shall be provided in quantities specified in the Florida Building Code, Plumbing based on the increased occupant load.

710.2  Materials.  Change to read as shown.

710.2  Materials. The following plumbing materials and supplies shall not be used:

1.	Sheet and tubular copper and brass trap and tailpiece fittings less than the minimum wall thickness of .027 inch (0.69 mm).

2.	Solder having more than 0.2-percent lead in the repair of potable water systems.

3.	Water closets having a concealed trap seal or an unventilated space or having walls that are not thoroughly washed at each discharge in accordance with ASME A112.19.2M.

4.	The following types of joints shall be prohibited:

4.1. Mastic or hot-pour bituminous joints.

4.2. Joints made with fittings not approved for the specific installation.

4.3. Joints between different diameter pipes made with elastomeric rolling O-rings.

4.4. Solvent-cement joints between different types of plastic pipe.

4.5. Saddle-type fittings.

5.	The following types of trap are prohibited:

5.1. Traps that depend on moving parts to maintain the seal.

5.2. Bell traps.

5.3. Crown-vented traps.

5.4. Traps not integral with a fixture and that depend on interior partitions for the seal, except those traps constructed of an approved material that is resistant to corrosion and degradation.

710.3  Replacement fixtures.  Change to read as shown.

710.3  Replacement fixtures. Replacement fixtures shall be installed in accordance with the Florida Building Code, Plumbing.

Section 711, Energy Conservation

711.1  Minimum requirements.  Change to read as shown.  Overlap exists and needs resolution.

711.1  Minimum requirements. Alterations subject to this chapter shall comply with the requirements of Chapter 13 of the Florida Building Code, Building.

Chapter 8 Alterations – Level 3

Section 801 General

801.1  Scope.  Change to read as shown.

801.1  Scope. Alterations classified as Level 3 alterations as described in Section 405 shall comply with the requirements of this chapter.

Section 801.2 Compliance revise text to read as follows:

801.2 Compliance. In addition to the provisions of this chapter, work shall comply with all of the requirements of Chapters 6 and 7. The requirements of Sections 703, 704, and 705 shall apply within all work areas whether or not they include exits and corridors shared by more than one tenant and regardless of the occupant load.

Exception: Buildings in which the reconfiguration of space affecting exits or shared egress access is exclusively the result of compliance with the accessibility requirements of Section 605.2 shall not be required to comply with this chapter.

Section 802, Special Use and Occupancy

802.1.2  Elevators.  Change to read as shown.  Overlap exists and needs resolution.

802.1.2  Elevators. Where there is an elevator or elevators for public use, at least one elevator serving the work area shall comply with the Florida Fire Prevention Code.

Exception: An approved engineering system in accordance with ASME 17.1 or Section 104.11 of the Florida Building Code, Building shall be acceptable as an alternative compliance with the section.

Section 803, Building Elements and Materials

803.1  Existing shafts and vertical openings.  Change to read as shown.

803.1  Existing shafts and vertical openings. Existing stairways that are part of the means of egress shall comply with the appropriate sections of the Florida Fire Prevention Code.

803.2.1  Separation required.  Change to read as shown.

803.2.1  Separation required. Walls separating the units that are not continuous from the foundation to the underside of the roof sheathing shall be constructed to provide a continuous fire separation using construction materials consistent with the existing wall or complying with the requirements for new structures.  All work shall be performed on the side of the wall that is part of the work area.

Exception: Where alterations or repairs do not result in the removal of wall or ceiling finishes exposing the structure, walls are not required to be continuous through concealed floor spaces.

Section 804, Fire Protection

804.1  Automatic sprinkler systems.  Change to read as shown.

804.1  Automatic sprinkler systems. Automatic sprinkler systems shall be provided in all work areas in accordance with the Florida Building Code, Building.

804.1.1  High-rise buildings.  Change to read as shown.

804.1.1  High-rise buildings. In high-rise buildings, work areas shall be provided with automatic sprinkler protection where the building has a sufficient municipal water supply system to the site. Where the work area exceeds 50 percent of floor area, sprinklers shall be provided for the entire floor.

804.1.2  Rubbish and linen chutes.  Change to read as shown.

804.1.2 Rubbish and linen chutes. Rubbish and linen chutes located in the work area shall be provided with sprinklered protection or an approved fire suppression system

where protection of the rubbish and linen chute would be required under the provisions of the Florida Building Code, Building for new construction.

804.2  Fire alarm and detection systems.  Change to read as shown.

804.2  Fire alarm and detection systems. Fire alarm and detection systems shall comply with the appropriate sections of the Florida Fire Prevention Code.

Section 804.2.1 Manual fire alarm systems. 	Delete text and change to reads as shown.

804.2.1 Manual fire alarm systems.  Reserved

Section 804.2.2 Automatic Fire Detection. 	Delete text and change to reads as shown.

804.2.2 Automatic Fire Detection.  Reserved

Section 805. Means of Egress

805.1  General.  Change to read as shown.

805.1  General. The means of egress shall comply with the requirements of Section 705 except as modified in Sections 805.2 and 805.3.

805.2  Means of egress lighting.  Change to read as shown.

805.2  Means of egress lighting. Means of egress from the highest work area floor to the floor of exit discharge shall be provided with artificial lighting within the exit enclosure in accordance with the requirements of the Florida Building Code, Building.

805.3  Exit signs.  Change to read as shown.

805.3  Exit signs. Means of egress from the highest work area floor to the floor of exit discharge shall be provided with exit signs in accordance with the requirements of the Florida Building Code, Building.

Section 806, Accessibility

806.1  General.  Change to read as shown.

806.1  General. A building, facility, or element that is altered shall comply with Chapter 11 of the Florida Building Code, Building.

Section 807, Structural

807.4 Structural alterations.  Revise to read as follows:

807.4 Structural alterations. All structural elements of the lateral-force-resisting system in buildings undergoing Level 3 structural alterations or buildings undergoing Level 2 alterations as triggered by Section 707.5 shall comply with this section.

Exceptions:

1. Buildings of Group R occupancy with no more than five dwelling or sleeping units used solely for residential purposes that are altered based on the conventional light-frame construction methods of the International Building Code Florida Building Code, Building  or in compliance with the provisions of the International Residential Code  Florida Building Code, Residential.

2. Where such alterations involve only the lowest story of a building and the change of occupancy provisions of Chapter 9 do not apply, only the lateral-force-resisting components in and below that story need comply with this section.

807.4.1 Evaluation and analysis.  Revise to read as follows:

807.4.1 Evaluation and analysis. An engineering evaluation and analysis that establishes the structural adequacy of the altered structure shall be prepared by a registered architect or engineer and submitted to the code official.

807.4.2 Substantial structural alteration.  Revise to read as follows:

807.4.2 Substantial structural alteration. Where more than 30 percent of the total floor and roof areas of the building or structure have been or are proposed to be involved in structural alteration within a 12-month period, the evaluation and analysis shall demonstrate that the altered building or structure complies with the Florida Building Code, for wind loading and with reduced International Building Code level seismic forces as specified in Section 101.5.4.2 for seismic loading. For seismic considerations, the analysis shall be based on one of the procedures specified in Section 101.5.4. The areas to be counted toward the 30 percent shall be those areas tributary to the vertical load-carrying components, such as joists, beams, columns, walls and other structural components that have been or will be removed, added or altered, as well as areas such as mezzanines, penthouses, roof structures and in-filled courts and shafts.

807.4.3 Limited structural alteration.  Revise to read ad follows:

807.4.3 Limited structural alteration. Where not more than 30 percent of the total floor and roof areas of the building are involved in structural alteration within a 12-month period, the evaluation and analysis shall demonstrate that the altered building or structure complies with the loads applicable at the time of the original construction or of the most recent substantial structural alteration as defined by Section 807.4.2. Any existing structural element whose seismic demand-capacity ratio with the alteration considered is more than 10 percent greater than its demand-capacity ratio with the alteration ignored shall in Section 101.5.4.2. comply with the reduced International Building Code level seismic forces as specified

Section 808, Energy Conservation

808.1  Minimum requirements.  Change to read as shown.

808.1  Minimum requirements. Alterations subject to this chapter shall comply with the requirements of Chapter 13 of the Florida Building Code, Building.

Chapter 9 Change of Occupancy

Section 901, General

901.2.  Change in occupancy with no change of occupancy classification.  Change to read as shown.

901.2.  Change in occupancy with no change of occupancy classification. A change in occupancy, as defined in Section 202, with no change of occupancy classification shall not be made to any structure that will subject the structure to any special provisions of the applicable Florida Building Code, including the provision of Sections 902 through 911, without the approval of the code official. A certificate of occupancy shall be issued where it has been determined that the requirements for the change in occupancy have been met.

901.4  Certificate of occupancy required.  Change to read as shown.

901.4  Certificate of occupancy required. A certificate of occupancy shall be issued where a change of occupancy occurs that results in being classified as a different occupancy classification as determined by the Florida Building Code, Building.

Section 902, Special Use and Occupancy

902.1  Compliance with the building code. Change to read as shown.

902.1  Compliance with the building code. Where the character or use of an existing building or part of an existing building is changed to one of the following special occupancy categories as defined in Chapter 4 of the Florida Building Code, Building, the building shall comply with all of the applicable requirements of the Florida Building Code, Building.

1. Covered mall buildings.

2. Atriums.

3. Motor vehicle related occupancies.

4. Aircraft related occupancies.

5. Motion picture projection rooms.

6. Stages and platforms.

7. Special amusement buildings.

8. Incidental use areas.

9. Hazardous materials.

902.2  Underground buildings.  Change to read as shown.

902.2  Underground buildings. An underground building in which there is a change of use shall comply with the requirements of the Florida Building Code, Building applicable to underground structures.

Section 906, Accessibility

906.1  General. Accessibility in portions of buildings undergoing a change of occupancy classification shall comply with Chapter 11 of the Florida Building Code, Building.

Section 907, Structural

907.1  Gravity loads.  Change to read as shown.

907.1  Gravity loads. Buildings or portions thereof subject to a change of occupancy where such change in the nature of occupancy results in higher uniform or concentrated loads based on the Florida Building Code, Building Tables 1607.1 and 1607.6 (high-velocity hurricane zones shall comply with Table 1615.2) shall comply with the gravity load provisions of the Florida Building Code, Building.

Exception: Structural elements whose stress is not increased by more than 5 percent.

907.2  Wind loads.  Change to read as shown.

907.2  Wind loads. Buildings and structures subject to a change of occupancy where such change in the nature of occupancy results in higher wind importance factors based on the Florida Building Code, Building Table 1604.5, (high -velocity hurricane zones shall comply with Table 1615.2) shall be analyzed and shall comply with the applicable wind load provisions of the Florida Building Code, Building.

Exception: Where the new occupancy with a higher importance factor is less than or equal to 10 percent of the total building floor area. The cumulative effect of the area of occupancy changes shall be considered for the purposes of this exception.

907.3 Seismic loads. 		Delete text and change to reads as shown.

907.3 Seismic loads.  Reserved.

Section 908, Electrical

908.1  Special occupancies.  Change to read as shown.

908.1  Special occupancies. Where the occupancy of an existing building or part of an existing building is changed to one of the following special occupancies as described in Chapter 27 of the Florida Building Code, Building, the electrical wiring and equipment of the building or portion thereof that contains the proposed occupancy shall comply with the applicable requirements of Chapter 27 of the Florida Building Code, Building whether or not a change of occupancy group is involved:

1. Hazardous locations.

2. Commercial garages, repair, and storage.

3. Aircraft hangars.

4. Gasoline dispensing and service stations.

5. Bulk storage plants.

6. Spray application, dipping, and coating processes.

7. Health care facilities.

8. Places of assembly.

9. Theaters, audience areas of motion picture and television studios, and similar locations.

10. Motion picture and television studios and similar locations.

11. Motion picture projectors.

908.2  Unsafe conditions.  Change to read as shown.

908.2  Unsafe conditions. Where the occupancy of an existing building or part of an existing building is changed, all unsafe conditions shall be corrected without requiring that all parts of the electrical system be brought up to the current edition of Chapter 27 of the Florida Building Code, Building.

908.3  Service upgrade.  Change to read as shown.

908.3  Service upgrade. Where the occupancy of an existing building or part of an existing building is changed, the electrical service shall be upgraded to meet the requirements of Chapter 27 of the Florida Building Code, Building, for the new occupancy.

908.4  Number of electrical outlets.  Change to read as shown.

908.4  Number of electrical outlets. Where the occupancy of an existing building or part of an existing building is changed, the number of electrical outlets shall comply with Chapter 27 of the Florida Building Code, Building for the new occupancy.

Section 909, Mechanical

909.1  Mechanical requirements. Where the occupancy of an existing building or part of an existing building is changed such that the new occupancy is subject to different kitchen exhaust requirements or to increased mechanical ventilation requirements in accordance with the Florida Building Code, Mechanical, the intent of the respective Florida Building Code, Mechanical provisions shall be complied with for the new occupancy.

Section 910, Plumbing

910.1  Increased demand.  Change to read as shown.

910.1  Increased demand. Where the occupancy of an existing building or part of an existing building is changed such that the new occupancy is subject to increased or different plumbing fixture requirements or to increased water supply requirements in accordance with the Florida Building Code Plumbing, the intent of the respective Florida Building Code, Plumbing provisions shall be complied with for the new occupancy.

910.2 Food handling occupancies.  	Delete text and change to reads as shown.

910.2 Food handling occupancies. Reserved.

910.3  Interceptor required.  Change to read as shown.

910.3  Interceptor required. If the new occupancy will produce grease or oil-laden wastes, interceptors shall be provided as required in the Florida Building Code, Plumbing.

910.5  Group I-2.  Change to read as shown.

910.5  Group I-2. If the occupancy group is changed to Group I-2, the plumbing system shall comply with the applicable requirements of the Florida Building Code, Plumbing.

Section 911, Other Requirements

911.1 Light and ventilation. 	Delete text and change to reads as shown.

911.1 Light and ventilation.

911.1.1 Light and ventilation. 	Change to read as shown.

911.1.1 Light and ventilation.  Light and ventilation shall comply with the requirements of the Florida Building Code, Building for the new occupancy.

Section 912 Change of Occupancy and Classification

912.1.1  Change of occupancy group without separation.  Change to read as shown.

912.1.1.1 Change of occupancy classification without separation. Where a portion of an existing building is changed to a new occupancy classification and that portion is not separated from the remainder of the building with fire-rated wall/ceiling having a fire-resistance rating as required in the Florida Building Code for the separate occupancy, the entire building shall comply with all of the requirements of Chapter 8 applied throughout the building for the most restrictive occupancy classification in the building and with the requirements of this chapter.

912.1.2  Change of occupancy group with separation.  Change to read as shown.

912.1.1.2 Change of occupancy classification with separation. Where a portion of an existing building that is changed to a new occupancy classification and that portion is separated from the remainder of the building with fire barriers having a fire-resistance rating as required in the Florida Building Code for the separate occupancy, that portion shall comply with all the requirements of Chapter 8 for the new occupancy classification and with the requirements of this chapter.

912.4.1  Means of egress for change to higher hazard category.  Change to read as shown.

912.4.1  Means of egress for change to higher hazard category. When a change of occupancy group is made to a higher hazard category (lower number) as shown in Table 912.4, the means of egress shall comply with the requirements of Chapter 10 of the Florida Building Code, Building.

Exceptions:

1.	Stairways shall be enclosed in compliance with the applicable provisions of Section 803.1.

2.	Existing stairways including handrails and guards complying with the requirements of Chapter 8 shall be permitted for continued use subject to approval of the code official.

3.	Any stairway replacing an existing stairway within a space where, because of existing construction, the pitch or slope cannot be reduced, shall be permitted for continued use subject to approval of the building code official.

4. Where an existing corridor is required to be fire rated, equivalency can be achieved by either sprinklering the building or using equivalency as per NFPA 914 or Chapter 7 of the Florida Building Code, Building for fire resistance. Also, see Section 1001.2 of the Florida Building Code, Building.

5.	Existing corridor doorways, transoms, and other corridor openings shall comply with the requirements in Sections 705.5.1, 705.5.2, and 705.5.3.

6.	Existing dead-end corridors shall comply with the requirements in Section 705.6.

7.	Where emergency escape and rescue openings are required, an existing operable window with clear opening area no less than 4 square feet (0.38 m2) and with minimum opening height and width of 22 inches (559 mm) and 20 inches (508 mm), respectively, with maximum sill height at 44 inches (1118 mm) above the floor or approved permanent elevated area, shall be accepted as an emergency escape and rescue opening.

912.4.2 Means of egress for change of use to equal or lower hazard category.  Change to read as shown.

912.4.2 Means of egress for change of use to equal or lower hazard category. When a change of occupancy classification is made to an equal or lesser hazard category (higher number) as shown in Table 912.4, existing elements of the means of egress shall comply with the requirements of Section 805 for the new occupancy classification. Newly constructed or configured means of egress shall comply with the requirements of Chapter 10 of the Florida Building Code, Building.

Exception: Any stairway replacing an existing stairway within a space where the pitch or slope cannot be reduced because of existing construction shall be permitted for continued use subject to approval of the building code official. Also, see Section 1001.4 of the Florida Building Code, Building.

Table 912.5 Heights and Areas Hazard Categories.  Change to read as shown.

TABLE 912.5

HEIGHTS AND AREAS HAZARD CATEGORIES

| RELATIVE HAZARD | OCCUPANCY CLASSIFICATIONS |
| --- | --- |
| 1 (Highest Hazard) | H |
| 2 | A-1, A-2, A-3, A-4, I, R-1, R-2, R-4 |
| 3 | E, F-1, S-1, M, D |
| 4 (Lowest Hazard) | B, F-2, S-2, A-5, R-3, U |

912.5.1  Height and area for change to higher hazard category.  Change to read as shown.

912.5.1 Height and area for change to higher hazard category.  When a change of occupancy classification is made to a higher hazard category as shown in Table 912.5, heights and areas of buildings and structures shall comply with the requirements of Chapter 5 of the Florida Building Code for the new occupancy classification.

912.5.3  Fire-rated wall/ceiling.  Change to read as shown.

912.5.3  Fire-rated wall/ceiling. When a change of occupancy group is made to a higher hazard category as shown in Table 912.5, a fire-rated wall/ceiling in separated mixed-use buildings shall comply with the fire-resistance requirements of the Florida Building Code, Building.

Exception: Where the fire-rated wall/ceiling are required to have a 1-hour fire-resistance rating, existing wood lath and plaster in good condition or existing ½-inch-thick (12.7 mm) gypsum wallboard shall be permitted.

Table 912.6 Exposure of Exterior Walls Hazard Categories.  Change to read as shown.

TABLE 912.6

EXPOSURE OF EXTERIOR WALLS HAZARD CATEGORIES

| RELATIVE HAZARD | OCCUPANCY CLASSIFICATION |
| --- | --- |
| 1 (Highest Hazard) | H |
| 2 | F-1, M, S-1 |
| 3 | A, B, E, I, R, D |
| 4 (Lowest Hazard) | F-2, S-2, U |

912.6.1  Exterior wall rating for change of occupancy classification to a higher hazard category.  Change to read as shown.

912.6.1  Exterior wall rating for change of occupancy classification to a higher hazard category. When a change of occupancy group is made to a higher hazard category as shown in Table 912.6, exterior walls shall have fire resistance and exterior opening protectives as required by the Florida Building Code, Building.

Exception: A 2-hour fire-resistance rating shall be allowed where the building does not exceed three stories in height and is classified as one of the following groups:

A-2 and A-3 with an occupant load of less than 300, B, F, M, or S.

912.6.3  Opening protectives.  Change to read as shown.

    - Opening protectives. Openings in exterior walls shall be protected as required by the Florida Building Code, Building. Where openings in the exterior walls are required to be protected because of their distance from the property line, the sum of the area of such openings shall not exceed 50 percent of the total area of the wall in each story.

Exceptions:

1.	Where the Florida Building Code, Building permits openings in excess of 50 percent.

[The remainder of text remains unchanged.]

912.7.1  Minimum requirements.  Change to read as shown.

912.7.1  Minimum requirements. Vertical shafts shall be designed to meet the Florida Building Code, Building requirements for atriums or the requirements of this section.

912.7.2  Stairways.  Change to read as shown.

912.7.1  Stairways. When a change of occupancy classification is made to a higher hazard category as shown in Table 912.4, interior stairways shall be enclosed as required by the Florida Building Code, Building.

Exceptions:

1.             In other than Group I occupancies, an enclosure shall not be required for openings serving only one adjacent floor and that are not connected with corridors or stairways serving other floors.

- Unenclosed existing stairways need not be enclosed in a continuous vertical shaft if each story is separated from other stories by 1-hour fire-resistance-rated construction or approved wired glass set in steel frames and all exit corridors are sprinklered. An opening between the corridor and the occupant space shall have at least one sprinkler head above the openings on the tenant side. The sprinkler system shall be permitted to be supplied from the domestic water-supply systems, provided the system is of adequate pressure, capacity, and sizing for the combined domestic and sprinkler requirements.

3.  Existing penetrations of stairway enclosures shall be accepted if they are protected in accordance with the Florida Building Code, Building.

912.7.3  Other vertical shafts.  Change to read as shown.

912.7.3  Other vertical shafts. Interior vertical shafts other than stairways, including but not limited to elevator hoistways and service and utility shafts, shall be enclosed as required by the Florida Building Code, Building when there is a change of use to a higher hazard category as specified in Table 912.4.

Exceptions:

1.	Existing 1-hour interior shaft enclosures shall be accepted where a higher rating is required.

2.	Vertical openings, other than stairways, in buildings of other than Group I occupancy shall comply with the appropriate sections of the Florida Fire Prevention Code.

912.8  Accessibility.  Change to read as shown.

912.8  Accessibility. Existing buildings or portions thereof that undergo a change of group or occupancy classification shall comply with Chapter 11 of the Florida Building Code, Building.

Section 913 is added to read as follows:

913 Energy Conservation.  See Chapter 13 of the Florida Building Code, Building.

Chapter 10, Additions

Section 1001, General

1001.3  Other work.  Change to read as shown.

1001.3  Other work. Any repair or alteration work within an existing building to which an addition is being made shall comply with the applicable requirements of the appropriate chapter of this code for the level of rehabilitation undertaken.

Section 1002, Heights and Areas

1002.1  Height limitations.  Change to read as shown.

1002.1  Height limitations. No addition shall increase the height of an existing building beyond that permitted under the applicable provisions of Chapter 5 of the Florida Building Code, Building for new buildings

1002.2  Area limitations.  Change to read as shown.

1002.2  Area limitations. No addition shall increase the area of an existing building beyond that permitted under the applicable provisions of Chapter 5 of the Florida Building Code, Building for new buildings unless fire separation as required by the Florida Building Code, Building is provided.

Exception: In-filling of floor openings and nonoccupiable appendages such as elevator and exit stair shafts shall be permitted beyond that permitted by the Florida Building Code, Building.

Section 1002.3 Fire protection systems.  Change to add exception to read as shown.

  - Fire protection systems.  Existing allowable areas increased by the addition shall comply with Chapter 9 of the Florida Building Code, Building.

Exception:  If an existing warehouse is expanded, the addition must comply with the requirements in Chapter 9 of the Florida Building Code, Building; however, the existing warehouse need not be updated to meet those requirements so long as it is in compliance with the Florida Building Code, 2001 edition, and with requirements concerning automatic sprinkler systems in Section 903 of the Florida Building Code, Building.

Section 1003, Structural

1003.1  Compliance with the International Building Code.  Change to read as shown.

1003.1  Compliance with the Florida Building Code. Additions to existing buildings or structures are new construction and shall comply with the Florida Building Code, Building.

1003.2  Additional gravity loads.  Change to read as shown.

1003.2  Additional gravity loads. Existing structural elements supporting any additional gravity loads as a result of additions shall comply with the Florida Building Code, Building.

Exceptions:

1.	Structural elements whose stress is not increased by more than 5 percent.

2.	Buildings of Group R occupancy with no more than five dwelling units or sleeping units used solely for residential purposes where the existing building and the addition comply with the conventional light-frame construction methods as defined in Chapter 2.

1003.3  Lateral-force-resisting system.  Change to read as shown.  Overlap exists and needs resolution.

1003.3 Lateral-force-resisting system. The lateral-force-resisting system of existing buildings to which additions are made shall comply with Sections 1003.3.1, 1003.3.2 and 1003.3.3.

Exceptions:

1. Buildings of Group R occupancy with no more than five dwelling or sleeping units used solely for residential purposes where the existing building and the addition comply with the conventional light-frame construction methods of the Florida Building Code or the provisions of the Florida Building Code, Residential.

2. In other existing buildings where the lateral-force story shear in any story is not increased by more than 10 percent cumulative.

1003.3.1  Vertical addition.  Change to read as shown.

1003.3.1 Vertical addition. Any element of the lateral-force-resisting system of an existing building subjected to an increase in vertical or lateral loads from the vertical

addition shall comply with the Florida Building Code, Building wind provisions. and the International Building Code level seismic forces specified in Section 101.5.4.1 of this code.

1003.3.2  Horizontal addition.  Change to read as shown.

1003.3.2 Horizontal addition. Where horizontal additions are structurally connected to an existing structure, all lateral-force-resisting elements of the existing structure

affected by such addition shall comply with the Florida Building Code, Building

wind provisions and the International Building Code level seismic forces specified in Section

101.5.4.1 of this code.

1003.4  Snow drift loads.  	Delete text and change to reads as shown.

1003.4  Snow drift loads.  Reserved.

Section 1004, Smoke Alarms in Occupancy Groups R-3 and R-4

1004.1  Smoke alarms in existing portions of a building.  Change to read as shown.

1004.1  Smoke alarms in existing portions of a building. Whenever an addition is made to a building or structure of a Group R-3 or R-4 occupancy, the existing building shall be provided with smoke alarms as required by the Florida Building Code, Building or the Florida Building Code, Residential as applicable. The smoke alarms in the existing building are not required to be interconnected with smoke alarms in other portions of the base building.

Section 1005, Accessibility

1005.1  Minimum requirements.  Change to read as shown.

1005.1  Minimum requirements. Accessibility provisions for new construction shall apply to additions. An addition that affects the accessibility to, or contains an area of, primary function shall comply with the requirements in Chapter 11 of the Florida Building Code, Building.

1006, Energy Conservation. Add to read as follows:

1006.1  Minimum requirements.  Change to read as shown.

1006.1  Minimum requirements. Additions to existing buildings or structures shall comply with the requirements of Chapter 13 of the Florida Building Code, Building.

Chapter 11 Historic Buildings

[Note: for text of this Chapter see the 2007 Florida Building Code, Building available on-line from www.Floridabuilding.org]

Chapter 12, Relocated or Moved Buildings

Section 1201, General

1201.2  Conformance.  Change to read as shown.

1201.2  Conformance. The building shall be safe for human occupancy as determined by the Florida Fire Prevention Code and the Florida Building Code, Building. Any repair, alteration, or change of occupancy undertaken within the moved structure shall comply with the requirements of this code applicable to the work being performed. Any field-fabricated elements shall comply with the requirements of the Florida Building Code, Building.

Section 1202 Requirements  Change to read as shown.

Section 1202 Requirements

1202.0  Change to read as shown.

1202.0 Residential buildings or structures moved into or within a county or municipality shall not be required to be brought into compliance with the state minimum building code in force at the time the building or structure is moved, provided:

1.	The building or structure is structurally sound and in occupiable condition for its intended use;

2.	The occupancy use classification for the building or structure is not changed as a result of the move;

3.	The building is not substantially remodeled;

4.	Current fire code requirements for ingress and egress are met;

5.	Electrical, gas and plumbing systems meet the code in force at the time of construction and are operational and safe for reconnection; and

6.	Foundation plans are sealed by a professional engineer or architect licensed to practice in this state, if required by the Florida Building Code, Building for all residential buildings or structures of the same occupancy class.

7.	Moving of buildings shall be in accordance with the Florida Building Code, Building.

1202.1  Location on the lot.  Change to read as shown.

1202.1  Location on the lot. The building shall be located on the lot in accordance with the requirements of the Florida Building Code, Building.

1202.2  Foundation.  Change to read as shown.

1202.2  Foundation. The foundation system of relocated buildings shall comply with the Florida Building Code, Building or the Florida Building Code, Residential as applicable.

1202.2.1  Historic buildings.  Change to read as shown.

1202.2.1  Historic buildings. Foundations of relocated historic buildings and structures shall comply with the Florida Building Code, Building. Relocated historic buildings shall otherwise be considered historic buildings for the purpose of this code. Relocated historic buildings and structures shall be so sited that exterior wall and opening requirements comply with the Florida Building Code, Building or the compliance alternatives of this code.

1202.2.2  Connection to the foundation.  Change to read as shown.

1202.2.2  Connection to the foundation. The connection of the relocated building to the foundation shall comply with the Florida Building Code, Building.

1202.3  Wind loads.  Change to read as shown.

1202.3  Wind loads. Buildings shall comply with the Florida Building Code, Building.

Exceptions:

1.	Structural elements whose stress is not increased by more than 5 percent.

2.	Manufactured buildings as approved by the Manufactured Buildings Program, Florida Department of Community Affairs.

1202.4 Seismic loads.  	Delete text and change to reads as shown.

1202.4 Seismic loads. Reserved.

1202.5  Snow loads.  	Delete text and change to reads as shown.

1202.5  Snow loads.  Reserved.

Chapter 13, Performance Compliance Methods

Section 1301, General

1301.2  Applicability.  Change to read as shown.

1301.2  Applicability. Existing structures shall be made to conform to the requirements of this chapter or the provisions of Chapters 4 through 10.  The provisions of Sections 1301.2.1 through 1301.2.5 shall apply to existing occupancies that will continue to be, or are proposed to be, in Groups A, B, E, F, M, R, and S. These provisions shall not apply to buildings with occupancies in Group H or Group I.

1301.2.2  Partial change in occupancy.  Change to read as shown.

[B] 1301.2.2 Partial change in occupancy. Where a portion of the building is changed to a new occupancy classification and that portion is separated from the remainder of

the building with fire barrier wall assemblies having a fire-resistance rating as required by Table 508.4 of the Florida Building Code, Building or Section R317 of the Florida Building Code, Building for the separate occupancies, or with approved compliance alternatives, the portion changed shall be made to conform to the provisions of this section.

Where a portion of the building is changed to a new occupancy classification and that portion is not separated from the remainder of the building with fire separation assemblies having a fire-resistance rating as required by Table 508.4 of the Florida Building Code, Building or Section R317 of the Florida Building Code, Residential for the separate occupancies, or with approved compliance alternatives, the provisions of this section which apply to each occupancy shall apply to the entire building. Where there are conflicting provisions, those requirements which secure the greater public safety shall apply to the entire building or structure.

1301.2.3  Additions.  Change to read as shown.

1301.2.3  Additions. Additions to existing buildings shall comply with the requirements of the Florida Building Code, Building; Florida Building Code, Residential; and this code for new construction. The combined height and area of the existing building and the new addition shall not exceed the height and area allowed by Chapter 5 of the Florida Building Code, Building. Where a fire wall that complies with Section 706 and Chapter 2 of the Florida Building Code, Building is provided between the addition and the existing building, the addition shall be considered a separate building.

1301.2.4  Alterations and repairs.  Change to read as shown.

1301.2.4  Alterations and repairs. An existing building or portion thereof that does not comply with the requirements of this code for new construction shall not be altered or repaired in such a manner that results in the building being less safe or sanitary than such building is currently. If, in the alteration or repair, the current level of safety or sanitation is to be reduced, the portion altered or repaired shall conform to the requirements of Chapters 2 through 36 of the Florida Building Code, Building.

1301.2.5  Accessibility requirements.  Change to read as shown.

1301.2.5  Accessibility requirements. All portions of the buildings proposed for change of occupancy shall conform to the accessibility provisions of Chapter 11 of the Florida Building Code, Building.

1301.3.1  Hazards.  	Delete text and change to reads as shown.

1301.3.1  Hazards. Reserved.

1301.3.2  Compliance with other codes.  Change to read as shown.

1301.3.2  Compliance with other codes. Buildings that are evaluated in accordance with this section shall comply with the Florida Fire Prevention Code.

1301.4  Investigation and evaluation.  Change to read as shown.

1301.4  Investigation and evaluation. For proposed work covered by this chapter, the building owner shall cause the existing building to be investigated and evaluated by a registered architect or engineer in accordance with the provisions of Sections 1301.4 through 1301.9. Historic buildings shall be investigated and evaluated in accordance with Chapter 11.

1301.4.1 Structural analysis.  Revise to read as follows:

1301.4.1 Structural analysis. The owner shall have a structural analysis of the existing building made by a registered architect or engineer to determine adequacy of structural systems for the proposed alteration, addition or change of occupancy. The analysis shall demonstrate that the building with the work completed is capable of resisting the loads specified in Chapter 16 of the Florida Building Code, Building.

1301.6.1  Building height.  Change to read as shown.

1301.6.1  Building height. The value for building height shall be the lesser value determined by the formula in Section 1301.6.1.1. Chapter 5 of the Florida Building Code, Building, shall be used to determine the allowable height of the building, including allowable increases due to automatic sprinklers in Section 504.2. Subtract the actual building height from the allowable height and divide by 12½ feet (3810 mm). Enter the height value and its sign (positive or negative) in Table 1301.7 under Safety Parameter 1301.6.1, Building Height, for fire safety, means of egress, and general safety. The maximum score for a building shall be 10.

1301.6.1.1  Height formula.  Change to read as shown.

1301.6.1.1  Height formula. The following formulas shall be used in computing the building height value.

Height value, feet = (AH) - (EBH)   x CF

12.5

Height value, stories = (AS - EBS)  x CF    	(Equation 13-1)

where:

AH =    Allowable height in feet (mm) from Table 503 of the Florida Building Code, Building.

EBH = Existing building height in feet (mm).

AS =    Allowable height in stories from Table 503 of the Florida Building Code, Building.

EBS = Existing building height in stories.

CF =    1 if (AH) - (EBH) is positive.

CF =    Construction type factor shown in Table 1301.6.6(2) if (AH) - (EBH) is negative.

Note:  Where mixed occupancies are separated and individually evaluated as indicated in Section 1301.6, the values AH, AS, EBH, and EBS shall be based on the height of the occupancy being evaluated.

[B] 1301.6.2 Building area. The value for building area shall be determined by the formula in Section 1301.6.2.2. Section 503 of the Florida Building Code, Building  and the formula in Section 1301.6.2.1 shall be used to determine the allowable area of the building. This shall include any allowable increases due to frontage and automatic sprinklers as provided for in Section 506 of the Florida Building Code, Building . Subtract the actual building area from the allowable area and divide by 1,200 square feet (112m2). Enter the area value and its sign (positive or negative) in Table 1301.7 under Safety Parameter 1301.6.2, Building Area, for fire safety, means of egress and general safety. In determining the area value, the maximum permitted positive value for area is 50 percent of the fire safety score as listed in Table 1301.8, Mandatory Safety Scores.

1301.6.2.1  Allowable area formula.  Change to read as shown.

1301.6.2.1  Allowable area formula. The following formula shall be used in computing allowable area:

Aa = (100 + If +  Is) x  At             (Equation 13-2)

100

Amax. = 3 × Aa , as calculated in accordance with Section 506.4 of the Florida Building Code, Building.    	(Equation 13-3)

where:

Aa	=	Allowable area per floor.

Is	=	Area increase due to sprinkler protection, percent as calculated in accordance with Section 506.3 of the Florida Building Code, Building.

If	=	Area increase due to frontage, percent as calculated in accordance with Section 506.2 of the Florida Building Code, Building.

At	=	Tabular area per floor in accordance with Table 503 of the Florida Building Code, Building, square feet (m2).

Amax	=	Total area of the entire building.

Aa, max. = 	Allowable area per floor based on the limitations of Section 506.4 of the Florida Building Code, Building.

1301.6.3.1  Wall construction.  Change to read as shown.

1301.6.3.1  Wall construction. A wall used to create separate compartments shall be a fire barrier conforming to Section 707 of the Florida Building Code, Building with a fire- resistance rating of not less than 2 hours. Where the building is not divided into more than one compartment, the compartment size shall be taken as the total floor area on all floors. Where there is more than one compartment within a story, each compartmented area on such story shall be provided with a horizontal exit conforming to Section 1025 of the Florida Building Code, Building. The fire door serving as the horizontal exit between compartments shall be so installed, fitted, and gasketed that such fire door will provide a substantial barrier to the passage of smoke.

Table 1301.6.3, Compartmentation Values.  Change to read as shown.

TABLE 1301.6.3

COMPARTMENTATION VALUES

| OCCUPANCY | CATEGORIES |
| --- | --- |
|  | a Compartment size equal to or greater than 15,000 square feet | b Compartment size of 10,000 square feet | c Compartment size of 7,500 square feet | d Compartment size of 5,000 square feet | e Compartment size of 2,500 square feet or less |
| A-1, A-3 | 0 | 6 | 10 | 14 | 18 |
| A-2 | 0 | 4 | 10 | 14 | 18 |
| A-4, B, E, S-2, D | 4 | 5 | 10 | 15 | 20 |
| F, M, R, S-1 | 0 | 4 | 10 | 16 | 22 |

For SI: 1 square foot = 0.0929 m2.

Table 1301.6.4 Separation Values.  Change to read as shown.

| TABLE 1301.6.4 SEPARATION VALUES |
| --- |
| OCCUPANCY | CATEGORIES |
|  | a | b | c | d | e |
| A-1 | 0 | 0 | 0 | 0 | 1 |
| A-2 | -5 | -3 | 0 | 1 | 3 |
| R | -4 | -2 | 0 | 2 | 4 |
| A-3, A-4, B, E, F, M, S-1, D | -4 | -3 | 0 | 2 | 4 |
| S-2 | -5 | -2 | 0 | 2 | 4 |

1301.6.4.1  Categories.  Change to read as shown.

[B] 1301.6.4.1 Categories. The categories for tenant and dwelling unit separations are:

1. Category a—No fire partitions; incomplete fire partitions; no doors; doors not self-closing or automatic closing.

2. Category b—Fire partitions or floor assembly less than 1-hour fire-resistance rating or not constructed in accordance with Section 709 or 712 of the Florida Building Code, Building,  respectively.

3. Category c—Fire partitions with 1-hour or greater fire-resistance rating constructed in accordance with Section 709 of the International Building Code and floor assemblies with 1-hour but less than 2-hour fire-resistance rating constructed in accordance with Section 712 of the Florida Building Code, Building, or with only one tenant within the fire area.

4. Category d—Fire barriers with 1-hour but less than 2-hour fire-resistance rating constructed in accordance with Section 707 of the Florida Building Code, Building, and floor assemblies with 2-hour or greater fire-resistance rating constructed in accor- dance with Section 712 of the Florida Building Code, Building,.

5. Category e—Fire barriers and floor assemblies with 2-hour or greater fire-resistance rating and constructed in accordance with Sections 707 and 712 of the Florida Building Code, Building,, respectively.

1301.6.5  Corridor walls.  Change to read as shown.

1301.6.5  Corridor walls. Evaluate the fire-resistance rating and degree of completeness of walls which create corridors serving the floor and that are constructed in accordance with Sections 302.3.2, 1008, 1016 and Table 1004.3.2.1 and 1016.1 of the Florida Building Code, Building. This evaluation shall not include the wall elements considered under Sections 1301.6.3 and 1301.6.4. Under the categories and groups in Table 1301.6.5, determine the appropriate value and enter that value into Table 1301.7 under Safety Parameter 1301.6.5, Corridor Walls, for fire safety, means of egress, and general safety.

Table 1301.6.5 Corridor Wall Values.  Change to read as shown.

| TABLE 1301.6.5 CORRIDOR WALL VALUES |
| --- |
| OCCUPANCY | CATEGORIES |
|  | a | b | ca | da |
| A-1 | -10 | -4 | 0 | 2 |
| A-2 | -30 | -12 | 0 | 2 |
| A-3, F, M, R, S-1, D | -7 | -3 | 0 | 2 |
| A-4, B, E, S-2 | -5 | -2 | 0 | 5 |
| a. Corridors not providing at least one-half the travel distance for all occupants on a floor shall use Category b. |

1301.6.5.1  Categories.  Change to read as shown.

1301.6.5.1  Categories. The categories for corridor walls are:

1.	Category a–No fire partitions; incomplete fire partitions; no doors; or doors not self-closing.

2.	Category b–Less than 1-hour fire-resistance rating or not constructed in accordance with Section 708.4 of the Florida Building Code, Building.

3.	Category c–1-hour to less than 2-hour fire-resistance rating, with doors conforming to Section 715 of the Florida Building Code, Building or without corridors as permitted by Section 1013 of the Florida Building Code, Building.

4.	Category d–2-hour or greater fire-resistance rating, with doors conforming to Section 715 of the Florida Building Code, Building.

1301.6.6  Vertical openings.  Change to read as shown.

[B] 1301.6.6 Vertical openings. Evaluate the fire-resistance rating of exit enclosures, hoistways, escalator openings, and other shaft enclosures within the building, and

openings between two or more floors. Table 1301.6.6(1) contains the appropriate protection values. Multiply that value by the construction type factor found in Table

1301.6.6(2). Enter the vertical opening value and its sign (positive or negative) in Table 1301.7 under Safety Parameter 1301.6.6, Vertical Openings, for fire safety, means of

egress, and general safety. If the structure is a one-story building or if all the unenclosed vertical openings within the building conform to the requirements of Section 708 of the

Florida Building Code, Building , enter a value of 2. The maximum positive value for this requirement shall be 2.

Table 1301.6.6(2) Type of Construction.  Change to read as shown.

TABLE 1301.6.6(2)

TYPE OF CONSTRUCTION

| Type | I-A | I-B | II-A | II-B | III-A | III-B | IV | V-A | V-B |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sprink | Un | S | Un | S | Un | S | Un | S | Un | S | Un | S | Un | S | Un | S | Un | S |
| Factor | 1.2 | 1.1 | 2.2 | 1.6 | 2.2 | 2.2 | 2.3 | 2.2 | 3 | 3 | 3.2 | 3 | 2.3 | 1.7 | 3.3 | 3.3 | 7 | 3.3 |

S: sprinklered

Un: unsprinklered

1301.6.7.1 Categories.  Change to read as shown.

1301.6.7.1 Categories. The categories for HVAC systems are:

1.	Category a–Plenums not in accordance with Section 602 of the Florida Building Code, Mechanical. -10 points.

2.	Category b–Air movement in egress elements not in accordance with Section 1018.5 of the Florida Building Code, Building. -5 points.

3.	Category c–Both Categories a and b are applicable. -15 points.

4.	Category d–Compliance of the HVAC system with Section 1016.4 of the Florida Building Code, Building and Section 602 of the Florida Building Code, Mechanical. 0 points.

5.	Category e–Systems serving one story; or a central boiler/chiller system without ductwork connecting two or more stories. +5 points.

1301.6.8  Automatic fire detection.  Change to read as shown.

1301.6.8  Automatic fire detection. Evaluate the smoke detection capability based on the location and operation of automatic fire detectors in accordance with Section 907 of the Florida Building Code, Building and Section 513 of the Florida Building Code, Mechanical. Under the categories and occupancies in Table 1301.6.8, determine the appropriate value and enter that value into Table 1301.7 under Safety Parameter 1301.6.8, Automatic Fire Detection, for fire safety, means of egress, and general safety.

Table 1301.6.8 Automatic Fire Detection Values.  Change to read as shown.

| TABLE 1301.6.8 AUTOMATIC FIRE DETECTION VALUES |
| --- |
| OCCUPANCY | CATEGORIES |
|  | a | b | c | d | e |
| A-1, A-3, F, M, R, S-1 | -10 | -5 | 0 | 2 | 6 |
| A-2 | -25 | -5 | 0 | 5 | 9 |
| A-4, B, E, S-2, D | -4 | -2 | 0 | 4 | 8 |

1301.6.8.1  Categories.  Change to read as shown.

[B] 1301.6.8.1 Categories. The categories for automatic fire detection are:

1. Category a—None.

2. Category b—Existing smoke detectors in HVAC systems and maintained in accordance with the Florida Fire Prevention Code.

3. Category c—Smoke detectors in HVAC systems. The detectors are installed in accordance with the requirements for new buildings in the Florida Building Code, Mechanical.

.4. Category d—Smoke detectors throughout all floor areas other than individual sleeping units, tenant spaces and dwelling units.

5. Category e—Smoke detectors installed throughout the fire area.

1301.6.9  Fire alarm systems.  Change to read as shown.

1301.6.9  Fire alarm systems. Evaluate the capability of the fire alarm system in accordance with Section 907 of the Florida Building Code, Building. Under the categories and occupancies in Table 1301.6.9, determine the appropriate value and enter that value into Table 1301.7 under Safety Parameter 1301.6.9, Fire Alarm System, for fire safety, means of egress, and general safety.

Table 1301.6.9 Fire Alarm System Values.  Change to read as shown.

| TABLE 1301.6.9 FIRE ALARM SYSTEM VALUES |
| --- |
| OCCUPANCY | CATEGORIES |
|  | a | bab | cb | db | eb |
| A-1, A-2, A-3, A-4, B, E, R, D | -10 | -5 | 0 | 3 | 5 |
| F, M, S | 0 | 5 | 10 | 12 | 15 |
| a. For buildings equipped throughout with an automatic sprinkler system, add 2 points for activation by a sprinkler water-flow device. |

b. For fire alarm systems meeting central station or remote station in accordance with NFPA 72, add 2 points.

1301.6.9.1  Categories.  Change to read as shown.

1301.6.9.1  Categories. The categories for fire alarm systems are:

1.	Category a–None.

2.	Category b–Fire alarm system with manual fire alarm boxes in accordance with Section 907.3 of the Florida Building Code, Building and alarm notification appliances in accordance with Section 907.5.2 of the Florida Building Code, Building.

3.	Category c–Fire alarm system in accordance with Section 907 of the Florida Building Code, Building.

4.	Category d - Fire alarm systems installed but not required in accordance with NFPA 72.

45.	Category e–Category c plus a required emergency voice/alarm communications system and a fire command station that conforms to Section 403.4.5 of the Florida Building Code, Building and contains the emergency voice/alarm communications system controls, fire department communication system controls, and any other controls specified in Section 911 of the Florida Building Code, Building where those systems are provided.

Table 1301.6.10 Smoke Control Values.  Change to read as shown.

| TABLE 1301.6.10 SMOKE CONTROL VALUES |
| --- |
| OCCUPANCY | CATEGORIES |
|  | a | b | c | d | e | f |
| A-1, A-2, A-3 | 0 | 1 | 2 | 3 | 6 | 6 |
| A-4, E, D | 0 | 0 | 0 | 1 | 3 | 5 |
| B, M, R | 0 | 2a | 3a | 3a | 3a | 4a |
| F, S | 0 | 2a | 2a | 3a | 3a | 3a |
| a. This value shall be 0 if compliance with Category d or e in Section 1201.6.8.1 has not been obtained. |

1301.6.10.1  Categories.  Change to read as shown.

[B] 1301.6.10.1 Categories. The categories for smoke control are:

1. Category a—None.

2. Category b—The building is equipped throughout with an automatic sprinkler system. Openings are provided in exterior walls at the rate of 20 square feet (1.86 m2) per 50 linear feet (15 240 mm) of exterior wall in each story and distributed around the building

perimeter at intervals not exceeding 50 feet (15 240 mm). Such openings shall be readily openable from the inside without a key or separate tool and shall be provided with ready access thereto. In lieu of operable openings, clearly and permanently marked tempered

glass panels shall be used.

3. Category c—One enclosed exit stairway, with ready access thereto, from each occupied floor of the building. The stairway has operable exterior windows, and the building has openings in accordance with Category b.

4. Category d—One smoke proof enclosure and the building has openings in accordance with Category b.

5. Category e—The building is equipped throughout with an automatic sprinkler system. Each floor area is provided with a mechanical air-handling system designed to accomplish smoke containment. Return and exhaust air shall be moved directly to the outside without recirculation to other floor areas of the building under floor conditions.

The system shall exhaust not less than six air changes per hour from the floor area. Supply air by mechanical means to the floor area is not required. Containment of smoke shall be considered as confining smoke to the floor area involved without migration to other floor areas. Any other tested and approved design that will adequately accomplish

smoke containment is permitted.

6. Category f—Each stairway shall be one of the following:

a smokeproof enclosure in accordance with Section 1022.9 of the Florida Building Code, Building; pressurized in accordance with Section 909.20.5 of the Florida Building Code, Building; or shall have operable exterior windows.

1301.6.1 Means-of-egress capacity and number.  Change to read as follows:

[B] 1301.6.11 Means-of-egress capacity and number.  Evaluate the means-of-egress capacity and the number of exits available to the building occupants. In applying this

section, the means of egress are required to conform to the following sections of the Florida Building Code, Building: 1003.7, 1004, 1005.1, 1014.2, 1014.3, 1015.2, 1021,

1025.1, 1027.2, 1027.6, 1028.2, 1028.3, 1028.4 and 1029. [except that the minimum width required by this section shall be determined solely by the width for the required

capacity in accordance with Table 1301.6.11(1)]. The number of exits credited is the number that is available to each occupant of the area being evaluated. Existing fire escapes shall be accepted as a component in the means of egress when conforming to Section 705.3.1.2. Under the categories and occupancies in Table 1301.6.11(2), determine the appropriate value and enter that value into Table 1301.7 under Safety Parameter 1301.6.11, Means-of-Egress Capacity, for means of egress and general safety.

1301.6.11.1  Categories.  Change to read as shown.

1301.6.11.1  Categories.  The categories for means-of-egress capacity and number of exits are:

1.	Category a–Compliance with the minimum required means-of-egress capacity or number of exits is achieved through the use of a fire escape in accordance with Section 305.

2.	Category b–Capacity of the means of egress complies with Section 1004 of the Florida Building Code, Building, and the number of exits complies with the minimum number required by Section 1021 of the Florida Building Code, Building.

3.	Category c–Capacity of the means of egress is equal to or exceeds 125 percent of the required means-of-egress capacity, the means of egress complies with the minimum required width dimensions specified in the Florida Building Code, Building, and the number of exits complies with the minimum number required by Section 1021 of the Florida Building Code, Building.

4.	Category d–The number of exits provided exceeds the number of exits required by Section 1021 of the Florida Building Code, Building. Exits shall be located a distance apart from each other equal to not less than that specified in Section 1015.2 of the Florida Building Code, Building.

5.	Category e–The area being evaluated meets both Categories c and d.

Table 1301.6.11(2) Means of Egress Values.  Change to read as shown.

| TABLE 1301.6.11 MEANS OF EGRESS VALUES |
| --- |
| OCCUPANCY | CATEGORIES |
|  | aa | b | c | d | e |
| A-1, A-2, A-3, A-4, E, D | -10 | 0 | 2 | 8 | 10 |
| M, B | -3 | 0 | 1 | 2 | 4 |
| F, S | -1 | 0 | 0 | 0 | 0 |
| R | -3 | 0 | 0 | 0 | 0 |
| a. The values indicated are for buildings six stories or less in height. For buildings over six stories in height, add an additional -10 points. |

Table 1301.6.12 Dead-End Values.  Change to read as shown.

| TABLE 1301.6.12 DEAD-END VALUES |
| --- |
| OCCUPANCY | CATEGORIESa |
|  | a | b | c |
| A-1, A-3, A-4, B, E, D, F, M, R, S | -2 | 0 | 2 |
| A-2, E | -2 | 0 | 2 |
| a. For dead-end distances between categories, the dead end value shall be obtained by linear interpolation. |

1301.6.12.1  Categories.  Change to read as shown.

1301.6.12.1  Categories. The categories for dead ends are:

1.	Category a – Dead end of 35 feet (10 670 mm) in nonsprinklered buildings or 70 feet (21 340 mm) in sprinklered buildings.

2.	Category b – Dead end of 20 feet (6096 mm); or 50 feet (15 240 mm) in Group B in accordance with Section 1018.4 of the Florida Building Code, Building.

3.	Category c – No dead ends; or ratio of length to width (l/w) is less than 2.5:1.

1301.6.13  Maximum exit access travel distance to an exit.  Change to read as shown.

1301.6.13  Maximum exit access travel distance to an exit.  Evaluate the length of exit access travel to an approved exit. Determine the appropriate points in accordance with the following equation and enter that value into Table 1301.7 under Safety Parameter 1301.6.13, Maximum Exit Access Travel Distance for means of egress and general safety. The maximum allowable exit access travel distance shall be determined in accordance with Section 1016.1 of the Florida Building Code, Building.

Points = 20 x Maximum allowable travel distance - Maximum actual travel distance

Maximum allowable travel distance	(Equation 13-6)

1301.6.14  Elevator control.  Change to read as shown.

1301.6.14  Elevator control. Evaluate the passenger elevator equipment and controls that are available to the fire department to reach all occupied floors. Elevator recall controls shall be provided in accordance with Chapter 30 of the Florida Building Code, Building. Under the categories and occupancies in Table 1301.6.14, determine the appropriate value and enter that value into Table 1301.7 under Safety Parameter 1301.6.14, Elevator Control, for fire safety, means of egress, and general safety. The values shall be zero for a single story building.

1301.6.14.1  Categories.  Change to read as shown.

1301.6.14.1  Categories. The categories for elevator controls are:

1.	Category a–No elevator.

2.	Category b–Any elevator without Phase I and II recall.

3.	Category c–All elevators with Phase I and II recall as required by the Florida Fire Prevention Code.

4.	Category d–All meet Category c; or Category b where permitted to be without recall; and at least one elevator that complies with new construction requirements serves all occupied floors

1301.6.15.1  Categories.  Change to read as shown.

1301.6.15.1  Categories. The categories for means-of-egress emergency lighting are:

1.	Category a–Means of egress lighting and exit signs not provided with emergency power in accordance with Section 1006 of the Florida Building Code, Building.

2.	Category b–Means of egress lighting and exit signs provided with emergency power in accordance with Section 1006 of the Florida Building Code, Building.

3.	Category c–Emergency power provided to means of egress lighting and exit signs, which provides protection in the event of power failure to the site or building.

1301.6.16.1  Categories.  Change to read as shown.

[B] 1301.6.16.1 Categories. The categories for mixed occupancies are:

1. Category a—Occupancies separated by minimum 1-hour fire barriers or minimum 1-hour horizontal assemblies, or both.

2. Category b—Separations between occupancies in accordance with Section 508.4 of the Florida Building Code, Building.

3. Category c—Separations between occupancies having a fire-resistance rating of not less than twice that required by Section 508.4 of the Florida Building Code, Building.

Table 1301.6.16 Mixed Occupancy Values.  Change to read as shown.

TABLE 1301.6.16

MIXED OCCUPANCY VALUESa

| OCCUPANCY | CATEGORIES |
| --- | --- |
|  | a | b | c |
| A-1, A-2, R | -10 | 0 | 10 |
| A-3, A-4, B, E, D, F, M, S | -5 | 0 | 5 |

a. For fire-resistance ratings between categories, the value shall be obtained by linear interpolation.

1301.6.17  Automatic sprinklers.  Change to read as shown.

1301.6.17  Automatic sprinklers. Evaluate the ability to suppress a fire based on the installation of an automatic sprinkler system in accordance with Section 903.3.1.1 of the Florida Building Code, Building. “Required sprinklers” shall be based on the requirements of this code. Under the categories and occupancies in Table 1301.6.17, determine the appropriate value and enter that value into Table 1301.7 under Safety Parameter 1301.6.17, Automatic Sprinklers, for fire safety, means of egress divided by 2, and general safety.  High-rise buildings defined in Section 403.1 of the Florida Building Code, Building that undergo a change of occupancy to Group R shall be equipped throughout with an automatic sprinkler system in accordance with Section 403.2 and Chapter 9 of the Florida Building Code, Building.

Table 1301.6.17 Standpipe System Values.  Change to read as shown.

TABLE 1301.6.17

STANDPIPE SYSTEM VALUES

| OCCUPANCY | CATEGORIES |
| --- | --- |
|  | aa | ba | c | d | e | f |
| A-1, A-3, F, M, R, S-1 | -6 | -3 | 0 | 2 | 4 | 6 |
| A-2 | -4 | -2 | 0 | 1 | 2 | 4 |
| A-4, B, E, D, S-2 | -12 | -6 | 0 | 3 | 6 | 12 |

a. These options cannot be taken if Category a in Section 1201.6.18 is used.

1301.6.17.1  Categories.  Change to read as shown.

1301.6.17.1  Categories. The categories for automatic sprinkler system protection are:

1.	Category a–Sprinklers are required through-out; sprinkler protection is not provided or the sprinkler system design is not adequate for the hazard protected in accordance with Section 903 of the Florida Building Code, Building.

2.	Category b–Sprinklers are required in a portion of the building; sprinkler protection is not provided or the sprinkler system design is not adequate for the hazard protected in accordance with Section 903 of the Florida Building Code, Building.

3.	Category c–Sprinklers are not required; none are provided.

4.	Category d–Sprinklers are required in a portion of the building; sprinklers are provided in such portion; the system is one that complied with the code at the time of installation and is maintained and supervised in accordance with Section 903 of the Florida Building Code, Building.

5.	Category e–Sprinklers are required throughout; sprinklers are provided throughout in accordance with Chapter 9 of the Florida Building Code, Building.

6.	Category f–Sprinklers are not required throughout; sprinklers are provided throughout in accordance with Chapter 9 of the Florida Building Code, Building.

1301.6.18  Standpipes.  Change to read as shown.

1301.6.18  Standpipes. Evaluate the ability to initiate attack on a fire by making supply of water available readily through the installation of standpipes in accordance with Section 905 of the Florida Building Code, Building. “Required Standpipes” shall be based on the requirements of the Florida Building Code, Building. Under the categories and occupancies in Table 1301.6.18, determine the appropriate value and enter that value into Table 1301.7 under Safety Parameter 1301.6.18, Stand-pipes, for fire safety, means of egress, and general safety.

Table 1301.6.18 Standpipe System Values.  Change to read as shown.

| TABLE 1301.6.18 STANDPIPE SYSTEM VALUES |
| --- |
| OCCUPANCY | CATEGORIES |
|  | aa | b | c | d |
| A-1, A-3, F, M, R, S-1 | -6 | 0 | 4 | 6 |
| A-2 | -4 | 0 | 2 | 4 |
| A-4, B, E, D, S-2 | -12 | 0 | 6 | 12 |
| a. This option cannot be taken if Category a or Category b in Section 1201.6.17 is used. |

1301.6.18.1  Categories.  Change to read as shown.

1301.6.18.1  Categories. The categories for standpipe systems are:

1.	Category a–Standpipes are required; standpipe is not provided or the standpipe system design is not in compliance with Section 905.3 of the Florida Building Code, Building.

2.	Category b–Standpipes are not required; none are provided.

3.	Category c–Standpipes are required; standpipes are provided in accordance with Section 905 of the Florida Building Code, Building.

4.	Category d–Standpipes are not required; standpipes are provided in accordance with Section 905 of the Florida Building Code, Building.

.

1301.6.19 Incidental accessory occupancy.  Revise to read as follows:

[B] 1301.6.19 Incidental accessory occupancy. Evaluate the protection of incidental accessory occupancies in accordance with Section 508.2.5 of the Florida Building Code, Building. Do not include those where this code requires suppression throughout the building including covered mall buildings, high-rise buildings, public garages and unlimited area buildings. Assign the lowest score from Table 1301.6.19 for the building or floor area being evaluated. If there are no specific occupancy areas in the building or floor area being evaluated, the value shall be zero.

Table 1301.6.19 Incidental Use Area Values A.  Change to read as shown.

| TABLE 1301.6.19 INCIDENTAL USE AREA VALUESa |
| --- |
| PROTECTION REQUIRED BY TABLE 508.2 OF THE FLORIDA BUILDING CODE, BUILDING | PROTECTION PROVIDED |
|  | None | 1 hour | AFSS | AFSS with SP | 1 hour and AFSS | 2 hours | 2 hours and AFSS |
| 2 hours and AFSS | -4 | -3 | -2 | -2 | -1 | -2 | 0 |
| 2 hours, or 1 hour and AFSS | -3 | -2 | -1 | -1 | 0 | 0 | 0 |
| 1 hour and AFSS | -3 | -2 | -1 | -1 | 0 | -1 | 0 |
| 1 hour | -1 | 0 | -1 | -1 | 0 | 0 |  |
| 1 hour, or AFSS with SP | -1 | 0 | -1 | -1 | 0 | 0 | 0 |
| AFSS with SP | -1 | -1 | -1 | -1 | 0 | -1 | 0 |
| 1 hour or AFSS | -1 | 0 | 0 | 0 | 0 | 0 | 0 |
| a. AFSS = Automatic fire suppression system; SP = Smoke partitions (See FBC Section 508.2.5). Note: For Table 1301.7, see page 68. |

Table 1301.8 Mandatory Safety Scores.  Change to read as shown.

TABLE 1301.8

MANDATORY SAFETY SCORESa

| OCCUPANCY | FIRE SAFETY (MFS) | MEANS OF EGRESS (MME) | GENERAL SAFETY (MGS) |
| --- | --- | --- | --- |
| A-1 | 20 | 31 | 31 |
| A-2 | 21 | 32 | 32 |
| A-3 | 22 | 33 | 33 |
| A-4, E, D | 29 | 40 | 40 |
| B | 30 | 40 | 40 |
| F | 24 | 34 | 34 |
| M | 23 | 40 | 40 |
| R | 21 | 38 | 38 |
| S-1 | 19 | 29 | 29 |
| S-2 | 29 | 39 | 39 |

a. MFS = Mandatory Fire Safety

MME = Mandatory Means of Egress

MGS = Mandatory General Safety

Chapter 14,  Construction Safeguards

Section 1402, Construction Safeguards. No change.

Chapter 15 Reference Standards

Revise text to read as follows:

ASME

A17.1S-2005, Safety Code for Elevators and Escalators, Supplement to A17.1-2004

A17.3-1996, Safety Code for Existing Elevators and Escalators, section 802.1.2

A18.1- 2003, Safety Standard for Platform Lifts and Stairway Chair Lifts—with A18.la—2001 Addenda; sections 308.8.3, and 605.1.3

[Mod 3317]

CSSB

Cedar Shake and Shingle Bureau

PO Box 1178

Shumas, WA 98295-1178

Standard reference number	Title	                                     Referenced in code section number

Recommendations	                                                                                    	511.3

Florida Codes

Florida Building Commission

c/o Florida Department of Community Affairs

Building Codes and Standards

2555 Shumard Oak Boulevard

Tallahassee, Florida 32399-2100

Standard reference number	Title	                                      Referenced in code section number

FBC–2010 	Florida Building Code, Building® 			101.2, 201.3, 202, 301.4, 401.4, 401.4.1, 403.2, 407.2, 407.3.1, 503.1, 503.2, 503.3, 507.2.1, 507.3, 507.4, 511.1, 511.3, 601.3, 603.2.3, 603.3.1, 603.3.2, 603.4, 603.5.2, 604.2, 604.2.1, 604.2.3, 604.2.4, 604.3, 605.2, 605.3, 605.3.2, 605.4.3, 605.6, 605.7.1, 605.8.1, 605.9.2, 605.10.2, 606.1, 607.1, 607.2, 607.3, 607.4, 607.4.1, 608.2, 608.3, 611.1, 702.1.2, 704.1, 704.1.2, 705.2, 705.3, 706.1, 707.2, 707.3, 707.5.1, 707.6, 707.7, 801.1, 801.3, 802.1, 802.2, 807.1, 807.2, 811.1.1, 812.1.1, 812.1.2, 812.3.1, 812.4.1.1, 812.4.1.2, 812.4.1.3, 812.4.2.1, 812.4.2.3, 812.4.3.1, 812.4.3.3, 812.4.4.1, 812.4.4.2, 812.4.4.3, 902.1, 902.2, 902.3, 903.1, 903.2, 903.3.1, 903.3.2, 903.5, 904.1, 904.2, 1101.2, 1102.0, 1102.1, 1102.2, 1102.2.1,  1102.2.2, 1102.3, 1201.2.2, 1201.2.3, 1201.2.4, 1201.4.1, 1201.6.1, 1201.6.1.1, 1201.6.2, 1201.6.2.1, 1201.6.3.1, 1201.6.3.2, 1201.6.4.1,1201.6.5, 1201.6.5.1, 1201.6.6, 1201.6.7.1, 1201.6.8, 1201.6.9.1, 1201.6.10.1, 1201.6.11, 1201.6.11.1, 1201.6.12.1, 1201.6.14, 1201.6.15.1, Table 1201.6.15, 1201.6.16.1, 1201.6.17, 1201.6.17.1, 1201.6.18, 1201.6.18.1, 1201.6.19, 1304.1.3, 1304.1.4, 1306.6, 1306.9, 1309.1, 1311.3, 1311.3.1, 1312.1

Ch. 11– 2010 Accessibility	406.1, 506.1, 601.1, 606.1, 706.1, 806.1, 812.5, 905.1, 1002, 1306.2

FBC,  Energy	Conservation - 2010   512.1, 611.1, 708.1, 906.1

Ch. 27–Electrical	408.1, 508.1.2, 508.1.3, 608.1, 608.2, 808.1, 808.2, 808.3, 808.4

FFPC–2010	Florida Fire Prevention Code			101.2, 101.4, 201.3, 503.3, 603.2.1, 603.2.3, 603.3.2, 604.2.4, 604.4, 604.4.3, 605.2, 605.3, 605.3.1.2, 702.1.2, 703.1, 704.2, 812.3.1, 1101.2, 1201.3.2, 1201.6.8.1, 1201.6.14.1, 1309.2

FBC, Mechanical–2010 	Florida Building Code, Mechanical 			101.2, 409.1, 509.1, 609.1, 609.2, 702.1.1, 702.2.1, 809.1, 1201.6.7.1, 1201.6.8, 1201.6.8.1

FBC, Plumbing–2010 	Florida Building Code, Plumbing 			101.2, 410.2, 510.2, 610.1, 810.1, 810.3, 810.5, 1305.1

FBC, Residential–2010	Florida Building Code, Residential			101.2, 608.3, 904.1, 904.2, 1102.2, 1201.2.2, 1201.2.3

Revise text to read as follows:

NFPA	National Fire Protection Agency

1 Batterymarch Pike

Quincy, MA 02269-9101

Standard reference number	Title	                            Referenced in code section number

NFPA 13R—02  Installation of Sprinkler Systems in Residential Occupancies up to and Including Four Stories in Height . . . . . . . . . . 704.2.5

NFPA 72 – 02  National Fire Alarm Code……………………………704.2.5,704.4

NFPA 101 – 09  Life Safety Code…………………………………………….705.2

NFPA 914–01	Code for Fire Protection of Historic Structures….1005.2, 1005.3, 1006.1

Add text to read as follows:

# CHAPTER 16 RETROFITTING

Section 1601 General, add text to read as follows:

# SECTION 1601 GENERAL

1601.1  Intent and purpose.  The provisions of this subsection provide prescriptive solutions for the retrofitting of gable ends of buildings. The retrofit measures are based on engineering calculations and are intended to provide strengthening of gable ends such that the retrofitted gable ends have strength equal to the structural provisions of the latest building code requirements for new buildings.  Design for compliance of new buildings and additions to existing buildings shall conform to the requirements of the Florida Building Code, Building or Florida Building Code, Residential as applicable.

1601.2  Scope.  The provisions of this chapter are intended to provide prescriptive methods for retrofitting buildings to make them stronger or more durable.

Section 1602 Definitions, add text to read as follows:

# SECTION 1602 DEFINITIONS

ANCHOR BLOCK.  A nominal 2-inch  thick by at least 4” wide piece of lumber secured to horizontal braces and filling the gap between existing framing members for the purpose of restraining horizontal braces from movement perpendicular to the framing members.

COMPRESSION BLOCK.  A nominal 2-inch thick by at least 4” wide piece of lumber used to restrain in the compression mode (force directed towards the interior of the attic) an existing or retrofit stud.  It is attached to a horizontal brace and bears directly against the existing or retrofit stud.

CONVENTIONALLY FRAMED GABLE END.  A conventionally framed gable end with studs whose faces are perpendicular to the gable end wall.

HORIZONTAL BRACE.   A nominal 2-inch thick by at least 4” wide piece of lumber used to restrain both compression and tension loads applied by a retrofit stud.  It is typically installed horizontally on the top of floor framing members (truss bottom chords or ceiling joists) or on the bottom of pitched roof framing members (truss top chord or rafters).

HURRICANE TIES.  Manufactured metal connectors designed to provide uplift and lateral restraint for roof framing members.

NAIL PLATE.  A manufactured metal plate made of minimum of 20 gauge galvanized steel with factory punched holes sized for 8d common nails.  A nail plate may have the geometry of a strap.

RETROFIT STUD.  A nominal 2-inch lumber member used to structurally supplement an existing gable end wall stud.

RIGHT ANGLE BRACKET.  A 14 gage or thicker galvanized metal right angle bracket listed by the manufacturer for the material into which they will be attached, masonry (concrete or CMU) or wood, to have a minimum specified load capacity of 350 lbs for uplift and lateral conditions, when the maximum number of fasteners specified by the manufacturer are used.

STUD-TO-PLATE CONNECTOR.  A manufactured metal connector designed to connect studs to plates with a minimum uplift capacity of 500 lbs.

TRUSS GABLE END.  An engineered factory made truss or site built truss that incorporates factory installed or field installed vertical studs with their faces parallel to the plane of the truss and are spaced no greater than 24-inches on center.  Web or other diagonal members other than top chords may or may not be present.  Gable end trusses may be of the same height as nearby trusses or may be drop chord trusses in which the top chord of the truss is lower by the depth of the top chord or outlookers.

Section 1603 Materials of Construction, add text to read as follows:

# SECTION 1603 MATERIALS OF CONSTRUCTION

1603.1  Existing materials. All existing wood materials that will be part of the retrofitting work (trusses, rafters, ceiling joists, top plates, wall studs, etc.) shall be in sound condition and free from defects or damage that substantially reduces the load-carrying capacity of the member.  Any wood materials found to be damaged or deteriorated shall be strengthened or replaced with new materials to provide a net dimension of sound wood equivalent to its undamaged original dimensions.

1603.2  New materials.  All materials approved by this code, including their appropriate allowable stresses, shall be permitted to meet the requirements of this chapter.

1603.3 Dimensional lumber.  All dimensional lumber for braces, studs, and blocking shall conform to applicable standards or grading rules.  Dimensional lumber shall be identified by a grade mark of a lumber grading or inspection agency that has been approved by an accreditation body that complies with DOC PS 20.  All new dimensional lumber to be used for retrofitting purposes shall be a minimum grade and species of #2 Spruce-Pine-Fir or shall have a specific gravity of 0.42 or greater.  In lieu of a grade mark, a certificate of inspection issued by a lumber grading or inspection agency meeting the requirements of this code shall be accepted.

1603.4 Metal plate connectors, straps and anchors. Metal plate connectors, plates, straps and anchors shall have product approval.  They shall be approved for connecting wood-to-wood or wood-to-concrete as appropriate.  Straps and nail plates shall be manufactured from galvanized steel with a minimum thickness of 20 gauge.  Nail plates shall have holes sized for a minimum of 8d nails.

1603.5 Twists in straps.  Straps shall be permitted to be twisted 90 degrees in addition to a 90 degree bend where they transition between framing members or connection points.  Straps shall be bent only once at a given location though it is permissible that they be bent or twisted at multiple locations along their length.

1603.6  Fasteners.  Fasteners shall meet the requirements of Sections 1603.6.1 and Section 1603.6.2, and shall be permitted to be screws or nails meeting the minimum length requirement shown in figures and specified in tables. Fastener spacing shall meet the requirements of Section 1603.6.3.

1603.6.1 Screws.  Screws shall be a minimum #8 size with head diameters no less than 0.28 inches.   Screw lengths shall be no less than indicated in the Figures and in Tables.  Permissible screws include deck screws and wood screws.  Screws shall have at least 1 inch of thread.  Fine threaded screws or drywall screws shall not be permitted. Select the largest possible diameter screw such that the shank adjacent to the head fits through the hole in the strap.

1603.6.2 Nails.  Unless otherwise indicated in the provisions or drawings, where fastener lengths are indicated in Figures and Tables as 1-¼ inches, 8d common nails with shank diameter 0.131 inches and head diameters no less than 0.28 inches shall be permitted.  Unless otherwise indicated in the provisions or drawings, where fasteners lengths are indicated in Figures and Tables as 3 inches, 10d common nails with shank diameter of 0.148 inches and head diameters no less than 0.28 inches shall be permitted.

[Mod 3148]

1603.6.3 General fastener spacing.  Fastener spacing for shear connections of lumber-to-lumber shall meet the requirements shown in Figure 1603.6.3 and the following conditions.

1603.6.3.1 General fastener spacing.  Fastener spacing shall meet the following conditions except as provided for in Section 1603.6.3.3

- The distance between fasteners and the edge of lumber that is less than 3-1/2 inches deep in the direction of the fastener length shall be a minimum of 3/4 inches.

- The distance between fasteners and the edge of lumber that is more than 2 inches thick in the direction of the fastener length shall be a minimum of ½ inches.

- The distance between a fastener and the end of lumber shall be a minimum of 2-½ inches.

- The distance between fasteners parallel to the grain (center-to-center) shall be a minimum of 2-1/2 inches.

- The distance between fasteners perpendicular to the grain (center-to-center) in lumber that is less than 3-1/2 inches deep in the direction of the fastener length shall be 1 inch.

- The distance between fasteners perpendicular to the grain (center-to-center) in lumber that is more than 2 inches thick in the direction of the fastener length shall be ½ inches.

[Mod 3149]

1603.6.3.2 Wood-to-wood connections of two members each 2 inch or less thick.  Wood-to-wood connections fastener spacing shall meet the following conditions.

- The distance between fasteners parallel to grain (center-to-center) shall be a minimum of 2-1/2 inches.

- The distance between fasteners across grain (center-to-center) shall be a minimum of 1 inch.

- For wood-to-wood connections of lumber at right angles, fasteners shall be spaced a minimum of 2-1/2 inches parallel to the grain and 1 inch perpendicular to the grain in any direction.

1603.6.3.3 Metal connectors to wood connections.  Metal connectors to wood connections shall meet the following conditions.

- Fastener spacing to edge or ends of lumber shall be as dictated by the prefabricated holes in the connectors and the connectors shall be installed in a configuration that is similar to that shown by the connector manufacturer.

- Fasteners in metal straps 1-1/4 inch wide that are installed on the 1-1/2 inch broad face of lumber shall be a minimum 1/4 inches from either face that is perpendicular to the 1-1/2 inch edge of the lumber.  Consistent with Section 1603.6.3.1 fasteners shall be allowed to be spaced according to the fastener holes provided in the strap.

- Fasteners in metal nail plates shall be spaced a minimum of ½ inches across wood grain and a minimum of 1-1/2 inches parallel to wood grain.

[Mod 3149]

Section 1604 Retrofitting Gable End Walls add text to read as follows:

# SECTION 1604 RETROFITTING GABLE END WALLS

1604.1 General.

1604.1.1 Scope and intent.  The following prescriptive methods are intended for applications where the gable end wall framing is provided by a wood gable end wall truss or a conventionally framed rafter system.  The retrofits are appropriate for wall studs oriented with their broad face parallel to or perpendicular to the gable end surface.  Gable ends to be strengthened shall be permitted to be retrofitted using methods prescribed by provisions of this section.  These prescriptive methods of retrofitting are intended to increase the resistance of existing gable end construction for out-of-plane wind loads resulting from high wind events.  The retrofit method addresses four issues by strengthening the framing members of the gable end itself with the use of retrofit studs (Section 1604.3), bracing the top and bottom of the gable end so that lateral loads are transmitted into the roof and ceiling diaphragms by the use of horizontal braces (Section 1604.2), making connections between horizontal braces and retrofit studs by the use of straps (see Section 1604.4), and connecting the bottom of the gable end to the wall below to help brace the top of that wall by the use of right angle brackets (Section 1604.5).  The minimum ceiling diaphragm shall be comprised of minimum ½ inch thick drywall, minimum 3/8 inch thick plywood, or plaster.  An overview isometric drawing of one kind of retrofit is shown in Figure 1604.1.1.

[Mod 3151]

1604.2 Horizontal Braces.  Horizontal braces shall be installed approximately perpendicular to the roof and ceiling framing members at the location of each existing gable end stud greater than 3 feet in length.  Unless it is adjacent to an omitted horizontal brace location, horizontal braces shall be minimum 2x4 dimensional lumber as defined in Section 1603.3.  A single horizontal brace is required at the top and bottom of each gable end stud for Retrofit Configuration A, B, or C and two horizontal braces are required for Retrofit Configuration D.  Maximum heights of gable end wall studs and associated retrofit studs for each Retrofit Configuration shall not exceed the values listed in Table 1604.2.  Horizontal braces shall be oriented with their broad faces across the roof or ceiling framing members, be fastened to a minimum of three framing members, and extend at least 6 feet measured perpendicularly from the gable end plus 2-1/2 inches beyond the last top chord or bottom chord member (rafter or ceiling joist) from the gable end as shown in Figure 1604.2(1), Figure 1604.2(2), Figure 1604.2(3), and Figure 1604.2(4).

|  |  | TABLE 1604.2 |  |  |
| --- | --- | --- | --- | --- |
| STUD LENGTH LIMITATIONS BASED ON EXPOSURE AND DESIGN WIND SPEED |
| Exposure | Maximum 3-Sec Gust | Maximum Height of Gable End Retrofit Stud b |
| Category | Basic Wind Speed a |  |  |  |  |
| C | 110 | 8'-0" | 11'-3" | 14'-9" | 16'-0" |
| C | 120 | 7'-6" | 10'-6" | 13'-6" | 16'-0" |
| C | 130 | 7'-0" | 10'-0" | 12'-3" | 16'-0" |
| C | 140 | 7'-0" | 10'-0" | 12'-3" | 16'-0" |
| C | 150 | 6'-6" | 8"-9" | 11'-0" | 16'-0" |
| B | 110 | 8'-0" | 12'-3" | 16'-0" | N/R c. |
| B | 120 | 8'-0" | 11'-3" | 14'-9" | 16'-0" |
| B | 130 | 8'-0" | 11'-3" | 14'-9" | 16'-0" |
| B | 140 | 7'-6" | 10'-6" | 13'-6" | 16'-0" |
| B | 150 | 7'-0" | 10'-0" | 12'-3" | 16'-0" |
|  | Retrofit Configuration --> | A | B | C | D |
|  | For SI: 1 Inch = 25.4mm, 1 Foot = 304.8mm |  |  |  |
| a. | Interpolation between given wind speeds not permitted. |  |  |
| b. | Existing gable end studs less than or equal to 3'-0" in height shall not require retrofitting. |
| c. | N/R = Not Required. Configuration C is acceptable to 16'-0" maximum height. |  |

[Mod 3151]

[Mod 3152]

1604.2.1 Existing gable end studs.  If the spacing of existing vertical gable end studs is greater than 24 inches, a new stud and corresponding horizontal braces shall be installed such that the maximum spacing between existing and added studs shall be no greater than 24 inches.  Additional gable end wall studs shall not be required at locations where their length would be 3 feet or less.  Each end of each required new stud shall be attached to the existing roofing framing members (truss top chord or rafter and truss bottom chord or ceiling joist) using a minimum of two 3 inch toenail fasteners (#8 wood screws or 10d nails) and a metal connector with minimum uplift capacity of 175 pounds, or nail plates with a minimum of four 1-1/4 inch long fasteners (#8 wood screws or 8d nails).

1604.2.2 Main method of installation. Each horizontal brace shall be fastened to each existing roof or ceiling member that it crosses using three 3-inch long fasteners (#8 wood screws or 10d nails) as indicated in Figure 1604.2(1) and Figure 1604.2.31604.2(3) for trusses and Figure 1604.2(2) and Figure 1604.2(4) for conventionally framed gable end walls.   Alternative methods for providing horizontal bracing of the gable end studs as provided in Sections 1604.2.3 through 1604.2.9 shall be allowed in lieu of this primary installation method.

1604.2.3 Omitted horizontal brace.  Where impediments, other permanently attached obstacles or conditions exist that prevent installation in accordance with Section 1604.2.2 horizontal braces may be omitted for height limitations corresponding to Retrofit Configurations A and B as defined in Table 1604.2 provided installation is as indicated in Figure 1604.2.3 and provided all of the following conditions are met.  This method is not allowed for Retrofit Configurations C or D.

- There shall be at least two horizontal braces on each side of an omitted horizontal brace or at least one horizontal brace if it is the end horizontal brace.  Omitted horizontal braces must be separated by at least two horizontal braces even if that location is comprised of two retrofit studs and two horizontal braces.

- Horizontal braces adjacent to the omitted horizontal brace shall be 2x6 lumber, shall butt against the existing studs, and shall be fastened to each existing roof or ceiling member that it crosses using three 3-inch long fasteners (#8 wood screws or 10d nails).  For Retrofit Configuration B, 4 fasteners shall be required on at least one of the connections between the horizontal brace and the existing roof and ceiling framing members.  Fasteners shall be spaced a minimum of ¾” from the edges of the horizontal braces and a minimum of 1-3/4” from adjacent fasteners.

- Where the existing studs on each side of an omitted horizontal brace have their broad face parallel to the gable end wall the retrofit studs at those locations and the retrofit stud at the omitted horizontal brace locations shall be 2x6 lumber for Retrofit Configuration A and 2x8 lumber for Retrofit Configuration B.

- Where the existing studs on each side of an omitted horizontal brace have their broad face perpendicular to the gable end wall, the retrofit studs at those locations and the retrofit stud at the omitted horizontal brace locations shall be sized such that they protrude a minimum of 3-1/2 inches beyond the interior edge of the existing studs for both Retrofit Configurations A and B.  The edges of the three retrofit studs facing towards the interior of the attic shall be aligned such that they are the same distance from the gable end wall.

- Retrofit studs shall be fastened to existing studs in accordance with Section 1604.3.

- Retrofit studs adjacent to the omitted horizontal brace shall be fastened to the horizontal brace using straps in accordance with Table 1604.4.1 consistent with the size of the retrofit stud.  The method applicable to Table 1604.4.2 is not allowed.

- A strong back made of minimum of 2x8 lumber shall be placed parallel to the gable end and shall be located on and span between horizontal braces on the two sides of the omitted horizontal brace and shall extend beyond each horizontal braces by a minimum of 2-1/2 inches.  The strong back shall be butted to the three retrofit studs.  The strong back shall be attached to each of the horizontal braces on which it rests with 5 each 3 inch long fasteners (#8 screws or 8d nails).  Those fasteners shall be spaced a minimum of 3/4 inch from any edge of lumber and shall be spaced a minimum of 2-1/2 inch from each other.  Additional compression blocks shall not be required at locations where a strong back butts against a retrofit stud.

- The retrofit stud at the location of the omitted horizontal braces shall be fastened to the strong back using a connector with minimum uplift capacity of 800 pounds and installed such that this capacity is oriented in the direction perpendicular to the gable end wall.

- The use of shortened horizontal braces using the alternative method of Section 1604.2.5 is not allowable for horizontal braces adjacent to the omitted horizontal braces.

- Horizontal braces shall be permitted to be interrupted in accordance with Section 1604.2.8.

[Mod 3153 revised]

1604.2.4 Omitted horizontal brace and retrofit stud.  Where impediments, other permanently attached obstacles or conditions exist that prevent installation in accordance with Section 1604.2.2 or Section 1604.2.3 by not permitting installation of horizontal braces, retrofit studs and horizontal brace shall be permitted to be omitted from those locations by installation of ladder assemblies for Retrofit Configurations A and B as defined in Table 1604.2 provided all of the following conditions are met.  This method is not allowed for Retrofit Configurations C or D.

- No more than two ladder assemblies are permitted on a single gable end.

- There shall be at least two retrofit studs and horizontal brace assemblies on either side of the locations where the retrofit studs and horizontal bracing members are omitted (no two ladder braces bearing on a single retrofit stud).

- Retrofit studs immediately on each side of the omitted retrofit stud shall be increased to the member size corresponding to the next higher Retrofit Configuration indicated in Table 1604.4.1 or Table 1604.4.2 and fastened to the horizontal braces as indicated in that table for the larger member size.

- Horizontal braces adjacent to the omitted horizontal brace shall be 2x6 lumber and be fastened to each existing roof or ceiling member crossed using three 3-inch long fasteners (#8 wood screws or 10d nails) as indicated in Figure 1604.2(1) and Figure 1604.2(3) for trusses and Figure 1604.2(2) and Figure 1604.2(4) for conventionally framed gable end wall.  For Retrofit Configuration B, 4 fasteners shall be required on at least one of the connections between the horizontal brace and the existing roof and ceiling framing members.

- Ladder rungs shall be provided across the location of the omitted retrofit studs as indicated in Figure 1604.2.4(1) for trusses and Figure 1604.2.4(2) for conventionally framed gable end walls.

- Ladder rungs shall be made of at a minimum 2x4 lumber oriented with their broad face horizontal and spaced a maximum of 16-inches on center vertically.

- Where ladder rungs cross structural members such as the existing stud at the omitted retrofit stud location or gable end vent framing they shall be connected to each other with a metal connector with a minimum capacity of 175 pounds in the direction perpendicular to the gable end wall.

- Notching of the ladder rungs shall not be permitted unless the net depth of the framing member is a minimum of 3-1/2 inches.

[Mod 3153]

1604.2.5 Short horizontal brace.  Where impediments, other permanently attached obstacles or conditions exist that prevent installation in accordance with Sections 1604.2.2, 1604.2.3, or 1604.2.4 by not permitting extension of horizontal braces across the existing framing members such that they can be fastened to a minimum of three framing members and extend at least 6-feet from the gable end wall plus 2-1/2 inches beyond the last roof or ceiling framing member, the horizontal braces may be shortened provided installation is as indicated in Figure 1604.2.5 and provided that all of the following conditions are met.

  - The horizontal brace shall be installed across a minimum of two framing spaces, extend a minimum of 4-feet from the gable end wall plus 2-1/2 inches beyond the last roof or ceiling framing member, and be fastened to each existing framing member with three 3-inch long fasteners (#8 wood screws or 10d nails),

  - An anchor block shall be fastened to the side of the horizontal brace in the second framing space from the gable end wall as shown in Figure 1604.2.5.  The anchor block lumber shall have a minimum edge thickness of 1-1/2 inches and the depth shall be as a minimum the depth of the existing roof or ceiling framing member.  Six 3-inch long fasteners (#8 wood screws or 10d nails) shall be used to fasten the anchor block to the side of the horizontal brace.

  - The anchor block shall extend into the space between the roof or ceiling framing members a minimum of one-half the depth of the existing framing members at the location where the anchor block is installed.  The anchor block shall be installed tightly between the existing framing members such that the gap at either end shall not exceed 1/8 inch.

  - The use of omitted horizontal braces using the method of Section 1604.2.3 is not allowable.

[Mod 3154]

1604.2.6 Installation of horizontal braces onto webs or vertical members of trusses.  Where existing conditions preclude installation of horizontal braces on truss top or bottom chords they shall be permitted to be installed on truss webs or vertical members of trusses provided all of the following conditions are met.

- Horizontal braces shall be installed as close to the top or bottom chords as practical without altering the truss or any of its components and not more than three times the depth of the truss member to which it would ordinarily be attached.

- A racking block, comprised of an anchor block meeting the definition of anchor block of Section 1602 or comprised of minimum 15/32 inch plywood or 7/16 inch OSB, shall be fastened to the horizontal brace in the second framing space from the gable end wall.   The racking block shall extend towards the diaphragm (roof or ceiling as appropriate) so that the edge of the racking block closest to the diaphragm is within ½ the depth of the existing framing member from the diaphragm surface.  They shall be attached to horizontal braces using six fasteners (#8 wood screws or 10d nails) of sufficient length to provide 1-1/2 inches of penetration into the horizontal brace.

- Racking blocks can be fastened to any face or edge of horizontal braces between each web or truss vertical posts to which a horizontal brace is attached.  Racking blocks can be on alternate sides of horizontal braces.  Racking blocks shall be installed tightly between the lumber of truss members or truss plates such that the gap at either end shall be a maximum of 1/8 inch.

1604.2.7 Alternative method of installation of horizontal braces at truss ridges.  Where impediments such as truss plates or access for installation of fasteners limits or restricts installation of horizontal braces near the peak of the roof, ridge ties may be added to provide support for the required horizontal brace.  The top of added ridge tie members shall be installed a maximum of 16-inches below the existing ridge line or 4 inches below impediments.  The added ridge tie members shall be installed across a minimum of three bays, but no less than 6-feet from the gable end wall plus 2-1/2 inches beyond the last roof or ceiling framing member to permit fastening of the horizontal brace.  A minimum of a 2x4 member shall be used for each ridge tie and fastening shall consist of two 3-inch long wood screws, four 3 inch long 10d nails or two 3-1/2 inch long 16d nails driven through and clinched at each top chord or web member intersected by the ridge tie as illustrated in Figure 1604.2.7.

[Mod 3155]

1604.2.8 Interrupted horizontal braces.  Where impediments, other permanently attached obstacles or conditions exist that prevent installation of horizontal braces in accordance with Section 1604.2.2 by preventing the installation of a single continuous horizontal braces then horizontal braces shall be permitted to be interrupted using the methods shown in Figure 1604.2.8(1), Figure 1604.2.8(2), and Figure 1604.2.8(3).  For interruptions that occur in the attic framing space closest to the gable end, nine 3 inch fasteners shall be used to connect each section of the interrupted horizontal braces.  For interruptions that occur in the second attic space from the gable end, six 3 inch fasteners shall be used to connect each section of the interrupted horizontal braces.  For interruptions that occur in the attic framing space farthest from the gable end, three 3 inch fasteners shall be used to connect each section of the interrupted horizontal braces.  Horizontal braces shall be continued far enough to allow connections to three existing roof framing members as shown in Figure 1604.2.8(1), Figure 1604.2.8(2), or Figure 1604.2.8(3).  Fasteners shall be spaced in accordance with Section 1604.3.6.  Lumber members used to form horizontal braces shall be the same width and depth as required for an un-interrupted member.

All fasteners 3”

1604.2.9 Piggyback trusses. Piggyback trusses (trusses composed of two members one above the other) shall be permitted to be retrofitted if either of the following cases is true.  1. The existing studs in both the upper truss and the lower truss to which wall sheathing, panel siding, or other wall facade are attached are sufficiently in line that retrofit studs can be installed and connections made between the two with retrofit stud(s).  2. The same as condition 1 except the studs in the upper truss are not sufficiently in line with ones below and the existing studs in the upper truss are 3 feet or shorter.  For condition 1 both the lower stud and the upper stud shall be retrofitted using the methods of Section 1604.2.  For condition two the retrofit stud shall be connected to the lower studs using the methods of Section 1604.2 and be continuous from the bottom horizontal brace to the top horizontal brace.  No connection is required between the retrofit stud and the upper stud.  In both conditions the bottom chord of the piggy back truss section shall be fastened to each retrofit stud using a connector with minimum axial capacity of 175 pounds.

[Mod 3156]

1604.3 Retrofit Studs.  Retrofit studs shall be installed in accordance with Section 1604.3.1 and using one of the five methods of Sections 1604.3.2, 1604.3.3, 1604.3.4, 1604.3.5, or 1604.3.6.  Figure 1604.3 shows these methods of installation.  For the Retrofit Configuration derived from Table 1604.2 the size of retrofit studs shall be as indicated in Table 1604.4.1 or Table 1604.4.2.  Retrofit studs shall extend from the top of the lower horizontal brace to the bottom of the upper horizontal brace except that a maximum gap of 1/8 inch is allowed at the bottom and ½ inch at the top.  Where wall sheathing, panel siding, or other wall façade is fastened to gable end studs not manufactured into a truss, i.e. are field installed, retrofit studs shall be applied to those field installed studs in accordance with Section 1604.2.1.

[Mod 3158]

1604.3.1  Fastening.  Where nail plates are not used, retrofit studs shall be attached to existing studs using 3 inch fasteners at a maximum of 6 inches on center but no closer than 2-1/2 inches on center with fasteners no closer to ends of members than 2-1/2” inches.

1604.3.2  Method #1: Face to edge or to face method.  Retrofit studs shall be installed immediately adjacent to existing (Section 1604.2) gable end wall studs as indicated in Figure 1604.3(a).  The retrofit studs shall overlap the edge or side of the existing stud by a minimum of 1-1/4 inches.  Fasteners shall be installed as specified in Section 1604.3.1.

1604.3.3  Method #2: Face to face offset method.  Retrofit studs shall be installed against the face of existing studs as indicated in Figure 1604.3(b) such that the faces overlap a minimum of 1-1/2 inch and the edge distance to fasteners is no less than ¾ inch.  Fasteners shall be installed as specified in Section 1604.3.1.

1604.3.4  Method #3: Butted retrofit stud method.  Provided that all of the following fastening conditions are met retrofit studs shall be permitted to be butted by edge or face to existing studs with the addition of nail plates as indicated in Figure 1604.3(c) and Figure 1604.3.4.

- The 1-1/2 inch edge of retrofit studs shall be installed against the 1-1/2 inch or the broad face of existing studs.

- A minimum of two nail plates shall be used.

- Fasteners used to secure nail plates to studs shall be a minimum 1-1/4 inch long (#8 wood screws or 8d nails).

- Fasteners placed in nail plates shall be a minimum of 2-1/2 inches along the length of lumber.  A fastener shall be placed in nail plates a maximum of 6 inches from the ends of the shorter stud.

- Fasteners shall be placed a minimum of ½ inches from the edges of studs.  Fasteners shall be placed a maximum of 1-1/2 inches from the abutting vertical edges of existing studs and retrofit studs.

- There shall be at least 3 fasteners through nail plates into all existing and retrofit studs to which it is attached.

- Where there are 3 fasteners through nail plates onto a single existing or retrofit stud then nail plates shall be spaced a maximum of 15 inches on center.

- Where there are more than 3 fasteners though nail plates onto a single existing or retrofit stud then nail plates shall be spaced a maximum of 20 inches on center.

- In line fasteners used to secure nail plates shall be spaced vertically a minimum of 1-1/2 inches on center.  Staggered fasteners used to secure nail plates shall be spaced horizontally a minimum of ½ inches.

1604.3.5 Method #4: Offset retrofit stud method.   Where retrofit studs are placed as indicated on Figure 1604.3(d) retrofit studs may be offset from existing studs by use of nail plates such that the vertical corner of a retrofit stud shall be placed at the vertical corner of an existing stud as indicated in Figure 1604.3(d) and Figure 1604.3.4 provided the fastening conditions of Section 1604.3.4 are met.

1604.3.6 Method #5: Nailer with retrofit stud method.  Retrofit studs and existing studs shall be permitted to be connected using non-continuous 2x4 nailers as indicated in Figure 1604.3(e) provided the following conditions are met.

    - Both the existing stud and the retrofit stud shall be butted to nailers and both shall be fastened to the nailer with 3 inch long fasteners (#8 wood screws or 8d nails).  Fasteners connecting each stud to the nailer shall be a spaced 6 inches o.c.

    - Fasteners into nailers from any direction shall be offset vertically by a minimum of 2-1/2 inches.

    - Fasteners into nailers shall be a minimum of 2-1/2 inches but not more than 6 inches from the end of the shorter of the existing stud and retrofit stud to which they are fastened.

1604.3.7 Reduced size of retrofit studs.  Retrofit studs may be reduced in size by notching, tapering, or other methods at any number of locations along their length provided that all of the following conditions are met.

- Retrofit stud to be notched shall be sized such that the remaining minimum depth of member at the location of the notch (including cross cut kerfs) shall not be less than that required by Table 1604.4.1 or Table 1604.4.2.

- Notched retrofit stud shall not be spliced within 12 inches of the location of notches.  Splice members shall not be notched.

- The vertical extent of notches shall not exceed 12 inches as measured at the depth of notches.

- Notched retrofit stud member shall be fastened to the side of the existing gable end wall studs in accordance with Section 1604.3.1.  Two additional 3 inch fasteners (#8 wood screws or 10d nails) shall be installed on each side of notches in addition to those required by Section 1604.3.1.

[Mod 3158 and comment 1]

[Mod 3158 comment1]

1604.3.8 Retrofit stud splices.  Retrofit studs greater than 8 feet in height may be field spliced in accordance with Figure 1604.3.8.

1604.4 Connection between horizontal braces and retrofit studs.  Connections between horizontal braces and retrofit studs shall comply with Section 1604.4.1 or Section 1604.4.2.  Each retrofit stud shall be connected to the top and bottom horizontal brace members with a minimum of a 20 gauge 1-1/4 inch wide flat or coil metal strap with pre-punched holes for fasteners.  Straps shall be fastened with 1-1/4 inch long fasteners (#8 wood screws or 8d nails) with the number of fasteners as indicated on Table 1604.4.1 and Table 1604.4.2.  Fasteners shall be no closer to the end of lumber than 2-1/2 inches.

1604.4.1  L-bent strap method.  Retrofit studs shall be connected to horizontal braces or to strong backs in accordance with Figure 1604.2(1), Figure 1604.2(2), or Figure 1604.2.3, and shall comply with the following conditions.

1.	Straps:  A strap shall be applied to the edges of a retrofit stud nearest the gable end wall and to the face of horizontal braces using at each end of the straps the number of fasteners specified in Table 1604.4.1.  Straps shall be long enough so that each strap extends sufficient distance onto the vertical face of the retrofit stud that the fastener closest to the ends of the studs is a minimum of 2-1/2 inches from the end of the stud.  Straps shall be allowed to be twisted to accommodate the transition between the tops of retrofit studs and horizontal bracings following roof pitches.

2.	Compression Blocks:  Compression blocks shall be installed on the horizontal braces directly against either the existing vertical gable end wall stud or the retrofit stud.  Figure 1604.2(1) (trusses) and Figure 1604.2(2) (conventionally framed) show the installation of the compression block against the existing vertical gable end wall stud with the strap from the retrofit stud running beside the compression block.  Compression blocks shall be allowed to be placed over straps.  Compression blocks shall be fastened to the horizontal braces with at least the minimum number of 3 inch long fasteners (#8 wood screws or 10d nails) specified in Table 1604.4.1. End and edge distances for fasteners shall be in accordance with Section 1603.6.3.

TABLE 1604.4.1

ELEMENT SIZING AND SPACING FOR L-BENT RETROFIT METHOD

|  | Retrofit | Retrofit | Retrofit | Retrofit |
| --- | --- | --- | --- | --- |
|  | Config. | Config. | Config. | Config. |
| Retrofit Elements | A | B | C | D |
| Minimum size and number of |  |  |  |  |
| Horizontal Braces | 2x4 | 2x4 | 2x4 | 2 each 2x4 |
| Minimum size and number of |  |  |  |  |
| Retrofit Studs | 2x4 | 2x6 | 2x8 | 2 each 2x8 |
| Minimum number of fasteners |  |  |  |  |
| connecting each end of |  |  |  |  |
| straps to Retrofit Studs or to | 6 | 9 | 12 | 8 on each |
| Horizontal Braces |  |  |  | strap |
| #8 screws or 10d nails 1-1/4" long |  |  |  |  |
| Minimum number of fasteners |  |  |  |  |
| to connect |  |  |  |  |
| Compression Blocks to | 6 | 8 | 10 | 12 |
| Horizontal Braces |  |  |  |  |
| #8 screws or 10d nails 3" long |  |  |  |  |
| For SI: 1 Inch = 25.4mm, 1 Foot = 304.8mm |  |  |  |

1604.4.2  U-bent strap method.  Retrofit studs shall be connected to horizontal braces in accordance with Figure 1604.2(3) or Figure 1604.2(4), shall be limited to Retrofit Configurations A and B (Table 1604.4.2), and shall comply with the following conditions.

      - Straps of sufficient length to meet the requirements for the number of fasteners in accordance with Table 1604.4.2 and meet the end distance requirements of Section 1603.6.3 shall be shaped around retrofit studs and fastened to the edges of horizontal braces.  Straps shall wrap the back edge of the retrofit stud snuggly with a maximum gap of ¼ inches.  Rounded bends of straps shall be allowed.  One fastener shall be installed that connects each strap to the side of the associated retrofit stud.

      - The horizontal brace shall butt snugly against the retrofit stud with a maximum gap of ¼ inches.

      - Straps shall be allowed to be twisted to accommodate the transition between the tops of retrofit studs and horizontal braces that follow the roof pitch.

TABLE 1604.4.2

ELEMENT SIZING AND SPACING FOR U-BENT RETROFIT METHOD

|  | Retrofit | Retrofit | Retrofit | Retrofit |
| --- | --- | --- | --- | --- |
|  | Config. | Config. | Config. | Config. |
| Retrofit Elements | A | B | C | D |
| Minimum size and number |  |  |  |  |
| of Horizontal Braces | 2x4 | 2x4 | 2x4 | 2 each 2x4 |
| Minimum size and number |  |  |  |  |
| of Retrofit Studs | 2x4 | 2x6 | 2x8 | 2 each 2x8 |
| Minimum number of fasteners |  |  |  |  |
| connecting |  |  |  |  |
| Straps to each edge of | 6 | 7 | 7 | 6 on side of |
| Horizontal Braces |  |  |  | each strap |
| #8 screws or 10d nails 1-1/4" long |  |  |  |  |
| For SI: 1 Inch = 25.4mm, 1 Foot = 304.8mm |  |  |  |  |

1604.5 Connection of gable end wall to wall below. The bottom chords or bottom members of wood framed gable end walls shall be attached to the wall below using one of the methods prescribed in Sections 1604.5.1 or 1604.5.2.  The particular method chosen shall correspond to the framing system and type of wall construction encountered.

1604.5.1 Truss gable end wall.  The bottom chords of the gable end wall shall be attached to the wall below using right angle brackets.  A minimum of two fasteners shall be installed into the bottom chord.  The right angle brackets shall be installed throughout the portion of the gable end where the gable end wall height is greater than 3 feet at the spacing specified in Table 1604.5.1.  Connection to the wall below shall be by one of the methods listed below:

- For a wood frame wall below, a minimum of two fasteners shall be installed.  The fasteners shall be of the same diameter and style specified by the bracket manufacturer and sufficient length to extend through the double top plate of the wall below.

- For a concrete or masonry wall below without a sill plate, the type and number of fasteners into the wall shall be consistent with the bracket manufacturer’s specifications for fasteners installed in concrete or masonry.

- For a concrete or masonry wall below with a 2x sill plate, the fasteners into the wall below shall be of the diameter and style specified by the bracket manufacturer for concrete or masonry connections; but, long enough to pass through the wood sill plate and provide the required embedment into the concrete or masonry below.  Alternatively, the bracket can be anchored to the sill plate using 4 each 1-1/2 inch long fasteners of the same type as specified by the bracket manufacturer for wood connections, provided that the sill plate is anchored to the wall on each side of the bracket by a 1/4-inch diameter masonry screw with a 2-3/4 inches of embedment into the concrete or masonry wall.  A ¼ inch washer shall be placed under the heads of the masonry screws.

| Table 1604.5.1 Spacing of Right Angle Brackets |
| --- |
| Exposure | Maximum 3-Sec. Gust | Spacing of |
| Category | Wind Speed - V | Right Angle |
|  | mph | Brackets a. |
| C | 110 | 38-inches |
| C | 120 | 32-inches |
| C | 130 | 28-inches |
| C | 140 | 24-inches |
| C | 150 | 20-inches |
| B | 110 | 48-inches |
| B | 120 | 40-inches |
| B | 130 | 36-inches |
| B | 140 | 30-inches |
| B | 150 | 26-inches |
| a. See Section 1602 1202 for definition of right angle bracket. |

[Mod 3159 comment 1]

1604.5.2 Conventionally framed gable end wall. Each stud in a conventionally framed gable end wall, throughout the length of the gable end wall where the wall height is greater than 3 feet, shall be attached to the bottom or sill plate using a stud to plate connector with minimum uplift capacity of 175 pounds.  The bottom or sill plate shall then be connected to the wall below using one of the methods listed below:

- For a wood frame wall below, the sill or bottom plate shall be connected to the top plate of the wall below using ¼ inch diameter lag bolt fasteners of sufficient length to penetrate the bottom plate of the upper gable end wall and extend through the bottom top plate of the wall below.  A washer sized for the diameter of the lag bolt shall be placed under the head of each lag bolt.  The fasteners shall be installed at the spacing indicated in Table 1604.5.2.

- For a concrete or masonry wall below, the sill or bottom plate shall be connected to the concrete or masonry wall below using ¼ inch diameter concrete or masonry screws of sufficient length to provide 2-3/4 inches of embedment into the top of the concrete or masonry wall.  A washer sized for the diameter of the lag bolt shall be placed under the head of each lag bolt.   The fasteners shall be installed at the spacing indicated in Table 1604.5.2.

| TABLE 1604.5.2 SPACING OF LAG OR MASONRY SCREWS USED TO |
| --- |
| CONNECT SILL PLATE OF GABLE END WALL TO TOP OF THE WALL BELOW |
| Exposure | Maximum 3-Sec. Gust | Spacing of |
| Category | Wind Speed - V | Lag Screws or |
|  | mph | Masonry Screws |
| C | 110 | 19-inches |
| C | 120 | 16-inches |
| C | 130 | 14-inches |
| C | 140 | 14-inches |
| C | 150 | 10-inches |
| B | 110 | 24-inches |
| B | 120 | 20-inches |
| B | 130 | 18-inches |
| B | 140 | 15-inches |
| B | 150 | 13-inches |

[Mod 3159]

Appendix A: Guidelines for the Seismic Retrofit of Existing Buildings.  Delete text and change to reads as shown.

Appendix A: Guidelines for the Seismic Retrofit of Existing Buildings.  Reserved.

Appendix B: Supplementary Accessibility Requirements for Existing Buildings and Facilities.  Replace with text from Appendix B of the 2007 Florida Building Code, Existing Building and change title to read as follows.

Appendix B:

STANDARD FOR REHABILITATION

THE SECRETARY OF THE INTERIOR’S STANDARDS FOR REHABILITATION AND GUIDELINES FO REHABILITATING HISTORIC BUILDINGS

:

:

:

[Note: for text of this Appendix see the 2007 Florida Building Code, Existing Building available on-line from www.Floridabuilding.org]

Appendix C.  Add to read as shown.

Appendix C.

REFER TO NFPA 914 CODE

FOR FIRE PROTECTION OF HISTORIC STRUCTURES 2001 EDITION

APPENDIX C – SURVEY CRITERIA FOR A HISTORIC STRUCTURE

AND

APPENDIX I – GUIDELINE ON FIRE RATINGS OF ARCHAIC MATERIALS AND ASSEMBLIES

Appendix D.  Type of Construction.  Add to read as shown.

Appendix D

Type of Construction.

| 2001 Florida Building Code | 2004 Florida Building Code |
| --- | --- |
| Type I | Type I-A |
| Type II | Type I-B |
| Type III | Type IV |
| Type IV 1-hour Protected | Type II-A |
| Type IV Unprotected | Type II-B |
| Type V 1-hour Protected | Type III-A |
| Type V Unprotected | Type III-B |
| Type VI 1-hour Protected | Type V-A |
| Type VI Unprotected | Type V-B |

Resource A: Guidelines on Fire Ratings of Archaic Materials and Assemblies.  Change to read as shown.

Resource A: Guidelines on Fire Ratings of Archaic Materials and Assemblies.  Reserved.