Page 1 of 5
5/31/2019
Code Administration
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  13
Approved as Submitted
TAC Recommendation
Total Mods for  Code Administration in  Approved as Submitted
TAC: 
Code Administration
 9
SubCode:
Building
Ü
1‑Scope and Administration
Mod #
 7697 
Proponent
George Wiggins (BOAF)
110.1
Section
1
Chapter
Approved as Submitted
Editorial change to clarify text relating to exposing and providing access to all work for inspection purposes
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7834 
Proponent
Paul Coats
107.2.5
Section
1
Chapter
Approved as Submitted
Requires construction documents to contain details of impervious moisture barrier systems used to protect structural elements in balconies or elevated walking surfaces that are exposed to the weather.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7838 
Proponent
Paul Coats
110.3
Section
1
Chapter
Approved as Submitted
Requires the inspection of impervious moisture barrier systems for balconies and elevated walking surfaces before they are concealed.
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Existing Building
Ü
2‑Definitions

Page 2 of 5
5/31/2019
Code Administration
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  13
Total Mods for  Code Administration in  Approved as Submitted
TAC: 
Code Administration
 9
Mod #
 7690 
Proponent
George Wiggins (BOAF)
202
Section
2
Chapter
Approved as Submitted
Clarifies definition of &quot;Change of Occupancy&quot; for ease of understanding in a new bulleted format
Summary
X
AS
AM

NAR

I

W
Commission Action

3‑Provisions for All Compliance Methods
Mod #
 8167 
Proponent
Ann Russo4
301.1
Section
3
Chapter
Approved as Submitted
This proposal retains the exception that allows the code official to waive certain architectural and other requirements that the FEBC would normally trigger in alteration projects. It removes that exception, however, regarding structural provisions.
Summary
X
AS
AM

NAR

I

W
Commission Action

4‑Prescriptive Compliance Method
Mod #
 8211 
Proponent
Ann Russo4
301.1
Section
4
Chapter
Approved as Submitted
The purpose of this modification to remove the topic of repair from the three compliance methods and to move repair into one standalone chapter
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8225 
Proponent
Ann Russo4
401.2.1
Section
4
Chapter
Approved as Submitted
Deletes &quot;Existing [Building} Materials&quot; and &quot;New and replacement Material sections from Chapter 4 ad 6 which have been inserted in Chapter 3
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 3 of 5
5/31/2019
Code Administration
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  13
Total Mods for  Code Administration in  Approved as Submitted
TAC: 
Code Administration
 9
Mod #
 8374 
Proponent
Ann Russo8
401
Section
4
Chapter
Approved as Submitted
EB14‑15 &amp; EB26‑15 Combined per Mo Madani.  Replaces the word &quot;maintaining&quot; with &quot;restoring,&quot; to avoid confusion. Replaces the phrase &quot;good or sound&quot; (removed elsewhere in past cycles) with &quot;pre‑damage,&quot; as used elsewhere in Chapters 4 and 6. etc.
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Residential
Ü
2‑Definitions
Mod #
 7691 
Proponent
George Wiggins (BOAF)
202
Section
2
Chapter
Approved as Submitted
Modification of &quot;Labeled&quot; by adding same terms as in current Building Code
Summary
X
AS
AM

NAR

I

W
Commission Action

No Affirmative Recommendation
TAC Recommendation
Total Mods for  Code Administration in  No Affirmative Recommendation
TAC: 
Code Administration
 2
SubCode:
Building
Ü
1‑Scope and Administration
Mod #
 7224 
Proponent
Sean Guthrie
105.3.1.2
Section
1
Chapter
No Affirmative Recommendation
Change threshold for fire detection and alarm plans to require engineers&#39; seal
Summary

AS
AM

X
NAR

I

W
Commission Action

SubCode:
Existing Building
Ü
14‑Performance Compliance Methods

Page 4 of 5
5/31/2019
Code Administration
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  13
Total Mods for  Code Administration in  No Affirmative Recommendation
TAC: 
Code Administration
 2
Mod #
 7447 
Proponent
Richard Schauland
1401.2.5
Section
14
Chapter
No Affirmative Recommendation
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary

AS
AM

X
NAR

I

W
Commission Action

Withdrawn
TAC Recommendation
Total Mods for  Code Administration in  Withdrawn
TAC: 
Code Administration
 2
SubCode:
Existing Building
Ü
3‑Provisions for All Compliance Methods
Mod #
 8162 
Proponent
Ann Russo4
301.1
Section
3
Chapter
Withdrawn
This modification simply provides all the relevant references to the flood provisions found in the FEBC. This is a more comprehensive approach that will better address all methods in the FEBC
Summary

AS
AM

NAR

I
X
W
Commission Action

Mod #
 8389 
Proponent
Ann Russo8
301.1
Section
3
Chapter
Withdrawn
This exception refers only the work area method for alterations in flood hazard areas. The prescriptive and performance methods have provisions similar to Section 701.3, so this exception should also refer to them.
Summary

AS
AM

NAR

I
X
W
Commission Action

Search Criteria

Page 5 of 5
5/31/2019
Code Administration
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  13
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
CA
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived: