Page 1 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Approved as Submitted

TAC Recommendation

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

SubCode:

Building

Ü

15-Roof Assemblies and Rooftop Structures

Mod #

7161

Proponent

John Hall

1501.1

Section

15

Chapter

Approved as Submitted

The modification provides for inclusion of Florida Building Code, Building Section 1507.18.1 in the High Velocity Hurricane Zone.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7185

Proponent

Michael Goolsby

1523.6.4

Section

15

Chapter

Approved as Submitted

Clarify required uplift test procedure.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7186

Proponent

Michael Goolsby

1525

Section

15

Chapter

Approved as Submitted

Establish consistency with ASCE 7-16.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7316

Proponent

Michael Silvers (FRSA)

1511

Section

15

Chapter

Approved as Submitted

This modification adds language to clarify that salvaged slate, clay and concrete roof tile of like kind can be used in certain applications

Summary

AS

AM

NAR

I

W

Commission Action

Page 2 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7338

Proponent

Gaspar Rodriguez

1521.13

Section

15

Chapter

Approved as Submitted

Eliminate a reference in the code to a section that has been removed from the code.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7342

Proponent

Gaspar Rodriguez

1523.6.5.2.8

Section

15

Chapter

Approved as Submitted

Correct a typo error.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7356

Proponent

Michael Silvers (FRSA)

1507.3

Section

15

Chapter

Approved as Submitted

This modification updates Referenced Standard: FRSA/TRI High Wind Concrete and Clay Roof Tile Manual from the Fifth to the Sixth Edition

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7380

Proponent

Joseph Crum

1507.9.6

Section

15

Chapter

Approved as Submitted

Revise out dated code language

Summary

AS

AM

NAR

I

W

Commission Action

Page 3 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7427

Proponent

T Stafford

1510.7.1

Section

15

Chapter

Approved as Submitted

Correlates the wind loading requirements in the code for rooftop PV with ASCE 7-16.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7437

Proponent

Gaspar Rodriguez

1515.2

Section

15

Chapter

Approved as Submitted

Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7438

Proponent

Gaspar Rodriguez

1523.6.5.2.4.1

Section

15

Chapter

Approved as Submitted

Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7580

Proponent

Michael Silvers (FRSA)

1507.1.1

Section

15

Chapter

Approved as Submitted

This modification adds an exception to underlayment attachment that provides for an existing self-adhering membrane to act as a secondary water barrier similar to the 4&quot; wide strip in the current exception.

Summary

AS

AM

NAR

I

W

Commission Action

Page 4 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7703

Proponent

Jon Roberts

1505

Section

15

Chapter

Approved as Submitted

The testing for photovoltaic panel systems are covered in both UL 1703 and UL 2703.  This proposal adds two new UL standards to this section, UL 1703 and 2703, which are ANSI consensus standards.  These standard provide the test method for testing panels and mounting systems.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7872

Proponent

Jon Roberts

1505

Section

15

Chapter

Approved as Submitted

Adds guidance by referencing table 501 for building integrated photovoltaic products to ensure that they have the proper fire classification.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8061

Proponent

Greg Keeler

1507.1.1

Section

15

Chapter

Approved as Submitted

Revision of requirements related to synthetic underlayment.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8273

Proponent

Paul Coats

1510.2.5

Section

15

Chapter

Approved as Submitted

This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;

Summary

AS

AM

NAR

I

W

Commission Action

Page 5 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

8291

Proponent

Chadwick Collins

1504

Section

15

Chapter

Approved as Submitted

Updating to match currently applicable standards and references

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8292

Proponent

Chadwick Collins

1505

Section

15

Chapter

Approved as Submitted

Address inconsistency between FBC and FBC-R fire requirements.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8293

Proponent

Chadwick Collins

1507

Section

15

Chapter

Approved as Submitted

Updating language of section to reflect Chapter 2 definition

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8294

Proponent

Chadwick Collins

1507

Section

15

Chapter

Approved as Submitted

Clarifies practice and prescriptive requirements

Summary

AS

AM

NAR

I

W

Commission Action

Page 6 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

8397

Proponent

Michael Fischer

1503.1

Section

15

Chapter

Approved as Submitted

Editorial Change to general requirements

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8399

Proponent

Michael Fischer

1504.7

Section

15

Chapter

Approved as Submitted

Removes withdrawn referenced standards.

Summary

AS

AM

NAR

I

W

Commission Action

35-Referenced Standards

Mod #

7366

Proponent

Michael Silvers (FRSA)

35

Section

35

Chapter

Approved as Submitted

This modification updates Referenced Standards: FRSA/TRI Florida High Wind Concrete and Clay Roof Tile Installation Manual from the Fifth to the Sixth Edition.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7843

Proponent

Gaspar Rodriguez

35

Section

35

Chapter

Approved as Submitted

Add ASTM E2140-01, Standard Test Method for Water Penetration  of Metal Roof Panel Systems by Static Water Pressure Head.

Summary

AS

AM

NAR

I

W

Commission Action

Page 7 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

8301

Proponent

Chadwick Collins

1

Section

35

Chapter

Approved as Submitted

Update referenced standard

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8303

Proponent

Chadwick Collins

1

Section

35

Chapter

Approved as Submitted

Update referenced standard

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Existing Building

Ü

2-Definitions

Mod #

7312

Proponent

Michael Silvers (FRSA)

202

Section

2

Chapter

Approved as Submitted

The modification adds the definition of &quot;Positive Roof Drainage&quot; to the Existing Sub Code Chapter 2 which is currently only in the Building Code Chapter 2. The term only applies to existing buildings.

Summary

AS

AM

NAR

I

W

Commission Action

7-Alterations - Level 1

Mod #

7314

Proponent

Michael Silvers (FRSA)

706

Section

7

Chapter

Approved as Submitted

This modification adds language to clarify that salvaged slate, clay and concrete roof tile of a like kind can be used in certain applications.

Summary

AS

AM

NAR

I

W

Commission Action

Page 8 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7960

Proponent

Gaspar Rodriguez

707.3.2

Section

7

Chapter

Approved as Submitted

Resolves the issue of a routine maintenance activity (i.e. reroofing) establishing a burdensome requirement that is contemplated in Chapter 9 of the Florida Building Code Existing Building, when an Alteration Level Three is reached.

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Residential

Ü

2-Definitions

Mod #

8177

Proponent

Ann Russo1

202

Section

2

Chapter

Approved as Submitted

Add definition to the building-integrated photovoltaic roof panel

Summary

AS

AM

NAR

I

W

Commission Action

9-Roof Assemblies

Mod #

7347

Proponent

Bryan Holland

907

Section

9

Chapter

Approved as Submitted

This proposed modification deletes unneeded &quot;reserved&quot; sections and adds pointers to other applicable rules or standards related to solar energy systems.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7348

Proponent

Bryan Holland

909

Section

9

Chapter

Approved as Submitted

This proposed modification deletes R909 as it is no longer needed with the updated information in R324 (Mod 7345) and R907 (Mod 7347).

Summary

AS

AM

NAR

I

W

Commission Action

Page 9 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7353

Proponent

Michael Silvers (FRSA)

905.3

Section

9

Chapter

Approved as Submitted

This modification updates Referenced Standard: FRSA/TRI High Wind Concrete and Clay Roof Tile Manual from the Fifth to the Sixth Edition

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7426

Proponent

T Stafford

905.17.1

Section

9

Chapter

Approved as Submitted

Correlates the wind loading requirements in the code for rooftop PV with ASCE 7-16.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7571

Proponent

Michael Silvers (FRSA)

905

Section

9

Chapter

Approved as Submitted

This modification adds an exception to underlayment attachment that provides for an existing self-adhering membrane to act as a secondary water barrier similar to the 4&quot; wide strip in the current exception.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7665

Proponent

Greg Keeler

905.1.1

Section

9

Chapter

Approved as Submitted

This proposal clarifies requirements related to use of synthetic underlayment.

Summary

AS

AM

NAR

I

W

Commission Action

Page 10 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7730

Proponent

Ann Russo1

905.15.3

Section

9

Chapter

Approved as Submitted

Add necessary language for the application of roof coatings.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7782

Proponent

Scott McAdam

905.8.5

Section

9

Chapter

Approved as Submitted

The existing text was outdated, requiring clarification and updates to current AWPA section numbering.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7806

Proponent

Scott McAdam

906.2

Section

9

Chapter

Approved as Submitted

This proposal will add reference to the appropriate ASTM Standard specification for mineral wool roof insulation and make Table R906.2 consistent with IBC Table 1508.2.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7865

Proponent

Jon Roberts

902

Section

9

Chapter

Approved as Submitted

This proposal adds a section to the code related to rooftop mounted photovoltaic panel systems.  It requires rooftop mounted panel systems to be listed and identified with a fire classification in accordance with UL 1703 and UL 2703.

Summary

AS

AM

NAR

I

W

Commission Action

Page 11 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

8288

Proponent

Chadwick Collins

905

Section

9

Chapter

Approved as Submitted

Update to meet intent of code definition

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8290

Proponent

Chadwick Collins

905

Section

9

Chapter

Approved as Submitted

Clarifies practice and prescriptive requirements

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8400

Proponent

Michael Fischer

905.11.2

Section

9

Chapter

Approved as Submitted

Removes withdrawn standards

Summary

AS

AM

NAR

I

W

Commission Action

2712-Reference Standards

Mod #

7367

Proponent

Michael Silvers (FRSA)

46

Section

2712

Chapter

Approved as Submitted

This modification updates Referenced Standards: FRSA/TRI Florida High Wind Concrete and Clay Roof Tile Installation Manual from the Fifth to the Sixth Edition.

Summary

AS

AM

NAR

I

W

Commission Action

Page 12 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7808

Proponent

Scott McAdam

906.2

Section

2712

Chapter

Approved as Submitted

This proposal will add reference to the appropriate ASTM C726 Standard specification for mineral wool roof insulation and make Table R906.2 consistent with IBC Table 1508.2.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8302

Proponent

Chadwick Collins

1

Section

2712

Chapter

Approved as Submitted

Update referenced standard

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8305

Proponent

Chadwick Collins

1

Section

2712

Chapter

Approved as Submitted

Update referenced standard

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Test Protocols

Ü

RAS-111

Mod #

7191

Proponent

Michael Goolsby

RAS 111

Section

1

Chapter

Approved as Submitted

Establish consistency with ASCE 7-16, update preservative standard and clarify Table 2 requirements.

Summary

AS

AM

NAR

I

W

Commission Action

RAS-115

Page 13 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7349

Proponent

Gaspar Rodriguez

RAS 115

Section

1

Chapter

Approved as Submitted

Add language to more correctly reflect code requirements for recently approved products.

Summary

AS

AM

NAR

I

W

Commission Action

RAS-117

Mod #

7297

Proponent

Jorge Acebo

RAS 117

Section

1

Chapter

Approved as Submitted

Clarifies how tapered insulation should be used when substituting standard insulation.

Summary

AS

AM

NAR

I

W

Commission Action

RAS-118

Mod #

7198

Proponent

Michael Goolsby

RAS 118

Section

1

Chapter

Approved as Submitted

Update standard for treated wood and clarify coastal building zone.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7351

Proponent

Gaspar Rodriguez

RAS 118

Section

1

Chapter

Approved as Submitted

Indicate the minimum requirements for height vent pipes, need to extend above roof.

Summary

AS

AM

NAR

I

W

Commission Action

RAS-119

Page 14 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7200

Proponent

Michael Goolsby

RAS 119

Section

1

Chapter

Approved as Submitted

Update standard for treated wood and clarify coastal building zone.

Summary

AS

AM

NAR

I

W

Commission Action

RAS-120

Mod #

7201

Proponent

Michael Goolsby

RAS 120

Section

1

Chapter

Approved as Submitted

Update standard for treated wood and clarify coastal building zone.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7592

Proponent

Gaspar Rodriguez

RAS 120

Section

1

Chapter

Approved as Submitted

Clearly indicate current code requirements, specifically back-nailing of underlayment and minimum height of vent pipes.

Summary

AS

AM

NAR

I

W

Commission Action

RAS-130

Mod #

7384

Proponent

Michael Goolsby

RAS 130

Section

1

Chapter

Approved as Submitted

Establish consistency with industry standard for installation of wood shingles and wood shakes.

Summary

AS

AM

NAR

I

W

Commission Action

TAS-104

Page 15 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

8283

Proponent

Chadwick Collins

TAS 104

Section

1

Chapter

Approved as Submitted

HVHZ roofing updates

Summary

AS

AM

NAR

I

W

Commission Action

TAS-105

Mod #

7184

Proponent

Michael Goolsby

TAS 105

Section

1

Chapter

Approved as Submitted

Establish consistency with ASCE 7-16.

Summary

AS

AM

NAR

I

W

Commission Action

TAS-110

Mod #

7299

Proponent

Jorge Acebo

TAS 110

Section

1

Chapter

Approved as Submitted

Specifies Testing Labs must verify manufacturing location of tested products.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7303

Proponent

Jorge Acebo

TAS 110

Section

1

Chapter

Approved as Submitted

Modifies Table 9 footnote in Section 9 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.

Summary

AS

AM

NAR

I

W

Commission Action

Page 16 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7304

Proponent

Jorge Acebo

TAS 110

Section

1

Chapter

Approved as Submitted

Modifies Table 10 footnote in Section 10 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7305

Proponent

Jorge Acebo

TAS 110

Section

1

Chapter

Approved as Submitted

Modifies Table 11(A) and 11(B) footnote 3 in Section 11 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7306

Proponent

Jorge Acebo

TAS 110

Section

1

Chapter

Approved as Submitted

Modifies Table 17 footnote in Section 17 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7439

Proponent

Gaspar Rodriguez

TAS 110

Section

1

Chapter

Approved as Submitted

Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.

Summary

AS

AM

NAR

I

W

Commission Action

TAS-114

Page 17 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Approved as Submitted

TAC:

Roofing

66

Mod #

7308

Proponent

Jorge Acebo

TAS 114

Section

1

Chapter

Approved as Submitted

Modifies TAS 114 Appendix D uplift test over steel substrates.

Summary

AS

AM

NAR

I

W

Commission Action

TAS-124

Mod #

7183

Proponent

Michael Goolsby

TAS 124

Section

1

Chapter

Approved as Submitted

Clarification of uplift testing requirements and reporting.

Summary

AS

AM

NAR

I

W

Commission Action

No Affirmative Recommendation

TAC Recommendation

Total Mods for  Roofing in  No Affirmative Recommendation

TAC:

Roofing

8

SubCode:

Building

Ü

15-Roof Assemblies and Rooftop Structures

Mod #

7830

Proponent

Michael Silvers (FRSA)

1504

Section

15

Chapter

No Affirmative Recommendation

This modification moves ASCE 7 as it applies to roof coverings from Chapter 16 to Chapter 15

Summary

AS

AM

NAR

I

W

Commission Action

Page 18 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  No Affirmative Recommendation

TAC:

Roofing

8

Mod #

8063

Proponent

Greg Keeler

1507.1.1

Section

15

Chapter

No Affirmative Recommendation

Modifies table to include placeholder for proposed ASTM Polymeeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8080

Proponent

T Stafford

1507.3

Section

15

Chapter

No Affirmative Recommendation

Revises the roof tile section to clarify that wind loads on tile have to comply with ASCE 7-16.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8295

Proponent

Chadwick Collins

1516

Section

15

Chapter

No Affirmative Recommendation

Alignment of fire classification between HVHZ and non-HVHZ (Section 1505)

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Existing Building

Ü

7-Alterations - Level 1

Mod #

7581

Proponent

Michael Silvers (FRSA)

707

Section

7

Chapter

No Affirmative Recommendation

This modification changes the trigger from &quot;where roofing materials are removed from more than 50% of the roof diaphragm&quot; to a recognized trigger using a specific accumulated value of proposed work as a ratio of the value of the structure.

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Residential

Ü

9-Roof Assemblies

Page 19 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  No Affirmative Recommendation

TAC:

Roofing

8

Mod #

8060

Proponent

Greg Keeler

905.1.1

Section

9

Chapter

No Affirmative Recommendation

Placeholder for proposed ASTM Polymeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8062

Proponent

Greg Keeler

905.1.1

Section

9

Chapter

No Affirmative Recommendation

Modifies table to include placeholder for proposed ASTM Polymeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8077

Proponent

T Stafford

905.3

Section

9

Chapter

No Affirmative Recommendation

Revises the roof tile section to clarify that wind loads on tile have to comply with ASCE 7-16.

Summary

AS

AM

NAR

I

W

Commission Action

Withdrawn

TAC Recommendation

Total Mods for  Roofing in  Withdrawn

TAC:

Roofing

2

SubCode:

Building

Ü

15-Roof Assemblies and Rooftop Structures

Mod #

8164

Proponent

Ann Russo5

1507.2.7.1

Section

15

Chapter

Withdrawn

The proposal expands the definition of roofing beyond recognizing metal roof singles

Summary

AS

AM

NAR

I

W

Commission Action

Page 20 of 20

6/3/2019

Roofing

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  76

Total Mods for  Roofing in  Withdrawn

TAC:

Roofing

2

SubCode:

Test Protocols

Ü

1-114

Mod #

8300

Proponent

Chadwick Collins

TAS 114

Section

1

Chapter

Withdrawn

HVHZ roofing updates

Summary

AS

AM

NAR

I

W

Commission Action

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

R

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived:

Search Criteria