Page 1 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Pending Review
TAC Recommendation
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
SubCode:
Building
Ü
2-Definitions
Mod #
 8635 
Proponent
202
Section
2
Chapter
Pending Review
This proposal adds the relevant sections currently found in the IPC to the IBC.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
P38-18 Part I
CC #
Staff Classication
12-Interior Environment
Mod #
 9442 
Proponent
1209.3
Section
12
Chapter
Pending Review
Modifies text of 1209.3 &quot;Privacy&quot;, updating the sections provisions to address privacy.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
G132-18
CC #
Staff Classication
Section
1209.3.1
 9443 
Chapter
Mod #
Adds new Section 1209.3.1.1 &quot;Water closet compartment size&quot;. This proposal is bringing language from the IPC into the IBC where designers that utilize the IBC can find this information more readily.
12
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
G133-18
Staff Classication
Correlates Directly
23-Wood

Page 2 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9624 
Proponent
2308.5.9
Section
23
Chapter
Pending Review
The current text uses the word width, when actually it is the depth that is meant.  The depth of a stud is the plane in which a hole is bored. This revision also gets rid of unenforceable permissive language.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
S184 Part I
CC #
Staff Classication
35-Referenced Standards
Section
101
 9124 
Chapter
Mod #
Updates Referenced standards
35
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
ADM47-16
Staff Classication
Correlates Directly
SubCode:
Existing Building
Ü
8-Alterations - Level 2
Mod #
 9688 
Proponent
809
Section
8
Chapter
Pending Review
Relocating code section 809 as an exception under the change of occupancy reduces confusion about what is or is not a change of occupancy
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB92-19
CC #
Staff Classication
10-Change of Occupancy

Page 3 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9694 
Proponent
1009.5
Section
10
Chapter
Pending Review
The International Plumbing Code includes medical gas system requirements which are important to comply in many I-2 occupancies.  The International Plumbing code provides guidance for medical gas systems to comply with federal guidelines (K903).
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB100-19
CC #
Staff Classication
14-Performance Compliance Methods
Mod #
 9709 
Proponent
1301.2
Section
14
Chapter
Pending Review
Currently there does not appear to be a code path, within the performance compliance method, to require additional plumbing facilities or fixtures for buildings undergoing alterations, additions, and changes in occupancy, where the occupant load is increased
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
EB116-19
CC #
Staff Classication
SubCode:
Fuel Gas
Ü
1-Scope and Administration
Mod #
 9766 
Proponent
303.3.1
Section
1
Chapter
Pending Review
Modifications to IFGS that are not covered by ICC Code change mods.  Chapter 3.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FGX1-2021
CC #
Staff Classication

Page 4 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9767 
Proponent
402.2
Section
1
Chapter
Pending Review
Correlation with the NFPA 54.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FGX2 2021
CC #
Staff Classication
2-Definitions
Mod #
 8456 
Proponent
202
Section
2
Chapter
Pending Review
Adds Definition of &quot;Copper Alloy&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P1-18 Part IV
CC #
Staff Classication
Mod #
 9448 
Proponent
202
Section
2
Chapter
Pending Review
Adds new definition &quot;Service meter Assembly.&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG2-18
CC #
Staff Classication

Page 5 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9451 
Proponent
202
Section
2
Chapter
Pending Review
Adds new definition of &quot;System Shutoff.&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG3-18
CC #
Staff Classication
Mod #
 9456 
Proponent
202
Section
2
Chapter
Pending Review
Adds the definition of &quot;Service Shutoff.&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG4-18
CC #
Staff Classication
Mod #
 9457 
Proponent
202
Section
2
Chapter
Pending Review
revises the definition of &quot;Regulator Monitoring&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG6-18
CC #
Staff Classication

Page 6 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9458 
Proponent
202
Section
2
Chapter
Pending Review
Revises the definition of &quot;Point of Delivery.&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG7-18
CC #
Staff Classication
Mod #
 9459 
Proponent
202
Section
2
Chapter
Pending Review
Adds the definition of &quot;Press-Connect Joint.&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG8-18
CC #
Staff Classication
3-General Regulations
Mod #
 9460 
Proponent
307.2
Section
3
Chapter
Pending Review
Revises the section to require the termination of concealed condensate piping tobe marked to indicate that the piping is connected to the primary drain or to the secondary drain
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG11-18
CC #
Staff Classication

Page 7 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9790 
Proponent
303.3.1
Section
3
Chapter
Pending Review
This change adds a requirement for quick response sprinkler heads within the smoke compartment where gas fireplace appliances and decorative gas appliances are installed in all Group I-2 facilities (K524).
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F122-18 Part II
CC #
Staff Classication
4-Gas Piping Installations
Section
401.5
 9474 
Chapter
Mod #
CSST exposed piping shall be labeled &quot;Gas&quot; unless the appliance it serves is in the same room
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FG12-18
Staff Classication
Correlates Directly
Mod #
 9479 
Proponent
404.5
Section
4
Chapter
Pending Review
Revised to allow couplings, caps and plugs to be installed in concealed locations
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG14-18
CC #
Staff Classication

Page 8 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9484 
Proponent
404.11.5
Section
4
Chapter
Pending Review
Deletes section &quot;404.11.5&quot; without substitution
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG17-18
CC #
Staff Classication
Mod #
 9485 
Proponent
404.18
Section
4
Chapter
Pending Review
Requires piping to be clear of debris
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG18-18
CC #
Staff Classication
Mod #
 9486 
Proponent
411.1
Section
4
Chapter
Pending Review
Adds the standards for quick disconnect devices (ANSI Z21.41/CSA 6.9) and convenience outlets (ANSI Z21.90/CSA 6.24
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG21-18
CC #
Staff Classication

Page 9 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9491 
Proponent
413
Section
4
Chapter
Pending Review
revises section 413.4 and renumbers sections 413.2.4- 413.10.2.5
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG22-18
CC #
Staff Classication
5-Chimneys and Vents
Mod #
 9768 
Proponent
503.2.3
Section
5
Chapter
Pending Review
Correlation with NFPA 54.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FGX3 2021
CC #
Staff Classication
6-Specific Appliances
Mod #
 9499 
Proponent
602
Section
6
Chapter
Pending Review
Requires  appliances to be listed by an organization acceptable to the code official.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG23-18
CC #
Staff Classication

Page 10 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9500 
Proponent
611.2
Section
6
Chapter
Pending Review
Revises the section to coordinate the 2018 National Fuel Gas Code.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG24-18
CC #
Staff Classication
Mod #
 9501 
Proponent
612.2
Section
6
Chapter
Pending Review
Revises the section to coordinate with the 2018 National Fuel Gas Code
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG25-18
CC #
Staff Classication
Mod #
 9502 
Proponent
614.6
Section
6
Chapter
Pending Review
Adds new section &quot;Closet Installation&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG26-18
CC #
Staff Classication

Page 11 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9503 
Proponent
623.2
Section
6
Chapter
Pending Review
Removes exception 2
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FG28-18
CC #
Staff Classication
Mod #
 9769 
Proponent
614.4.1
Section
6
Chapter
Pending Review
Correlation with NFPA 54.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
FGX6 2021
CC #
Staff Classication
SubCode:
Plumbing
Ü
2-Definitions
Mod #
 8438 
Proponent
202
Section
2
Chapter
Pending Review
The definition for water dispenser is being revised as it creates potential confusion and makes the provisions in Section
410.4 unenforceable.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P3-18
CC #
Staff Classication

Page 12 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8531 
Proponent
202
Section
2
Chapter
Pending Review
Modifies definitions of &quot;Public or Public Utilization&quot; and &quot;Private.&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P2-18
CC #
Staff Classication
Mod #
 8543 
Proponent
202
Section
2
Chapter
Pending Review
Adds new definition of &quot;Copper Alloy&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P1-18 Part I
CC #
Staff Classication
Mod #
 8770 
Proponent
202
Section
2
Chapter
Pending Review
Adds the definition of &quot;Push-fit Fitting&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P89-18 Part I
CC #
Staff Classication
3-General Regulations

Page 13 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8473 
Proponent
308.2
Section
3
Chapter
Pending Review
The added text clarifies the IBC location where specific seismic requirements are defined
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P5-18
CC #
Staff Classication
Mod #
 8481 
Proponent
308.9
Section
3
Chapter
Pending Review
This proposal points to the correct section of the code for specific insulation requirements for all piping.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P9-18
CC #
Staff Classication
Mod #
 8495 
Proponent
312.10.2
Section
3
Chapter
Pending Review
Adds a new compliance standard for testing backflow devices
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P12-18
CC #
Staff Classication
4-Fixtures, Faucets and Fixture Fittings

Page 14 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8497 
Proponent
403.1.1
Section
4
Chapter
Pending Review
This proposal will permit designers to design gender specific facilities using either the men or women category
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P14-18
CC #
Staff Classication
Mod #
 8503 
Proponent
403.1.1
Section
4
Chapter
Pending Review
This mod allows for the design of facilities that are available to those needing assistance by other assistants that are of an opposite gender without causing any discomfort by anyone.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P15-18
CC #
Staff Classication
Mod #
 8544 
Proponent
403.1.2
Section
4
Chapter
Pending Review
This proposal merely clarifies some of the ambiguous language in a previous change adopted by the Membership in the last code cycle.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P16-18
CC #
Staff Classication

Page 15 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8547 
Proponent
403.3.1
Section
4
Chapter
Pending Review
The proposal will eliminate possible conflicts between the IPC and accessibility requirements.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P19-18
CC #
Staff Classication
Mod #
 8554 
Proponent
403.3.3
Section
4
Chapter
Pending Review
This code change adds an additional exception for employee toilet facilities in factory and other industrial occupancies when approved by the code official.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P21-18
CC #
Staff Classication
Mod #
 8589 
Proponent
403.6
Section
4
Chapter
Pending Review
Adds new requirement for service sinks to be located within 300 feet of the most remote location in a tenant space
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P23-18
CC #
Staff Classication

Page 16 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8590 
Proponent
404.1
Section
4
Chapter
Pending Review
Modifies section 404.2 to provide clarity that accessible plumbing fixtures shall be provided in accordance with  ICC A117.1
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P24-18
CC #
Staff Classication
Mod #
 8596 
Proponent
405.3.1
Section
4
Chapter
Pending Review
This code change proposal clarifies that lavatories must be installed to meet the 15 inch separation from the center of the fixture to any obstruction.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P27-18
CC #
Staff Classication
Mod #
 8611 
Proponent
405.4.3
Section
4
Chapter
Pending Review
Adds an optional type of carrier that can be used for securing a water closet bowl to a wall.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P30-18
CC #
Staff Classication

Page 17 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8612 
Proponent
407.2
Section
4
Chapter
Pending Review
This proposal will coordinate the IRC requirements and IPC requirements for outlets from tubs.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P31-18
CC #
Staff Classication
Mod #
 8616 
Proponent
404.3
Section
4
Chapter
Pending Review
Adds new standard that  has been developed specifically for insulating covers over water supply pipes and drain piping under accessible lavatories.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
P25-18
CC #
Staff Classication
Mod #
 8620 
Proponent
408.1
Section
4
Chapter
Pending Review
The additional standard addresses stainless steel plumbing fixtures.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P32-18
CC #
Staff Classication

Page 18 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8622 
Proponent
408.3
Section
4
Chapter
Pending Review
Removes a referenced standard from the code section.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P33-18 Part I
CC #
Staff Classication
Mod #
 8632 
Proponent
410.1
Section
4
Chapter
Pending Review
Add an additional standard to provide more flexibility in choice of fixtures.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P36-18
CC #
Staff Classication
Mod #
 8641 
Proponent
410.3
Section
4
Chapter
Pending Review
This proposal adds the relevant sections currently found in IBC to IPC.

The proposed changes are accessibility code changes which fall outside the scope of this process.
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
P38-18 Part II
CC #
Staff Classication

Page 19 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8643 
Proponent
410.4
Section
4
Chapter
Pending Review
Allows up to 50% of required drinking fountains to be substituted with water dispensers, which could be water bottle fillers or bottled water.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P39-18
CC #
Staff Classication
Mod #
 8656 
Proponent
411.3
Section
4
Chapter
Pending Review
Adds the new standard ASSE 1085 for water heaters for emergency equipment.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P42-18
CC #
Staff Classication
Mod #
 8657 
Proponent
412.3
Section
4
Chapter
Pending Review
Revises sections to be specific about actually requiring field adjustment of the temperature limiting devices to a not-to-exceed temperature.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P44-18 Part I
CC #
Staff Classication

Page 20 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8665 
Proponent
412.3
Section
4
Chapter
Pending Review
Revises the sections to call for the installation of showerheads and shower mixing valves that are compatible, rather than calling for the installation of a particular showerhead or shower control valve
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P46-18 Part I
CC #
Staff Classication
Mod #
 8671 
Proponent
412.5
Section
4
Chapter
Pending Review
Removes the referenced standard CSA B125.3
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P47-18 Part I
CC #
Staff Classication
Mod #
 8673 
Proponent
412.5
Section
4
Chapter
Pending Review
Adds new standards ASSE 1082 and 1084
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P48-18 Part I
CC #
Staff Classication

Page 21 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8674 
Proponent
412.10
Section
4
Chapter
Pending Review
Adds new standards ASSE 1084 and 1082
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P51-18
CC #
Staff Classication
Mod #
 8675 
Proponent
412.11
Section
4
Chapter
Pending Review
Adds new section on Pre-rinse spray valves.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P52-18
CC #
Staff Classication
Mod #
 8676 
Proponent
416.1
Section
4
Chapter
Pending Review
Requires commercial food waste disposers to be listed and labeled in accordance with UL 430
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P54-18
CC #
Staff Classication

Page 22 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8677 
Proponent
202
Section
4
Chapter
Pending Review
Adds definition of &quot;group wash fixture&quot; and clarifies the current code requirements
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P55-18
CC #
Staff Classication
Section
419.5
 8678 
Chapter
Mod #
Removes the standard CSA B125.3
4
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
P57-18
Staff Classication
Overlap
Mod #
 8680 
Proponent
421.1
Section
4
Chapter
Pending Review
Adds new standards to section 421.1
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P62-18
CC #
Staff Classication

Page 23 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8681 
Proponent
421.3.1
Section
4
Chapter
Pending Review
Adds new section 421.3.1 &quot;Waste Fittings&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P63-18 Part I
CC #
Staff Classication
Mod #
 8683 
Proponent
423.3
Section
4
Chapter
Pending Review
Adds new standards ASSE 1084 an ASSE 1082
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P66-18
CC #
Staff Classication
Mod #
 8685 
Proponent
423.3
Section
4
Chapter
Pending Review
Removes the standard CSA B125.3  from the section
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P67-18
CC #
Staff Classication

Page 24 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8973 
Proponent
425.1
Section
4
Chapter
Pending Review
This proposal revises Section 425.1 so that it is more user friendly. Adding specific requirements to the IPC will assist the end user to know which standards apply to what fixture
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P68-18
CC #
Staff Classication
Mod #
 9276 
Proponent
404.1
Section
4
Chapter
Pending Review
Revises Section 404.3 to correlate conflicting actions related to P24-18 and P25-18.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CCC P1-20
CC #
Staff Classication
5-Water Heaters
Mod #
 8727 
Proponent
501.2
Section
5
Chapter
Pending Review
Revises the code section in the IPC to refer to the IMC for combination water heating/space heating units.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P69-18
CC #
Staff Classication

Page 25 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8729 
Proponent
501.2
Section
5
Chapter
Pending Review
This modification is editorial in nature as it is simply making the terminology (for the same component), consistent everywhere it is used in the code.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P71-18 Part I
CC #
Staff Classication
6-Water Supply and Distribution
Mod #
 8732 
Proponent
602.3.5
Section
6
Chapter
Pending Review
Revises the section to require pumps to meet requirements of NSF 61
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P77-18 Part I
CC #
Staff Classication
Mod #
 8758 
Proponent
605.3
Section
6
Chapter
Pending Review
Adds another standard for stainless steel piping
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P83-18
CC #
Staff Classication

Page 26 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8759 
Proponent
605.3
Section
6
Chapter
Pending Review
Adds a new standard for copper alloy piping
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P84-18
CC #
Staff Classication
Mod #
 8760 
Proponent
605.5
Section
6
Chapter
Pending Review
Adds new standard for pipe fittings to the chart
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P86-18
CC #
Staff Classication
Mod #
 8763 
Proponent
605.12
Section
6
Chapter
Pending Review
Requires conformance to NSF 61 for Solder and flux for joining pipe or fittings
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P88-18 Part I
CC #
Staff Classication

Page 27 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8774 
Proponent
606.1
Section
6
Chapter
Pending Review
Requires a shutoff valve in multiple tenant buldings for each tenant
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P91-18
CC #
Staff Classication
Mod #
 8778 
Proponent
606.7
Section
6
Chapter
Pending Review
Deletes without substitution section 606.7
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P93-18
CC #
Staff Classication
Mod #
 8780 
Proponent
607.1.1
Section
6
Chapter
Pending Review
Adds 3 new water heater standards
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P96-18
CC #
Staff Classication

Page 28 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8781 
Proponent
608.1
Section
6
Chapter
Pending Review
Adds new standard ASSE 1081 to the table
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P97-18 Part I
CC #
Staff Classication
Mod #
 8797 
Proponent
608.15.2.1
Section
6
Chapter
Pending Review
Revises the section to reflect the indirect waste receptor and drainage piping shall be sized to drain the maximum discharge flow rate from the relief port as published by the backflow preventer manufacturer.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P98-18 Part I
CC #
Staff Classication
Mod #
 8799 
Proponent
609.2
Section
6
Chapter
Pending Review
The proposed language sets specific requirements for the service lines into the building, with directions for capacity redundancy.  Also clarifies a design configuration that provides maximum flexibility in event of failure of a single service line.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P100-18
CC #
Staff Classication

Page 29 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8800 
Proponent
609.2.1
Section
6
Chapter
Pending Review
Adds new section 609.2.1 &quot;Tracer&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P101-18
CC #
Staff Classication
7-Sanitary Drainage
Mod #
 8801 
Proponent
702.3
Section
7
Chapter
Pending Review
Adds new standard ASTM D2680 to the table
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P103-18 Part I
CC #
Staff Classication
Mod #
 8803 
Proponent
705.2.4
Section
7
Chapter
Pending Review
Adds new standard for ASME A112.4.4 to table 702.4
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P105-18
CC #
Staff Classication

Page 30 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8807 
Proponent
702.4
Section
7
Chapter
Pending Review
Adds new standard ASME A112.4.4
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P108-18
CC #
Staff Classication
Mod #
 8814 
Proponent
708.1
Section
7
Chapter
Pending Review
Adds new section to include new cleanout equivalents
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P113-18 Part I
CC #
Staff Classication
Mod #
 8817 
Proponent
717
Section
7
Chapter
Pending Review
Adds new sections and standard code references for all the technologies currently available to the reline piping
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P115-18 Part I
CC #
Staff Classication

Page 31 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8820 
Proponent
717
Section
7
Chapter
Pending Review
Adds new section 717 &quot;Building Sewer and Sewer Service Lateral Rehabilitation&quot; and new ASTM standards
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P116-18
CC #
Staff Classication
Mod #
 9153 
Proponent
705.2.1
Section
7
Chapter
Pending Review
Correlates the ABS and PVC sections
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
CCC-P1-18
CC #
Staff Classication
9-Vents
Mod #
 8822 
Proponent
903.1
Section
9
Chapter
Pending Review
The proposed change reorganizes vent terminal requirements
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P117-18
CC #
Staff Classication

Page 32 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8827 
Proponent
915.1
Section
9
Chapter
Pending Review
Revises the section to reflect vent systems not receiving the discharge from a food waste disposer or clinical sink.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P118-18
CC #
Staff Classication
10-Traps, Interceptors and Separators
Mod #
 8830 
Proponent
1002.1
Section
10
Chapter
Pending Review
Revises the section to correct an error in the code that has been present since the change was made to section 802.1.7 requiring that utensil/pot/pan sinks to be indirectly connected.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P120-18
CC #
Staff Classication
Mod #
 8834 
Proponent
1002.4.1.5
Section
10
Chapter
Pending Review
Adds a new section to provide an alternate method of providing trap seal protection
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P122-18
CC #
Staff Classication
11-Storm Drainage

Page 33 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8837 
Proponent
1102.6
Section
11
Chapter
Pending Review
Adds new standard ASPE/IAPMO Z1034 for roof drains.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P126-18
CC #
Staff Classication
Mod #
 8840 
Proponent
1106.2
Section
11
Chapter
Pending Review
This code change simply adds a calculation from SF to GPM.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P129-18
CC #
Staff Classication
12-Special Piping and Storage Systems
Mod #
 9835 
Proponent
1202.1
Section
12
Chapter
Pending Review
: This change clarifies that the application of NFPA 99 includes the use, testing and labeling of medical gas systems and equipment (K909, K924 and K928).
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
F297-18 Part II
CC #
Staff Classication
13-Non Potable Water Systems

Page 34 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8842 
Proponent
1301.1
Section
13
Chapter
Pending Review
This proposal adds the CSA B805/ICC 805 Standard as an alternate compliance path for rainwater to be used in nonpotable applications.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P131-18 Part I
CC #
Staff Classication
14-Subsurface Landscape Irrigation Systems
Mod #
 8847 
Proponent
1401.1
Section
14
Chapter
Pending Review
The proposed changes only better identify the name of the chapter and do not include any technical changes

Chapter 14 of the 2020 FBC - Plumbing is Reserved
Summary

AS
AS/IC
Overlap

D

D/IC
TAC  Action

Mo Madani
P133-18 Part I
CC #
Staff Classication
SubCode:
Residential
Ü
2-Definitions
Section
202
 8459 
Chapter
Mod #
By adding the text from the cleanout definition in the International Plumbing Code will not only add clarity by adding the types of cleanouts into the definition in International Residential Code, but will also maintain consistency between the two code definitions.
2
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RB4-18
Staff Classication
Correlates Directly

Page 35 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8679 
Proponent
202
Section
2
Chapter
Pending Review
Correlates the IRC-P with the proposed changes to the IPC for the dividing line between hot and tempered water.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P58-18 Part II
CC #
Staff Classication
Mod #
 8773 
Proponent
202
Section
2
Chapter
Pending Review
Adds new definition of &quot;Push-fit Fitting&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P89-18 Part II
CC #
Staff Classication
3-Building Planning
Section
313
 9773 
Chapter
Mod #
Across the I codes there are varying ways to describe an automatic sprinkler system. This proposal correlates several of the I codes to use the defined term of automatic sprinkler system.
3
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
F14-18 Part II
Staff Classication
Overlap
24-Fuel Gas

Page 36 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Section
2407
 9771 
Chapter
Mod #
Correlation with NFPA 54.
24
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
FGX7 2021
Staff Classication
Correlates Directly
25-Plumbing Administration
Section
2503.5.1
 8490 
Chapter
Mod #
Adds another option for testing testing plastic piping systems when the ambient temperatures are below freezing.
25
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
P11-18 Part II
Staff Classication
Correlates Directly
Section
2503.5.1
 9385 
Chapter
Mod #
Corrects the conflict between the air and water test within the IRC requirements
25
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RP2-18
Staff Classication
Correlates Directly
27-Plumbing Fixtures

Page 37 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8625 
Proponent
2721.2
Section
27
Chapter
Pending Review
The proposed code change removes a referenced standard from the code section.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P33-18 Part II
CC #
Staff Classication
Mod #
 8660 
Proponent
2708.4
Section
27
Chapter
Pending Review
Updates the sections to recognize some newer designs of tub valves that have integral water temperature limiting devices that comply with ASSE 1070/ASME A112.1070/CSA B125.70.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P44-18 Part II
CC #
Staff Classication
Mod #
 8667 
Proponent
2708.4
Section
27
Chapter
Pending Review
Revises the section to reflect Shower control valves being rated for the flow rate of the installed showerhead.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P46-18 Part II
CC #
Staff Classication

Page 38 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8672 
Proponent
2713.3
Section
27
Chapter
Pending Review
Removes the standard CSA B125.3
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P47-18 Part II
CC #
Staff Classication
Mod #
 8682 
Proponent
2708.2.1
Section
27
Chapter
Pending Review
Adds new section P2708.2.1 &quot;Waste fittings&quot;
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P63-18 Part II
CC #
Staff Classication
Mod #
 9386 
Proponent
2709.4.1
Section
27
Chapter
Pending Review
Requires flanged drains to conform to ASME A112.18.2/CSA B125.2.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RP4-18
CC #
Staff Classication
28-Water Heaters

Page 39 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8730 
Proponent
2802.1
Section
28
Chapter
Pending Review
This proposal is almost editorial in nature as it is simply making the terminology (for the same component), consistent everywhere it is used in the code.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P71-18 Part II
CC #
Staff Classication
29-Water Supply and Distribution
Mod #
 8735 
Proponent
2903.3.1
Section
29
Chapter
Pending Review
Requiring pumps intended to supply drinking water to conform to NSF 61.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P77-18 Part II
CC #
Staff Classication
Mod #
 8738 
Proponent
2903.1
Section
29
Chapter
Pending Review
Revises the section to reflect The water service and water distribution systems being designed and seized for peak demand.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P79-18 Part II
CC #
Staff Classication

Page 40 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8761 
Proponent
2906.6
Section
29
Chapter
Pending Review
Adds a new standard to the pipe fittings chart
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P87-18 Part II
CC #
Staff Classication
Mod #
 8766 
Proponent
2906.15
Section
29
Chapter
Pending Review
Requires conformance to NSF 61 for Solder and flux for joining pipe or fittings
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P88-18 Part II
CC #
Staff Classication
Mod #
 8796 
Proponent
2902.3
Section
29
Chapter
Pending Review
Adds new standard ASSE 1081 to table and section
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P97-18 Part II
CC #
Staff Classication

Page 41 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8798 
Proponent
2902.6.3
Section
29
Chapter
Pending Review
Revises the section to reflect the indirect waste receptor and drainage piping shall be sized to drain the maximum discharge flow rate from the relief port as published by the backflow preventer manufacturer.
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P98-18 Part II
CC #
Staff Classication
Mod #
 8843 
Proponent
2912.1
Section
29
Chapter
Pending Review
This proposal adds the CSA B805/ICC 805 Standard as an alternate compliance path for rainwater to be used in nonpotable applications
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P131-18 Part II
CC #
Staff Classication
Mod #
 9389 
Proponent
2904.2.1
Section
29
Chapter
Pending Review
Increases the temperature rating for sprinklers to 225 degrees Fahrenheit
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RP5-18
CC #
Staff Classication

Page 42 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9392 
Proponent
2904.2.3
Section
29
Chapter
Pending Review
Proposal allows an additional alternative to current requirements for freeze protection as an option
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RP6-18
CC #
Staff Classication
Mod #
 9394 
Proponent
2904.3.2
Section
29
Chapter
Pending Review
The proposal adds an allowance to have a master control valve
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RP7-18
CC #
Staff Classication
Section
2904.4
 9398 
Chapter
Mod #
Revises the sprinkler rules to allow for sloped ceilings
29
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RP8-18
Staff Classication
Correlates Directly

Page 43 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9406 
Proponent
2904.6.2
Section
29
Chapter
Pending Review
Revises the water meter table in the IRC to better correlate with the water meter table in NFPA 13D,
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RP9-18
CC #
Staff Classication
Section
2905.3
 9408 
Chapter
Mod #
Adds a new section to limit the hot water supply line length from the source of hot water to the fixtures that require hot or tempered water.
29
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RP10-18
Staff Classication
Overlap
Mod #
 9410 
Proponent
2906.21
Section
29
Chapter
Pending Review
Adds another option for Push-fit joints
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RP11-18
CC #
Staff Classication

Page 44 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 9411 
Proponent
2909.1
Section
29
Chapter
Pending Review
This creates an additional option for water treatment
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
RP12-18
CC #
Staff Classication
30-Sanitary Drainage
Mod #
 8802 
Proponent
3002.2
Section
30
Chapter
Pending Review
Adds ASTM D2680 to table P3002.2
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P103-18 Part II
CC #
Staff Classication
Mod #
 8805 
Proponent
3003.3.4
Section
30
Chapter
Pending Review
Adds new standard ASME A112.4.4 to table P3002.3
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P106-18 Part II
CC #
Staff Classication

Page 45 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Mod #
 8809 
Proponent
3003.9.4
Section
30
Chapter
Pending Review
Adds new Standard ASME A112.4.4 to table P3002.3
Summary

AS
AS/IC
Correlates Directly

D

D/IC
TAC  Action

Mo Madani
P109-18 Part II
CC #
Staff Classication
Section
3005.2.10.1
 8815 
Chapter
Mod #
Adds new section to include new cleanout equivalents
30
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
P113-18 Part II
Staff Classication
Correlates Directly
Section
3011
 8818 
Chapter
Mod #
Adds new sections and standard code references for all the technologies currently available to the reline piping
30
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
P115-18 Part II
Staff Classication
Correlates Directly

Page 46 of 46
8/4/2021
Plumbing
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  137
Total Mods for  Plumbing in  Pending Review
TAC: 
Plumbing
 137
Section
3009
 8862 
Chapter
Mod #
The proposed changes better identifies the content of the chapter from irrigation systems to soil absorption systems. The technical requirements can remain as written.
30
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
P133-18 Part II
Staff Classication
Overlap
3307-Piping Standards for Various Applications
Section
101.1
 9412 
Chapter
Mod #
Adds CSA B137.18 to Table AG101.1
3307
Proponent
TAC  Action
Summary

AS
AS/IC

D
Pending Review

D/IC

Mo Madani
CC #
RP15-18
Staff Classication
Correlates Directly
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria