Page 1 of 4
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  11
Mechanical
Approved as Modified
TAC Recommendation
Mechanical
TAC:
 1
Total Mods for  
Mechanical
in
Approved as Modified
SubCode:
Ü
SubCode:
Residential
19‑Special Appliances‚ Equipment and Systems
Timothy de Carion
Comment
Summary
Proponent
19
This modification will provide new code requirements for the installation of residential stand‑by generators. Current code does not have requirements.
Mod #
 10069
AM/IC
D/IC
D
AM
AS/IC
AS
Commission Action
Approved as Modified
W
Chapter 19
Chapter

 X
Commission Action Consistent with TAC Action – Approved As Modified..  Vote: 13 Yes – 0 No

Section
Approved as Submitted
TAC Recommendation
Mechanical
TAC:
 7
Total Mods for  
Mechanical
in
Approved as Submitted
SubCode:
Ü
SubCode:
Mechanical
3‑General Regulations
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
 X
AS
AS/IC

301.18
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 9996
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 3

Commission Action Consistent with TAC Action – Approved As Submitted..  Vote: 13 Yes – 0 No

5‑Exhaust Systems

Page 2 of 4
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  11
Mechanical
Mechanical
TAC:
 7
Total Mods for  
Mechanical
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
 X
AS
AS/IC

506.3.3
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 9997
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 5

Commission Action Consistent with TAC Action – Approved As Submitted..  Vote: 13 Yes – 0 No

Mod #
Proponent
Rolando Soto
Section
Chapter
Summary
Comment
 X
AS
AS/IC

507.2
This modification will provide an exception to the code requirement for Type 1 hoods (grease) for the installation of solid fuel or combination gas and solid fuel pizza ovens listed for direct venting.
Commission Action
 10381
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 5

Commission Action Consistent with TAC Action – Approved As Submitted..  Vote: 13 Yes – 0 No

9‑Specific Appliances, Fireplaces and Solid Fuel‑burning Equipment
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
 X
AS
AS/IC

908.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 9999
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 9

Commission Action Consistent with TAC Action – Approved As Submitted..  Vote: 13 Yes – 0 No

SubCode:
Ü
SubCode:
Residential
13‑General Mechanical System Requirements

Page 3 of 4
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  11
Mechanical
Mechanical
TAC:
 7
Total Mods for  
Mechanical
in
Approved as Submitted
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
 X
AS
AS/IC

1307.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10024
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 13

Commission Action Consistent with TAC Action – Approved As Submitted..  Vote: 13 Yes – 0 No

22‑Special Piping and Storage Systems
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
 X
AS
AS/IC

2203.5
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10025
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 22

Commission Action Consistent with TAC Action – Approved As Submitted..  Vote: 13 Yes – 0 No

23‑Solar Thermal Energy Systems
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
 X
AS
AS/IC

2301.2.13
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
Commission Action
 10026
AM
AM/IC
D/IC
D
Approved as Submitted
W
Chapter 23

Commission Action Consistent with TAC Action – Approved As Submitted..  Vote: 13 Yes – 0 No

Denied
TAC Recommendation
Mechanical
TAC:
 3
Total Mods for  
Mechanical
in
Denied
SubCode:
Ü
SubCode:
Residential
15‑Exhaust Systems

Page 4 of 4
11/7/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  11
Mechanical
Mechanical
TAC:
 3
Total Mods for  
Mechanical
in
Denied
Mod #
Proponent
Jeff Sonne for FSEC
Section
Chapter
Summary
Comment

AS
AS/IC

1507.3.4
Additional documentation and labeling requirements for whole‑house mechanical ventilation systems.
Commission Action
 10170
AM
AM/IC
D/IC
D
Denied
W
Chapter 15
 X

Commission Action Consistent with TAC Action – Denied..  Vote: 13 Yes – 0 No

Mod #
Proponent
Jeff Sonne for FSEC
Section
Chapter
Summary
Comment

AS
AS/IC

1507.3.5
Test report requirements for whole‑house mechanical ventilation systems.
Commission Action
 10171
AM
AM/IC
D/IC
D
Denied
W
Chapter 15
 X

Commission Action Consistent with TAC Action – Denied..  Vote: 13 Yes – 0 No

Mod #
Proponent
Jeff Sonne for FSEC
Section
Chapter
Summary
Comment

AS
AS/IC

1507.3.6
Failure detection requirements for whole‑house mechanical ventilation systems.
Commission Action
 10173
AM
AM/IC
D/IC
D
Denied
W
Chapter 15
 X

Commission Action Consistent with TAC Action – Denied..  Vote: 13 Yes – 0 No

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
M
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria