|  |  |  |  |
| --- | --- | --- | --- |
| **FIRE**  **TAC ACTION/Votes**  **Local Technical amendments**  **to the**  **2020 7th Edition Florida Building Code** | | | |
|  |  |  |  |
| **JURISDICTION** | **DOCUMENT with TECHNICAL AMENDMENT** | **SUMMARY OF TECHNICAL AMENDMENT** | **TAC ACTION/VOTE** |
|  |  |  |  |
| City of Winter Park | FBC – Building Ch. 9 | **903 Automatic sprinkler systems.** Approved automatic sprinkler systems installed in buildings shall comply with Section 903 of the Florida Building Code and in addition shall meet the following provisions:  903.1Where required  **903.2.13** approved automatic sprinkler systems shall be provided in all buildings in the Commercial (C-2) zoning district as defined in the Land Development Code (Chapter 58) on properties bounded by New York Avenue (on the west), Swoope Avenue (on the east), Knowles Avenue (on the east) and Fairbanks Ave )on the south). | **Belcher to Deny 2nd Schiffer**  **VOTE: 10 Yes – 0 No** |
|  |  |  |  |
| County of  Palm Beach | 2020 FBC  Appendix Q | Local amendment to provide for the adoption of Appendix Q (Tiny Houses) Construction Design Requirements. | **Belcher to Deny 2nd Gerwig**  **VOTE: 10 yes – 0 No** |
|  |  |  |  |