Page 1 of 3
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  7
Code Administration
Pending Review
TAC Recommendation
Code Administration
TAC:
 7
Total Mods for  
Code Administration
in
Pending Review
SubCode:
Ü
SubCode:
Building
1‑Scope and Administration
Seijas Vince
Comment
Summary
Proponent
105.14
The following code modification is presented to provide clarification regarding jurisdiction over the enforcement of the flood provisions of the Florida Building Code and a community’s Floodplain management ordinance.
Mod #
 9986
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

X

Motion:  Gilson Motion to Deny in favor of another mod 2nd Brown

Vote: 6 yes – 0 No

Section
Seijas Vince
Comment
Summary
Proponent
107.6
The following code modification is presented to provide clarification regarding jurisdiction over the enforcement of the flood provisions of the Florida Building Code and a community’s Floodplain management ordinance.
Mod #
 9987
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

X

Motion:  Boyer Motion to Deny based on previous comments 2nd Gilson

Vote: 6 Yes – 0 No

Section
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

101.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10035
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 1

Motion:  O’Connor Motion to Approve As Submitted 2nd Gilson

Vote: 6 Yes – 0 No

Conn Cole FDEM SFMO
Comment
Summary
Proponent
110.3
Clarify the requirement to submit documentation of the elevation to which nonresidential buildings in flood hazard areas may be dry floodproofed.
Mod #
 10265
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

XX

Motion:  O’Connor Motion to Approve As Submitted.  2nd  Morrell

Vote: 6 Yes – 0 No

Section

Page 2 of 3
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  7
Code Administration
Code Administration
TAC:
 7
Total Mods for  
Code Administration
in
Pending Review
Mod #
Proponent
Greg Johnson
Section
Chapter
Summary
Comment

AS
AS/IC

110
Adds inspection requirements for fire resistance cover protection of mass timber connectors
TAC Action
 10334
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 1
X

Motion:  Gilson Motion to Deny   2nd O’Connor

Vote: 6 Yes – 0 No

Conn Cole FDEM SFMO
Comment
Summary
Proponent
107.6
Clarify that local building officials must review for compliance with flood when affidavits are provided by private providers in accordance with sec. 553.791, FS, to satisfy FEMA expectation.
Mod #
 10348
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

X

Motion:  Gilson Motion to Approve  2nd Fails for lack of 2nd      New Motion: Brown motion to deny  2nd Boyer

Vote: 5 Yes – 1 No Gilson

Section
17‑Structural Tests and Special Inspections
Richard Walke
Comment
Summary
Proponent
1705
Propose Special Inspections for Firestop Systems and Joint Systems
Mod #
 10408
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 17
Chapter

X

Motion:  O’Connor – Motion to Deny 2nd Boyer

Vote:  6 Yes – 0 No

Section
Search Criteria

Page 3 of 3
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  7
Code Administration
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
CA
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived: