Page 1 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Pending Review
TAC Recommendation
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
SubCode:
Ü
SubCode:
Energy Conservation
10‑Appendix RD
Jeff Sonne for FSEC
Comment
Summary
Proponent
1
Update Form R402 and resolve inconsistencies.
Mod #
 10457
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Appendix RD
Chapter

X
Motion: Smith to Accept as Modified the Original PLUS A2  2nd Groboski
Vote: 
Section
1‑[CE] ‑ Scope and Administration
Mod #
Proponent
Douglas Baggett
Section
Chapter
Summary
Comment
X
AS
AS/IC

104.4
This proposed modification is to clarify and provide a consistent requirement for all inspecting parties to be independent and objective from the project.
TAC Action
 10245
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 1

Motion: Smith to Approve as Submitted  2nd Sanders
Vote: 10 Yes – 0 No

Douglas Baggett
Comment
Summary
Proponent
104.4.1
This proposed modification serves to define and set apart from all other testing agencies, what and who constitutes an authorized commissioning agent.
Mod #
 10251
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

X

Motion: Smith to Approve as Submitted  2nd Sanders
Vote: 8 Yes to 2 No

Section

Page 2 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Joseph Belcher
Comment
Summary
Proponent
104.2.6
Modification to require the Preliminary Inspection Report be provided to the code official before the final inspection.
Mod #
 10363
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

X
Motion: Smith to Approve as Modified with A2  2nd Calleja
Vote: 10 Yes – 0 No

Section
2‑[RE] ‑ Definitions
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

202
Slight edit to current definition to align with same definition in Florida Commercial Energy, as well as IECC, to ensure proper terminology is used when it comes to defining "vertical fenestration."
TAC Action
 10412
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

Motion: Smith to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

3‑[CE] ‑ General Requirements
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

303.1.3
Adds new ANSI/NFRC 203 standard for Tubular Daylighting Devices to be measured and rated.
TAC Action
 10406
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Motion: Smith to Approve as Submitted  2nd Cochelle
Vote:  10 Yes – 0 No

3‑[RE] ‑ General Requirements

Page 3 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
pete quintela
Comment
Summary
Proponent
303.1.5
This proposed modification increases the two compliance requirement options to the roof system solar reflectance values for low‑slope roofs on commercial/nonresidential buildings directly above conditioned spaces and it is only applicable to Climate Zone 1A
Mod #
 9903
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

X

Motion: Smith to Approve as Submitted  2nd Sanders
Vote: 9 Yes 1 No

Section
4‑[CE] ‑ Commercial Energy Efficiency
Mod #
Proponent
Timothy de Carion
Section
Chapter
Summary
Comment
X
AS
AS/IC

402.5
Mod. clarifies mandatory sections referenced in C402.5. Previous section C402.5 included up to section C402.8 as mandatory provisions. C402.5 updates language to include "C402.5.1 through C402.5.10"
TAC Action
 9845
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Shelly to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

Mod #
Proponent
Amanda Hickman
Section
Chapter
Summary
Comment
X
AS
AS/IC

402.2.7
New Section: C402.2.7 Airspaces
TAC Action
 9963
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Calleja to Approve as Submittedd  2nd Graboski
Vote:  10 yes – 0 No

Timothy de Carion
Comment
Summary
Proponent
405.1
Modification corrects a glitch in the 2020 code for missing lighting requirements for walk‑in coolers. Section C403.2.14 has no lighting requirements for walk‑in coolers. Section of C403.10.1 of the 2018 IECC was not adopted. Adding item #11 from Section C403.10.1 fixes this glitch.
Mod #
 9972
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: John to Approve as Submitted  2nd Sanders
Vote: 10 Yes – 0 No

Section

Page 4 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
John Hall
Comment
Summary
Proponent
405.9
This modification creates new section C405.9 to require electric vehicle charging equipment (EVSE) in all new commercial construction. The number of EV Ready and EV Capable parking spaces required would be determined by the attached chart that is part of the modification.
Mod #
 9974
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Sanders to Approve as Amended with A1  Dies for lack of 2nd.
New Motion: Calleja to Deny  2nd  Graboski
Vote: 10 Yes – 0 No

Section
Bryan Holland
Comment
Summary
Proponent
403
This proposed modification adds requirements for fault detection and diagnostics (FDD) for new buildings with an HVAC system serving a gross conditioned floor area of 100,000 square feet or larger.
Mod #
 9993
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Cochelle to Approve as Submitted  2nd Callaja  Vote: 0 Yes - 10 No  Fails
New Motion:  Cochelle to Deny  2nd Calleja
VoteL 10 Yes – 0 No

Section
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment

AS
AS/IC

403
This proposed modification adds requirements for economizer fault detection and diagnostics (FDD) for air‑cooled unitary direct‑expansion units variable refrigerant flow (VRF) units that are equipped with an economizer.
TAC Action
 9994
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Cochelle to Deny  2nd John
Vote: 10 Yes – 0 No

Bryan Holland
Comment
Summary
Proponent
403
This proposed modification reduces the threshold where variable flow and variable speed drives (VSD) are required for hydronic pumping systems.
Mod #
 10014
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Cochelle to Approve as Submitted  2nd Parks
Vote: 10 Yes – 0 No

Section

Page 5 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment
X
AS
AS/IC

402.5
This proposed modification adds detailed requirements on how to maintain the integrity of the air barrier associated with the installation of electrical and communication boxes.
TAC Action
 10070
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Parks to Approve as Submitted  2nd Sanders
Vote: 10 Yes – 0 No

Bryan Holland
Comment
Summary
Proponent
401.2
This proposed modification reinstates sections 8.4.2 and 8.4.3 of the ASHRAE 90.1 standard to the optional compliance path in C401.2 and the electrical power applicability in C405.5.1.
Mod #
 10077
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Graboski to Deny  2nd Smith
Vote: 10 Yes – 0 No

Section
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment

AS
AS/IC

405.5.3
This proposed modification adds "customer‑owned service conductors" to the voltage drop requirement with an exception for service conductors installed by or under the exclusive control of the electric utility.
TAC Action
 10079
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: John to Deny  2nd Cochelle
Vote: 10 Yes – 0 No

Bryan Holland
Comment
Summary
Proponent
405.9
This proposed modification adds requirements for automatic receptacle control to the code.
Mod #
 10085
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Sanders to Deny – 2nd Wojececke
Vote: 10 Yes – 0 No

Section

Page 6 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Amanda Hickman
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.12.6
LDCF and CFEI
TAC Action
 10086
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Cochelle to Approve as Submitted  2nd Sanders
Vote: 10 Yes – 0 No

Bryan Holland
Comment
Summary
Proponent
405.9
This proposed modification adds requirements for energy monitoring to the code.
Mod #
 10088
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: John to Deny  2nd Smith
Vote: 10 Yes – 0 N0

Section
Bryan Holland
Comment
Summary
Proponent
406
This proposed modification adds two additional efficiency package options and will now require two of the seven options to be selected for compliance.
Mod #
 10089
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Parks to Deny  2nd Cochelle
Vote:  10 yes - 0 No

Section
Abbott Mikah
Comment
Summary
Proponent
403.2
This modification clarifies [CE] C403.2.2. Previous section CE 403.2.2 does not include reference to the characterization of “Living Spaces” in commercial settings. Update language of [CE] C403.2.2 to “shall comply with R403.7.1.1” listed as Exception 3.
Mod #
 10112
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Cochelle to Deny  2nd Smith  WITHDRAWN
New Motion: Cochelle to Approve as Submitted  2nd Smith
Vote: 10 Yes – 0 No

Section

Page 7 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Douglas Baggett
Section
Chapter
Summary
Comment
X
AS
AS/IC

408.2.1
This proposed modification will serve to keep requirements and verbiage consistent with proposed modifications 10245, 10251 and 10445
TAC Action
 10123
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Luksik to Approve as Submitted  2nd Sanders
Vote: 10 Yes – 0 No

Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Editorial changes to Table C403.2.3(5) Minimum Efficiency Requirements: Gas‑ And Oil‑Fired Boilers
TAC Action
 10212
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion:  Sanders to Approve as Submitted  2nd Luksik
Vote: 10 Yes – 0 No
Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Updates Table C403.2.3(1) Minimum Efficiency Requirements: Electrically Operated Unitary Air Conditioners and Condensing Units
TAC Action
 10213
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: John to Approve as Submitted  2nd  Cochelle
Vote: 10 Yes – 0 No
Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Updates Table C403.2.3(2) Minimum Efficiency Requirements: Electrically Operated Unitary and Applied Heat Pump.
TAC Action
 10214
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: John to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

Page 8 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Updates Table C403.2.3(3) Minimum Efficiency Requirements: Electrically Operated PTACs, PTHPs, Single‑Package Vertical Air‑Conditioners, Single‑Package Vertical Heat Pumps, Room Air Conditioners and Room Air‑Conditioners and Room 
TAC Action
 10216
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: John to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Updates Table C403.2.3(4) Warm Air Furnaces and Combination Warm Air Furnaces/Air‑Conditioning Units, Warm‑Air Duct Furnaces and Unit Heaters, Minimum Efficiency Requirements
TAC Action
 10218
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Graboski to Approve as Submitted  2nd Smith
Vote: 10 Yes – 0 No

Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Editorial changes to Table C403.2.3(7) Water Chilling Packages ‑ Efficiency Requirements.
TAC Action
 10219
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Graboski  to Approve as Submitted  2nd Smith
Vote: 10 Yes – 0 No

Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Updates Table C403.2.3(8) Performance Requirements for Heat Rejection Equipment ‑ Minimum Efficiency Requirements
TAC Action
 10221
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Calleja to Approve as Submitted  2nd Graboski
Vote: 10 Yes – 0 No

Page 9 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Updates Table C403.2.3(9) Floor‑Mounted Air Conditioners and Condensing Units Serving Computer Rooms‑Minimum Efficiency Requirements
TAC Action
 10222
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Calleja to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Updates Table C403.2.3(11) Electrically Operated Variable Refrigerant Flow Multi‑Split Air Conditioners‑Minimum Efficiency Requirements. This table is a replica of ASHRAE 90.1 Table 6.8.1‑8 Electrically Operated Variable‑Refrigerant‑Flow Air 
TAC Action
 10223
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Calleja to Approve as Submitted  2nd Graboski
Vote: 10 Yes – 0 No

Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Adds a new Table C403.2.3(12) Electrically Operated Variable‑Refrigerant‑Flow and Applied Heat Pumps‑Minimum Efficiency Requirements. This table was created from current table C403.2.3(11) and added ground source VRF multi‑split heat 
TAC Action
 10224
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Calleja to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Adds a new Table C403.2.3(13) Vapor‑Compression‑Based Indoor Pool Dehumidifiers–Minimum Efficiency Requirements. This is a new table in the 2021‑IECC and is a replica of ASHRAE 90.1 Table 6.8.1‑12 
TAC Action
 10225
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Calleja to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

Page 10 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Adds a new Table C403.2.3(14) Electrically Operated DX‑DOAS Units, Single‑Package and Remote Condenser, without Energy Recover–Minimum Efficiency Requirements. This is a new table in the 2021‑IECC and is a replica of 
TAC Action
 10226
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Sanders to Approve as Submitted  2nd Cochelle
Vote:  10 Yes – 0 No

Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Adds a new Table C403.2.3(15) Electrically Operated DX‑DOAS Units, Single‑Package and Remote Condenser, with Energy Recover–Minimum Efficiency Requirements. This is a new table in the 2021‑IECC and is a replica of ASHRAE 
TAC Action
 10227
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Graboski to Approve as Submitted  2nd Cochelle
Vote: 10 Yes 0 No

Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Adds a new Table C403.2.3(16) Electrically Operated Water‑Source Heat Pumps‑Minimum Efficiency Requirement as a substitute for waster‑source heat pumps deleted from table C403.2.3(2).
TAC Action
 10228
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Calleja to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

Mod #
Proponent
Bereket Nigusse
Section
Chapter
Summary
Comment
X
AS
AS/IC

403.2.3
Adds a new Table C403.2.3(18) Ceiling‑Mounted Computer‑Room Air Conditioners–Minimum Efficiency Requirements. This is a new table in the 2021‑IECC and is a replica of ASHRAE 90.1 Table 6.8.1‑17 Ceiling‑Mounted Computer‑Room Air 
TAC Action
 10233
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Calleja to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

Page 11 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Bereket Nigusse
Comment
Summary
Proponent
403.2.3
Updates Table C404.2 Table C404.2 Minimum Performance of Water‑Heating Equipment. This modification applies to instantaneous electric water heater capacity greater than 58.6 kW.
Mod #
 10234
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Calleja to Approve as Submitted  2nd Graboski
Vote: 10 Yes – 0 No

Section
Joseph Belcher
Comment
Summary
Proponent
408.2
This is a series of changes to subsections of 408.2 requiring documentation to be submitted to the code official.
Mod #
 10364
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Luksik to Approve as Submitted  2nd Calleja
Vote: 10 Yes – 0 No

Section
Mod #
Proponent
Dominique Flickinger
Section
Chapter
Summary
Comment
X
AS
AS/IC

408.2
Change wording on who should provide commissioning services to eliminate loopholes of firms providing commissioning on their own work and thereby circumventing the intent of this code.
TAC Action
 10401
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Luksik to Approve as Submitted  2nd Smith
Vote: 10 Yes – 0 No

Jennifer Hatfield
Comment
Summary
Proponent
402.4
This proposal makes changes to Table C402.4, aligning the fenestration U‑factor and SHGC requirements within that table to what is provided in the 2021 IECC.
Mod #
 10407
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Calleja to Deny  2nd Cochelle
Vote: 8 Yes – 2 No  Passes

Section

Page 12 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Eric Lacey
Section
Chapter
Summary
Comment

AS
AS/IC

402.4
This proposal adopts the SHGC requirements for commercial fenestration in both the 2021 IECC and ASHRAE 90.1‑2019, but applies climate zone 2 values statewide for simplicity. It also eliminates orientation‑specific SHGC requirements in 
TAC Action
 10410
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Wojiececk to Deny  2nd Smith
Vote: 7 yes – 0 No

Mod #
Proponent
Douglas Baggett
Section
Chapter
Summary
Comment
X
AS
AS/IC

408.2
This proposed modification will serve to keep requirements and verbiage consistent with Mod's 10245 and 10251, as well as, to clearly define the term 'evidence'
TAC Action
 10445
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Luksick to Approve as Submitted  2nd Wojciexzak 
Vote: 9 Yes – 0 No

Mod #
Proponent
Douglas Baggett
Section
Chapter
Summary
Comment
X
AS
AS/IC

408.2.3
This modification proposes to clarify how functional performance testing should be completed and the roles of the contractor(s) and commissioning agent(s).
TAC Action
 10446
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Luksick to Approve as Submitted  2nd Smith
Vote: 10 Yes  - 0 No

Mod #
Proponent
Douglas Baggett
Section
Chapter
Summary
Comment
X
AS
AS/IC

408.2.4
This proposed modification will serve to keep requirements and verbiage consistent regarding commissioning activities and requirements.
TAC Action
 10448
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Luksick to Approve as Submitted  2nd Smith
Vote: 10 Yes  - 0 No

Page 13 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Laura Baker
Section
Chapter
Summary
Comment
X
AS
AS/IC

402.1.3
Improves consistency by applying an R‑value for joist/framing floors in cz 1 in Table C402.1.3 that matches the corresponding U‑factor in Table C402.1.4.
TAC Action
 10449
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Graboski  Approve as Submitted  2nd Wokcieszak
Vote: 10 Yes  - 0 No

Mod #
Proponent
Laura Baker
Section
Chapter
Summary
Comment
X
AS
AS/IC

402.1.4
Corrects U‑factor for roof insulation for All Other metal buildings in cz 1.
TAC Action
 10456
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion:Callaja to Approve as Submitted  2nd Cochelle
Vote: 10 Yes  - 0 No

Mod #
Proponent
Douglas Baggett
Section
Chapter
Summary
Comment
X
AS
AS/IC

408.3.1
This proposed modification is to provide a consistent requirement for all functional testing to be conducted by a certified third‑party commissioning agent.
TAC Action
 10459
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Luksick to Approve as Submitted  2nd Sanders
Vote: 10 Yes  - 0 No

Colleen Kettles
Comment
Summary
Proponent
405.9
Drive Electric Florida requests new section C405.9 to require electric vehicle charging equipment in certain new commercial construction and provides a chart for the number of EV capable parking spaces required. Amends section C405.1 to include reference to the new section.
Mod #
 10467
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Sanders to Deny 2nd Cochelle
Vote: 10 Yes – 0 No
Section

Page 14 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Laura Baker
Section
Chapter
Summary
Comment

AS
AS/IC

402.5
This proposal implements air leakage testing requirements for residential buildings greater than 3 stories in height.
TAC Action
 10470
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Cochelle to Approve as Submitted  2nd Smith  Vote: 0 Yes – 10 No   Failed
New Motion: cochelle to Deny  2nd Smith 
Vote 10 Yes – 0 No

4‑[RE] ‑ Residential Energy Efficiency
Mod #
Proponent
Amanda Hickman
Section
Chapter
Summary
Comment
X
AS
AS/IC

405.7.1
Revision to R405.7.1 Installation criteria for homes claiming the radiant barrier option.
TAC Action
 9965
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Sanders to Approve as Submitted  2nd Wojcieszak
Vote: 8 Yes – 2 No

Bryan Holland
Comment
Summary
Proponent
402.4
This proposed modification makes editorial revisions to Table R402.4.1.1 related to electrical and communication boxes and adds a new section on air‑sealed boxes as referenced in the Table.
Mod #
 10072
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Calleja to Approve as Submitted  2nd Graboski
Vote: 10 yes – 0 No

Section
Bryan Holland
Comment
Summary
Proponent
404
This proposed modification adds requirements for exterior lighting on residential buildings not current covered by the code.
Mod #
 10074
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Wojcieszak to Deny  2nd Cochelle
Vote: 10 Yes – 0 No

Section

Page 15 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Bryan Holland
Comment
Summary
Proponent
404
This proposed modification adds interior lighting control requirements for residential buildings.
Mod #
 10075
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Wojcieszak to Deny  2nd Cochelle
Vote: 10 Yes 0 No

Section
Mod #
Proponent
Bryan Holland
Section
Chapter
Summary
Comment

AS
AS/IC

404
This proposed modification adds exterior lighting control requirements for residential buildings.
TAC Action
 10076
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Wojcieszak to Deny  2nd Cochelle
Vote: 10 Yes – 0 No

Mod #
Proponent
Timothy de Carion
Section
Chapter
Summary
Comment
X
AS
AS/IC

402.4.1.2
Testing shall locate leaks in the thermal envelope. When the thermal envelope is insulated and located at the underside of the roof deck, this sealed building cavity becomes part of the building thermal envelope. This added volume must be tested 
TAC Action
 10151
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: White to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

Mod #
Proponent
Jeff Sonne for FSEC
Section
Chapter
Summary
Comment
X
AS
AS/IC

405.6.3.1
Performance compliance instantaneous water heater UEF adjustment factor.
TAC Action
 10158
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Sanders to Approve as Submitted  2nd Callaja
Vote: 10 Yes – 0 No

Page 16 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Jeff Sonne for FSEC
Comment
Summary
Proponent
405.2
R‑8 insulation requirement for site‑wrapped supply ducts for Section R405 compliance.
Mod #
 10165
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: John to Approve as Submitted  2nd Calleja
Vote: 8 Yes – 2 No

Section
Mod #
Proponent
Jeff Sonne for FSEC
Section
Chapter
Summary
Comment
X
AS
AS/IC

406.2
R‑8 insulation requirement for site‑wrapped supply ducts for Section R406 compliance.
TAC Action
 10166
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Parks to Approve as Submitted  2nd Smith
Vote: 9 Yes – 1 No

Timothy de Carion
Comment
Summary
Proponent
402.4.1.2
FECC does not mention that blower door that tests results under 3 (ach) requires mechanical ventilation. Code references in the energy code are needed for clarity and ease to find all the code requirements. Efficacy requirements of whole‑house mechanical ventilation in R403.6.1 are also referenced.
Mod #
 10193
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: White to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No

Section
Jeff Sonne for FSEC
Comment
Summary
Proponent
401.2.2
Additional energy efficiency requirements.
Mod #
 10230
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Graboski to Deny  2nd Calleja
Vote: 10 Yes – 0 No

Section

Page 17 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
David Calabrese
Section
Chapter
Summary
Comment

AS
AS/IC

403.1.3
The use of electric resistance heaters as backup heating devices can significantly increase winter energy consumption, and air source heat pumps can effectively provide heating without such devices in Florida. This proposed modification 
TAC Action
 10252
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Cochelle to Approve as Submitted  Dies for lack of 2nd 
New Motion: Cochelle to Deny  2nd Calleja
Vote: 10 Yes – 0 No

David Calabrese
Comment
Summary
Proponent
407
Daikin requests that the 2023 version of Florida IECC incorporates Section R408 of 2021 IECC, with modifications to Section R408.2.2, as Section R407 to continue effectively driving builders and users to optimize the energy performance of their homes.
Mod #
 10253
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Parks to Approve as Submitted  Dies for lack of 2nd
New Motion:  Calleja to Deny  2nd Graboski
Vote: 10 Yes – 0 No

Section
Greg Johnson
Comment
Summary
Proponent
402.2.5
Adds mass timber to the list of mass wall of mass materials and assemblies.
Mod #
 10331
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Calleja to Deny  2nd Cochelle
Vote: 10 Yes – 0 No

Section
Laura Baker
Comment
Summary
Proponent
402.5
This proposal updates the mandatory maximum fenestration Solar Heat Gain Coefficients (SHGC) permitted in the performance path consistent with improvements in prescriptive fenestration values.
Mod #
 10358
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Cochelle to Deny  2nd Calleja
Vote: 10 Yes – 0 No

Section

Page 18 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
John Hall
Comment
Summary
Proponent
404
The proposed modification provides for infrastructure to accomodate future electric vehicle charging equipment in one‑ and two‑family dwellings and townhouses with garages.
Mod #
 10370
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Wojcieszak to Deny  2nd Sanders 
Vote: 10 Yes – 0 No

Section
Laura Baker
Comment
Summary
Proponent
406.2
Update thermal envelope backstop for homes with on‑site renewable energy from the 2015 to the 2018 IECC.
Mod #
 10371
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Parks to Dies for lack of 2nd 
New Motion:  Graboski to Deny  2nd Wojcieszak 
Vote: 8 Yes – 1 No

Section
Jeff Sonne for FSEC
Comment
Summary
Proponent
407
Additional energy efficiency requirements.
Mod #
 10398
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Parks to Approve as Amended with A4 Only  2nd White    Vote: 1 Yes – 9 No  Fails
New Motion:  Cochelle to Deny  2nd Calleja
Vote: 9 Yes – 1 No

Section
Eric Lacey
Comment
Summary
Proponent
403.3.3
This proposal improves building efficiency and conditioning system operation by requiring duct testing in all compliance paths.
Mod #
 10453
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: Wojcieszak to Deny  2nd Calleja
Vote: 10 Yes – 0 No

Section

Page 19 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Eric Lacey
Comment
Summary
Proponent
405.4.2
This proposal adopts the fenestration area assumption used in the IECC since the 2012 edition; it will simplify compliance and enforcement by eliminating a set of assumptions that are currently only used in Florida.
Mod #
 10503
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: John to Approve as Submitted  2nd Sanders
Vote: 10 Yes – 0 No

Section
Eric Lacey
Comment
Summary
Proponent
405.5.2
This proposal improves the efficiency of the code by eliminating an unnecessary and wasteful loophole.
Mod #
 10510
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X

Motion: John to Deny  2nd Graboski
Vote: 10 Yes – 0 No

Section
Jeff Sonne for FSEC
Comment
Summary
Proponent
404.1
Increase high‑efficacy lighting requirement.
Mod #
 10517
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter

X
Motion: Wojcieszak to Approve as Modified with A1  2nd White
Vote: 9 Yes – 1 No

Section
5‑[RE] ‑ Existing Building
Mod #
Proponent
Jeff Sonne for FSEC
Section
Chapter
Summary
Comment
X
AS
AS/IC

501.7.2
Electric resistance heating prohibition for Climate Zone 2 central equipment replacements.
TAC Action
 10148
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 5

Motion: White to Approve as Submitted  2nd Cochelle
Vote: 7 Yes to 3 No

5‑[CE] ‑ Existing Building

Page 20 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Douglas Baggett
Section
Chapter
Summary
Comment
X
AS
AS/IC

502.1
This proposed modification will serve to keep commissioning requirements and verbiage consistent, as well as, to treat new construction as new construction ‑ even if it is an addition.
TAC Action
 10463
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 5

Motion: White to Approve as Submitted  2nd Smith
Vote: 10 Yes – 0 No

6‑[CE] Reference Standards
Mod #
Proponent
Amanda Hickman
Section
Chapter
Summary
Comment
X
AS
AS/IC

6
AMCA 220 reference standard update
TAC Action
 10087
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 6

Motion: White to Approve as Submitted  2nd Smith
Vote: 10 Yes – 0 No 

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

6
Updates to the latest ANSI approved industry standard for portable electric spa energy efficiency.
TAC Action
 10524
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 6

Motion: White to Approve as Submitted  2nd Cochelle
Vote: 10 Yes – 0 No  

6‑[RE] Reference Standards
Mod #
Proponent
Jeff Sonne for FSEC
Section
Chapter
Summary
Comment
X
AS
AS/IC

6
Update ANSI/RESNET/ICC 380 standard.
TAC Action
 10205
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 6

Motion: White to Approve as Submitted  2nd Graboski
Vote: 10 Yes – 0 No

Page 21 of 21
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  79
Energy
Energy
TAC:
 79
Total Mods for  
Energy
in
Pending Review
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

6
Updates to the latest ANSI approved industry standards for both portable electric spa energy efficiency, and pool and inground spas.
TAC Action
 10525
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 6

Motion: White to Approve as Submitted  2nd Smith
Vote: 10 Yes – 0 No

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
EN
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria