Page 1 of 4
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  12
Mechanical
Pending Review
TAC Recommendation
Mechanical
TAC:
 12
Total Mods for  
Mechanical
in
Pending Review
SubCode:
Ü
SubCode:
Building
17‑Structural Tests and Special Inspections
Richard Walke
Comment
Summary
Proponent
1705
Propose Special Inspections for SFRM and IFRM
Mod #
 10394
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 17
Chapter

Motion: No Action Taken should not have been assigned to the Mechanical TAC.
Vote:
Section
SubCode:
Ü
SubCode:
Mechanical
3‑General Regulations
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

301.18
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 9996
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Motion: John to Approve as Submitted  2nd Calleja
Vote: 10 Yes – 0 No

5‑Exhaust Systems
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

506.3.3
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 9997
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 5

Motion: Calleja to Approve as Submitted  2nd Pittman
Vote:10 Yes – 0 No

Page 2 of 4
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  12
Mechanical
Mechanical
TAC:
 12
Total Mods for  
Mechanical
in
Pending Review
Mod #
Proponent
Rolando Soto
Section
Chapter
Summary
Comment
X
AS
AS/IC

507.2
This modification will provide an exception to the code requirement for Type 1 hoods (grease) for the installation of solid fuel or combination gas and solid fuel pizza ovens listed for direct venting.
TAC Action
 10381
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 5

Motion: Pearce to Approve as Submitted  2nd Quintella
Vote: 10 Yes – 0 No

9‑Specific Appliances, Fireplaces and Solid Fuel‑burning Equipment
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

908.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 9999
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 9

Motion: Goll to Approve as Submitted 2nd Pittman
Vote: 10 Yes – 0 No

SubCode:
Ü
SubCode:
Residential
13‑General Mechanical System Requirements
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1307.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10024
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 13

Motion: Pittman to Approve as Submitted  2nd Quintella
Vote:n 10 Yes – 0 No

15‑Exhaust Systems

Page 3 of 4
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  12
Mechanical
Mechanical
TAC:
 12
Total Mods for  
Mechanical
in
Pending Review
Mod #
Proponent
Jeff Sonne for FSEC
Section
Chapter
Summary
Comment

AS
AS/IC

1507.3.4
Additional documentation and labeling requirements for whole‑house mechanical ventilation systems.
TAC Action
 10170
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 15
X

Motion: Griffin to Deny   2nd Quintella
Vote: 10 Yes – 0 No

Mod #
Proponent
Jeff Sonne for FSEC
Section
Chapter
Summary
Comment

AS
AS/IC

1507.3.5
Test report requirements for whole‑house mechanical ventilation systems.
TAC Action
 10171
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 15
X

Motion: Griner to Deny  2nd Calleja 
Vote: 9 Yes – 1 No

Mod #
Proponent
Jeff Sonne for FSEC
Section
Chapter
Summary
Comment

AS
AS/IC

1507.3.6
Failure detection requirements for whole‑house mechanical ventilation systems.
TAC Action
 10173
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 15
X

Motion: Hernandez to Deny  2nd Calleja
Vote: 10 Yes – 0 No

19‑Special Appliances‚ Equipment and Systems
Timothy de Carion
Comment
Summary
Proponent
19
This modification will provide new code requirements for the installation of residential stand‑by generators. Current code does not have requirements.
Mod #
 10069
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 19
Chapter

X

Motion: Calleja to Approve as Submitted  2nd Griffin
Vote: 9 Yes – 1 No

Section
22‑Special Piping and Storage Systems

Page 4 of 4
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  12
Mechanical
Mechanical
TAC:
 12
Total Mods for  
Mechanical
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

2203.5
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10025
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 22

Motion: Pittman to Approve as Submitted  2nd Goll
Vote: 10 Yes – 0 No

23‑Solar Thermal Energy Systems
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

2301.2.13
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10026
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23

Motion: Quintella to approve as Submitted  2nd Goll
Vote: 10 Yes – 0 No

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
M
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria