Page 1 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Pending Review
TAC Recommendation
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
SubCode:
Ü
SubCode:
Building
1‑Scope and Administration
Conn Cole FDEM SFMO
Comment
Summary
Proponent
110.3
Clarify the requirement to submit documentation of the elevation to which nonresidential buildings in flood hazard areas may be dry floodproofed.
Mod #
 10265
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 1
Chapter

X

Motion: McComber Approve as Submitted  2nd Parrino
Vote: 11 Yes – 0 No
Section
2‑Definitions
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

202
This proposal updates the definition of Wind‑borne Debris Region for correlation with ASCE 7‑22 and FBCR Mod 9473 that was approved by the Commission during Phase I.
TAC Action
 9956
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

Motion: McComber to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

202
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10036
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

Motion: Lavrich to Approve as Submitted  2nd Guerasio
Vote: 11 Yes – 0 No

Page 2 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment
X
AS
AS/IC

202
Add: Decorative Cementitious Finish. A skim coat, as defined in ASTM C926, of Portland cement‑based plaster applied to concrete or masonry surfaces intended for cosmetic purposes.
TAC Action
 10164
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

Motion: McComber to Approve as Submitted  2nd Kim
Vote: 11 Yes – 0 No

Robert Koning
Comment
Summary
Proponent
202
Add: Definition of Exterior Wall Covering Assembly System Methods
Mod #
 10172
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 2
Chapter

X

Motion: McComber to Deny  2nd Gaskin  (Needs language clean up)
Vote: 11 Yes – 0 No

Section
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

202
Add Definition Of Veranda and synonyms of same so professionals can differentiate between a roofing deck for slope, covering and other roofing system requirements.
TAC Action
 10272
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2
X

Motion: McComber to Deny  2nd Gaskin
Vote: 11 Yes – 0 No

Joseph Belcher
Comment
Summary
Proponent
202
Adds definitions for accessory structures and sun control structures to correlate with new provisions proposed for the design of sun control structures.
Mod #
 10388
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 2
Chapter

X

Motion: Lavrich to Approve as Amended with A1  2nd Seals Vote: 11 Yes – 0 No
Motion: Compton to Reconsider 2nd Gascon Vote:  11 yes – 0 No
Motion: Compton to Deny  2nd Gascon  Vote: 11 Yes – 0 No
Section
10‑Means of Egress

Page 3 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

1010.1.7
Modifies Exception 2 in Section 1010.1.7 to clarify that a higher door threshold height may be allowed in order to meet the water testing requirements of Section 1709.5.
TAC Action
 10427
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 10

Motion: Seals to Approve as Submitted  2nd Ruark
Vote: 11 Yes – 0 No

12‑Interior Environment
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

1203
Remove exception not applicable to Florida.
TAC Action
 9904
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 12

Motion: Lowry to Accept as Submitted  2nd Kim
Vote: 11 Yes – 0 No

Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

1203
Insulation not to block air movement.
TAC Action
 9985
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 12

Motion: Compton to Approve as Submitted  2nd Gaskin
Vote: 11 Yes – 0 No

14‑Exterior Walls
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

1404.14
This change compliments FS134 which was been adopted through the consent agenda, with the introduction of ASTM D7793, and insulated vinyl siding into the Florida Building Code.
TAC Action
 9881
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14
X

Motion: Lowry to Approve as Submitted  2nd Kim    WITHDRAWN 
(Should be on 1405.14 and reference to ASTM D7793 also references ASTM 710? – may need to correct standard reference)

Lowry -Motion to Deny to address concerns  2nd Gaskin  Vote: 11 Yes – 0 No

Page 4 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

1404.14
This is a cleanup change.
TAC Action
 9898
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14
X

Motion: Kim to Approve as Submitted Dies for lack of 2nd
Motion to Deny and allow proponent to add some clarifications
Vote: 11 Yes – 0 No
(Should be in Sec 1405.14.  Clarify language to include locking top/side)
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment
X
AS
AS/IC

1404.14
This modification adds standard installation practices that are not being followed in some cases but need to be followed for proper product performance.
TAC Action
 9899
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14

Motion: Lavrich to Approve as Submitted  2nd McComber
Vote: 11 Yes – 0 No
(Should be correlated in Sec. 1405.14.1)  
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

1405.18
This addition brings in critical installation elements for polypropylene siding.
TAC Action
 9900
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14
X

Motion: Lowry to Approve as Submitted  Dies for lack of 2nd.
Motion: Gaskin to Deny to allow for corrections  2nd McComber     Vote: 11 Yes – 0 No
(last sentence was deleted in error but should stem from testing not manufacturer’s instructions which vary – Gaskin
Also 1405.18.2 should add “installed”. - Seals)
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1405.6.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10040
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14

Motion: Lowry to Approve As Submitted  2nd Gaskin
Vote: 11 yes – 0 No

a

Page 5 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
T Stafford
Comment
Summary
Proponent
1410
A new stand‑alone section is proposed for soffits with new language addressing common soffit materials, a prescriptive option for wood structural soffits, and fascia installation.
Mod #
 10090
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 14
Chapter

X

Motion:  Ruark to Deny at Proponents request in order to work on language.  2nd Gaskin
Vote: 11 yes – 0 No

Section
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

1402.1
Add definitions of Exterior Wall Covering Assembly Methods and Decorative Cement Finish
TAC Action
 10275
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14
X

Motion: Guerasio to Deny  2nd Gaskin
Vote: 11 Yes – 0 No

Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment
X
AS
AS/IC

1403.3
Add components and cladding to the existing descriptive text provision
TAC Action
 10279
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 14

Motion: Gaskin to Approve as Submitted  2nd Guerasio
Vote: 11 yes – 0 No

Robert Koning
Comment
Summary
Proponent
1405.2
Adds text to convey the existing limitations of Table 1405.2
Mod #
 10280
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 14
Chapter

X

Motion: Lowry to Deny for revision of language  2nd McComber
Vote: 11 yes – 0 No

Section

Page 6 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Jennifer Hatfield
Comment
Summary
Proponent
1405.4
New FMA/AAMA/WDMA standards are now available and this proposal adds these new standards to the current list of standards that flashing at exterior window and door openings can be installed in accordance with under this code section.
Mod #
 10391
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 14
Chapter

X
Motion: Seals to Approve as Amended with A1  2nd McComber
Vote: 11 Yes – 0 No

Section
16‑Structural Design
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

1609
Make asphalt shingle reference a subsection.
TAC Action
 9895
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Motion: Guerasio to Approve as Submitted  2nd Gaskin
Vote: 11 yes – 0 No

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1609.3
This proposal updates the design wind speed maps in the code for correlation with ASCE 7‑22.
TAC Action
 9959
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Motion: Compton to Approve as Submitted  2nd Gaskin
Vote: 11 Yes – 0 No

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1602...1613
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10041
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Motion: Ruark to Approve as Submitted  2nd Seals
Vote: 11 Yes – 0 No

Page 7 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1609.5.3
This proposal updates the determination of wind loads on rigid tile for correlation with the proposed update to ASCE 7‑22.
TAC Action
 10063
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Motion: Lowry to Approve as Submitted  2nd Guerasio
Vote: 11 yes – 0 No

T Stafford
Comment
Summary
Proponent
1606
This proposal revises the code requirements for dead loads for better coordiantion with updates to ASCE 7.
Mod #
 10064
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 16
Chapter
X

Motion: WITHDRAWN by Proponent
Vote: 

Section
T Stafford
Comment
Summary
Proponent
1609
This proposal updates the code for correlation with the new tornado design requirements in ASCE 7‑16
Mod #
 10065
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 16
Chapter

X

Motion: Mccomber to Deny for work with language as to G1  2nd Ruark
Vote: 11 Yes – 0 No

Section
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1611
This modification updates the rain loads criteria for coordination with the proposed updated to ASCE 7‑22.
TAC Action
 10080
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Motion: Guerasio to Approve as Submitted  2nd Gaskin
(Perceived Conflict with Plumbing Code working on correlation language because this is Structural not plumbing no true conflict)
Vote: 11 Yes – 0 No

Page 8 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Amanda Hickman
Comment
Summary
Proponent
1609.1.2.1
Louvers
Mod #
 10081
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 16
Chapter

X
Motion: Seals to Approve as Amended with A1  2nd Gaskin
Vote: 11 Yes – 0 No

Section
Mod #
Proponent
Amanda Hickman
Section
Chapter
Summary
Comment
X
AS
AS/IC

1626.5
Louvers HVHZ
TAC Action
 10082
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Motion: Gaskin to Approve as Submitted 2nd Guerasio
Vote: 11 Yes – 0 No

Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment
X
AS
AS/IC

1616
This modification will clarify the design wind speed for fences less than 6‑feet tall.
TAC Action
 10276
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Motion: Gaskin to Approve as Submitted  2nd Guerasio
Vote: 11 yes – 0 No

Mod #
Proponent
Conn Cole FDEM SFMO
Section
Chapter
Summary
Comment
X
AS
AS/IC

1612.5
Clarify that licensed professional surveyors and mappers survey and seal elevation data and add a definition for Professional Surveyor and Mapper.
TAC Action
 10349
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 16

Motion: Compton to Approve as Submitted  2nd Gaskin
Vote: 11 Yes – 0 No

17‑Structural Tests and Special Inspections

Page 9 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1702.1...1709.3
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10042
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 17

Motion: Kim to Approve as Submitted  2nd Guerasio
Vote: 11 yes – 0 No

Mod #
Proponent
Joseph Belcher
Section
Chapter
Summary
Comment

AS
AS/IC

1703.6.2
The modification will require tests of materials to be submitted to the material supplier to the registered design professional of record and the material supplier.
TAC Action
 10120
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 17
X

Motion: Compton to Deny -  Dies for lack of 2nd.
New Motion:  Compton to Deny  2nd Ruark
Vote: 11 Yes – 0 No
(Could cause conflicts)
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

1709.5.1
TAS 202 was inadvertently left out of the 2403 exceptions in the previous two code cycles, this proposal rectifies that by inserting it where it was left out.
TAC Action
 10402
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 17

Motion: Seals to Approve as Submitted   2nd Gaskin
Vote: 11 Yes – 0 No

Jennifer Hatfield
Comment
Summary
Proponent
1709.5.1
Provides for AAMA and WDMA standards to perform engineering analysis to when performing a comparative analysis procedure for window and door products.
Mod #
 10417
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 17
Chapter

X

Motion: Seals to Approve as Submitted  2nd Monsour
Vote: 11 Yes – 0 No

Section
18‑Soils and Foundations

Page 10 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1803.2...1810.3.13
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10043
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 18

Motion: Kim to Approve as Submitted  2nd Guerasio
Vote: 11 yes – 0 No

Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment

AS
AS/IC

1809.4
This modification is intended to clarify the point at which the depth of the footing is to be measured.
TAC Action
 10139
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 18
X

Motion: Kim to Deny  2nd Lavrich
Vote: 10 Yes – 1 No  Passes
(Needs language work – depth of footing is not always 12 inches)
Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment
X
AS
AS/IC

1810
This modification is intended to clarify that grade beams are to be treated in a similar fashion to pile caps with respect to direct bearing and embedment of vertical foundation members
TAC Action
 10208
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 18

Motion: Monsuor to Approve as Submitted  2nd Gaskin
Vote: 11 yes – 0 No

Conn Cole FDEM SFMO
Comment
Summary
Proponent
1805.1.2.1
Replace reference to NFIP Technical Bulletin 11 with enforceable requirements.
Mod #
 10264
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 18
Chapter
X

WITHDRAWN by Proponent.

Section
19‑Concrete

Page 11 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1901.5...1905.1.8
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10044
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 19

Motion: Parrino to Approve As Submitted  2nd Gaskin
Vote: 11 Yes – 0 No

20‑Aluminum
Mod #
Proponent
Joseph Belcher
Section
Chapter
Summary
Comment

AS
AS/IC

2002
The proposed modification adds design criteria for sun control structures.
TAC Action
 10390
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 20
X

Motion: Parrino to Deny   2nd Kim
Vote: 11 yes – 0 No
( should be designed to 75mph on all)
Mod #
Proponent
Joseph Belcher
Section
Chapter
Summary
Comment

AS
AS/IC

2003
The proposal adds design criteria for sun control structures.
TAC Action
 10393
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 20
X

Proponent requests denial based on previous action
Motion Parrino to Deny   2nd Kim
Vote: 11 yes – 0 No

21‑Masonry
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

2106.1...2113.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10045
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 21

Motion: Parrino to Approve as Submitted  2nd Guerassio 

Vote: 11 Yes – 0 No

Page 12 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
22‑Steel
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

2205.2...2211.1.1.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10047
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 22

Motion: Parrino to Approve as Submitted  2nd Guerasio
Vote: 11 Yes to 0 No

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment

AS
AS/IC

2201.1
This clarifies the relationship between the main body of Chapter 22 and the HVHZ provisions of Chapter 22.
TAC Action
 10128
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 22
X

Motion: Gaskin to Deny  2nd Guerasio
Vote: 11 Yes– 0 No

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment
X
AS
AS/IC

2214.2
This clarifies the relationship between the main body of Chapter 22 and the HVHZ provisions of Chapter 22.
TAC Action
 10129
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 22

Motion: Gaskin to Approve as Submitted  2nd Guerasio
Vote: 11 Yes – 0 No
Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment
X
AS
AS/IC

2214.3
Updates AISC references in HVHZ provisions of Chapter 22.
TAC Action
 10132
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 22

Motion: Monsuor to Approve as Submitted  2nd Gaskin
Vote: 11 Yes – 0 No

Page 13 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment
X
AS
AS/IC

2214.3
Updates and corrects titles of SJI documents in HVHZ portion of Chapter 22.
TAC Action
 10249
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 22

Motion: Gaskin to Approve as Submitted  2nd Guerasio
Vote: 11 yes – 0 No

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment
X
AS
AS/IC

2214.3
This proposal corrects the titles of the HSS Design Manuals.
TAC Action
 10421
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 22

Motion: Gaskin to Approve as Submitted  2nd Guerasio
Vote: 11 Yes – 0 No
(year of standard need to be in Ch 35 not in Code section 22.)
23‑Wood
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

2303.4.1.1...2306.3
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10048
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23

Motion: Monsuor to Approve as Submitted  2nd Gaskin
Vote: 11 Yes to 0 No

Mod #
Proponent
Borjen Yeh
Section
Chapter
Summary
Comment
XX
AS
AS/IC

2314.4.6
Remove PS 56 and update the titles of PS 1 and PS 2.
TAC Action
 10108
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23

Motion: Gaskin to Approve as Submitted  2nd Guerasio
Vote: 11 Yes – 0 No

Page 14 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Greg Johnson
Section
Chapter
Summary
Comment

AS
AS/IC

2304.10
This modification provides two options for demonstrating compliance with the requirement for the protection of connections in Types IV‑A, IV‑B and IV‑C construction.
TAC Action
 10248
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 23
X

Motion:  Ruark to Deny  2nd Lowry
Vote: 11 yes – 0 No
(Need to harmonize testing temperatures and standards)
Borjen Yeh
Comment
Summary
Proponent
2315.2
Clarify wood structural panels for use as floor sheathing in interior applications.
Mod #
 10260
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 23
Chapter

X

Motion: Gaskin to Approve as Submitted  2nd Guerasio
Vote: 11 yes – 0 No

Section
Borjen Yeh
Comment
Summary
Proponent
2314.4.6
Clarify the requirements for wood structural panels for use in HVHZ.
Mod #
 10261
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 23
Chapter

X

Motion: Gaskin to Approve as Submitted   2nd Guerasio
Vote: 11 Yes – 0 No

Section
24‑Glass and Glazing
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

2404...2404.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10049
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 24

Motion: Ruark to Approve as Submitted  2nd  Gaskin
Vote: 11 Yes – 0 No

Page 15 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Jeanne Clarke
Section
Chapter
Summary
Comment
X
AS
AS/IC

2411
This modification will coordinate the test in the Florida Building Code with the correct reference code
TAC Action
 10277
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 24

Motion: Gaskin to Approve as Submitted  2nd Guersio
Vote: 11 Yes – 0 No

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

2406.4
Clarifies appropriate subsection references within this Section. Also provides consistency with the proposal for FBC‑R that refers you to similar subsection references.
TAC Action
 10400
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 24

Motion: Seals to Approve as Submitted  2nd Monsuour
Vote: 11 Yes – 0 No

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

2405.2
Fixes correct reference and provides for language consistent with the IBC.
TAC Action
 10403
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 24

Motion: Seals to Approve as Submitted  2nd Monsuor
Vote: 11 Yes – 0 No

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

2405.3
Reorganizing subsections and titles to provide clarity for the code user that follows the intent of where screens are or are not required.
TAC Action
 10404
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 24

Motion: Seals to Approve as Submitted  2nd Monsuor
Vote: 11 Yes – 0 No

25‑Gypsum Board,Gypsum Panel Products and Plaster

Page 16 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

2505.1...2508.6
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10050
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 25

Motion: Compton to Approve as Submitted  2nd Guerasio
Vote: 11 Yes – 0 No

Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

2502.1
Add definitions of Exterior Wall Covering Assembly Methods and Decorative Cement Finish
TAC Action
 10278
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 25
X

Motion: Gaskin to Table to review 10281 first   2nd Guerasio  Vote 11 yes – 0 No Motion to Remove from Table Vote 11 yes – 0 No
MOTION: Compton to Deny  2nd McComber
Vote: 11 Yes – 0 No
(Needs clarification)
Robert Koning
Comment
Summary
Proponent
2510.6.2
New Section 2510.6.2 This adds the needed exceptions to this newly created provision in order to perform in Florida's high wind region and provides needed exceptions for other wall covering systems.
Mod #
 10281
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 25
Chapter

X

MOTION: Compton to Deny  2nd McComber
Vote: 11 Yes – 0 No
(Needs clarification)
Section
Robert Koning
Comment
Summary
Proponent
2510.3
Text exceptions state the already existing requirement for wind loading requirements in high wind regions and state the exceptions for Florida's time tested Face Sealed Systems
Mod #
 10282
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 25
Chapter

X

MOTION: Compton to Deny  2nd Parrino
Vote: 11 Yes – 0 No
(Needs clarification)

Section

Page 17 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

2510.3.1
Adds new paragraph for laboratory tested and code approved attachment tables available without charge to the public
TAC Action
 10283
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 25
X

MOTION: Compton to Deny  2nd Guerasio
Vote: 11 Yes – 0 No
(Needs clarification)

Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

2510.3.2
Adds new paragraph for laboratory tested and code approved application manual available to the public free of charge
TAC Action
 10284
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 25
X

MOTION: Compton to Deny  2nd Guerasio
Vote: 11 yes – 0 No
(Needs clarification)

Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

2512.1
Adds needed exception for other code allowed installations and systems
TAC Action
 10285
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 25
X

Motion: Parrino to Deny  2nd  Gascon
Vote  11 Yes to no
Robert Koning
Comment
Summary
Proponent
2510.6.2
Add Exceptions
Mod #
 10301
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 25
Chapter

X

Motion: Parrino to Deny  2ndGuerasio
Vote: 11 Yes – 0 No
(Needs clarification)

Section
30‑Elevators and Conveying Systems

Page 18 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

3004.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10051
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 30

Motion to Approve as Submitted  2nd Gascon
VoteL:  11 Yes – 0 No
31‑Special Construction
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

3102.7
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10052
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 31

Motion Ruark to Approve as Submitted   2nd Gascon
Vote: 11 Yes – 0 No
35‑Referenced Standards
Mod #
Proponent
Jennifer Molin
Section
Chapter
Summary
Comment
X
AS
AS/IC

2214.3
Change the year to two standards mentioned in the Reference section.
TAC Action
 9988
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Motion Lowry to Approve as Submitted  2nd  Gascon
Vote  11 Yes – 0 No
Mod #
Proponent
Borjen Yeh
Section
Chapter
Summary
Comment
X
AS
AS/IC

0
Update the references in the code.
TAC Action
 10107
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Motion:  Lavrich to Approve as Submitted  2nd  Mccomber
Vote: 11 Yes – 0 No
(need to reference correct sections per Gascon comments)

Page 19 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment
X
AS
AS/IC

35
Updates AISC reference documents.
TAC Action
 10131
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Motion: Lowry to Approve as Submitted  2nd Guerasio
Vote: 11 Yes – 0 No
Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment
X
AS
AS/IC

35
Corrects and updates DDM04 listing.
TAC Action
 10133
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Motion: Lowry to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment
X
AS
AS/IC

35
Adopts the latest edition of the RCSC Specification.
TAC Action
 10135
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Motion: Lowry to Approve as Submitted  2nd Gascon  
Vote: 11 Yes – 0 No
(Remove year from section and add to Ch 35 per Gascon)
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

35
Adds Referenced Publication
TAC Action
 10286
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35
X

Motion: Lowry to Deny to be consistent with pervious action  2nd Gascon
Vote: 11 Yes – 0 No

Page 20 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Greg Johnson
Section
Chapter
Summary
Comment

AS
AS/IC

35
Identifies referenced standards related to new Type IV construction classifications
TAC Action
 10353
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35
X

Motion: Guerasio to Approve as Submitted 2nd McComber  
Vote: 7 Yes – 4 No  Fails
New Motion:  Compton to Deny  2nd Parrino  Vote: 9 Yes – 2 No
(Deny based on action on 10248)
Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment
X
AS
AS/IC

35
Updates the SJI Documents referenced in the HVHZ sections of Chapter 22.
TAC Action
 10416
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Motion to Approve as Submitted  2nd Parrino
Vote: 11 Yews – 0 No
Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment
X
AS
AS/IC

35
This proposal corrects the entries associated with the STI documents adopted in the HVHZ portion of Chapter 22.
TAC Action
 10420
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Motion Guerasio to Approve as Submitted  2nd  Gascon
Vote: 11 Yes – 0 No
Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

35
Updates AAMA (FGIA) and ASTM Standards with appropriate names and editions.
TAC Action
 10435
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Motion: Seals to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Page 21 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Bonnie Manley
Section
Chapter
Summary
Comment
X
AS
AS/IC

35
The proposal updates AISI standards to match those adopted in the 2021 IBC. This is consistent with changes approved in Mod#9124 (ADM47‑19).
TAC Action
 10454
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 35

Motion: Seals to Approve as Submitted  2nd Gascon
Vote:  11 Yes – 0 No

2708‑Signs
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

105.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10054
AM
AM/IC
D/IC
D
Pending Review
W
Appendix H

Motion: Compton to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No
2709‑Patio Covers
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

105.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10055
AM
AM/IC
D/IC
D
Pending Review
W
Appendix I

Motion: Compton to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

2710‑Grading

Page 22 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

104.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10056
AM
AM/IC
D/IC
D
Pending Review
W
Appendix J

Motion: Compton to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

2712‑Earthquake Recording Instrumentation
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

101
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10057
AM
AM/IC
D/IC
D
Pending Review
W
Appendix L

Motion: Compton to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

SubCode:
Ü
SubCode:
Existing Building
2‑Definitions
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

202
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10002
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

Motion: Compton to Approve as Submitted  2nd Gascon
Vote 11 Yes – 0 No

3‑Provisions for All Compliance Methods

Page 23 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

301.3...301.5
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10003
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Motion: Kim to Approve as Submitted  2nd Gascon
Vote 11 Yes – 0 No

4‑Repairs
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

406.2.2...406.3.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10004
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Kim to Approve as Submitted  2nd Gascon
Vote 11 Yes – 0 No

Mod #
Proponent
Michael Silvers (FRSA)
Section
Chapter
Summary
Comment
X
AS
AS/IC

401
Returns code language included in the 2017 FBC that was apparently unintentionally deleted during the reorganization of Chapters 4, 5 & 6 during IBC modifications. These changes were later adopted into the 2020 FBC.
TAC Action
 10084
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4

Motion: Kim to Approve as Submitted  2nd Compton
Vote: 11 Yes – 0 No
5‑Prescriptive Compliance Method
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

502.4...506.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10005
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 5

Motion: Kim to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Page 24 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Conn Cole FDEM SFMO
Comment
Summary
Proponent
502.3
Provide that non‑substantial additions in flood hazard areas do increase the nonconformity of buildings that do not conform to current flood requirements.
Mod #
 10266
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 5
Chapter

XX

Motion: Ruark to Deny  2nd Gascon
Vote:  11 Yes - 0 No

Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
502.3
New, raised, and extended foundations in flood hazard areas should comply with requirements for type and height required for new construction.
Mod #
 10267
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 5
Chapter

X
Motion: Ruark to Approve as Amended with original plus Alt 1  2nd Gascon
Vote: 11 Yes – 0 No

Section
7‑Alterations ‑ Level 1
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

707.3.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10006
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Motion: Kim to Approve as Submitted  2nd Gascon
Vote: 11 yes – 0 No

8‑Alterations ‑ Level 2
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

807.4...807.6
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10007
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 8

Motion: Lavrich to Approve as Submitted  2nd Gascon
Vote: 11 yes – 0 No

Page 25 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

907.4.2...907.4.6
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10008
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 8

Motion: Lavrich to Approve as Submitted  2nd Gascon
Vote: 11 yes – 0 No

10‑Change of Occupancy
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1007.2...1007.3.2
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10009
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 10

Motion: Lavrich to Approve as Submitted  2nd Gascon
Vote:11 Yes – 0 No

11‑Additions
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1103.3...1103.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10010
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 11

Motion: Monsuor to Approve as Submitted  2nd Gascon
Vote:11 Yes – 0 No

13‑Relocated or Moved Buildings

Page 26 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1302.4...1302.5
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10011
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 13

Motion: Monsuor to Approve as Submitted  2nd Gascon
Vote: 11 yes – 0 No

2901‑Guidelines for the Seismic Retrofit of Existing Buildings
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1.0
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10012
AM
AM/IC
D/IC
D
Pending Review
W
Appendix A

Motion: Kim to Approve as Submitted  2nd Gascon
Vote:11 yes – 0 No

SubCode:
Ü
SubCode:
Fuel Gas
3‑General Regulations
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

301.12
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 9992
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Motion: Lowry to Approve as Submitted  2nd Gascon
Vote:11 yes – 0 No

SubCode:
Ü
SubCode:
Residential
2‑Definitions

Page 27 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

202
Exterior soffit: new definition
TAC Action
 9840
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2
X

Motion: Parrino to Approve as Submitted  2nd Kim  WITHDRAWN
New Motion: Parrino to Deny  2nd Kim
Vote: 11 Yes – 0 No
(needs to remove word ‘attached’ and fine tune language or remove ‘carport’)
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

202
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10013
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2

Motion: McComber to Approve as Submitted  2nd Gascon
Vote: 11 yes – 0 No

Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

202
Add: Definition of Exterior Wall Covering Assembly System Methods
TAC Action
 10270
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2
X

Motion: Parrino to Deny  2nd Gascon
Vote: 11 Yes – 0 No

Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

202
Add Definition Of Veranda and synonyms of same so professionals can differentiate between a roofing deck for slope, covering and other roofing system requirements.
TAC Action
 10274
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 2
X

Motion: Parrino to Deny 2nd Gascon
Vote: 11 Yes – 0 No

Page 28 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Joseph Belcher
Comment
Summary
Proponent
202
The modification provides a definition for sun control structures.
Mod #
 10384
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 2
Chapter

X

Motion: Parrino to Deny  2nd Kim
Vote: 11 Yes – 0 No
(related to Mod #10388)
Section
3‑Building Planning
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

301.2
This proposal updates the design wind speed map in the code for correlation with ASCE 7‑22.
TAC Action
 9960
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Motion: Monsuor to Approve as Submitted 2nd McComber
Vote: 11 Yes – 0 No

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

301.2
This proposal updates the simplified component cladding loads in the Florida Building Code, Residential for correlation with the proposed update to ASCE 7‑22.
TAC Action
 9971
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Motion: Monsuor to Approve as Submitted  2nd McComber
Vote: 11 Yes – 0 No

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

301.1...324.4.1.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10017
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3
X

Motion: Monsuor to Deny to allow proponent to correct  2nd Gascon
Vote: 11 Yes – 0 No
(Everything on bottom of Pg 486 details after ‘RESERVE” should be struck.

Page 29 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Greg Johnson
Section
Chapter
Summary
Comment
X
AS
AS/IC

317
This proposal incorporates wood columns in the general “location” items of R317.1 to eliminate the separate confusing columns section.
TAC Action
 10116
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3

Motion: Monsuor to Approve as Submitted  2nd McComber
Vote: 11 yes – 0 No
(needs to clean up language)
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.2.1
Specifics for accessory structures in flood hazard areas in accordance with FEMA policy issued 2020.
Mod #
 10256
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

X

Motion: Kim to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.1.6
Exterior equipment in flood hazard areas that is flood damaged and replaced must be elevated.
Mod #
 10257
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

X

Motion: Kim to Deny  2nd Parrino
Vote: 11 Yes – 0 No

Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.2.2
Clarify requirements that don’t apply to elevator shafts and utility chases in flood hazard areas.
Mod #
 10258
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

X

Motion: Parrino to Approve as Submitted  2nd McComber
Vote: 11 Yes – 0 No

Section

Page 30 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.3.2
Specify where the bottom of the lowest horizontal structural member is when stem wall foundations are permitted in Coastal A Zones (seaward of LiMWA when delineated on FIRM).
Mod #
 10259
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

XXX

Motion: McComber to Approve as Submitted  2nd Ruark
Vote: 11 Yes – 0 No

Section
Conn Cole FDEM SFMO
Comment
Summary
Proponent
322.3.3
Refer to ASCE 24, the standard of practice, for the design of pilings and columns.
Mod #
 10262
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 3
Chapter

X

Motion: Monsuor to Approve as Submitted  2nd Gascon
Vote: 11 yes – 0 No

Section
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

301.2.1.1
Adds an Exception for metal and wire lath attachment by way of a referenced code approved tabulated data document complied in easily referenced publication. All data per ASTM E330 tested by accredited laboratory ‑ publication free
TAC Action
 10287
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3
X

Motion: Monsuor to Deny  2nd Parrino
Vote: 11 Yes – 0 No

Mod #
Proponent
Conn Cole FDEM SFMO
Section
Chapter
Summary
Comment

AS
AS/IC

322.1.10
Clarify that licensed professional surveyors and mappers survey and seal elevation data and add a definition for Professional Surveyor and Mapper.
TAC Action
 10351
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3
X

Motion: Guerasio to Deny  2nd Parrino
Vote: 11 Yes – 0 No

Page 31 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Joseph Belcher
Section
Chapter
Summary
Comment

AS
AS/IC

301
Provides design criteria for sun control structures.
TAC Action
 10386
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 3
X

Motion: Parrino to Deny 2nd Guerasio
Vote: 10 Yes – 0 No
4‑Foundations
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment

AS
AS/IC

401.1...407.3
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10018
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 4
X

Motion: Monsuor to Deny  2nd Gascon
Vote: 10 Yes - 0 No
(Do not delete last portion containing lifts)
Conn Cole FDEM SFMO
Comment
Summary
Proponent
408.7
Replace reference to NFIP Technical Bulletin 11 with enforceable requirements.
Mod #
 10263
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 4
Chapter
X

Motion: WITHDRAWN by Proponent
Vote:

Section
5‑Floors
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

502.11.4...507
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10019
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 5

Motion: Ruark to Approve as Submitted  2nd Kim
Vote: 11 Yes - 0 No

Page 32 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Borjen Yeh
Section
Chapter
Summary
Comment
X
AS
AS/IC

507.8.1.2
Update the band joists specified in the code to include engineered wood rim boards that have already been recognized in R502.1.7.
TAC Action
 10104
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 5

Motion: Ruark to Approve as Submitted  2nd McComber
Vote: 11 Yes – 0 No

6‑Wall Construction
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

606.2.8.2...610.8
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10020
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 6

Motion: Ruark to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

609.3.1
Provides for an AAMA standard now available and used to perform engineering analysis when performing a comparative analysis procedure for window and door products.
TAC Action
 10426
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 6

Motion: Seals to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

7‑Wall Covering
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment
X
AS
AS/IC

702.7
Updated table for Vapor Retarder Options
TAC Action
 9841
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Motion: Compton to Approve as Submitted   2nd McComber
Vote: 11 Yes – 0 No

Page 33 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Fernando Pages
Comment
Summary
Proponent
703.11.1
Update installation prescription for vinyl siding and insulated vinyl siding.
Mod #
 9842
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X
Motion: Lowry to Approve as Amended Plus A1  2nd McComber
Vote: 11 Yes – 0 No

Section
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment
X
AS
AS/IC

703.3.3
Clean‑Up Fastener Size and Penetration for vinyl siding and insulated vinyl siding.
TAC Action
 9846
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Motion: Lowry to Approve as Submitted  2nd McComber
Vote: 11 Yes – 0 No

Fernando Pages
Comment
Summary
Proponent
703.11.1
Clean up, fastener size, insulated vinyl siding.
Mod #
 9847
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: McComber to Deny 2nd Guerasio
Vote: 11 yes – 0 No
(New language to strike ‘such as’ …language)
Section
Fernando Pages
Comment
Summary
Proponent
703.3.4
Adds required clearance between grade and siding.
Mod #
 9848
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: Compton to Table  2nd McComber  Vote 11 Yes – 0 No
Motion: Gascon to Remove from Table  2nd Compton  11 yes – 0 No
(This is a new section being added from the IRC.  Also, ‘Ground’ is not defined in the code – perhaps new language)
Motion: Compton to Approve as Submitted Original Only 2nd McComber  Vote: 11 Yes – 0 No
Vote: 

Section
Rem

Page 34 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Fernando Pages
Comment
Summary
Proponent
703.14.1.1
Clarifies installation of polypropylene siding.
Mod #
 9849
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: Parrino to Deny  2nd Compton
Vote: 11 yes – 0 No
(To remove reference to staples in Residential Code)
Section
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

703.14
Correction of Polypropelene Testing Requirement
TAC Action
 9850
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7
X

Motion: McComber to Deny  2nd Kim
Vote: 11 yes – 0 No

Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

703
Addresses prescriptive installation for fascia.
TAC Action
 9851
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7
X

Motion: Lavrich to Deny  2nd Parrino
Vote: 11 Yes – 0 No

(to correct language however use figures as referenced from IRC)
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment

AS
AS/IC

704.2.1
This code change proposal adds aluminum soffit requirements to the existing vinyl soffit subsection.
TAC Action
 9878
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7
X

Motion: Lavrich to Deny to remove reference to staples  2nd McComber
Vote: 11 Yes – 0 No
(Rust preventative coated is not code language)

Page 35 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Fernando Pages
Section
Chapter
Summary
Comment
X
AS
AS/IC

703
An edit to correct a defined term in the code.
TAC Action
 9947
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Motion: Compton to Approve As Submitted  2nd Parrino
Vote: 11 Yes – 0 No

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

702.3.6...703.8.4.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10021
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7

Motion: Compton to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Jennifer Hatfield
Comment
Summary
Proponent
703.4
New FMA/AAMA/WDMA standards are now available and this proposal adds these new standards to the current list of standards that flashing at exterior window and door openings can be installed in accordance with under this code section.
Mod #
 10229
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X
Motion: Seals to Approve as Modified with A3 only  2nd Monsuor
Vote: 11 Yes – 0 No

Section
Robert Koning
Comment
Summary
Proponent
701.1
Adds required wind limitation per R302.1.1
Mod #
 10288
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: Ruark to Deny 2nd Parrino
Vote: 11 Yes – 0 No

Section

Page 36 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Robert Koning
Comment
Summary
Proponent
703.7
Adds required exceptions for wind limitations regarding prescriptive provisions in referenced standards and publications and allows for other approved application processes
Mod #
 10289
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: Guerasio to Deny  2nd Gascon
Vote: 11 Yes – 0 No

Section
Robert Koning
Comment
Summary
Proponent
703.7.1
Adds required exceptions for wind limitations regarding prescriptive provisions in referenced standards and publications and allows other approved application processes
Mod #
 10290
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: Lowry to Deny  2nd Gascon
Vote: 11 yes – 0 No

Section
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

703.7.1.1
Adds new provision for approved application publication. Free to public
TAC Action
 10291
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7
X

Motion: Kim to Deny  2nd McComber
Vote: 11 Yes – 0 No

Robert Koning
Comment
Summary
Proponent
703.4
Needed provisions for flashing locations
Mod #
 10292
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: Guerasio to Deny  2nd Gascon
Vote: 11 Yes – 0 No

Section

Page 37 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

703.7.6
Adds approved publication free of charge
TAC Action
 10294
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 7
X

Motion: Kim to Deny  2nd Gascon
Vote: 11 Yes - 0 No 

Robert Koning
Comment
Summary
Proponent
703.7.2
Adds required exceptions
Mod #
 10297
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: Parrino to Deny  2nd Gascon
Vote: 11 Yes – 0 No

Section
Robert Koning
Comment
Summary
Proponent
703.7.3
Adds required exception
Mod #
 10298
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: Kim to Deny  2nd Gascon
Vote: 11 Yes – 0 No

Section
Robert Koning
Comment
Summary
Proponent
703.1.2.2
Adds new paragraph
Mod #
 10299
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: Guerasio to Deny  2nd Gascon
Vote: 11 Yes – 0 No

Section

Page 38 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Fernando Pages
Comment
Summary
Proponent
703.1.2
Separates walls and soffits for clarity.
Mod #
 10392
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 7
Chapter

X

Motion: Lavrich to Deny  2nd Parrino
Vote: 11 Yes – 0 No

Section
8‑Roof‑Ceiling Construction
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

802.10.1...803.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10022
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 8

Motion: Seals to Approve as Submitted  2nd Parrino
Vote: 11 Yes – 0 No

Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
XX
AS
AS/IC

803.2.3.1
This proposal revises the roof sheathing attachment for clarity.
TAC Action
 10450
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 8

Motion: Gascon to Approve as Submitted  2nd Guerasio
Vote: 11 Yes – 0 No

10‑Chimneys and Fireplaces
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

1001.3...1003.4.1.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10023
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 10

Motion: McComber to Approve as Submitted  2nd Gascon
Vote:  11 Yes – 0 No 

Page 39 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
3308‑Patio Covers
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

105.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10031
AM
AM/IC
D/IC
D
Pending Review
W
Appendix H

Motion: Lavrich to Approve as Submitted  2nd Parrino
Vote:  11 Yes – 0 No 

3310‑Existing Buildings and Structures
Fernando Pages
Comment
Summary
Proponent
401.5
A short provision is added on the importance of a nailable substrate.
Mod #
 9879
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Appendix J
Chapter

X

Motion: McComber to Deny based on Alternate Language  2nd Gascon
Vote: 11 yes – 0 No
Section
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

401.4
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10032
AM
AM/IC
D/IC
D
Pending Review
W
Appendix J

Motion: Lavrich to Approve as Submitted  2nd Kim
Vote: 11 yes – 0 No

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

102.4
Provides for alignment with IRC language that is not intended to change current requirements. Rather, the proposal is based on clean‑up, consistency and clarity supported by industry and the ICC Building Code Action Committee addressing 
TAC Action
 10428
AM
AM/IC
D/IC
D
Pending Review
W
Appendix J

Motion: Seals to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

3318‑Light Straw‑Clay Construction

Page 40 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

101.1
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10033
AM
AM/IC
D/IC
D
Pending Review
W
Appendix R

Motion: McComber to Approve as Submitted  2nd Gascon
Vote: 11 yes – 0 No

3319‑Strawbale Construction
Mod #
Proponent
T Stafford
Section
Chapter
Summary
Comment
X
AS
AS/IC

102...106.13
This modification is one of a series of modifications that delete the seismic and snow requirements from the code. In accordance with Exception 2 to Section 101.2 of the FBCB, seismic and snow requirements are not to be utilized or enforced in 
TAC Action
 10034
AM
AM/IC
D/IC
D
Pending Review
W
Appendix S

Motion: McComber to Approve as Submitted  2nd Gascon
Vote: 11 yes – 0 No

2712‑Reference Standards
T Stafford
Comment
Summary
Proponent
46
This proposal updates ASCE 7 from the 2016 edition to the 2022 edition (ASCE 7‑22)
Mod #
 9958
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Pending Review
W
Chapter 46
Chapter

X
Motion: Seals to amended with A1  2nd Guerasio
Vote: 11 Yes – 0 No
Section
Mod #
Proponent
Borjen Yeh
Section
Chapter
Summary
Comment
X
AS
AS/IC

0
Update references frequently used for the engineered wood products.
TAC Action
 10106
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 46

Motion: Seals to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Page 41 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Robert Koning
Section
Chapter
Summary
Comment

AS
AS/IC

46
Adds referenced material
TAC Action
 10300
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 46
X

Motion: Parrino to Deny  2nd Gascon
Vote: 11 Yes – 0 No

Mod #
Proponent
Jennifer Hatfield
Section
Chapter
Summary
Comment
X
AS
AS/IC

46
Updates AAMA (FGIA) and ASTM Standards with appropriate names and editions.
TAC Action
 10434
AM
AM/IC
D/IC
D
Pending Review
W
Chapter 46

Motion: Seals to Approve as Submitted   2nd Gascon
Vote:  11 Yes – 0 No
SubCode:
Ü
SubCode:
Test Protocols
TAS1‑100
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

7
Alignment of calibration frequency.
TAC Action
 9906
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion: Gascon to Approve as Submitted  2nd Guerasio
Vote: 11 Yes – 0 No

Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

8
Clarify test apparatus details.
TAC Action
 9908
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion: Guerasio to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Page 42 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
TAS1‑100(A)
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

7
Calibration of wind stream velocity and alignment of calibration frequency.
TAC Action
 9855
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion: Parrino to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

8
Clarify test apparatus details.
TAC Action
 9907
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion: Guerasio  Approve as Submitted  2nd Gascon 
Vote: 11 yes – 0 No
(this change will require product approvals to obtain an equivalency of standards)
TAS1‑103
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

10
Add alternative accelerated weathering option.
TAC Action
 9844
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion: Lavrich to Approve as Submitted.  2nd Parrino
Vote: 12 Yes – 0 No

Mod #
Proponent
Gaspar Rodriguez
Section
Chapter
Summary
Comment

AS
AS/IC

7
Revises test procedure for self‑adhered underlayment used on roof tile installations.
TAC Action
 10093
AM
AM/IC
D/IC
D
Pending Review
W
TAS
X

Motion: Lavrich to Approve as Submitted  2nd Gascon
Vote: 7 Yes – 4 No Fails
New Motion: Compton to Deny  2nd Kim    Vote: 9 Yes – 2 No  Passes

Page 43 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Michael Silvers (FRSA)
Section
Chapter
Summary
Comment

AS
AS/IC

103
Changes the test methods used to establish resistance to uplift pressure for tile underlayments to methods described in the code. The underlayment is part of the load path for most tile roof systems and product approval should demonstrate an 
TAC Action
 10175
AM
AM/IC
D/IC
D
Pending Review
W
TAS
X

Motion: Lavrich to Deny  2nd Gascon
Vote: 8 yes – 3 No  Passes

Mod #
Proponent
Greg Keeler
Section
Chapter
Summary
Comment

AS
AS/IC

9
Revises the jaw separation rate to increase efficiency of testing.
TAC Action
 10182
AM
AM/IC
D/IC
D
Pending Review
W
TAS

X
Motion: WITHDRAWN by Proponent
Vote:

TAS1‑104
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

9
Add alternative accelerated weathering option.
TAC Action
 9853
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion: Gascon to Approve as Submitted  2nd Guerasio
Vote: 11 Yes – 0 No

TAS1‑110
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

9
Provisions for underlayment exposure periods beyond thirty days.
TAC Action
 9854
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion: Gascon to Approve as Submitted  2nd Lavrich
Vote: 11 Yes – 0 No

Page 44 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Structural
TAC:
 171
Total Mods for  
Structural
in
Pending Review
Mod #
Proponent
Gaspar Rodriguez
Section
Chapter
Summary
Comment
X
AS
AS/IC

11
Add a section adhesive used to set Roof Tile in Table 11A. Correct a typo error on test standard to be used for Protruding Ridge Ventilation products in Table 14.
TAC Action
 10097
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion: Guerasio to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Mod #
Proponent
Greg Keeler
Section
Chapter
Summary
Comment
X
AS
AS/IC

2
Inserts ASTM D8257, the only consensus Standard that applies to synthetic underlayments.
TAC Action
 10146
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion: Ruark to Approve as Submitted  2nd Gascon
Vote: 11 Yes – 0 No

Mod #
Proponent
Gaspar Rodriguez
Section
Chapter
Summary
Comment
X
AS
AS/IC

15
On Table 15, replace FM 4471 with TAS 114, as an alternate test standard.
TAC Action
 10273
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion: Compton to Approve as Submitted with comments from FRSA   2nd Gascon
Vote: 11 yes – 0 No
TAS1‑124
Mod #
Proponent
Aaron Phillips
Section
Chapter
Summary
Comment
X
AS
AS/IC

6
Uplift tests clarifications.
TAC Action
 9922
AM
AM/IC
D/IC
D
Pending Review
W
TAS

Motion:  Gascon to Approve as Submitted  2nd Guerasio
Vote:  11 Yes – 0 No

Page 45 of 45
4/28/2022
TECHNICAL ADVISORY COMMITTEE
ALL MODS
Total Mods for this report:  171
Structural
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
S
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria