Page 1 of 3
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  6
Electrical
Mods With Comments
Denied
TAC Recommendation
Electrical
TAC:
 6
Total Mods for  
Electrical
in
Denied
SubCode:
Ü
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Dallas Thiesen
Comment
Summary
Proponent
454.1.8.15
Exempts spas with gravity flow drains from NEC emergency cut off switch requirements.
Mod #
 10316
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

 X

Holland – Motion to Deny comment in favor of original action – 2nd Hall.  Vote: 9 Yes – 0 No to deny
Section
27‑Electrical
John Lovett
Comment
Summary
Proponent
2703
This is a proposal to drop the arc fault requirement for the state of Florida.
Mod #
 10220
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 27
Chapter

 X

Holland Motion to Deny and keep original TAC action.  2nd Della Croce  Vote: 7 Yes – 2 No to Deny
Section
SubCode:
Ü
SubCode:
Energy Conservation
4‑[CE] ‑ Commercial Energy Efficiency
John Hall
Comment
Summary
Proponent
405.9
This modification creates new section C405.9 to require electric vehicle charging equipment (EVSE) in all new commercial construction. The number of EV Ready and EV Capable parking spaces required would be determined by the attached chart that is part of the modification.
Mod #
 9974
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 4
Chapter

 

X
Torrito Motion to Deny and keep original TAC action.  2nd Gerwig  Vote: 4 Yes – 5 No  Fails
Hall Motion to Approve A4  2nd Rice  Vote:6 Yes – 3 No Passes  
TAC will retain original action.
Section

Page 2 of 3
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  6
Electrical
Mods With Comments
Electrical
TAC:
 6
Total Mods for  
Electrical
in
Denied
SubCode:
Ü
SubCode:
Residential
34‑General Requirements
Amanda Hickman
Comment
Summary
Proponent
3408
GFCI nuisance tripping
Mod #
 10138
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 34
Chapter

 X

Holland Motion to Deny to retain previous TAC action.   2nd Hall  Vote:8 Yes – 1 No  Passes

Section
Amanda Hickman
Comment
Summary
Proponent
3408
GFCI nuisance tripping
Mod #
 10149
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 34
Chapter

 X

Gerwig- Motion in support of A1 (part of G1) 2nd Fischer – Vote: 2 Yes – 7 No  Fails
Retains original TAC action.
Section
John Lovett
Comment
Summary
Proponent
3401.5
drop arc fault (circuit breakers and receptacles) requirement
Mod #
 10244
AM/IC
D/IC
D
AM
AS/IC
AS
TAC Action
Denied
W
Chapter 34
Chapter

 X

Holland Motion to deny both A2 and A3  2nd Tibbs  Vote:7 Yes – 2 No Fails
Retains original TAC action.
Section
Search Criteria

Page 3 of 3
9/15/2022
TECHNICAL ADVISORY COMMITTEE
SECOND COMMENT PERIOD
Total Mods for this report:  6
Electrical
Mods With Comments
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2023
ALL
2023 Triennial Original Modification 01/04/2022 ‑ 02/15/2022
ALL
ALL
E
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived: