Page 1 of 5

9/15/2022

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

Total Mods for this report:  13

Special Occupancy

Mods With Comments

Approved as Submitted

TAC Recommendation

Special Occupancy

TAC:

2

Total Mods for

Special Occupancy

in

Approved as Submitted

SubCode:



SubCode:

Building

4-Special Detailed Requirements Based on Use and Occupancy

scott waltz

Comment

Summary

Proponent

449.4.2.6.1

Requires replace of existing mechanical equipment to meet the same debris impact requirements as new construction.

Mod #

10505

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Approved as Submitted

W

Chapter 4

Chapter

X

Waltz Motion to accept A2.  2nd Whitehead    Vote: 8 Yes – 0 No

Section

SubCode:



SubCode:

Residential

3-Building Planning

Conn Cole FDEM SFMO

Comment

Summary

Proponent

322.2.1

Specifics for accessory structures in flood hazard areas in accordance with FEMA policy issued 2020.

Mod #

10256

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Approved as Submitted

W

Chapter 3

Chapter

X

No action needed.  Accept as submitted.

Section

Denied

TAC Recommendation

Special Occupancy

TAC:

11

Total Mods for

Special Occupancy

in

Denied

SubCode:



SubCode:

Building

1-Scope and Administration

Page 2 of 5

9/15/2022

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

Total Mods for this report:  13

Special Occupancy

Mods With Comments

Special Occupancy

TAC:

11

Total Mods for

Special Occupancy

in

Denied

Conn Cole FDEM SFMO

Comment

Summary

Proponent

107.6

Clarify that local building officials must review for compliance with flood when affidavits are provided by private providers in accordance with sec. 553.791, FS, to satisfy FEMA expectation.

Mod #

10348

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 1

Chapter

X

Cole motion to accept with A1.  2nd Lucas  Vote: 8 Yes – 0 No

Needs editorial correction. “in” as noted in Code Admin TAC.

Section

4-Special Detailed Requirements Based on Use and Occupancy

James Gregory

Comment

Summary

Proponent

449

Revises the hurricane surge requirements for the location of a new hospital.

Mod #

10338

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 4

Chapter

X

Waltz motion to approve A1 from first comment period.  2nd Whitehead  Vote: 8 Yes – 0 No

Section

James Gregory

Comment

Summary

Proponent

450

Revises the surge zone criteria for nursing homes.

Mod #

10362

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 4

Chapter

X

Waltz motion to approve A2.  2nd Cole  Vote: 8 Yes – 0 No

Section

James Gregory

Comment

Summary

Proponent

451

Adds section as an alternative method of compliance

Mod #

10369

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 4

Chapter

X

Waltz motion to approve A1.  2nd Whitehead  Vote:  8 Yes - 0 No

Section

Page 3 of 5

9/15/2022

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

Total Mods for this report:  13

Special Occupancy

Mods With Comments

Special Occupancy

TAC:

11

Total Mods for

Special Occupancy

in

Denied

Scott Waltz

Comment

Summary

Proponent

449.4.2.2

The modification clarifies existing requirements and updates the flood resistance requirements for new hospital facilities and modifications to existing facilities. It also provides new exceptions for non-patient related spaces.

Mod #

10478

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 4

Chapter

X

Lucas motion to approve original with A3 2nd Flowers  Vote: 8 Yes – 0 No

Section

Greg Johnson

Comment

Summary

Proponent

453.8.3

FL public colleges permitted same type of construction rules as private colleges.

Mod #

10481

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 4

Chapter

X

Whitehead motion to deny.  2nd Waltz  Vote: 8 Yes – 0 No

Section

Scott Waltz

Comment

Summary

Proponent

450.2.2

Updates and clarifies flood resistance requirements for nursing homes.

Mod #

10498

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 4

Chapter

X

Waltz motion to approve A1.  2nd Whitehead   Vote: 8 Yes – 0 No

Section

30-Elevators and Conveying Systems

Tommy Demopoulos

Comment

Summary

Proponent

3002.4

Modify section to accommodate an ambulance stretcher 24 inches by 84 inches instead of 24 inches by 76 inches.

Mod #

10383

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 30

Chapter

X

Phillips motion to deny.  2nd Whitehead  Vote:8 Yes – 0 No

Section

Page 4 of 5

9/15/2022

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

Total Mods for this report:  13

Special Occupancy

Mods With Comments

Special Occupancy

TAC:

11

Total Mods for

Special Occupancy

in

Denied

SubCode:



SubCode:

Existing Building

5-Prescriptive Compliance Method

Conn Cole FDEM SFMO

Comment

Summary

Proponent

502.3

Provide that non-substantial additions in flood hazard areas do increase the nonconformity of buildings that do not conform to current flood requirements.

Mod #

10266

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 5

Chapter

X

Cole motion to approve A2 with original.  2nd Whitehead  Vote: 8 Yes – 0 No

Section

SubCode:



SubCode:

Residential

3-Building Planning

Conn Cole FDEM SFMO

Comment

Summary

Proponent

322.1.6

Exterior equipment in flood hazard areas that is flood damaged and replaced must be elevated.

Mod #

10257

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 3

Chapter

X

Cole motion to approve A2 with original  2nd Lucas  Vote: 8 Yes – 0 No

Section

Conn Cole FDEM SFMO

Comment

Summary

Proponent

322.1.10

Clarify that licensed professional surveyors and mappers survey and seal elevation data and add a definition for Professional Surveyor and Mapper.

Mod #

10351

AM/IC

D/IC

D

AM

AS/IC

AS

TAC Action

Denied

W

Chapter 3

Chapter

X

Cole motion to approve A1.  2nd Bouza  Vote: 7 Yes – 1 No

Section

Search Criteria

Page 5 of 5

9/15/2022

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

Total Mods for this report:  13

Special Occupancy

Mods With Comments

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2023

ALL

2023 Triennial Original Modification 01/04/2022 - 02/15/2022

ALL

ALL

SP

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived: